## Table E1
Table E1. Electric Power Generating Capacity by Company and Plant as of June 20171 (Megawatts-MW)
INITIAL
|  |  | ENERGY | OPERATION | GENERATOR
COMPANY | PLANT | COUNTY | SOURCE | (First Unit) | Capacity
Avista | Noxon Rapids 1-5 | Sanders | Water | 1959 | 562.4
Basin Electric Power Cooperative | Culbertson Generation Station | Richland | Natural Gas | 2010 | 91
F.H. Stoltze | Land and Lumber Co-Gen plant | Flathead | Biomass | 2013 | 2.5
Flathead Electric Cooperative | Landfill Gas To Energy2 | Flathead | Landfill Methane | 2009 | 1.6
Montana-Dakota Utilities | Diamond Willow | Fallon | Wind | 2007 | 30
Montana-Dakota Utilities | Glendive #1 | Dawson | Natural Gas/#2 Fuel Oil | 1979 | 40.7
Montana-Dakota Utilities | Glendive #2 | Dawson | Natural Gas/#2 Fuel Oil | 2003 | 43
Montana-Dakota Utilities | Lewis & Clark | Richland | Lignite Coal/Natural Gas | 1958 | 50
Montana-Dakota Utilities | Lewis & Clark | Richland | Natural gas | 2015 | 18.6
Montana-Dakota Utilities | Miles City | Custer | Natural Gas/#2 Fuel Oil | 1972 | 23.3
NaturEner | Glacier 1 & 2 | Toole | Wind | 2008 | 210
NaturEner | Rimrock | Toole | Wind | 2012 | 189
Northern Lights Cooperative | Lake Creek A&B | Lincoln | Water | 1917 | 4.5
NorthWestern Energy (NWE) | Dave Gates Generating Station | Deer Lodge | Natural Gas | 2011 | 150
NorthWestern Energy (NWE) | Spion Kop | Judith Basin | Wind | 2012 | 40
NorthWestern Energy (NWE) | Black Eagle 1-3 | Cascade | Water | 1927 | 21
NorthWestern Energy (NWE) | Cochrane 1-2 | Cascade | Water | 1958 | 69
NorthWestern Energy (NWE) | Hauser 1-6 | Lewis-Clark | Water | 1911 | 19
NorthWestern Energy (NWE) | Holter 1-4 | Lewis-Clark | Water | 1918 | 48
NorthWestern Energy (NWE) | Madison 1-4 | Madison | Water | 1906 | 8
NorthWestern Energy (NWE) | Morony 1-2 | Cascade | Water | 1930 | 48
NorthWestern Energy (NWE) | Mystic 1-2 | Stillwater | Water | 1925 | 12
NorthWestern Energy (NWE) | Rainbow | Cascade | Water | 1910 | 60
NorthWestern Energy (NWE) | Ryan 1-6 | Cascade | Water | 1915 | 63
NorthWestern Energy (NWE) | Thompson Falls 1-7 | Sanders | Water | 1915 | 94
NWE Portfolio - Basin Creek Power | Basin Creek 1-9 | Silver Bow | Natural Gas | 2006 | 52
NWE Portfolio - Invenergy Wind | Judith Gap | Wheatland | Wind | 2005 | 135
NWE Portfolio (winter) - Tiber Montana, LLC | Tiber Dam | Liberty | Water | 2004 | 7.5
NWE Portfolio - Turnbull Hydro LLC | Turnbull Hydro3 | Teton | Water | 2011 | 13
NWE Portfolio - NJR Clean Energy Ventures | Two Dot Wind Farm | Wheatland | Wind | 2014 | 9.7
NWE QF - Colstrip Energy Partnership | Montana One | Rosebud | Waste Coal | 1990 | 35
NWE QF - Granite County | Flint Creek Dam | Granite | Water | 2013 | 2
NWE QF - Hydrodynamics | South Dry Creek3 | Carbon | Water | 1985 | 1.2
NWE QF - Montana DNRC | Broadwater | Broadwater | Water | 1989 | 10
NWE QF - Goldwind Global | Mussellshell 1 & 2 | Wheatland | Wind | 2013 | 20
NWE QF - other hydro | Various4 | Various | Water | Various | 3.2
NWE QF - other wind | Various4 | Various | Wind | Various | 1.23
NWE QF - Oversight Resources | Gordon Butte | Meagher | Wind | 2012 | 9.6
NWE QF - Two Dot Wind | Martinsdale Colony S. | Wheatland | Wind | 2007 | 2
NWE QF - Two Dot Wind | Martinsdale Colony | Wheatland | Wind | 2004 | 0.75
NWE QF - Yellowstone Partnership | BGI | Yellowstone | Petroleum Coke | 1995 | 65
NWE QF - Greenbacker Renewable Energy | Fairfield Wind | Teton | Wind | 2014 | 10
NWE QF - Greenbacker Renewable Energy | Greenfields | Teton | Wind | 2016 | 25
Ormat (Basin Electric Cooperative portfolio) | Culbertson Waste Heat | Richland | Recovered Heat | 2010 | 5.5
PacifiCorp | Bigfork 1-3 | Flathead | Water | 1910 | 4.1
Colstrip:
Talen/Riverstone Holdings (50%)6 | Colstrip 1 | Rosebud | Subbituminous Coal | 1975 | 307
Puget Sound Energy (50%)
Talen/Riverstone Holdings (50%) | Colstrip 2 | Rosebud | Subbituminous Coal | 1976 | 307
Puget Sound Energy (50%)
Talen/Riverstone Holdings (30%) | Colstrip 3 | Rosebud | Subbituminous Coal | 1984 | 740
Avista (15%), PacifiCorp (10%)
Puget Sound Energy (25%)
Portland General Electric (20%)
Talen/Riverstone Holdings (operator); Avista (15%) | Colstrip 4 | Rosebud | Subbituminous Coal | 1986 | 740
NorthWestern Energy (30%),
Portland General Electric (20%)
Puget Sound Energy (25%), PacifiCorp (10%)
Rocky Mountain Power | Hardin | Big Horn | Subbituminous Coal | 2006 | 115.7
Salish - Kootenai Tribe/Energy Keepers7 | Séliš, Ksanka QÍispé Dam 1-3 | Lake | Water | 1938 | 208
Salish - Kootenai Tribe | Boulder Creek | Lake | Water | 1984 | 0.35
NWE QF - Unitied Materials of Great Falls, Inc. | UMGF | Cascade | Wind | 2006 | 9
US BurRec - Great Plains Region | Canyon Ferry 1-3 | Lewis-Clark | Water | 1953 | 49.8
US BurRec - Great Plains Region | Yellowtail 1-4 | Big Horn | Water | 1966 | 250
US BurRec - Pacific Northwest Region | Hungry Horse 1-4 | Flathead | Water | 1952 | 428
US Corps of Engineers - Missouri River Division | Fort Peck 1-5 5 | McCone | Water | 1943 | 185.3
US Corps of Engineers - North Pacific Division | Libby 1-5 | Lincoln | Water | 1975 | 525
TOTAL MONTANA CAPACITY (MW) |  |  |  |  | 6175.53
1 Does not include units, mostly small, that are net-metered or that are located behind the meter of an industrial facility.
2 Numbers for capacity actually are highest monthly output to date.
3 Only operates during summer.
4 'Other hydro' includes nine very small facilities located mostly on private land. 'Other wind' includes other Two Dot Wind LLC plants (Sheep Valley, Montana Marginal, Mission, and Moe Wind).
5 Units 1-3 are normally synchronized to WECC on the Western grid (105.3 MW nameplate) and units 4 and 5 are normally synchronized to the Midwest Reliability Organization on the Eastern grid (80 MW nameplate). Unit 3 (43.5 MW nameplate) can readily be operated on either grid.
6 In 2015, PPL Montana spun off a new company Talen Energy Corp and placed its Montana generation assets under that company. In June of 2016, Riverstone Holdings LLC purchased Talen.
7 In 2015, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it Séliš, Ksanka QÍispé Dam. Before that, is was owned by PPL Montana.
Sources: The initial operation date, name and location for facilities is from DEQ institutional knowledge and inquiries with utilities over time. Current generation capacity is primarily from U.S. DOE Energy Information Administration "Form EIA-860, Schedule 3, Generator Data" except where noted: Flathead Landfill Gas to Energy-John Gorosky, Flathead coop; MDU facilities-Darcy Neigum, MDU; Noxon Dam-Steve Esch, Avista; Stoltze Co-gen-Brian Spangler, DEQ, NorthWestern Energy facilities-John Bushnell, NWE; Boulder Creek, Steve Clairmont; NWE QFs including YELP, CELP, Two Dot Wind Farm, Broadwater Dam, South Dry Creek, Gordon Butte, Martinsdale Wind, Martinsdale S., Fairview, QF other hydro and QF other wind-Frank Bennet, NWE; Culbertson Waste Heat/Ormat Technologies, G Freeman, Ormat; Lake Creek-Clint Brewington, Northern Lights Cooperative.

## Table E2
Table E2. Net Electric Generation and Average Generation By Plant and Ownership, 2006-20151 (MWh)
COMPANY | [11 empty] | Average Generation2 (aMW)
| PLANT | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2011-2015 | 2006-2010 | 2001-2005
Avista
| Noxon Rapids | 1823945 | 1590451 | 1696459 | 1673251 | 1503127 | 2109683 | 1822999 | 1581223 | 1968070 | 1635111 | 210.3134 | 189.2062 | 172.6923
Basin Creek Power Services LLC
| Basin Creek Plant (NWE portfolio) | 40587 | 80267 | 49108 | 66127 | 18760 | 10305 | 23438 | 33915 | 41077 | 62770 | 3.9563 | 5.8185 | --
Basin Electric Cooperative
| Culbertson Generation Station3 | -- | -- | -- | -- | 5938 | 62944 | 64496 | 127701 | 64063 | 104141 | 9.7657 | 0.67785 | --
Bonneville Power Administration
| Hungry Horse4 | 1055468 | 931620 | 1119403 | 742284 | 834213 | 1378437 | 1062677 | 1023385 | 1004871 | 1000298 | 126.1746 | 106.9175 | 89.6123
| Libby | 2190677 | 2344156 | 1950437 | 1574357 | 1701918 | 2450665 | 2793645 | 2306062 | 2513693 | 1757669 | 272.7044 | 222.8663 | 220.1668
Colstrip Energy Partnership
| Montana One (NWE QF) | 305830.452 | 303649.523 | 293304.758 | 286605.729 | 330795.856 | 260758 | 301086.46 | 326416 | 308755 | 313714 | 34.8496 | 34.7075 | 31.7282
F.H. Stoltze
| Stotlze Co-Gen Plant | -- | -- | -- | -- | -- | -- | -- | 5117 | 13009 | 21281 | 0.90904
Flathead Electric Cooperative
| Landfill Gas To Energy | -- | -- | -- | 3071.917 | 7285.046 | 8572 | 9303 | 9420 | 9997 | 11639 | 1.1287 | 0.59115 | --
Goldwind Global
| Musselshell I and II (NWE QF) | -- | -- | -- | -- | -- | -- | 443 | 56526 | 57587.034 | 52310.95 | 3.8493
Gordon Butte, LLC
| Gordon Butte (NWE QF) | -- | -- | -- | -- | -- | 1241 | 42260 | 41878 | 39432.514 | 36650.24 | 3.7246 | 0 | --
Granite County
| Flint Creek Dam (NWE QF) | -- | -- | -- | -- | -- | -- | -- | 7966 | 11983.829 | 8975 | 0.66724
Greenbacker Renewable Energy
| Fairfield Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | 31605 | 0.72907
| Greenfields (NWE QF) | [10 empty] | 0 | bar: 2006 to 2015
Hydrodynamics
| South Dry Creek (NWE QF) | 6262.299 | 6605.488 | 7598.456 | 7342.767 | 8614.411 | 6026 | 8183 | 7444 | 7753.476 | 6859 | 0.83657 | 0.83158 | 0.60058
| Strawberry Creek (NWE QF) | 1409.649 | 1519.397 | 1291.988 | 1447.527 | 1551.154 | 1447 | 1391 | 960 | 1519 | 1700 | 0.16187 | 0.16483 | 0.14981
Invenergy Services LLC
| Judith Gap (NWE portfolio)5 | 439727 | 486847 | 500828 | 456985 | 414002 | 511361 | 461372 | 507969 | 489637 | 455350 | 55.9559 | 52.4746 | --
Montana-Dakota Utilities
| Diamond Willow | -- | 16 | 64997 | 67691 | 67902 | 98867 | 90956 | 93175 | 96534 | 89144 | 10.8114 | 5.7251 | --
| Glendive | 6512 | 12686.999 | 3218 | 1949 | 6978 | 15402 | 10592 | 1602 | 815 | 1212 | 0.68334 | 0.71562 | 1.0605
| Lewis-Clark | 336937 | 314675 | 331504 | 316534 | 315371 | 300792 | 253208 | 298318.98 | 290193 | 222191 | 31.481 | 36.8726 | 35.4648
| Miles City | 1648 | 2623.002 | 369 | -28 | 1021 | 218 | 1573 | -1 | 124 | 444 | 0.054394 | 0.12861 | 0.25498
MT Dept of Nat. Res. and Con.
| Broadwater Power Project (NWE QF) | 48249.048 | 44982.094 | 46134.267 | 52729.671 | 52843.103 | 53536 | 53500 | 45253 | 52101 | 47289 | 5.8057 | 5.5922 | 4.8094
Naturener
| NaturEner Glacier Wind Energy 1 LLC6 | -- | -- | 27689 | 257187 | 231374 | 308543 | 290267.01 | 284761.62 | 272897.46 | 260622 | 32.6895 | 19.6442 | --
| NaturEner Glacier Wind Energy 2 LLC6 | -- | -- | -- | 56332 | 227020 | 321846 | 286947.54 | 276187.23 | 259191.9 | 258022 | 32.3459 | 16.1731 | --
| Rim Rock | -- | -- | -- | -- | -- | -- | 56893.32 | 335839.68 | 562316.04 | 603536 | 35.9535
NJR Clean Energy Ventures
| Two Dot Wind Farm | -- | -- | -- | -- | -- | -- | -- | -- | 17106 | 29845 | 1.0831
Northern Lights Cooperative
| Lake Creek7 | 27072.5 | 27406.4 | 23102.2 | 21887.5 | 22635.6 | 30822 | 30591 | 28028 | 29098 | 22095 | 3.2442 | 2.7878 | 2.7652
NorthWestern Energy (portfolio)
| Dave Gates Generating Station | -- | -- | -- | -- | -- | 329266 | 361722.49 | 445151.38 | 412387 | 427708 | 45.5879 | -- | --
| Spion Kop | -- | -- | -- | -- | -- | -- | 42647 | 144110 | 136350 | 127626 | 10.3975
| Black Eagle | 136211.001 | 124084.001 | 126199 | 142590 | 141584 | 147040 | 120683 | 109985 | 135355 | 127279 | 14.7714 | 15.3121 | 13.1817
| Cochrane | 276795 | 233765 | 270680 | 298387 | 296861 | 284974 | 227886 | 229223 | 275627 | 260568 | 29.4874 | 31.4267 | 25.1957
| Hauser | 127815.001 | 118972.001 | 129812 | 135336 | 132325 | 133275 | 129008 | 115817 | 128796 | 122257 | 14.5133 | 14.7091 | 12.4982
| Holter | 279655 | 223233.999 | 267506 | 319805 | 303864 | 348297 | 283213 | 226345 | 285541 | 258627 | 32.3419 | 31.8279 | 25.36
| Madison | 67595 | 60099.001 | 57078 | 62452 | 61727 | 65131 | 66415 | 56473 | 61478 | 59401 | 7.1257 | 7.0537 | 7.0372
| Morony | 273198 | 241470 | 256017 | 307166 | 299245 | 199410 | 284608 | 225296 | 254947 | 247097 | 27.9437 | 31.4405 | 25.7328
| Mystic Lake | 43252.001 | 48576.999 | 53487 | 54439 | 46138 | 50609 | 49084 | 54124 | 64084 | 57481 | 6.3525 | 5.614 | 4.8036
| Rainbow | 238163.999 | 228869.001 | 239938 | 268072 | 252528 | 230631 | 241199 | 289203 | 412761 | 347742 | 35.0989 | 28.0267 | 24.2294
| Ryan | 411025 | 384540 | 390576 | 441426 | 423204 | 440545 | 390454 | 395440 | 468937 | 447914 | 49.4415 | 46.8213 | 41.14
| Thompson Falls | 493070 | 509373 | 474349 | 482044 | 465209 | 534298 | 522124 | 482932 | 529694 | 522509 | 59.7822 | 55.3435 | 52.0539
Northwestern Qualifying Facilities
| Other hydro | 8419.24 | 7071.756 | 7093.8646 | 9423.201 | 9353.319 | 7788 | 8223 | 8267 | 8698 | 9257.523 | 0.97425 | 0.94432 | 0.80752
Ormat
| Culbertson Waste Heat (Basin portfolio)3 | -- | -- | -- | -- | 27557 | 57155 | 36382 | 36937 | 21584 | 29819 | 4.1955 | 3.1458 | --
PacifiCorp
| Bigfork | 31390.999 | 24435 | 27562 | 28977 | 32262 | 34671 | 33426 | 30165 | 31240 | 26515 | 3.599 | 3.302 | 2.8482
Talen (formerlly PPL Montana)
| Colstrip8 | 14764749 | 15840087 | 16086749.997 | 13154978 | 16211861 | 13025219 | 12239405.183 | 12727096 | 13715503 | 14844275 | 1535.2133 | 1736.4937 | 1737.5945
| J E Corette12 | 1204206 | 1186136 | 1024555 | 1075253 | 961177 | 831047 | 717844 | 907870 | 579688 | 152834 | 73.5705 | 124.4595 | 128.0347
Rocky Mountain Power
| Hardin Generating Station | 489442 | 728486 | 610938 | 790037 | 793895 | 645637 | 467195.85 | 612292.57 | 679775 | 489990 | 66.7795 | 77.9178 | --
Salish-Kootenai
| Boulder Creek | 1263 | 1042 | 1224.64 | 1025.6 | 1352.16 | 1637 | 1674 | 1252 | 1285 | 1239 | 0.16348 | 0.13487 | 0.079616
| Séliš, Ksanka Qíispé (formerly Kerr)11 | 1076089 | 1088593 | 1069901 | 993385 | 1033265 | 1262600 | 1128646 | 1067271 | 1159340 | 1073292 | 131.2837 | 120.1195 | 108.6094
Tiber Montana, LLC
| Tiber (NWE portfolio)9 | 42985.998 | 38901 | 43402 | 50830 | 41868 | 58260 | 52467 | 51995 | 2025 | 54847 | 5.0656 | 4.9769 | 3.4934
Turnbull Hydro, LLC
| Turnbull Hydro | -- | -- | -- | -- | -- | 22319 | 33019 | 29080 | 28354 | 25123 | 3.181 | -- | --
Two Dot Wind (NWE QF)13 |  | 2914 | 3880 | 4686 | 3917 | 4626 | 5173 | 4437 | 4590 | 4061 | 3247 | 0.49615
United Materials of Great Falls Inc
| Horseshoe Bend (NWE QF)10 | 23528 | 24481.002 | 27311 | 23094.72 | 21055.32 | 24550 | 22847 | 24620 | 24521 | 20016 | 2.6887 | 2.7276 | --
Western Area Power Administration
| Canyon Ferry | 329710 | 285725 | 332402 | 388180 | 368871 | 418733 | 323718 | 264915 | 363024 | 303339 | 38.6097 | 38.9244 | 30.611
| Fort Peck | 704920 | 609731 | 573386 | 584252 | 584252 | 1224036 | 1128780 | 570460 | 732827 | 753359 | 101.7177 | 69.784 | 79.8225
| Yellowtail | 475182 | 380434 | 769281 | 898516 | 830746 | 1123986 | 527731 | 471034 | 1095850 | 744118 | 91.4122 | 76.579 | 47.2307
WINdata LLC
| Fairfield Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | 19972.415 | 31604.88 | 1.1898
Yellowstone Energy Partnership
| Billings Generation Inc. (NWE QF) | 424898.241 | 428640.128 | 405714.552 | 449481.852 | 403000.45 | 444292 | 454126.613 | 448669 | 404693 | 500087 | 51.9462 | 48.2131 | 45.6216
TOTALS |  | 28215057.452 | 28969903.25 | 29367862.2526 | 26550700.22 | 29501312.66 | 29883251 | 27564825.466 | 27429759.46 | 30150221.668 | 29103644.593 | 3324.8087 | 3278.1518 | 2977.1732
Note: aMW = average megawatt, or 8,760 megawatt hours in a year.
Note: The following dams were purchased by NorthWestern Energy in 2014 from PPL Montana-Black Eagle, Cochrane, Holter, Hauser, Madison, Morony, Mystic, Ryan, Rainbow, Thompson Falls, and Kerr. Kerr was subsequently purchased in 2015 by the Salish-Kootenai Tribe and renamed Séliš, Ksanka QÍispé.
1 | Net generation equals gross generation minus plant use.
2 | Average is for a five year period even if the plant came on line at some point within the five years.
3 | Data provided by Basin Electric Cooperative and Ormat, as EIA data appear to be incorrect and referring to waste heat recovery in North Dakota and South Dakota.
4 | Data for 2007 and 2008 from the US Corps of Engineers, as EIA data appear to be incorrect.
5 | Data for 2006-2009 provided by NorthWestern Energy, as EIA data appear to be incorrect.
6 | Data initially provided by Naturener, as EIA data appear to be incorrect; averages exclude months in the first year of commercial operation.
7 | Gross generation; plant use has not been subtracted out.
8 | Operated by Talen; actual ownership shared with five other utilities.
9 | Data for 2004-2006 provided by Tiber LLC.
10 | NWE QF for summer months; in the other nine months the output goes to Idaho Power.
11 | In 2014, the Kerr Dam changed ownership and became property of NorthWestern Energy. In 2015, Kerr Dam tranferred ownership to the Salish-Kootenai Tribe.
12 | In 2015, the Corette power plant was shut down.
13 | Two Dot Wind LLC includes Martinsdale, Martinsdale S., Mission, Moe Wind, Montana Marginal, and Sheep Valley
Source: U.S. Department of Energy, Energy Information Administration, Form 923, 2006-2013, Page 1 MT Sorted tab, 906 and 920 databases (http://www.eia.gov/electricity/data/eia923/index.html), except as follows: Landfill Gas to Energy - Flathead Electric Cooperative; Milltown Dam, Strawberry Creek, all NWE QFs and Two Dot - NorthWestern Energy, Frank Bennett ; Hellroaring Creek - Mission Valley Power; Lake Creek - Northern Lights Cooperative; and Boulder Creek - S&K Holdings. Additional sources listed in footnotes 4, 5 and 9.

## Table E3
Table E3. Average Generation by Company (1.0 aMW or above) and Largest In-State Plant Owners, 2001-2005, 2006-2010, and 2011-2015
| aMW1 |  |  | Montana Generation by Largest In-State Plant Owners (over 40 aMW generation)
Company | 2001-2005 | 2006-2010 | 2011-2015 |  | 2011-2015 |  | 2006-2010 |  | 2001-2005
[5 empty] | aMW1 | Percent | aMW1 | Percent | aMW1 | Percent
Avista2 | 356.9072 | 373.3044 | 373.0724 | Talen Energy/Riverstone (formerly PPL) | 738.2647 | 22.2% | 950.8389 | 28.98% | 906.8391 | 30.46%
Basin Creek Power Services | -- | 5.8185 | 3.9563 | Puget Sound | 496.3417 | 14.93% | 561.4165 | 17.11% | 561.7724 | 18.87%
Basin Electric Cooperative | -- | 0.67785 | 9.7657 | BPA | 398.8789 | 12% | 329.7839 | 10.05% | 309.7791 | 10.41%
Bonneville Power Administration | 309.7791 | 329.7839 | 398.8789 | Avista | 373.0724 | 11.22% | 373.3044 | 11.38% | 356.9072 | 11.99%
Colstrip Energy Partnership | 31.7282 | 34.7075 | 34.8496 | WAPA | 231.7396 | 6.97% | 185.2874 | 5.648% | 157.6642 | 5.296%
Flathead Electric Cooperative | -- | 0.59115 | 1.1287 | NWE | 221.6111 | 6.665% | 184.3637 | 5.62% | 185.6159 | 6.235%
Goldwind Global | -- | -- | 3.8493 | PGE | 217.012 | 6.527% | 245.4643 | 7.482% | 245.6198 | 8.25%
Gordon Butte | -- | -- | 3.7246 | Salish-Kootenai5 | 131 | 3.94% | 0 | 0% | 0 | 0%
Hydrodynamics | 0.75039 | 0.99642 | 0.99844 | Pacific | 112.105 | 3.372% | 126.0341 | 3.842% | 125.6581 | 4.221%
Invenergy | -- | 52.4746 | 55.9559 | Naturener | 100.9889 | 3.037% | 35.8173 | 1.092% | -- | --
Montana-Dakota Utilities | 36.7804 | 43.4419 | 43.0302 | Rocky Mt | 66.7795 | 2.009% | 77.9178 | 2.375% | -- | --
MT Dept of Natural Resources and Conservation | 4.8094 | 5.5922 | 5.8057 | Invenergy | 55.9559 | 1.683% | 52.4746 | 1.6% | -- | --
NJR Clean Energy Ventures | -- | -- | 1.0831 | Yellowstone Energy Partnership | 51.9462 | 1.562% | 48.2131 | 1.47% | 45.6216 | 1.532%
Naturener | -- | 35.8173 | 100.9889 | MDU | 43.0302 | 1.294% | 43.4419 | 1.324% | 36.7804 | 1.235%
Northern Lights Cooperative | 2.7652 | 2.7878 | 3.2442 | Other | 84.4455 | 2.54% | 66.2884 | 2.021% | 44.9154 | 1.509%
NorthWestern Energy2 | 185.6159 | 184.3637 | 221.6111 | TOTAL | 3324.8087 | 100% | 3280.6463 | 100% | 2977.1732 | 100%
Ormat | -- | 3.1458 | 4.1955
PacificCorp2 | 125.6581 | 126.0341 | 112.105
Portland General Electric2 | 245.6198 | 245.4643 | 217.012
Talen Energy LLC (formerly PPL Montana)2 | 906.8391 | 950.8389 | 738.2647 | Colstrip Ownership Percentages, 2017 (based on capability)
Puget Sound Energy2 | 561.7724 | 561.4165 | 496.3417 |  |  | MW | Percent
Rocky Mountain Power | -- | 77.9178 | 66.7795 | Avista |  | 222 | 10.6%
Salish-Kootenai5 | -- | -- | 131.4472 | NorthWestern |  | 222 | 10.6%
Tiber LLC | 3.4934 | 4.9769 | 5.0656 | PacifiCorp |  | 148 | 7.068%
Turnbull Hydro LLC | -- | 2.5 | 3.181 | Talen Energy LLC/RiverStone Holdings |  | 529 | 25.26%
United Building Materials | -- | 2.7276 | 2.6887 | Portland General Electric |  | 296 | 14.14%
Western Area Power Administration3 | 157.6642 | 185.2874 | 231.7396 | Puget Sound |  | 677 | 32.33%
Windata |  |  | 1.1898 | [5 empty] | MW in Colstrip Units:
Yellowstone Energy Partnership | 45.6216 | 48.2131 | 51.9462
Other (Stoltz Co-Gen)4 | -- | -- | 0.90904 | TOTAL |  | 2094 | 100% |  | I & II | III & IV
[9 empty] | 614 | 1480
TOTAL | 2977.1732 | 3280.6463 | 3324.8087
1 aMW = average megawatt, or 8,760 megawatt hours in a year. Average Megawatts may include fewer years than the column range given such as for Two Dot Wind Farm which started in 2014, and therefore understate the average yearly output
2 Output for Colstrip 1-4 is reported for the entire facility, not individual units. In this table, output was allocated among the partners on the basis of their ownership percentages, so therefore output is estimated.
3 Distributes power generated at US Corps of Engineers and US Bureau of Reclamation dams.
4 Other includes only the Stoltz co-gen plant
5 In 2015, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it. Before that, is was owned by PPL Montana.
Source: U.S. Department of Energy, Energy Information Administration, Form EIA-923 detailed data with previous form data (EIA-906/920), with additional data from Basin Electric Cooperative, Flathead Electric Cooperative, Mission Valley Power, Naturener, Northern Lights Cooperative, NorthWestern Energy for QFs, Milltown and corrected Judith Gap data, S&K Holdings, Tiber LLC, Troy Dalgren, and Talen, personal communication.

## Table E4
Table E4. Annual Consumption of Fuels for Electric Generation, 1960-20151
| COAL2 | PETROLEUM3 | NATURAL GAS
YEAR | (thousand short tons) | (thousand barrels) | (million cubic feet)
|  | barrels) | cubic feet)
1960 | 186.9 | * | 341.3
1961 | 262.5 | * | 356.2
1962 | 291.6 | 1.3 | 3712.5
1963 | 285.5 | 0.7 | 3303.3
1964 | 293.8 | 3.6 | 2449.5
1965 | 295.8 | 0.7 | 1992.3
1966 | 323.5 | 82.2 | 2977.2
1967 | 325.4 | 6.1 | 502.5
1968 | 399.2 | 22.9 | 631.3
1969 | 576.6 | 104.9 | 1520.5
1970 | 722.7 | 26 | 2529.4
1971 | 672 | 0.2 | 1079.8
1972 | 768.7 | 17.5 | 1217.4
1973 | 892.6 | 152.2 | 2167.4
1974 | 854.6 | 14 | 1038
1975 | 1061.3 | 62.6 | 1073.3
1976 | 2373.7 | 81.1 | 708.5
1977 | 3196.7 | 195.3 | 953.3
1978 | 3184.2 | 98.1 | 909.4
1979 | 3461.4 | 146.5 | 2320.4
1980 | 3351.6 | 58.6 | 4182.1
1981 | 3337.9 | 38.5 | 2069.4
1982 | 2595.8 | 30.6 | 337
1983 | 2356 | 31 | 335
1984 | 5113 | 78 | 360
1985 | 5480 | 38 | 468
1986 | 7438 | 25 | 407
1987 | 7530 | 44 | 478
1988 | 10410 | 63 | 286
1989 | 10208 | 60 | 336
1990 | 9572.552 | 66.616 | 587.869
1991 | 10460.288 | 46.092 | 427.335
1992 | 11027.734 | 37.706 | 369.911
1993 | 9121.194 | 50.516 | 419.584
1994 | 10780.515 | 45.784 | 765.295
1995 | 9640.755 | 474.349 | 626.284
1996 | 8074.851 | 662.752 | 707.352
1997 | 9464.685 | 664.073 | 673.04
1998 | 10896.465 | 1072.4 | 734.478
1999 | 10902.921 | 1143.567 | 520.46
2000 | 10385.396 | 1167.279 | 409.234
2001 | 10838.145 | 1080.865 | 297.25
2002 | 9746.411 | 1057.987 | 244.602
2003 | 11031.665 | 981.132 | 333.892
20044 | 11321.883 | 752.1122 | 260.6772
20054 | 11587.5 | 708.0426 | 275.9672
20064 | 11302.084 | 727.0107 | 622.6889
2007 | 11928.925 | 824.077 | 1044.933
2008 | 12011.567 | 809.172 | 573.075
2009 | 10151.222 | 927.619 | 771.585
2010 | 12005.206 | 777.876 | 726.801
20115 | 9772 | 878 | 4681
2012 | 9064 | 890 | 5370
2013 | 9570 | 892 | 7273
2014 | 10187 | 821 | 5936
2015 | 10283 | 944 | 6558
* less than 0.05
1 Data includes fuel use at independent power producers, which first came on line in 1990. The data do not include all self-generation at industrial facilities. Data exclude small amounts of waste gases used for generation.
2 Coal includes anthracite, bituminous coal, subbituminous coal, lignite, waste coal, and synthetic coal. As of 2011, coal also inlcudes synthesis gas derived from coal. Most of this coal is burned at the Colstrip generating station
3 Petroleum includes distillate fuel oil (all diesel and No. 1, No. 2, and No. 4 fuel oils), residual fuel oil (No. 5 and No. 6 fuel oils and bunker C fuel oil), jet fuel, kerosene, petroleum coke, waste oil, and beginning in 2011, propane.
4 A new method of allocating fuel consumption between electric power generation and useful thermal output (UTO) was implemented for 2004 forward. This new methodology proportionally distributes a combined heat and power (CHP) plant’s losses between the two output products (electric power and UTO). This change results in lower fuel consumption for electricity generation, and therefore the appearance of an increase in efficiency of production of electric power between 2003 and 2004. Beginning with the January 2008 data, EIA estimates the allocation of the total fuel consumed at CHP plants between electric power generation and useful thermal output.
5 The Dave Gates Generating Station which began production in 2011 accounts for the significant uptick in natural gas usage for 2011. This increase in natural gas usage, increasing wind generation, and above average run-off years in 2011 and 2012 are some of the reasons for lower coal usage starting in 2011.
Sources: Federal Energy Regulatory Commission, Form 4 News Releases (1960-76); U.S. Department of Energy, Energy Information Administration, Electric Power Statistics, EIA-0034 (1977-78); U.S. Department of Energy, Energy Information Administration, Power Production, Fuel Consumption and Installed Capacity, EIA-0049 (1979); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1980-89); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, Form EIA-923 detailed data with previous form data (EIA-906/920), 'Annual_consumption_state' (1990-2015).

## Table E5
Table E5. Net Electric Generation by Type of Fuel Unit, 1960-2015 (GWh or million kWh)1,2
| COAL |  | HYDROELECTRIC |  | PETROLEUM 3 |  | NATURAL GAS |  | WIND
YEAR | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | TOTAL
1960 | NA |  | 5801 | 96.8124 | NA |  | NA |  |  |  | 5992
1961 | 263 | 3.8791 | 6499 | 95.8555 | 0 | * | 19 | * |  |  | 6780
1962 | 291 | 4.1271 | 6410 | 90.9091 | 1 | * | 349 | 4.9497 |  |  | 7051
1963 | 284 | 4.3069 | 6011 | 91.1586 | 0 | * | 299 | 4.5344 |  |  | 6594
1964 | 286 | 3.9023 | 6821 | 93.0686 | 2 | * | 220 | 3.0018 |  |  | 7329
1965 | 285 | 3.2222 | 8389 | 94.8445 | 0 | * | 171 | 1.9333 |  |  | 8845
1966 | 317 | 3.6977 | 7940 | 92.6164 | 43 | * | 273 | 3.1844 |  |  | 8573
1967 | 314 | 3.4654 | 8703 | 96.049 | 3 | * | 41 | * |  |  | 9061
1968 | 434 | 4.6067 | 8925 | 94.7352 | 10 | * | 52 | * |  |  | 9421
1969 | 735 | 7.0802 | 9447 | 91.0028 | 52 | * | 147 | 1.416 |  |  | 10381
1970 | 966 | 9.7056 | 8745 | 87.863 | 14 | * | 228 | 2.2908 |  |  | 9953
1971 | 901 | 8.5056 | 9595 | 90.5787 | 1 | * | 96 | 0.90626 |  |  | 10593
1972 | 1079 | 10.1419 | 9444 | 88.7677 | 7 | * | 108 | 1.0151 |  |  | 10639
1973 | 1303 | 14.3439 | 7517 | 82.7499 | 69 | * | 195 | 2.1466 |  |  | 9084
1974 | 1210 | 10.9601 | 9726 | 88.0978 | 6 | * | 98 | 0.88768 |  |  | 11040
1975 | 1544 | 13.7648 | 9560 | 85.2278 | 17 | * | 96 | 0.85584 |  |  | 11217
1976 | 3558 | 22.1627 | 12402 | 77.2518 | 27 | * | 67 | * |  |  | 16054
1977 | 4788 | 35.6595 | 8460 | 63.0074 | 92 | 0.68519 | 87 | 0.64795 |  |  | 13427
1978 | 4871 | 29.1712 | 11708 | 70.1162 | 35 | * | 84 | * |  |  | 16698
1979 | 5114 | 32.565 | 10344 | 65.8686 | 58 | * | 188 | 1.1971 |  |  | 15704
1980 | 5140 | 33.2063 | 9966 | 64.384 | 22 | * | 351 | 2.2676 |  |  | 15479
1981 | 5047 | 30.4789 | 11323 | 68.3797 | 13 | * | 176 | 1.0629 |  |  | 16559
1982 | 3853 | 26.0057 | 10920 | 73.7041 | 10 | * | 33 | * |  |  | 14816
1983 | 3452 | 22.9259 | 11561.2298 | 76.7819 | 10 | * | 34 | * |  |  | 15057.2298
1984 | 7650 | 40.6083 | 11112.5288 | 58.9883 | 36 | * | 40 | * |  |  | 18838.5288
1985 | 8465 | 45.2268 | 10177.7917 | 54.3779 | 16 | * | 58 | * |  |  | 18716.7917
1986 | 11469 | 51.2167 | 10863.1036 | 48.5109 | 9 | * | 52 | * |  |  | 22393.1036
1987 | 11836 | 56.7896 | 8930.8544 | 42.8506 | 17 | * | 58 | * |  |  | 20841.8544
1988 | 16462 | 66.4457 | 8246.1294 | 33.2839 | 30 | * | 37 | * |  |  | 24775.1294
1989 | 16129 | 62.5582 | 9580.4046 | 37.1587 | 30 | * | 43 | * |  |  | 25782.4046
1990 | 15119.619 | 58.3303 | 10716.817 | 41.3447 | 28.982 | * | 55.255 | * |  |  | 25920.673
1991 | 16432.52 | 57.7501 | 11970.007 | 42.0671 | 19.654 | * | 32.344 | * |  |  | 28454.525
1992 | 17453.833 | 67.713 | 8270.838 | 32.0871 | 16.956 | * | 34.569 | * |  |  | 25776.196
1993 | 14082.858 | 59.2864 | 9614.088 | 40.4737 | 22.069 | * | 34.92 | * |  |  | 23753.935
1994 | 16809.389 | 67.0973 | 8149.507 | 32.53 | 20.122 | * | 73.226 | * |  |  | 25052.244
1995 | 14934.147 | 57.6679 | 10745.853 | 41.4949 | 168.054 | 0.64894 | 48.738 | * |  |  | 25896.792
1996 | 12462.506 | 46.5755 | 13794.931 | 51.5551 | 444.948 | 1.6629 | 55.249 | * |  |  | 26757.634
1997 | 14616.02 | 51.2703 | 13406.494 | 47.0275 | 436.632 | 1.5316 | 48.61 | * |  |  | 28507.756
1998 | 16784.786 | 59.1321 | 11117.94 | 39.168 | 426.731 | 1.5034 | 55.776 | * |  |  | 28385.233
19994 | 16993.155 | 54.224 | 11879.2217 | 44.1053 | 486.959 | 1.5539 | 36.606 | * |  |  | 29476.4957
2000 | 16200.839 | 61.4352 | 9623.257 | 36.4924 | 519.891 | 1.9715 | 26.607 | * |  |  | 26370.594
2001 | 17035.883 | 70.4922 | 6613.474 | 27.3657 | 497.614 | 2.0591 | 20.089 | * |  |  | 24167.06
2002 | 15337.829 | 60.4064 | 9566.909 | 37.6782 | 469.659 | 1.8497 | 16.678 | * |  |  | 25391.075
2003 | 17048.635 | 65.1257 | 8701.772 | 33.2407 | 402.164 | 1.5363 | 25.468 | * |  |  | 26178.039
2004 | 17380.228 | 65.0863 | 8856.031 | 33.1645 | 439.137 | 1.6445 | 27.953 | * |  |  | 26703.349
2005 | 17823.339 | 63.9919 | 9587.349 | 34.4219 | 414.876 | 1.4895 | 26.938 | * |  | 0 | 27852.502
2006 | 17085.08 | 60.7191 | 10130.161 | 36.0018 | 419.124 | 1.4895 | 67.58 | * | 435.97 | 1.5494 | 28137.915
2007 | 18356.775 | 63.7354 | 9364.336 | 32.5133 | 478.677 | 1.662 | 105.974 | * | 495.776 | 1.7214 | 28801.538
2008 | 18331.532 | 62.333 | 9999.557 | 34.0016 | 419.15 | 1.4252 | 65.659 | * | 593.138 | 2.0169 | 29409.036
2009 | 15611.279 | 58.8964 | 9505.94 | 35.8629 | 490.433 | 1.8502 | 77.762 | * | 820.924 | 3.0971 | 26506.338
2010 | 18600.634 | 63.2435 | 9414.662 | 32.0105 | 408.501 | 1.3889 | 57.112 | * | 930.233 | 3.1629 | 29791
2011 | 15056 | 49.9718 | 12596 | 41.8069 | 461 | 1.53 | 418 | 1.39 | 1166 | 3.87 | 30129
2012 | 13987 | 50.3039 | 11283 | 40.579 | 467 | 1.6796 | 464 | 1.6688 | 1262 | 4.5388 | 27805
2013 | 14880 | 53.7436 | 9638 | 34.8106 | 462 | 1.6687 | 614 | 2.2176 | 1755 | 6.3387 | 27687
2014 | 15579 | 51.4872 | 11483 | 37.9503 | 428 | 1.4145 | 515 | 1.702 | 1974 | 6.5239 | 30258
2015 | 16013 | 54.6481 | 9888 | 33.7451 | 496 | 1.6927 | 599 | 2.0442 | 1965 | 6.706 | 29302
NA = Not available |  |  | *Less than 0.5 percent.
Note: The' Total' column may include other fuels not listed in the fist five columns and therefore column percentages may not add up to 100%
1 Gross generation less the electric energy consumed at the generating station for facilities with greater than 1 MW nameplate and owned by or selling to electric utilities and cooperatives. Starting in 1983, annual output of non-utility plants selling into the grid is included. From 1990 forward, TOTAL includes minor amounts of generation from sources not listed in the table. This table is useful for long-term trends; Table E2 is more detailed for recent production figures.
2 Output from certain hydro and wind facilities, most notably Lake (1996-2010) and Tiber (2004-2005), aren't included in the EIA database; the sum of these exclusions is around 65-75 million kWh (~8 aMW) at its highest and much less otherwise. Further, there are several known errors and probably additional errors not known to DEQ. Because of the net error in the EIA data is not known, DEQ has not made any corrections in these data except as noted in Footnote 4.
3 Primarily petroleum coke and some fuel oil.
4 U.S. DOE figures appear to have double-counted output from some of the dams the Montana Power Company sold to PPL in December of 1999. Therefore, DEQ adjusted the hydroelectric generation and total generation, based on data presented in Table E3.
Sources: Federal Power Commission (1960-76); U.S. Department of Energy, Energy Information Administration, Power Production, Fuel Consumption and Installed Capacity Data, EIA-0049 (1977-80); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1981-89); U.S. Department of Energy, Energy Information Administration, 1990-2015, Form EIA-923 detailed data with previous form data (EIA-906/920), 'Annual_generation_state'.
2015 Output
| 2015 | Coal | Hydro | Natural Gas | Wind | Petrol/Coke
|  | 16013 | 9888 | 599 | 1965 | 496

## Table E6
Table E6. Annual Sales of Electricity by Sector, 1960-2015 (million kilowatt-hours)
| MONTANA |  |  |  |  | USA
Year | Residential | Commercial | Industrial | Other1 | Total | TOTAL
1960 | 935 | 479 | 2951 | 209 | 4575 | 686493
1961 | 982 | 518 | 2975 | 222 | 4697 | 720120
1962 | 1041 | 551 | 3099 | 254 | 4946 | 775381
1963 | 1077 | 574 | 3191 | 259 | 5101 | 830079
1964 | 1139 | 610 | 3544 | 249 | 5541 | 896059
1965 | 1216 | 654 | 3939 | 270 | 6080 | 959493
1966 | 1261 | 698 | 4657 | 286 | 6902 | 1035145
1967 | 1291 | 746 | 4282 | 293 | 6612 | 1099137
1968 | 1373 | 805 | 4982 | 273 | 7433 | 1202871
1969 | 1462 | 863 | 6208 | 247 | 8781 | 1312406
1970 | 1534 | 924 | 6029 | 264 | 8750 | 1392300
1971 | 1633 | 990 | 5999 | 268 | 8890 | 1469306
1972 | 1768 | 1070 | 5660 | 265 | 8763 | 1595161
1973 | 1812 | 1125 | 5034 | 246 | 8217 | 1713380
1974 | 1873 | 1156 | 5929 | 213 | 9171 | 1707852
1975 | 2058 | 1250 | 5069 | 197 | 8575 | 1736267
1976 | 2261 | 1525 | 5922 | 203 | 9911 | 1855246
1977 | 2440 | 1625 | 5759 | 189 | 10013 | 1948361
1978 | 2754 | 1768 | 6106 | 158 | 10786 | 2017922
1979 | 2957 | 1907 | 6111 | 154 | 11129 | 2071099
1980 | 2916 | 1957 | 5815 | 137 | 10825 | 2094449
1981 | 2906 | 2045 | 5848 | 157 | 10956 | 2147103
1982 | 3178 | 2180 | 4759 | 159 | 10276 | 2086441
1983 | 3097 | 2334 | 4217 | 166 | 9813 | 2150955
1984 | 3386 | 2687 | 5229 | 164 | 11466 | 2278372
1985 | 3505 | 2521 | 5623 | 173 | 11822 | 2309543
1986 | 3181 | 2302 | 5948 | 161 | 11593 | 2350835
1987 | 3139 | 2495 | 6304 | 484 | 12423 | 2457272
1988 | 3301 | 2620 | 6438 | 582 | 12942 | 2578062
1989 | 3456 | 2670 | 6535 | 400 | 13061 | 2646809
1990 | 3358.385 | 2737.526 | 6529.326 | 499.346 | 13124.583 | 2712554.665
1991 | 3458.893 | 2818.85 | 6622.098 | 506.759 | 13406.6 | 2762003.04
1992 | 3286.365 | 2859.488 | 6414.379 | 536.15 | 13096.382 | 2763365.449
1993 | 3597.987 | 3026.077 | 5836.579 | 468.584 | 12929.227 | 2861462.34
1994 | 3566.917 | 3096.032 | 5960.54 | 560.645 | 13184.134 | 2934562.864
1995 | 3639.879 | 3133.252 | 6367.702 | 277.69 | 13418.523 | 3013286.589
1996 | 3910.516 | 3298.6 | 6305.683 | 304.757 | 13819.556 | 3101127.023
19972 | 3803.973 | 3292.924 | 6353 | 283.918 | 13733.815 | 3145610.428
19983 | 3722.471 | 3313.181 | 6773.787 | 335.393 | 14144.832 | 3264230.752
19993 | 3664.414 | 3025.111 | 6257.748 | 334.326 | 13281.599 | 3312087.081
2000 | 3907.754 | 3791.861 | 6567.934 | 312.433 | 14579.982 | 3421414.266
2001 | 3886.224 | 3865.679 | 3370.259 | 324.496 | 11446.658 | 3394458.104
2002 | 4030.664 | 4003.108 | 4462.794 | 334.822 | 12831.388 | 3465466.011
2003 | 4120.15 | 4437.53 | 4266.98 | NA | 12824.66 | 3493734.486
2004 | 4052.761 | 4330.178 | 4573.843 | NA | 12956.782 | 3547479.483
2005 | 4221.448 | 4473.394 | 4783.996 | NA | 13478.838 | 3660968.513
2006 | 4393.973 | 4685.992 | 4735.015 | NA | 13814.98 | 3669918.84
2007 | 4541.544 | 4827.724 | 6162.717 | NA | 15531.985 | 3764560.712
2008 | 4669.467 | 4825.52 | 5831.413 | NA | 15326.4 | 3732962.18
2009 | 4774.281 | 4779.366 | 4772.512 | NA | 14326.159 | 3596864.866
2010 | 4742.794 | 4789.182 | 3891.162 | NA | 13423.138 | 3754493.053
2011 | 4913 | 4892 | 3983 | NA | 13788 | 3282882
2012 | 4778 | 4918 | 4168 | NA | 13863 | 3694650
2013 | 4926 | 4890 | 4229 | NA | 14045 | 3725064
2014 | 4969 | 4903 | 4230 | NA | 14102 | 3764700
2015 | 4825 | 4894 | 4488 | NA | 14207 | 3758992
NA: Not available. This category is now rolled into Commercial or Industrial; there are no Transportation sales in Montana as of 2015.
1 Beginning in 2003 the 'Other Sector' category has been eliminated. Data previously assigned to the Other Sector have been reclassified as follows: Lighting for public buildings, streets, and highways, interdepartmental sales, and other sales to public authorities are now included in the Commercial Sector; Agricultural and irrigation sales, where separately identified, are now included in the Industrial Sector.
2 EIA data on industrial sales corrected by adding BPA sales of 1,816 million kWh, which EIA didn't include in this year.
3 Some power marketers did not report sales data, did not report it accurately, or reported it in a manner different than traditional utilities. This problem is believed to be most pronounced in 1999 and is believed to be minimal in recent years.
Sources: Federal Power Commission (1960-76); U.S. Department of Energy, Energy Information Administration, Electric Power Statistics, EIA-0034 (1977-78); U.S. Department of Energy, Energy Information Administration, Financial Statistics of Electric Utilities and Interstate Natural Gas Pipeline Companies, EIA-0147 (1979-80); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1981-99); U.S. Department of Energy, Energy Information Administration, Form 861 Database (2000-2015, Annual-by sector by state, https://www.eia.gov/electricity/data.php); 'sales_annual' in files.

## Table E7
Table E7. Average Annual Retail Prices for Electricity Sold, 1960-2015 (cents per kilowatt-hour)1,3
| MONTANA |  |  |  | U.S.
Year | Residential | Commercial | Industrial | All Montana Sales | All Sales
1960 | 2.33 | 2.25 | 0.43 | 1.05 | 1.69
1961 | 2.32 | 2.18 | 0.45 | 1.06 | 1.69
1962 | 2.29 | 2.13 | 0.46 | 1.07 | 1.67
1963 | 2.25 | 2.06 | 0.45 | 1.07 | 1.64
1964 | 2.2 | 2.02 | 0.45 | 1.03 | 1.63
1965 | 2.12 | 1.93 | 0.44 | 0.98 | 1.59
1966 | 2.09 | 1.92 | 0.43 | 0.92 | 1.56
1967 | 2.04 | 1.89 | 0.42 | 0.95 | 1.55
1968 | 1.99 | 1.83 | 0.4 | 0.9 | 1.54
1969 | 2.1 | 1.93 | 0.41 | 0.88 | 1.54
1970 | 2.13 | 1.94 | 0.42 | 0.94 | 1.59
1971 | 2.12 | 1.94 | 0.43 | 0.95 | 1.68
1972 | 2.16 | 1.98 | 0.44 | 1 | 1.77
1973 | 2.21 | 2.04 | 0.53 | 1.16 | 1.86
1974 | 2.23 | 2.05 | 0.5 | 1.1 | 2.3
1975 | 2.19 | 2.08 | 0.62 | 1.25 | 2.7
1976 | 2.23 | 2.06 | 0.6 | 1.24 | 2.89
1977 | 2.38 | 1.9 | 0.67 | 1.38 | 3.21
1978 | 2.62 | 2.5 | 0.72 | 1.53 | 3.46
1979 | 2.67 | 2.52 | 0.8 | 1.62 | 3.82
1980 | 2.95 | 2.78 | 0.98 | 1.87 | 4.49
1981 | 3.38 | 3.19 | 1.3 | 2.24 | 5.16
1982 | 3.58 | 3.3 | 2.09 | 2.81 | 5.79
1983 | 4.19 | 3.88 | 2.37 | 3.31 | 6
1984 | 4.3 | 3.88 | 2.57 | 3.38 | 6.27
1985 | 4.7 | 4.2 | 2.55 | 3.56 | 6.47
1986 | 5.02 | 4.54 | 2.6 | 3.71 | 6.47
1987 | 5.23 | 4.68 | 2.72 | 3.83 | 6.39
1988 | 5.41 | 4.79 | 3.16 | 4.14 | 6.36
1989 | 5.38 | 4.68 | 3.09 | 4.09 | 6.47
1990 | 5.45 | 4.68 | 2.87 | 3.96 | 6.571
1991 | 5.76 | 5 | 2.92 | 4.14 | 6.7472
1992 | 5.84 | 5.17 | 2.89 | 4.19 | 6.8207
1993 | 5.77 | 5.1 | 3.1 | 4.36 | 6.9272
1994 | 5.96 | 5.17 | 3.3 | 4.51 | 6.9075
1995 | 6.09 | 5.31 | 3.44 | 4.65 | 6.8934
1996 | 6.22 | 5.51 | 3.3 | 4.72 | 6.8558
1997 | 6.4 | 5.8 | 3.66 | 5.2 | 6.8455
19982 | 6.5 | 5.87 | 3.19 | 4.8 | 6.7351
19992 | 6.78 | 6.35 | 2.74 | 4.77 | 6.6392
2000 | 6.49 | 5.6 | 3.97 | 5 | 6.81
2001 | 6.88 | 5.91 | 6.59 | 6.48 | 7.29
2002 | 7.23 | 6.28 | 3.71 | 5.7 | 7.2
2003 | 7.56 | 6.85 | 4.03 | 6.14 | 7.44
2004 | 7.86 | 7.42 | 4.15 | 6.4 | 7.61
2005 | 8.1 | 7.43 | 4.83 | 6.72 | 8.14
2006 | 8.28 | 7.44 | 5.12 | 6.91 | 8.9
2007 | 8.77 | 8.1 | 5.16 | 7.13 | 9.13
2008 | 9.13 | 8.54 | 5.9 | 7.72 | 9.74
2009 | 8.93 | 8.32 | 5.45 | 7.57 | 9.82
2010 | 9.16 | 8.55 | 5.49 | 7.88 | 9.83
2011 | 9.75 | 9.12 | 5.27 | 8.23 | 9.9
2012 | 10.08 | 9.13 | 5.1 | 8.25 | 9.84
2013 | 10.33 | 9.54 | 5.43 | 8.58 | 10.12
2014 | 10.18 | 9.64 | 5.49 | 8.59 | 10.44
2015 | 10.88 | 10.23 | 5.32 | 8.9 | 10.41
1 Average annual prices from 2000-2011, including 'All Montana Sales', were calculated by dividing total revenue by total sales as reported by Edison Electric Institute (1960-1999) and by U.S. Department of Energy Energy Information Administration (2000-2011). These figures are now given in the data and no longer need to be calculated.
2 Calculation of prices are based on data that include distribution utility receipts for delivering power for power marketers, but may not include revenue and sales for some power marketers. This problem is believed to be most pronounced in 1999, the first full year of deregulation and are believed to be minimal in recent years. Errors in price, where they exist, are most likely to occur in industrial prices.
3Retail prices include all components of delivered electricity including transmission and distribution fees. For this table, the U.S. EIA collects revenues ($) and sales (MWh). The ratio of the sums of these values at the utility and state levels is used to determine representative price. U.S. EIA instructs all revenues to be reported, so this includes taxes, transmission fees, fuel adjustment fees, and all related services. The MWh values are metered.
Source: Edison Electric Institute, Statistical Yearbook of the Electric Utility Industry, 1961-2000; U.S. Department of Energy, Energy Information Administration, Form 861 Database (2000-2015, 'Average Price by State by Provider', 2015-Interactive map-Annual by sector by state, https://www.eia.gov/electricity/data.php#sales); 'aveprice_annual' in files.

## Table E8
Table E8. Utility Revenue, Retail Sales, Consumers and Average Price per Kilowatt-hour, 2015 (with comparison to 2005 price)
| RESIDENTIAL |  |  | Average price |  | COMMERCIAL |  |  | Average price |  | INDUSTRIAL |  |  | Average price |  | TOTAL |  |  | Average price
| Revenue | Sales |  | (cents/kWh)2 |  | Revenue | Sales |  | (cents/kWh) |  | Revenue | Sales |  | (cents/kWh) |  | Revenue | Sales |  | (cents/kWh)
UTILITY NAME | ('000s) | (aMW)1 | Consumers | 2015 | 2005 | ('000s) | (aMW)1 | Consumers2 | 2015 | 2005 | ('000s) | (aMW)1 | Consumers2 | 2015 | 2005 | ('000s) | (aMW)1 | Consumers2 | 2015 | 2005
Cooperative | 196427 | 223.6184 | 161868 | 10.0274 | 7.7432 | 100142 | 129.6652 | 23305 | 8.8163 | 6.904 | 67062 | 100.3707 | 6753 | 7.6272 | 5.304 | 389884 | 470.4993 | 200052 | 9.4596 | 6.9591
Beartooth Electric Coop, Inc | 7572 | 5.0937 | 5114 | 16.9696 | 8.6535 | 1027 | 0.76427 | 405 | 15.3398 | 7.7268 | 158 | 0.15411 | 1 | 11.7037 | 6.5164 | 8757 | 6.0121 | 5520 | 16.6274 | 8.4561
Big Flat Electric Coop Inc4 | -- | -- | -- | -- | 9.3964 | -- | -- | -- | -- | 9.5999 | -- | -- | -- | -- | 10.2757 | 3364 | 3.1337 | 1934 | 12.2546 | 9.5543
Big Horn County Elec Coop, Inc | 3905 | 4.2107 | 3118 | 10.5867 | 8.4229 | 2183 | 2.2608 | 584 | 11.0225 | 8.1106 | 0 | 0 | 0 | -- | -- | 6088 | 6.4716 | 3702 | 10.7389 | 8.297
Big Horn Rural Electric Co | 49 | 0.038356 | 40 | 14.5833 | 9.5 | 298 | 0.24007 | 30 | 14.1702 | 9.0663 | 1982 | 2.0548 | 1 | 11.0111 | 8.4409 | 2329 | 2.3332 | 71 | 11.3949 | 8.5206
Fall River Rural Elec Coop Inc | 1875 | 1.8906 | 1416 | 11.3211 | 9.677 | 2500 | 3.6008 | 505 | 7.9257 | 7.1022 | 0 | 0 | 0 | -- | -- | 4375 | 5.4914 | 1921 | 9.0947 | 7.9736
Fergus Electric Coop, Inc | 9120 | 6.6023 | 5991 | 15.7687 | 10.1525 | 14781 | 18.363 | 236 | 9.1887 | 5.641 | 423 | 0.37865 | 106 | 12.7525 | 10.2108 | 24324 | 25.3439 | 6333 | 10.9561 | 7.9886
Flathead Electric Coop Inc | 61824 | 78.6401 | 53243 | 8.9745 | 7.4781 | 30376 | 50.6862 | 10378 | 6.8413 | 7.1633 | 14061 | 29.8597 | 86 | 5.3756 | 4.8306 | 106261 | 159.186 | 63707 | 7.6202 | 6.7011
Glacier Electric Coop, Inc | 6710 | 7.3678 | 5762 | 10.3963 | 8.8589 | 6772 | 9.3759 | 1785 | 8.2452 | 6.4324 | 1508 | 2.3469 | 5 | 7.335 | 5.2048 | 14990 | 19.0906 | 7552 | 8.9635 | 7.1993
Goldenwest Electric Coop, Inc4 | -- | -- | -- | -- | 10.3989 | -- | -- | -- | -- | 8.4367 | -- | -- | -- | -- | -- | 1446 | 1.2623 | 780 | 13.0765 | 9.8782
Grand Electric Coop, Inc | 17 | 0.01895 | 14 | 10.241 | 6.9444 | 0 | 0 | 0 | -- | -- | 0 | 0 | 0 | -- | -- | 17 | 0.01895 | 14 | 10.241 | 6.9444
Hill County Electric Coop, Inc | 4705 | 4.0215 | 3551 | 13.3559 | 9.9426 | 2959 | 3.3321 | 261 | 10.1374 | 7.2982 | 5803 | 8.6584 | 3 | 7.6508 | 3.4337 | 13467 | 16.012 | 3815 | 9.6011 | 5.8789
Lincoln Electric Coop, Inc | 7012 | 8.4981 | 4972 | 9.4193 | 5.3147 | 2046 | 2.9227 | 690 | 7.9913 | 5.0879 | 568 | 0.7355 | 2 | 8.8158 | 5.0693 | 9626 | 12.1563 | 5664 | 9.0394 | 5.2083
Lower Yellowstone R E A, Inc | 3825 | 5.3265 | 3178 | 8.1976 | 7.451 | 2953 | 3.6068 | 855 | 9.3461 | 9.0755 | 12810 | 14.6428 | 1012 | 9.9867 | 8.1019 | 19588 | 23.5761 | 5045 | 9.4845 | 7.9669
Marias River Electric Coop Inc | 2386 | 3.2735 | 2520 | 8.3205 | 4.9255 | 4283 | 5.9398 | 1342 | 8.2313 | 5.418 | 0 | 0 | 0 | -- | -- | 6669 | 9.2134 | 3862 | 8.263 | 5.2368
McCone Electric Coop Inc | 5983 | 5.2798 | 4629 | 12.9359 | 9.4282 | 2319 | 2.5193 | 552 | 10.508 | 7.5117 | 240 | 0.20731 | 70 | 13.2159 | -- | 8542 | 8.0064 | 5251 | 12.1792 | 8.8199
McKenzie Electric Coop Inc | 37 | 0.054452 | 24 | 7.7568 | 7.6586 | 8 | 0.0089041 | 9 | 10.2564 | 6.25 | 33 | 0.020662 | 80 | 18.232 | -- | 78 | 0.084018 | 113 | 10.5978 | 7.611
Mid-Yellowstone Elec Coop, Inc | 2115 | 1.5322 | 1049 | 15.7577 | 9.2478 | 485 | 0.39589 | 218 | 13.985 | 8.4034 | 1493 | 1.1909 | 744 | 14.3117 | -- | 4093 | 3.1189 | 2011 | 14.9806 | 9.1428
Missoula Electric Coop, Inc | 14599 | 17.1505 | 12794 | 9.7172 | 7.6191 | 3675 | 4.7358 | 1328 | 8.8584 | 6.5849 | 1622 | 2.4756 | 280 | 7.4795 | 6.1259 | 19896 | 24.3619 | 14402 | 9.3229 | 7.2869
Northern Lights, Inc | 5538 | 4.6487 | 3908 | 13.5992 | 8.8731 | 718 | 0.75731 | 296 | 10.823 | 7.8533 | 869 | 0.99715 | 8 | 9.9485 | 4.3577 | 7125 | 6.4032 | 4212 | 12.7023 | 6.9137
NorVal Electric Cooperative, Inc4 | -- | -- | -- | -- | 8.4868 | -- | -- | -- | -- | 11.501 | -- | -- | -- | -- | 9.6949 | 7295 | 5.9356 | 3339 | 14.0299 | 9.2872
Park Electric Coop Inc | 6627 | 7.6455 | 5344 | 9.8947 | 8.3542 | 556 | 0.86758 | 87 | 7.3158 | 6.4329 | 6748 | 9.9987 | 313 | 7.7042 | 4.2437 | 13931 | 18.5119 | 5744 | 8.5907 | 6.1502
Powder River Energy Corporation | 47 | 0.057192 | 44 | 9.3812 | 6.4159 | 603 | 0.28413 | 76 | 24.2266 | 5.9164 | 6520 | 11.8174 | 63 | 6.2983 | 6.5513 | 7170 | 12.1587 | 183 | 6.7318 | 6.4914
Ravalli County Elec Coop, Inc | 11476 | 14.149 | 9083 | 9.2589 | 6.6914 | 867 | 1.1599 | 402 | 8.5326 | 6.2887 | 864 | 1.3025 | 601 | 7.5723 | 4.9815 | 13207 | 16.6114 | 10086 | 9.076 | 6.6195
Sheridan Electric Coop, Inc | 3067 | 4.1271 | 2047 | 8.4834 | 7.3655 | 9706 | 6.941 | 740 | 15.963 | 7.7081 | 745 | 0.57705 | 759 | 14.7379 | 13.0064 | 13518 | 11.6451 | 3546 | 13.2515 | 7.7477
Southeast Electric Coop, Inc4 | -- | -- | -- | -- | 11.2469 | -- | -- | -- | -- | 8.4821 | -- | -- | -- | -- | 4.8739 | 6576 | 6.5135 | 2073 | 11.5251 | 6.7995
Sun River Electric Coop, Inc | 5691 | 4.9183 | 4456 | 13.2091 | 8.3976 | 1598 | 1.8866 | 323 | 9.669 | 5.6396 | 2871 | 3.0789 | 980 | 10.6448 | 6.7379 | 10160 | 9.8838 | 5759 | 11.7345 | 7.508
Tongue River Electric Coop Inc | 7553 | 6.0527 | 4260 | 14.245 | 7.5059 | 1553 | 1.425 | 545 | 12.4409 | 7.7956 | 3208 | 2.8922 | 163 | 12.6618 | 6.1999 | 12314 | 10.37 | 4968 | 13.5556 | 7.2884
Vigilante Electric Coop, Inc | 8111 | 11.2533 | 8140 | 8.2279 | 6.4037 | 583 | 1.0373 | 140 | 6.4158 | 5.6407 | 3625 | 6.1106 | 1274 | 6.772 | -- | 12319 | 18.4013 | 9554 | 7.6423 | 6.1186
Yellowstone Valley Elec Co-op Inc. | 24155 | 21.7676 | 17171 | 12.6676 | 7.6197 | 7293 | 6.5538 | 1518 | 12.7031 | 7.2117 | 911 | 0.87078 | 202 | 11.9428 | -- | 32359 | 29.1921 | 18891 | 12.6539 | 7.5329
Federal | 13698 | 24.7911 | 14758 | 6.3075 | 5.3123 | 9059 | 21.3265 | 5255 | 4.8491 | 3.7459 | 1693 | 6.8507 | 1056 | 2.8211 | 3.2942 | 24450 | 52.9683 | 21069 | 5.2694 | 3.7867
Mission Valley Power | 13698 | 24.7911 | 14758 | 6.3075 | 5.3123 | 6922 | 13.8927 | 5249 | 5.6878 | 5.8229 | 1008 | 2.4298 | 1047 | 4.7357 | 4.6828 | 21628 | 41.1136 | 21054 | 6.0052 | 5.4548
Western Area Power Administration | 0 | 0 | 0 | -- | -- | 2137 | 7.4338 | 6 | 3.2816 | 1.2875 | 229 | 3.9073 | 8 | 0.66904 | -- | 2366 | 11.3411 | 14 | 2.3815 | 1.2875
Bonneville Power Authority | 0 | 0 | 0 | -- | -- | 0 | 0 | 0 | -- | -- | 456 | 0.51358 | 1 | -- | -- | 456 | 0.51358 | 1 | -- | --
Municipal | [15 empty] | 970 | 1.7849 | 984
City of Troy4 | -- | -- | -- | -- | 5.5327 | -- | -- | -- | -- | 5.0832 | -- | -- | -- | -- | 9.0909 | 970 | 1.7849 | 984 | 6.2036 | 5.387
Investor-Owned | 295098 | 279.4395 | 307480 | 12.0552 | 8.6366 | 379002 | 388.058 | 73653 | 11.1491 | 8.0297 | 69287 | 105.3175 | 1818 | 7.5101 | 5.6296 | 743387 | 767.7702 | 382951 | 11.053 | 7.9388
Avista Corp | 15 | 0.019064 | 9 | 8.982 | 4.5752 | 50 | 0.059589 | 17 | 9.5785 | 6.3492 | 0 | 0 | 0 | -- | -- | 65 | 0.078653 | 26 | 9.434 | 5.3763
Black Hills Power | 7 | 0.0093607 | 12 | 8.5366 | 7.5949 | 24 | 0.026142 | 23 | 10.4803 | 9.1954 | 7359 | 13.3764 | 5 | 6.2802 | 4.7878 | 7390 | 8.3671 | 40 | 10.0824 | 4.8435
Montana-Dakota Utilities Co | 16635 | 21.8042 | 20257 | 8.7092 | 7.3452 | 20679 | 32.6707 | 5572 | 7.2255 | 5.5923 | 19289 | 38.8392 | 119 | 5.6694 | 4.3456 | 56603 | 93.314 | 25948 | 6.9245 | 5.4888
NorthWestern Corporation7 | 278441 | 257.6068 | 287202 | 12.3388 | 8.7296 | 358249 | 355.3016 | 68041 | 11.5102 | 8.2052 | 42639 | 53.1019 | 1694 | 9.1663 | 6.3048 | 679329 | 666.0104 | 356937 | 11.6438 | 8.2241
Power Marketers3 | 0 | 0 | 0 | 0 | -- | 4550 | 14.989 | 5 | -- | 3.3131 | 84231 | 292.6703 | 16 | 3.2854 | 3.9416 | 88781 | 307.6594 | 21 | 3.2942 | 3.9404
ConocoPhillips Company | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 14765 | 51.799 | 3 | 3.2539 | 6.3254 | 14765 | 51.799 | 3 | 3.2539 | 6.3254
Hinson Power Company LLC | -- | -- | -- | -- | NA | -- | -- | -- | -- | NA | 198 | 0.90685 | 1 | 2.0551 | NA | 198 | 0.90685 | 1 | 2.4924 | NA
Talen Energy Marketing, LLC6 | -- | -- | -- | -- | -- | 4550 | 14.989 | 5 | -- | -- | 69268 | 239.9645 | 12 | 3.4703 | 3.5128 | 73818 | 254.9535 | 17 | 3.3052 | 3.5128
STATE TOTALS5 | 505223 | 527.849 | 484106 | 10.9262 | 8.1029 | 492753 | 554.0387 | 102218 | 10.1528 | 7.5714 | 222273 | 505.2091 | 9643 | 5.0224 | 4.3546 | 1247472 | 1600.6821 | 605077 | 8.8965 | 6.5476
Note: The Residential, Commercial and Industrial totals do not add up to the Totals in the right hand column because some utilities only reported one cumulative numbers and did not break out categories
1 One average megawatt = 8,760 kilowatt-hours.
2Average price is the average revenue per kilowatt-hour of electricity sold, which is calculated by dividing revenue (in current dollars) by sales. It includes hook-up and demand charges.
3 Revenues don't include all transmission and distribution costs. These costs add approximately 1- 3 cents to the delivered price of electricity in most cases.
4 Data for these entities was available for 2012 on the EIA Form 861 'Short Form' rather than on the longer form in the 'Retail Sales' file. Therefore, only the overall totals are available for these entities rather than the information broken out by sectors.
5 Because transmission and distribution costs are not available for electricity sold by power marketers, the reported State Total Average Cost/kWh is several tenths of a cent below actual average cost. These reported state totals are different from those reported in Table E6 due to the different reporting sources and due in part to power marketers being reported in this table.
6 Used to be PPL EnergyPlus LLC
7 These figures include direct sales and not the small amount of delivery-only electricity on NWE's system
Source: U.S. Department of Energy, Energy Information Administration, Form EIA-861 database 2014, 'Sales_Ult_Cust_2015' and 'Short_form_2015.xls'. NorVal, Big Flat, GoldenWest, Southeast and City of Troy are found on the short form.
email:
Good morning, Jeff,
Thank you for your inquiry.
In the Retails Sales File for full service (“A”) and for delivery (“C”), the revenue does include T&D; for power marketers (“B”) it does not include T&D.
I hope this helps.
Regards,
Rebecca A. Peterson
Electric Power Industry Specialist
U.S. Energy Information Administration