## Table E1
Table E1. Electric Power Generating Capacity by Company and Plant as of June 20181 (Megawatts-MW)
INITIAL
|  |  | ENERGY | OPERATION | GENERATOR
COMPANY (Operator) | PLANT | COUNTY | SOURCE | (First Unit) | Capacity
Avista | Noxon Rapids 1-5 | Sanders | Water | 1959 | 562.4
Basin Electric Power Cooperative | Culbertson Generation Station | Richland | Natural Gas | 2010 | 91
F.H. Stoltze | Land and Lumber Co-Gen plant | Flathead | Biomass | 2013 | 2.5
Flathead Electric Cooperative | Landfill Gas To Energy2 | Flathead | Landfill Methane | 2009 | 1.6
Montana-Dakota Utilities | Diamond Willow | Fallon | Wind | 2007 | 30
Montana-Dakota Utilities | Glendive #1 | Dawson | Natural Gas/#2 Fuel Oil | 1979 | 40.7
Montana-Dakota Utilities | Glendive #2 | Dawson | Natural Gas/#2 Fuel Oil | 2003 | 43
Montana-Dakota Utilities | Lewis & Clark | Richland | Lignite Coal/Natural Gas | 1958 | 50
Montana-Dakota Utilities | Lewis & Clark | Richland | Natural gas | 2015 | 18.6
Montana-Dakota Utilities | Miles City | Custer | Natural Gas/#2 Fuel Oil | 1972 | 23.3
NaturEner | Glacier 1 & 2 | Toole | Wind | 2008 | 210
NaturEner | Rimrock | Toole | Wind | 2012 | 189
Northern Lights Cooperative | Lake Creek A&B | Lincoln | Water | 1917 | 4.5
NorthWestern Energy (NWE) | Dave Gates Generating Station | Deer Lodge | Natural Gas | 2011 | 150
NorthWestern Energy (NWE) | Spion Kop | Judith Basin | Wind | 2012 | 40
NorthWestern Energy (NWE) | Black Eagle 1-3 | Cascade | Water | 1927 | 21
NorthWestern Energy (NWE) | Cochrane 1-2 | Cascade | Water | 1958 | 64
NorthWestern Energy (NWE) | Hauser 1-6 | Lewis-Clark | Water | 1911 | 17
NorthWestern Energy (NWE) | Holter 1-4 | Lewis-Clark | Water | 1918 | 48
NorthWestern Energy (NWE) | Madison 1-4 | Madison | Water | 1906 | 8
NorthWestern Energy (NWE) | Morony 1-2 | Cascade | Water | 1930 | 48
NorthWestern Energy (NWE) | Mystic 1-2 | Stillwater | Water | 1925 | 12
NorthWestern Energy (NWE) | Rainbow | Cascade | Water | 1910 | 60
NorthWestern Energy (NWE) | Ryan 1-6 | Cascade | Water | 1915 | 65
NorthWestern Energy (NWE) | Thompson Falls 1-7 | Sanders | Water | 1915 | 93
NorthWestern Energy (NWE) | Two Dot Wind Farm | Wheatland | Wind | 2014 | 9.7
NWE Portfolio - Basin Creek Power | Basin Creek 1-9 | Silver Bow | Natural Gas | 2006 | 52
NWE Portfolio - Invenergy Wind | Judith Gap | Wheatland | Wind | 2005 | 135
NWE Portfolio (winter) - Tiber Montana, LLC | Tiber Dam | Liberty | Water | 2004 | 7.5
NWE Portfolio - Turnbull Hydro LLC | Turnbull Hydro3 | Teton | Water | 2011 | 13
NWE QF - Colstrip Energy Partnership | Montana One | Rosebud | Waste Coal | 1990 | 35
NWE QF - Granite County | Flint Creek Dam4 | Granite | Water | 2013 | 2
NWE QF - Hydrodynamics | South Dry Creek3 | Carbon | Water | 1985 | 1.2
NWE QF - Montana DNRC | Broadwater | Broadwater | Water | 1989 | 10
NWE QF - Goldwind Global | Mussellshell 1 & 2 | Wheatland | Wind | 2013 | 20
NWE QF - other hydro | Various5 | Various | Water | Various | 3.2
NWE QF - Oversight Resources | Gordon Butte | Meagher | Wind | 2012 | 9.6
NWE QF - Two Dot Wind | Martinsdale Colony S. | Wheatland | Wind | 2007 | 2
NWE QF - Two Dot Wind | Martinsdale Colony and others5 | Wheatland | Wind | various | 1.9
NWE QF - Yellowstone Partnership | BGI | Yellowstone | Petroleum Coke | 1995 | 65
NWE QF - Greenbacker Renewable Energy | Fairfield Wind | Teton | Wind | 2014 | 10
NWE QF - Greenbacker Renewable Energy | Greenfields | Teton | Wind | 2016 | 25
NWE QF - Con Edison | Big Timber | Sweetgrass | Wind | 2017 | 25
NWE QF-EnerParc Inc. | Green Meadow Solar | Lewis-Clark | Solar | 2017 | 3
NWE QF-EnerParc Inc. | River Bend Solar | Sweetgrass | Solar | 2017 | 2
NWE QF-EnerParc Inc. | South Mills Solar | Big Horn | Solar | 2017 | 3
NWE QF-EnerParc Inc. | Great Divide Solar | Lewis-Clark | Solar | 2017 | 3
NWE QF-EnerParc Inc. | Magpie Solar | Golden Valley | Solar | 2017 | 3
NWE QF-EnerParc Inc. | Black Eagle Solar | Big Horn | Solar | 2017 | 3
Ormat (Basin Electric Cooperative portfolio) | Culbertson Waste Heat | Richland | Recovered Heat | 2010 | 5.5
PacifiCorp | Bigfork 1-3 | Flathead | Water | 1910 | 4.1
Colstrip:
Talen/Riverstone Holdings (50%)6 | Colstrip 1 | Rosebud | Subbituminous Coal | 1975 | 307
Puget Sound Energy (50%)
Talen/Riverstone Holdings (50%) | Colstrip 2 | Rosebud | Subbituminous Coal | 1976 | 307
Puget Sound Energy (50%)
Talen/Riverstone Holdings (30%) | Colstrip 3 | Rosebud | Subbituminous Coal | 1984 | 740
Avista (15%), PacifiCorp (10%)
Puget Sound Energy (25%)
Portland General Electric (20%)
Talen/Riverstone Holdings (operator); Avista (15%) | Colstrip 4 | Rosebud | Subbituminous Coal | 1986 | 740
NorthWestern Energy (30%),
Portland General Electric (20%)
Puget Sound Energy (25%), PacifiCorp (10%)
Rocky Mountain Power | Hardin | Big Horn | Subbituminous Coal | 2006 | 115.7
Salish - Kootenai Tribe/Energy Keepers7 | Séliš, Ksanka QÍispé Dam 1-3 | Lake | Water | 1938 | 208
Salish - Kootenai Tribe | Boulder Creek | Lake | Water | 1984 | 0.35
NWE QF - Unitied Materials of Great Falls, Inc.8 | Horseshoe Bend | Cascade | Wind | 2006 | 9
US BurRec - Great Plains Region | Canyon Ferry 1-3 | Lewis-Clark | Water | 1953 | 49.8
US BurRec - Great Plains Region | Yellowtail 1-4 | Big Horn | Water | 1966 | 250
US BurRec - Pacific Northwest Region | Hungry Horse 1-4 | Flathead | Water | 1952 | 428
US Corps of Engineers - Missouri River Division | Fort Peck 1-5 9 | McCone | Water | 1943 | 185.3
US Corps of Engineers - North Pacific Division | Libby 1-5 | Lincoln | Water | 1975 | 525
TOTAL MONTANA CAPACITY (MW) |  |  |  |  | 6211.45
1 Generally includes generating units larger than 1.0 MW with a couple of exceptions. Does not include units, mostly small, that are net-metered or that are located behind the meter of an industrial facility.
2 Numbers for capacity actually are highest monthly output to date.
3 Only operates during summer.
4 Flint Creek Dam was originally constructed in 1901. It did not operate from 1989-2012, and then reopened again in 2013
5 'Other hydro' includes nine very small facilities located mostly on private land. 'Two Dot Martinsdale Colony and others' includes other Two Dot Wind LLC wind generation plants (Sheep Valley, Montana Marginal, Mission, and Moe Wind).
6 In 2015, PPL Montana spun off a new company Talen Energy Corp and placed its Montana generation assets under that company. In June of 2016, Riverstone Holdings LLC purchased Talen.
7 In 2015, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it Séliš, Ksanka QÍispé Dam. Before that, is was owned by PPL Montana.
8 Horseshoe Bend sells its output to Idaho Power for 9 months of the year, to NorthWestern for 3 summer months, and its RECs are sold separately to a third party
9 Units 1-3 are normally synchronized to WECC on the Western grid (105.3 MW nameplate) and units 4 and 5 are normally synchronized to the Midwest Reliability Organization on the Eastern grid (80 MW nameplate). Unit 3 (43.5 MW nameplate) can readily be operated on either grid.
Sources: The initial operation date, name and location for facilities is from DEQ institutional knowledge and inquiries with utilities over time. NorthWestern Energy has been particularly helpful with data. Current generation capacity is primarily from U.S. DOE Energy Information Administration "Form EIA-860, Schedule 3, Generator Data" except where noted: Flathead Landfill Gas to Energy-John Gorosky, Flathead coop; MDU facilities-Darcy Neigum, MDU; Noxon Dam-Steve Esch, Avista; Stoltze Co-gen-Brian Spangler, DEQ; NorthWestern Energy facilities-John Bushnell, NWE; Boulder Creek, Steve Clairmont; NWE QFs including YELP, CELP, Two Dot Wind Farm, Broadwater Dam, South Dry Creek, Gordon Butte, Martinsdale Wind, Martinsdale S., Fairview, QF other hydro and QF other wind-Frank Bennet, NWE; Culbertson Waste Heat/Ormat Technologies, G Freeman, Ormat; Lake Creek-Clint Brewington, Northern Lights Cooperative.

## Table E2
Table E2. Net Electric Generation and Average Generation By Plant and Ownership, 2006-20161 (MWh)
COMPANY | [12 empty] | Average2 (aMW) |  | Nameplate Capacity
| PLANT | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2011-2016 | 2006-2010
Avista
| Noxon Rapids | 1823945 | 1590451 | 1696459 | 1673251 | 1503127 | 2109683 | 1822999 | 1581223 | 1968070 | 1635111 | 1695642 | 207.8571 | 189.2062 | 562
Basin Creek Power Services LLC
| Basin Creek Plant (NWE portfolio) | 40587 | 80267 | 49108 | 66127 | 18760 | 10305 | 23438 | 33915 | 41077 | 62770 | 92242 | 5.0701 | 5.8185 | 52
Basin Electric Cooperative
| Culbertson Generation Station3 | -- | -- | -- | -- | 5938 | 62944 | 64496 | 127701 | 64063 | 104141 | 95987 | 9.9833 | 0.67785 | 91
Bonneville Power Administration
| Hungry Horse4 | 1055468 | 931620 | 1119403 | 742284 | 834213 | 1378437 | 1062677 | 1023385 | 1004871 | 1000298 | 835162 | 121.2001 | 106.9175 | 428
| Libby | 2190677 | 2344156 | 1950437 | 1574357 | 1701918 | 2450665 | 2793645 | 2306062 | 2513693 | 1757669 | 2185485 | 269.266 | 222.8663 | 525
Colstrip Energy Partnership
| Montana One (NWE QF) | 305830.452 | 303649.523 | 293304.758 | 286605.729 | 330795.856 | 260758 | 301086.46 | 326416 | 308755 | 313714 | 301332.409 | 34.8339 | 34.7075 | 35
F.H. Stoltze
| Stotlze Co-Gen Plant | -- | -- | -- | -- | -- | -- | -- | 5117 | 13009 | 21281 | 20150 | 1.7173 | -- | 2.5
Flathead Electric Cooperative
| Landfill Gas To Energy | -- | -- | -- | 3071.917 | 7285.046 | 8572 | 9303 | 9420 | 9997 | 11639 | 8855 | 1.1108 | 0.59115 | 1.6
Goldwind Global
| Musselshell I and II (NWE QF) | -- | -- | -- | -- | -- | -- | 443 | 56526 | 57587.034 | 52310.95 | 53888 | 5.0924 | -- | 20
Gordon Butte, LLC
| Gordon Butte (NWE QF) | -- | -- | -- | -- | -- | 1241 | 42260 | 41878 | 39432.514 | 36650.24 | 39552 | 3.8642 | 0 | 9.6
Granite County
| Flint Creek Dam (NWE QF) | -- | -- | -- | -- | -- | -- | -- | 7966 | 11983.829 | 8975 | 10394.506 | 1.1338 | -- | 2
Greenbacker Renewable Energy
| Fairfield Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | 31605 | 33312 | 3.7438 | -- | 10
| Greenfields (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 35357.551 | 4.0781 | -- | 25
Hydrodynamics
| South Dry Creek (NWE QF) | 6262.299 | 6605.488 | 7598.456 | 7342.767 | 8614.411 | 6026 | 8183 | 7444 | 7753.476 | 6859 | 6242 | 0.81714 | 0.83158 | 1.2
| Strawberry Creek (NWE QF) | 1409.649 | 1519.397 | 1291.988 | 1447.527 | 1551.154 | 1447 | 1391 | 960 | 1519 | 1700 | 1436 | 0.1625 | 0.16483 | 0.2
Invenergy Services LLC
| Judith Gap (NWE portfolio)5 | 439727 | 486847 | 500828 | 456985 | 414002 | 511361 | 461372 | 507969 | 489637 | 455350 | 481097 | 55.8782 | 52.4746 | 135
Montana-Dakota Utilities
| Diamond Willow | -- | 16 | 64997 | 67691 | 67902 | 98867 | 90956 | 93175 | 96534 | 89144 | 100119 | 10.9342 | 5.7251 | 30
| Glendive | 6512 | 12686.999 | 3218 | 1949 | 6978 | 15402 | 10592 | 1602 | 815 | 1212 | 6277 | 0.69012 | 0.71562 | 83.7
| Lewis-Clark (mostly larger coal plant) | 336937 | 314675 | 331504 | 316534 | 315371 | 300792 | 253208 | 298318.98 | 290193 | 222191 | 272977 | 31.4817 | 36.8726 | 68.6
| Miles City | 1648 | 2623.002 | 369 | -28 | 1021 | 218 | 1573 | -1 | 124 | 444 | 712 | 0.059016 | 0.12861 | 23.3
MT Dept of Nat. Res. and Con.
| Broadwater Power Project (NWE QF) | 48249.048 | 44982.094 | 46134.267 | 52729.671 | 52843.103 | 53536 | 53500 | 45253 | 52101 | 47289 | 48339 | 5.7674 | 5.5922 | 10
Naturener
| NaturEner Glacier Wind Energy 1 LLC6 | -- | -- | 27689 | 257187 | 231374 | 308543 | 290267.01 | 284761.62 | 272897.46 | 260622 | 284565.6 | 32.7116 | 19.6442 | 105
| NaturEner Glacier Wind Energy 2 LLC6 | -- | -- | -- | 56332 | 227020 | 321846 | 286947.54 | 276187.23 | 259191.9 | 258022 | 290304.63 | 32.5355 | 16.1731 | 105
| Rim Rock | -- | -- | -- | -- | -- | -- | 56893.32 | 335839.68 | 562316.04 | 603536 | 652904.01 | 51.0147 |  | 189
Northern Lights Cooperative
| Lake Creek7 | 27072.5 | 27406.4 | 23102.2 | 21887.5 | 22635.6 | 30822 | 30591 | 28028 | 29098 | 22095 | 30288 | 3.2857 | 2.7878 | 4.5
NorthWestern Energy (portfolio)
| Dave Gates Generating Station | -- | -- | -- | -- | -- | 329266 | 361722.49 | 445151.38 | 412387 | 427708 | 262921 | 43.0441 | -- | 150
| Spion Kop | -- | -- | -- | -- | -- | -- | 42647 | 144110 | 136350 | 127626 | 130661 | 13.4116 | -- | 40
| Black Eagle | 136211.001 | 124084.001 | 126199 | 142590 | 141584 | 147040 | 120683 | 109985 | 135355 | 127279 | 118288 | 14.5834 | 15.3121 | 21
| Cochrane | 276795 | 233765 | 270680 | 298387 | 296861 | 284974 | 227886 | 229223 | 275627 | 260568 | 234165 | 29.0743 | 31.4267 | 64
| Hauser | 127815.001 | 118972.001 | 129812 | 135336 | 132325 | 133275 | 129008 | 115817 | 128796 | 122257 | 120437 | 14.4097 | 14.7091 | 17
| Holter | 279655 | 223233.999 | 267506 | 319805 | 303864 | 348297 | 283213 | 226345 | 285541 | 258627 | 254064 | 31.8356 | 31.8279 | 48
| Madison | 67595 | 60099.001 | 57078 | 62452 | 61727 | 65131 | 66415 | 56473 | 61478 | 59401 | 57101 | 7.0357 | 7.0537 | 8
| Morony | 273198 | 241470 | 256017 | 307166 | 299245 | 199410 | 284608 | 225296 | 254947 | 247097 | 258995 | 28.2651 | 31.4405 | 48
| Mystic Lake | 43252.001 | 48576.999 | 53487 | 54439 | 46138 | 50609 | 49084 | 54124 | 64084 | 57481 | 51416 | 6.2822 | 5.614
| Rainbow | 238163.999 | 228869.001 | 239938 | 268072 | 252528 | 230631 | 241199 | 289203 | 412761 | 347742 | 343233 | 35.8472 | 28.0267 | 12
| Ryan | 411025 | 384540 | 390576 | 441426 | 423204 | 440545 | 390454 | 395440 | 468937 | 447914 | 413979 | 49.1593 | 46.8213 | 60
| Thompson Falls | 493070 | 509373 | 474349 | 482044 | 465209 | 534298 | 522124 | 482932 | 529694 | 522509 | 510256 | 59.6273 | 55.3435 | 65
| Two Dot Wind Farm14 | 2014: 17106; 2015: 29845; 2016: 35548 | 3.1718 | -- | 93
Northwestern Qualifying Facilities
| Other hydro | 8419.24 | 7071.756 | 7093.8646 | 9423.201 | 9353.319 | 7788 | 8223 | 8267 | 8698 | 9257.523 | 9209 | 0.9889 | 0.94432 | 3.2
Ormat
| Culbertson Waste Heat (Basin portfolio)3 | -- | -- | -- | -- | 27557 | 57155 | 36382 | 36937 | 21584 | 29819 | 39191 | 4.2497 | 3.1458 | 5.5
PacifiCorp
| Bigfork | 31390.999 | 24435 | 27562 | 28977 | 32262 | 34671 | 33426 | 30165 | 31240 | 26515 | 29483 | 3.5659 | 3.302 | 4.1
Talen (formerlly PPL Montana)
| Colstrip8 | 14764749 | 15840087 | 16086749.997 | 13154978 | 16211861 | 13025219 | 12239405.183 | 12727096 | 13715503 | 14844275 | 13358656 | 1536.1429 | 1736.4937 | 2094
| J E Corette12 | 1204206 | 1186136 | 1024555 | 1075253 | 961177 | 831047 | 717844 | 907870 | 579688 | 152834 | 0 | 73.5705 | 124.4595 | retired
Rocky Mountain Power
| Hardin Generating Station | 489442 | 728486 | 610938 | 790037 | 793895 | 645637 | 467195.85 | 612292.57 | 679775 | 489990 | 349109 | 62.3606 | 77.9178 | 115.7
Salish-Kootenai
| Boulder Creek | 1263 | 1042 | 1224.64 | 1025.6 | 1352.16 | 1637 | 1674 | 1252 | 1285 | 1239 | 1012 | 0.15569 | 0.13487 | 0.4
| Selis Ksanka Qlispe (formerly Kerr)11 | 1076089 | 1088593 | 1069901 | 993385 | 1033265 | 1262600 | 1128646 | 1067271 | 1159340 | 1073292 | 1068156 | 129.9367 | 120.1195 | 208
Tiber Montana, LLC
| Tiber (NWE portfolio)9 | 42985.998 | 38901 | 43402 | 50830 | 41868 | 58260 | 52467 | 51995 | 2025 | 54847 | 52297 | 5.2267 | 4.9769 | 7.5
Turnbull Hydro, LLC
| Turnbull Hydro | -- | -- | -- | -- | -- | 22319 | 33019 | 29080 | 28354 | 25123 | 24804 | 3.1276 | -- | 13
Two Dot Wind (NWE QF)13 |  | 2914 | 3880 | 4686 | 3917 | 4626 | 5173 | 4437 | 4590 | 4061 | 3247 | 3336 | 0.47759 | -- | 3.9
United Materials of Great Falls Inc
| Horseshoe Bend (NWE QF)10 | 23528 | 24481.002 | 27311 | 23094.72 | 21055.32 | 24550 | 22847 | 24620 | 24521 | 20016 | 22270 | 2.6687 | 2.7276 | 9
Western Area Power Administration
| Canyon Ferry | 329710 | 285725 | 332402 | 388180 | 368871 | 418733 | 323718 | 264915 | 363024 | 303339 | 310096 | 38.1358 | 38.9244 | 49.8
| Fort Peck | 704920 | 609731 | 573386 | 584252 | 584252 | 1224036 | 1128780 | 570460 | 732827 | 753359 | 764592 | 99.4628 | 69.784 | 185.3
| Yellowtail | 475182 | 380434 | 769281 | 898516 | 830746 | 1123986 | 527731 | 471034 | 1095850 | 744118 | 690297 | 89.4467 | 76.579 | 250
Yellowstone Energy Partnership
| Billings Generation Inc. (NWE QF) | 424898.241 | 428640.128 | 405714.552 | 449481.852 | 403000.45 | 444292 | 454126.613 | 448669 | 404693 | 500087 | 452015.062 | 51.9778 | 48.2131 | 65
TOTALS |  | 28215057.452 | 28969903.25 | 29367862.2526 | 26550700.22 | 29501312.66 | 29883251 | 27564825.466 | 27429759.46 | 30130249.253 | 29072039.713 | 27548207.768 | 3331.5308 | 3278.1518
Note: aMW = average megawatt, or 8,760 megawatt hours in a year.
Note: A Dash (--) indicates that the facility is relatively new and was not running in that year
Note: The following dams were purchased by NorthWestern Energy in 2014 from PPL Montana-Black Eagle, Cochrane, Holter, Hauser, Madison, Morony, Mystic, Ryan, Thompson Falls, Kerr. Kerr was subsequently purchased in 2015 by the Salish-Kootenai Tribe and was renamed Selis Ksanka Qlispe.
1 | Net generation equals gross generation minus plant use.
2 | Reported average is for a period shorter than five years if the plant came on line during the five year period.
3 | Data provided by Basin Electric Cooperative, as EIA data appear to be incorrect and referring to waste heat recovery in North Dakota and South Dakota.
4 | Data for 2007 and 2008 from the US Corps of Engineers, as EIA data appear to be incorrect.
5 | Data for 2006-2009 provided by NorthWestern Energy, as EIA data appear to be incorrect.
6 | Data provided by Naturener, as EIA data appear to be incorrect; averages exclude months in the first year of commercial operation.
7 | Gross generation; plant use has not been subtracted out.
8 | Operated by Talen/Riverstone; actual ownership shared with five other utilities.
9 | Data for 2004-2006 provided by Tiber LLC.
10 | NWE QF for summer months; in the other nine months the output goes to Idaho Power.
11 | In 2014, the Kerr Dam changed ownership and became property of NorthWestern Energy. In 2015, Kerr Dam tranferred ownership to the Salish-Kootenai Tribe.
12 | In 2015, the Corette power plant was shut down and retired.
13 | Two Dot Wind LLC includes Martinsdale, Martinsdale S., Mission, Moe Wind, Montana Marginal, and Sheep Valley
14 | The 9.7 MW Two Dot Wind Farm was owned by NJR Clean Energy Ventures as a NorthWestern Energy QF. In 2018, NorthWestern energy bought it and brought it into their portfolio
Source: U.S. Department of Energy, Energy Information Administration, Form 923 (EIA-923 Monthly Generation and Fuel Consumption Time Series File, 2016 Final Revision), 2006-2016, file name for 2016 is EIA923_Schedules_2_3_4_5_M_12_2016_Final_Revision.xlsx , Page 1 MT Sorted tab; 906 and 920 databases (https://www.eia.gov/electricity/data/eia923/) except as follows: Landfill Gas to Energy - Flathead Electric Cooperative; Milltown Dam, Strawberry Creek, all NWE QFs and Two Dot - NorthWestern Energy, Frank Bennett ; Hellroaring Creek - Mission Valley Power; Lake Creek - Northern Lights Cooperative; and Boulder Creek - S&K Holdings. Additional sources listed in footnotes 4, 5 and 9.
Note on F91: Cartwright, Paul: Asked Hoffman if this was correct 12-16-11. He says In 09 we had an extended forced outage Unit 4.

## Table E3
Table E3. Average Generation by Company (at least 1.0 aMW) 2006-2010, and 2011-2016
Montana Generation by Largest In-State Plant Owners (in average MW for companies that have over 40 aMW generation)
Company (Distributor) | 2006-2010 | 2011-2016 |  | 2011-2016 |  | 2006-2010 |  | 2001-2005
|  |  |  | aMW1 | Percent | aMW1 | Percent | aMW1 | Percent
Avista2 | 373.3044 | 370.7147 | Talen Energy/Riverstone (formerly PPL) | 737.7608 | 22.14% | 950.8389 | 29.01% | 906.8391 | 30.46%
Basin Creek Power Services | 5.8185 | 5.0701 | Puget Sound | 496.6422 | 14.91% | 561.4165 | 17.13% | 561.7724 | 18.87%
Basin Electric Cooperative | 0.67785 | 9.9833 | BPA | 390.4661 | 11.72% | 329.7839 | 10.06% | 309.7791 | 10.41%
Bonneville Power Administration3 | 329.7839 | 390.4661 | Avista | 370.7147 | 11.13% | 373.3044 | 11.39% | 356.9072 | 11.99%
Colstrip Energy Partnership | 34.7075 | 34.8339 | WAPA | 227.0453 | 6.815% | 185.2874 | 5.652% | 157.6642 | 5.296%
Flathead Electric Cooperative | 0.59115 | 1.1108 | NWE | 225.0854 | 6.756% | 184.3637 | 5.624% | 185.6159 | 6.235%
Goldwind Global | -- | 5.0924 | PGE | 217.1434 | 6.518% | 246 | 7.505% | 245.6198 | 8.25%
Gordon Butte | -- | 3.8642 | Salish-Kootenai5 | 131 | 3.932% | -- | 0% | -- | 0%
Greenbacker Renewable Energy |  | 7.8219 | Naturener | 116.2619 | 3.49% | 35.8173 | 1.093% | -- | --
Hydrodynamics | 0.99642 | 0.97963 | Pacific | 112.1376 | 3.366% | 126.0341 | 3.845% | 125.6581 | 4.221%
Invenergy | 52.4746 | 55.8782 | Rocky Mt | 62.3606 | 1.872% | 77.9178 | 2.377% | -- | --
Montana-Dakota Utilities | 43.4419 | 43.165 | Invenergy | 55.8782 | 1.677% | 53 | 1.617% | -- | --
MT Dept of Natural Resources and Conservation | 5.5922 | 5.7674 | Yellowstone Energy Partnership | 51.9778 | 1.56% | 48.2131 | 1.471% | 45.6216 | 1.532%
Naturener | 35.8173 | 116.2619 | MDU | 43.165 | 1.296% | 43.4419 | 1.325% | 36.7804 | 1.235%
Northern Lights Cooperative | 2.7878 | 3.2857 | Other generators | 94.7993 | 2.846% | 63 | 1.922% | 44.9154 | 1.509%
NorthWestern Energy2,4 | 184.3637 | 225.0854 | TOTAL | 3331.5308 | 100% | 3278 | 100% | 2977.1732 | 100%
Ormat | 3.1458 | 4.2497
PacificCorp2 | 126.0341 | 112.1376
Portland General Electric2 | 245.4643 | 217.1434
Talen Energy LLC (formerly PPL Montana)2 | 950.8389 | 737.7608 | Colstrip Ownership Percentages, 2017 (based on capability)
Puget Sound Energy2 | 561.4165 | 496.6422 |  |  | MW | Percent
Rocky Mountain Power | 77.9178 | 62.3606 | Avista |  | 222 | 10.6%
Salish-Kootenai5 | -- | 130.0923 | NorthWestern |  | 222 | 10.6%
Tiber LLC | 4.9769 | 5.2267 | PacifiCorp |  | 148 | 7.068%
Turnbull Hydro LLC | 2.5 | 3.1276 | Talen Energy LLC/RiverStone Holdings |  | 529 | 25.26%
United Building Materials | 2.7276 | 2.6687 | Portland General Electric |  | 296 | 14.14%
Western Area Power Administration6 | 185.2874 | 227.0453 | Puget Sound |  | 677 | 32.33%
Yellowstone Energy Partnership | 48.2131 | 51.9778 | [5 empty] | MW in Colstrip Units:
Other7 | -- | 1.7173
|  |  | TOTAL |  | 2094 | 100% |  | I & II | III & IV
[8 empty] | 614 | 1480
TOTAL | 3278.9 | 3331.5308
1 aMW = average megawatt, or 8,760 megawatt hours in a year. Average Megawatts may include fewer years than the column range given such as for Ormat which started in 2010
2 Output for Colstrip 1-4 is reported for the entire facility, not individual units. In this table, output was allocated/estimated among the partners on the basis of their ownership percentages.
3 Distributes power generated at one US Corps of Engineers (Libby) and one US Bureau of Reclamation (Hungry Horse) dam.
4 Includes some of smaller NorthWestern Energy QFs.
5 In 2014, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it. Before that, is was owned by PPL Montana.
6 Distributes power generated at US Corps of Engineers and US Bureau of Reclamation dams.
7 Other includes Stoltz co-gen plant
Source: U.S. Department of Energy, Energy Information Administration, Form EIA 923, Form 906 and 920 databases (https://www.eia.gov/electricity/data/eia923/), with additional data from Basin Electric Cooperative, Flathead Electric Cooperative, Mission Valley Power, Naturener, Northern Lights Cooperative, NorthWestern Energy for QFs, Milltown and corrected Judith Gap data, S&K Holdings, Tiber LLC, Troy Dalgren, Southern Montana G&T, personal communication, Dave Hoffman, PPL, personal communication.

## Table E4
Table E4. Annual Consumption of Fuels for Electric Generation, 1960-20161
| COAL2 | PETROLEUM3 | NATURAL GAS5
YEAR | (thousand short tons) | (thousand barrels) | (million cubic feet)
|  | barrels) | cubic feet)
1960 | 186.9 | * | 341.3
1961 | 262.5 | * | 356.2
1962 | 291.6 | 1.3 | 3712.5
1963 | 285.5 | 0.7 | 3303.3
1964 | 293.8 | 3.6 | 2449.5
1965 | 295.8 | 0.7 | 1992.3
1966 | 323.5 | 82.2 | 2977.2
1967 | 325.4 | 6.1 | 502.5
1968 | 399.2 | 22.9 | 631.3
1969 | 576.6 | 104.9 | 1520.5
1970 | 722.7 | 26 | 2529.4
1971 | 672 | 0.2 | 1079.8
1972 | 768.7 | 17.5 | 1217.4
1973 | 892.6 | 152.2 | 2167.4
1974 | 854.6 | 14 | 1038
1975 | 1061.3 | 62.6 | 1073.3
1976 | 2373.7 | 81.1 | 708.5
1977 | 3196.7 | 195.3 | 953.3
1978 | 3184.2 | 98.1 | 909.4
1979 | 3461.4 | 146.5 | 2320.4
1980 | 3351.6 | 58.6 | 4182.1
1981 | 3337.9 | 38.5 | 2069.4
1982 | 2595.8 | 30.6 | 337
1983 | 2356 | 31 | 335
1984 | 5113 | 78 | 360
1985 | 5480 | 38 | 468
1986 | 7438 | 25 | 407
1987 | 7530 | 44 | 478
1988 | 10410 | 63 | 286
1989 | 10208 | 60 | 336
1990 | 9572.552 | 66.616 | 587.869
1991 | 10460.288 | 46.092 | 427.335
1992 | 11027.734 | 37.706 | 369.911
1993 | 9121.194 | 50.516 | 419.584
1994 | 10780.515 | 45.784 | 765.295
1995 | 9640.755 | 474.349 | 626.284
1996 | 8074.851 | 662.752 | 707.352
1997 | 9464.685 | 664.073 | 673.04
1998 | 10896.465 | 1072.4 | 734.478
1999 | 10902.921 | 1143.567 | 520.46
2000 | 10385.396 | 1167.279 | 409.234
2001 | 10838.145 | 1080.865 | 297.25
2002 | 9746.411 | 1057.987 | 244.602
2003 | 11031.665 | 981.132 | 333.892
20044 | 11321.883 | 752.1122 | 260.6772
20054 | 11587.5 | 708.0426 | 275.9672
20064 | 11302.084 | 727.0107 | 622.6889
2007 | 11928.925 | 824.077 | 1044.933
2008 | 12011.567 | 809.172 | 573.075
2009 | 10151.222 | 927.619 | 771.585
2010 | 12005.206 | 777.876 | 726.801
20115 | 9772 | 878 | 4681
2012 | 9064 | 890 | 5370
2013 | 9570 | 892 | 7273
2014 | 10187 | 821 | 5936
2015 | 10283 | 944 | 6558
2016 | 9331 | 839 | 5382
* less than 0.05
1 Data includes fuel use at independent power producers, which first came on line in 1990. The data do not include all self-generation at industrial facilities. Data exclude small amounts of waste gases used for generation.
2 Coal includes anthracite, bituminous coal, subbituminous coal, lignite, waste coal, and synthetic coal. As of 2011, coal also inlcudes synthesis gas derived from coal. Most of this coal is burned at the Colstrip generating station
3 Petroleum includes distillate fuel oil (all diesel and No. 1, No. 2, and No. 4 fuel oils), residual fuel oil (No. 5 and No. 6 fuel oils and bunker C fuel oil), jet fuel, kerosene, petroleum coke, waste oil, and beginning in 2011, propane. Most oil burned today is in the form of petroleum coke at YELP which opened in 1995 and accounts for the uptick in that column.
4 A new method of allocating fuel consumption between electric power generation and useful thermal output (UTO) was implemented for 2004 forward. This new methodology proportionally distributes a combined heat and power (CHP) plant’s losses between the two output products (electric power and UTO). This change results in lower fuel consumption for electricity generation, and therefore the appearance of an increase in efficiency of production of electric power between 2003 and 2004. Beginning with the January 2008 data, EIA estimates the allocation of the total fuel consumed at CHP plants between electric power generation and useful thermal output.
5 The Frank Bird Natural Gas plant in Billings stopped operating in the early 1980's, which likely accounts for the sudden drop in natural gas used for electric generation in 1982. The Dave Gates Generating Station which began production in 2011 accounts for the significant uptick in natural gas usage for 2011. This increase in natural gas usage, increasing wind generation, and above average run-off years in 2011 and 2012 are some of the reasons for lower coal usage starting in 2011.
Sources: Federal Energy Regulatory Commission, Form 4 News Releases (1960-76); U.S. Department of Energy, Energy Information Administration, Electric Power Statistics, EIA-0034 (1977-78); U.S. Department of Energy, Energy Information Administration, Power Production, Fuel Consumption and Installed Capacity, EIA-0049 (1979); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1980-89); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, Form EIA-923 detailed data with previous form data (EIA-906/920), found in file 'Annual_consumption_state' (1990-2016) found at https://www.eia.gov/electricity/data/eia923/ and technical notes at https://www.eia.gov/electricity/monthly/pdf/technotes.pdf.

## Table E5
Table E5. Net Electric Generation by Type of Fuel Unit, 1960-20161,2
| HYDROELECTRIC |  | COAL |  | PETROLEUM3 |  | NATURAL GAS |  | Wind5 |  | Solar5
YEAR | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | TOTAL
1960 | 5801 | 96.81% | NA | 0% | 0 |  | NA | 0% | 0 | 0% | 0 | 0% | 5992
1961 | 6499 | 95.86% | 263 | 3.879% | 0 | 0% | 19 | 0.2802% | 0 | 0% | 0 | 0% | 6780
1962 | 6410 | 90.91% | 291 | 4.127% | 1 | 0.01418% | 349 | 4.95% | 0 | 0% | 0 | 0% | 7051
1963 | 6011 | 91.16% | 284 | 4.307% | 0 | 0% | 299 | 4.534% | 0 | 0% | 0 | 0% | 6594
1964 | 6821 | 93.07% | 286 | 3.902% | 2 | 0.02729% | 220 | 3.002% | 0 | 0% | 0 | 0% | 7329
1965 | 8389 | 94.84% | 285 | 3.222% | 0 | 0% | 171 | 1.933% | 0 | 0% | 0 | 0% | 8845
1966 | 7940 | 92.62% | 317 | 3.698% | 43 | 0.5016% | 273 | 3.184% | 0 | 0% | 0 | 0% | 8573
1967 | 8703 | 96.05% | 314 | 3.465% | 3 | 0.03311% | 41 | 0.4525% | 0 | 0% | 0 | 0% | 9061
1968 | 8925 | 94.74% | 434 | 4.607% | 10 | 0.1061% | 52 | 0.552% | 0 | 0% | 0 | 0% | 9421
1969 | 9447 | 91% | 735 | 7.08% | 52 | 0.5009% | 147 | 1.416% | 0 | 0% | 0 | 0% | 10381
1970 | 8745 | 87.86% | 966 | 9.706% | 14 | 0.1407% | 228 | 2.291% | 0 | 0% | 0 | 0% | 9953
1971 | 9595 | 90.58% | 901 | 8.506% | 1 | 0.00944% | 96 | 0.9063% | 0 | 0% | 0 | 0% | 10593
1972 | 9444 | 88.77% | 1079 | 10.14% | 7 | 0.0658% | 108 | 1.015% | 0 | 0% | 0 | 0% | 10639
1973 | 7517 | 82.75% | 1303 | 14.34% | 69 | 0.7596% | 195 | 2.147% | 0 | 0% | 0 | 0% | 9084
1974 | 9726 | 88.1% | 1210 | 10.96% | 6 | 0.05435% | 98 | 0.8877% | 0 | 0% | 0 | 0% | 11040
1975 | 9560 | 85.23% | 1544 | 13.76% | 17 | 0.1516% | 96 | 0.8558% | 0 | 0% | 0 | 0% | 11217
1976 | 12402 | 77.25% | 3558 | 22.16% | 27 | 0.1682% | 67 | 0.4173% | 0 | 0% | 0 | 0% | 16054
1977 | 8460 | 63.01% | 4788 | 35.66% | 92 | 0.6852% | 87 | 0.6479% | 0 | 0% | 0 | 0% | 13427
1978 | 11708 | 70.12% | 4871 | 29.17% | 35 | 0.2096% | 84 | 0.5031% | 0 | 0% | 0 | 0% | 16698
1979 | 10344 | 65.87% | 5114 | 32.56% | 58 | 0.3693% | 188 | 1.197% | 0 | 0% | 0 | 0% | 15704
1980 | 9966 | 64.38% | 5140 | 33.21% | 22 | 0.1421% | 351 | 2.268% | 0 | 0% | 0 | 0% | 15479
1981 | 11323 | 68.38% | 5047 | 30.48% | 13 | 0.07851% | 176 | 1.063% | 0 | 0% | 0 | 0% | 16559
1982 | 10920 | 73.7% | 3853 | 26.01% | 10 | 0.06749% | 33 | 0.2227% | 0 | 0% | 0 | 0% | 14816
1983 | 11561.2298 | 76.78% | 3452 | 22.93% | 10 | 0.06641% | 34 | 0.2258% | 0 | 0% | 0 | 0% | 15057.2298
1984 | 11112.5288 | 58.99% | 7650 | 40.61% | 36 | 0.1911% | 40 | 0.2123% | 0 | 0% | 0 | 0% | 18838.5288
1985 | 10177.7917 | 54.38% | 8465 | 45.23% | 16 | 0.08548% | 58 | 0.3099% | 0 | 0% | 0 | 0% | 18716.7917
1986 | 10863.1036 | 48.51% | 11469 | 51.22% | 9 | 0.04019% | 52 | 0.2322% | 0 | 0% | 0 | 0% | 22393.1036
1987 | 8930.8544 | 42.85% | 11836 | 56.79% | 17 | 0.08157% | 58 | 0.2783% | 0 | 0% | 0 | 0% | 20841.8544
1988 | 8246.1294 | 33.28% | 16462 | 66.45% | 30 | 0.1211% | 37 | 0.1493% | 0 | 0% | 0 | 0% | 24775.1294
1989 | 9580.4046 | 37.16% | 16129 | 62.56% | 30 | 0.1164% | 43 | 0.1668% | 0 | 0% | 0 | 0% | 25782.4046
1990 | 10717 | 41.17% | 15120 | 58.09% | 28 | 0.1076% | 55 | 0.2113% | 0 | 0% | 0 | 0% | 26030 | 1990
1991 | 11970 | 41.92% | 16433 | 57.55% | 20 | 0.07005% | 32 | 0.1121% | 0 | 0% | 0 | 0% | 28553 | 1991
1992 | 8271 | 31.93% | 17454 | 67.39% | 17 | 0.06564% | 35 | 0.1351% | 0 | 0% | 0 | 0% | 25900 | 1992
1993 | 9614 | 40.27% | 14083 | 58.99% | 22 | 0.09215% | 35 | 0.1466% | 0 | 0% | 0 | 0% | 23873 | 1993
1994 | 8150 | 32.4% | 16809 | 66.83% | 20 | 0.07951% | 73 | 0.2902% | 0 | 0% | 0 | 0% | 25153 | 1994
1995 | 10746 | 41.39% | 14934 | 57.52% | 168 | 0.6471% | 49 | 0.1887% | 0 | 0% | 0 | 0% | 25961 | 1995
1996 | 13795 | 51.4% | 12463 | 46.44% | 445 | 1.658% | 55 | 0.2049% | 0 | 0% | 0 | 0% | 26837 | 1996
1997 | 13406 | 46.9% | 14616 | 51.13% | 437 | 1.529% | 49 | 0.1714% | 0 | 0% | 0 | 0% | 28587 | 1997
1998 | 11118 | 39.06% | 16785 | 58.98% | 427 | 1.5% | 56 | 0.1968% | 0 | 0% | 0 | 0% | 28461 | 1998
1999 | 13822 | 43.99% | 16993 | 54.09% | 487 | 1.55% | 37 | 0.1178% | 0 | 0% | 0 | 0% | 31419 | 1999
2000 | 9623 | 36.38% | 16201 | 61.25% | 519.891 | 1.965% | 26.607 | 0.1006% | 0 | 0% | 0 | 0% | 26452 | 2000
2001 | 6613 | 27.29% | 17036 | 70.3% | 497.614 | 2.054% | 20.089 | 0.0829% | 0 | 0% | 0 | 0% | 24232 | 2001
2002 | 9567 | 37.56% | 15338 | 60.21% | 469.659 | 1.844% | 16.678 | 0.06547% | 0 | 0% | 0 | 0% | 25474 | 2002
2003 | 8702 | 33.13% | 17049 | 64.9% | 402.164 | 1.531% | 25.468 | 0.09695% | 0 | 0% | 0 | 0% | 26269 | 2003
2004 | 8856 | 33.06% | 17380 | 64.88% | 439.137 | 1.639% | 27.953 | 0.1043% | 0 | 0% | 0 | 0% | 26789 | 2004
2005 | 9587 | 34.31% | 17823 | 63.79% | 414.876 | 1.485% | 26.938 | 0.09642% | 0 | 0% | 0 | 0% | 27939 | 2005
2006 | 10130 | 35.87% | 17085 | 60.49% | 419.124 | 1.484% | 67.58 | 0.2393% | 435.97 | 1.544% | 0 | 0% | 28244 | 2006
2007 | 9364.336 | 32.37% | 18356.775 | 63.45% | 478.677 | 1.655% | 105.974 | 0.3663% | 495.776 | 1.714% | 0 | 0% | 28931 | 2007
2008 | 9999.557 | 33.74% | 18331.532 | 61.85% | 419.15 | 1.414% | 65.659 | 0.2215% | 593.138 | 2.001% | 0 | 0% | 29637 | 2008
2009 | 9505.94 | 35.59% | 15611.279 | 58.44% | 490.433 | 1.836% | 77.762 | 0.2911% | 820.924 | 3.073% | 0 | 0% | 26713 | 2009
2010 | 9414.662 | 31.6% | 18600.634 | 62.44% | 408.501 | 1.371% | 57.112 | 0.1917% | 930.233 | 3.123% | 0 | 0% | 29791 | 2010
2011 | 12596 | 41.81% | 15056 | 49.97% | 461 | 1.53% | 418 | 1.387% | 1166 | 3.87% | 0 | 0% | 30129 | 2011
2012 | 11283 | 40.58% | 13987 | 50.3% | 467 | 1.68% | 464 | 1.669% | 1262 | 4.539% | 0 | 0% | 27805 | 2012
2013 | 9638 | 34.81% | 14880 | 53.74% | 462 | 1.669% | 614 | 2.218% | 1755 | 6.339% | 0 | 0% | 27687 | 2013
2014 | 11483 | 37.95% | 15579 | 51.49% | 428 | 1.415% | 515 | 1.702% | 1974 | 6.524% | 0 | 0% | 30258 | 2014
2015 | 9888 | 33.75% | 16013 | 54.65% | 496 | 1.693% | 599 | 2.044% | 1965 | 6.706% | 0 | 0% | 29302 | 2015
2016 | 10083 | 36.29% | 14269 | 51.36% | 460 | 1.656% | 476 | 1.713% | 2140 | 7.702% | 8 | 0.02879% | 27784 | 2016
NA = Not available |  |  | *Less than 0.5 percent.
Note: The' Total' column may include other fuels not listed in the fist five columns and therefore column percentages may not add up to 100%
1 Gross generation less the electric energy consumed at the generating station for facilities with greater than 1 MW nameplate and owned by or selling to electric utilities and cooperatives. Starting in 1983, annual output of non-utility plants selling into the grid is included. From 1990 forward, TOTAL includes minor amounts of generation from sources not listed in the table. Sources not listed in the table include electricity generated from biomass, biogas, wood burning and possibly purchased steam. The data is too unreliable from year to year to list here, but generally runs under 300 million kWh or less than 2%. These other sources have increased recently with the Stoltz plant, Flathead landfill biogas and Ormat waste heat. This table is useful for long-term trends; Table E2 is more detailed for recent production figures.
2 Output from certain hydro and wind facilities, most notably Lake (1996-2010) and Tiber (2004-2005), aren't included in the EIA database; the sum of these exclusions is around 65-75 million kWh (~8 aMW) at its highest and much less otherwise. Further, there are several known errors and probably additional errors not known to DEQ. Because of the net error in the EIA data is not known, DEQ has not made any corrections in these data except as noted in Footnote 4.
3 Primarily petroleum coke and some fuel oil.
4 U.S. DOE figures appear to have double-counted output from some of the dams the Montana Power Company sold to PPL in December of 1999. Therefore, DEQ adjusted the hydroelectric generation and total generation, based on data presented in Table E3.
5 Data includes energy from large generating units generally 0.2 MW and higher. This includes larger solar farms that are 2 to 3 MW in size and utility solar projects. It does not include very small wind or solar units such as those owned by residential customers
Sources: Federal Power Commission (1960-76); U.S. Department of Energy, Energy Information Administration, Power Production, Fuel Consumption and Installed Capacity Data, EIA-0049 (1977-80); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1981-89); U.S. Department of Energy, Energy Information Administration, 1990-2016, Form EIA-923 detailed data with previous form data (EIA-906/920), https://www.eia.gov/electricity/data/state/, 'Net Generation by State by Type of Producer by Energy Source, fille named 'Annual_generation_state'. Solar data is NWE genertaing capacity additions as reported by Montana Renewable Energy Association based on data from NWE
2015 Output
| 2015 | Coal | Hydro | Natural Gas | Wind | Petrol/Coke
|  | 16013 | 9888 | 599 | 1965 | 496

## Table E6
Table E6. Annual Sales of Electricity by Sector, 1960-2016 (million kilowatt-hours)
| MONTANA |  |  |  |  | USA
Year | Residential | Commercial | Industrial | Other1 | Total | TOTAL
1960 | 935 | 479 | 2951 | 209 | 4575 | 686493
1961 | 982 | 518 | 2975 | 222 | 4697 | 720120
1962 | 1041 | 551 | 3099 | 254 | 4946 | 775381
1963 | 1077 | 574 | 3191 | 259 | 5101 | 830079
1964 | 1139 | 610 | 3544 | 249 | 5541 | 896059
1965 | 1216 | 654 | 3939 | 270 | 6080 | 959493
1966 | 1261 | 698 | 4657 | 286 | 6902 | 1035145
1967 | 1291 | 746 | 4282 | 293 | 6612 | 1099137
1968 | 1373 | 805 | 4982 | 273 | 7433 | 1202871
1969 | 1462 | 863 | 6208 | 247 | 8781 | 1312406
1970 | 1534 | 924 | 6029 | 264 | 8750 | 1392300
1971 | 1633 | 990 | 5999 | 268 | 8890 | 1469306
1972 | 1768 | 1070 | 5660 | 265 | 8763 | 1595161
1973 | 1812 | 1125 | 5034 | 246 | 8217 | 1713380
1974 | 1873 | 1156 | 5929 | 213 | 9171 | 1707852
1975 | 2058 | 1250 | 5069 | 197 | 8575 | 1736267
1976 | 2261 | 1525 | 5922 | 203 | 9911 | 1855246
1977 | 2440 | 1625 | 5759 | 189 | 10013 | 1948361
1978 | 2754 | 1768 | 6106 | 158 | 10786 | 2017922
1979 | 2957 | 1907 | 6111 | 154 | 11129 | 2071099
1980 | 2916 | 1957 | 5815 | 137 | 10825 | 2094449
1981 | 2906 | 2045 | 5848 | 157 | 10956 | 2147103
1982 | 3178 | 2180 | 4759 | 159 | 10276 | 2086441
1983 | 3097 | 2334 | 4217 | 166 | 9813 | 2150955
1984 | 3386 | 2687 | 5229 | 164 | 11466 | 2278372
1985 | 3505 | 2521 | 5623 | 173 | 11822 | 2309543
1986 | 3181 | 2302 | 5948 | 161 | 11593 | 2350835
1987 | 3139 | 2495 | 6304 | 484 | 12423 | 2457272
1988 | 3301 | 2620 | 6438 | 582 | 12942 | 2578062
1989 | 3456 | 2670 | 6535 | 400 | 13061 | 2646809
1990 | 3358.385 | 2737.526 | 6529.326 | 499.346 | 13124.583 | 2712554.665
1991 | 3458.893 | 2818.85 | 6622.098 | 506.759 | 13406.6 | 2762003.04
1992 | 3286.365 | 2859.488 | 6414.379 | 536.15 | 13096.382 | 2763365.449
1993 | 3597.987 | 3026.077 | 5836.579 | 468.584 | 12929.227 | 2861462.34
1994 | 3566.917 | 3096.032 | 5960.54 | 560.645 | 13184.134 | 2934562.864
1995 | 3639.879 | 3133.252 | 6367.702 | 277.69 | 13418.523 | 3013286.589
1996 | 3910.516 | 3298.6 | 6305.683 | 304.757 | 13819.556 | 3101127.023
19972 | 3803.973 | 3292.924 | 6353 | 283.918 | 13733.815 | 3145610.428
1998 | 3722.471 | 3313.181 | 6773.787 | 335.393 | 14144.832 | 3264230.752
1999 | 3664.414 | 3025.111 | 6257.748 | 334.326 | 13281.599 | 3312087.081
2000 | 3907.754 | 3791.861 | 6567.934 | 312.433 | 14579.982 | 3421414.266
2001 | 3886.224 | 3865.679 | 3370.259 | 324.496 | 11446.658 | 3394458.104
2002 | 4030.664 | 4003.108 | 4462.794 | 334.822 | 12831.388 | 3465466.011
2003 | 4120.15 | 4437.53 | 4266.98 | NA | 12824.66 | 3493734.486
2004 | 4052.761 | 4330.178 | 4573.843 | NA | 12956.782 | 3547479.483
2005 | 4221.448 | 4473.394 | 4783.996 | NA | 13478.838 | 3660968.513
2006 | 4393.973 | 4685.992 | 4735.015 | NA | 13814.98 | 3669918.84
2007 | 4541.544 | 4827.724 | 6162.717 | NA | 15531.985 | 3764560.712
2008 | 4669.467 | 4825.52 | 5831.413 | NA | 15326.4 | 3732962.18
2009 | 4774.281 | 4779.366 | 4772.512 | NA | 14326.159 | 3596864.866
2010 | 4742.794 | 4789.182 | 3891.162 | NA | 13423.138 | 3754493.053
2011 | 4913 | 4892 | 3983 | NA | 13788 | 3282882
2012 | 4778 | 4918 | 4168 | NA | 13863 | 3694650
2013 | 4926 | 4890 | 4229 | NA | 14045 | 3725064
2014 | 4969 | 4903 | 4230 | NA | 14102 | 3764700
2015 | 4825 | 4894 | 4488 | NA | 14207 | 3758992
2016 | 4853 | 4832 | 4416 | NA | 14101 | 3762462
NA: Not available. This category is now rolled into Commercial or Industrial; there are no Transportation sales in Montana as of 2015.
1 Beginning in 2003 the 'Other Sector' category has been eliminated. Data previously assigned to the Other Sector have been reclassified as follows: Lighting for public buildings, streets, and highways, interdepartmental sales, and other sales to public authorities are now included in the Commercial Sector; Agricultural and irrigation sales, where separately identified, are now included in the Industrial Sector.
2 EIA data on industrial sales corrected by adding BPA sales of 1,816 million kWh, which EIA didn't include in this year.
Sources: Federal Power Commission (1960-76); U.S. Department of Energy, Energy Information Administration, Electric Power Statistics, EIA-0034 (1977-78); U.S. Department of Energy, Energy Information Administration, Financial Statistics of Electric Utilities and Interstate Natural Gas Pipeline Companies, EIA-0147 (1979-80); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1981-99); U.S. Department of Energy, Energy Information Administration, Form 861 Database (2000-2016, Annual-by sector by state, https://www.eia.gov/electricity/data.php); 'sales_annual' in files.

## Table E7
Table E7. Average Annual Retail Prices for Electricity Sold, 1960-2016 (cents per kilowatt-hour)1
| MONTANA |  |  |  | U.S.
Year2 | Residential | Commercial | Industrial | All Montana Sales | All Sales
1960 | 2.33 | 2.25 | 0.43 | 1.05 | 1.69
1961 | 2.32 | 2.18 | 0.45 | 1.06 | 1.69
1962 | 2.29 | 2.13 | 0.46 | 1.07 | 1.67
1963 | 2.25 | 2.06 | 0.45 | 1.07 | 1.64
1964 | 2.2 | 2.02 | 0.45 | 1.03 | 1.63
1965 | 2.12 | 1.93 | 0.44 | 0.98 | 1.59
1966 | 2.09 | 1.92 | 0.43 | 0.92 | 1.56
1967 | 2.04 | 1.89 | 0.42 | 0.95 | 1.55
1968 | 1.99 | 1.83 | 0.4 | 0.9 | 1.54
1969 | 2.1 | 1.93 | 0.41 | 0.88 | 1.54
1970 | 2.13 | 1.94 | 0.42 | 0.94 | 1.59
1971 | 2.12 | 1.94 | 0.43 | 0.95 | 1.68
1972 | 2.16 | 1.98 | 0.44 | 1 | 1.77
1973 | 2.21 | 2.04 | 0.53 | 1.16 | 1.86
1974 | 2.23 | 2.05 | 0.5 | 1.1 | 2.3
1975 | 2.19 | 2.08 | 0.62 | 1.25 | 2.7
1976 | 2.23 | 2.06 | 0.6 | 1.24 | 2.89
1977 | 2.38 | 1.9 | 0.67 | 1.38 | 3.21
1978 | 2.62 | 2.5 | 0.72 | 1.53 | 3.46
1979 | 2.67 | 2.52 | 0.8 | 1.62 | 3.82
1980 | 2.95 | 2.78 | 0.98 | 1.87 | 4.49
1981 | 3.38 | 3.19 | 1.3 | 2.24 | 5.16
1982 | 3.58 | 3.3 | 2.09 | 2.81 | 5.79
1983 | 4.19 | 3.88 | 2.37 | 3.31 | 6
1984 | 4.3 | 3.88 | 2.57 | 3.38 | 6.27
1985 | 4.7 | 4.2 | 2.55 | 3.56 | 6.47
1986 | 5.02 | 4.54 | 2.6 | 3.71 | 6.47
1987 | 5.23 | 4.68 | 2.72 | 3.83 | 6.39
1988 | 5.41 | 4.79 | 3.16 | 4.14 | 6.36
1989 | 5.38 | 4.68 | 3.09 | 4.09 | 6.47
1990 | 5.45 | 4.68 | 2.87 | 3.96 | 6.571
1991 | 5.76 | 5 | 2.92 | 4.14 | 6.7472
1992 | 5.84 | 5.17 | 2.89 | 4.19 | 6.8207
1993 | 5.77 | 5.1 | 3.1 | 4.36 | 6.9272
1994 | 5.96 | 5.17 | 3.3 | 4.51 | 6.9075
1995 | 6.09 | 5.31 | 3.44 | 4.65 | 6.8934
1996 | 6.22 | 5.51 | 3.3 | 4.72 | 6.8558
1997 | 6.4 | 5.8 | 3.66 | 5.2 | 6.8455
1998 | 6.5 | 5.87 | 3.19 | 4.8 | 6.7351
1999 | 6.78 | 6.35 | 2.74 | 4.77 | 6.6392
2000 | 6.49 | 5.6 | 3.97 | 5 | 6.81
2001 | 6.88 | 5.91 | 6.59 | 6.48 | 7.29
2002 | 7.23 | 6.28 | 3.71 | 5.7 | 7.2
2003 | 7.56 | 6.85 | 4.03 | 6.14 | 7.44
2004 | 7.86 | 7.42 | 4.15 | 6.4 | 7.61
2005 | 8.1 | 7.43 | 4.83 | 6.72 | 8.14
2006 | 8.28 | 7.44 | 5.12 | 6.91 | 8.9
2007 | 8.77 | 8.1 | 5.16 | 7.13 | 9.13
2008 | 9.13 | 8.54 | 5.9 | 7.72 | 9.74
2009 | 8.93 | 8.32 | 5.45 | 7.57 | 9.82
2010 | 9.16 | 8.55 | 5.49 | 7.88 | 9.83
2011 | 9.75 | 9.12 | 5.27 | 8.23 | 9.9
2012 | 10.08 | 9.13 | 5.1 | 8.25 | 9.84
2013 | 10.33 | 9.54 | 5.43 | 8.58 | 10.12
2014 | 10.18 | 9.64 | 5.49 | 8.59 | 10.44
2015 | 10.88 | 10.23 | 5.32 | 8.9 | 10.41
2016 | 10.94 | 10.19 | 5.06 | 8.84 | 10.27
1 Average annual prices from 2000-2011, including 'All Montana Sales', were calculated by dividing total revenue by total sales as reported by Edison Electric Institute (1960-1999) and by U.S. Department of Energy Energy Information Administration (2000-2011). These figures are now given in the data and no longer need to be calculated.
2 In 1998 and 1999, calculation of prices are based on data that include distribution utility receipts for delivering power for power marketers, but may not include revenue and sales for some power marketers. This problem is believed to be most pronounced in 1999, the first full year of deregulation and are believed to be minimal in recent years. Errors in price, where they exist, are most likely to occur in industrial prices.
Source: Edison Electric Institute, Statistical Yearbook of the Electric Utility Industry, 1961-2000; U.S. Department of Energy, Energy Information Administration, Form 861 Database (2000-2016, 'Average Price by State by Provider', 2015-Interactive map-Annual by sector by state, https://www.eia.gov/electricity/data.php#sales); 'aveprice_annual' in files.

## Table E8
Table E8. Utility Retail Sales and Consumers, 2016
| RESIDENTIAL |  |  | COMMERCIAL |  |  | INDUSTRIAL |  |  | TOTAL |  |  | Residential | Commercial | Industrial | Total
| Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales
UTILITY NAME | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers
Cooperative | 1966455 | 224.4812 | 163743 | 1095996 | 125.1137 | 23779 | 871221 | 99.4545 | 6817 | 3944089 | 450.2385 | 194339
Federal | 214243 | 24.457 | 14811 | 187951 | 21.4556 | 5377 | 51935 | 5.9287 | 1059 | 454129 | 51.8412 | 21247
Investor-Owned | 2554590 | 291.6199 | 311255 | 3363725 | 383.9869 | 74605 | 865329 | 98.7818 | 1856 | 6783644 | 774.3886 | 387716
Montana-Dakota Utilities Co | 183859 | 20.9885 | 20069 | 284488 | 32.4758 | 5602 | -- | -- | -- | -- | -- | --
NorthWestern Corporation2 | 2370456 | 270.6 | 291165 | 3078475 | 351.4241 | 68956 | -- | -- | -- | -- | -- | --
Power Marketers | 0 | 0 | 0 | 185422 | 21.1669 | 5 | 2439144 | 278.4411 | 16 | 2624566 | 299.608 | 21
Talen Energy Marketing, LLC3 | -- | -- | -- | 185422 | 21.1669 | 5 | 2015544 | 239.9645 | 10 |  | 261.1314 | 15
15
STATE TOTALS5 | 4735288 | 540.558 | 489809 | 4833094 | 551.7231 | 103766 | 4227629 | 482.6061 | 9748 | 13806428 | 1576.0763 | 603323
Note: The Residential, Commercial and Industrial totals do not add up to the Totals in the right hand column because some utilities only reported one cumulative numbers and did not break out categories
1 One average megawatt = 8,760 kilowatt-hours.
2 These figures include direct sales and not the delivery-only electricity on NWE's system which is largely covered under the Power marketers
3 Used to be PPL EnergyPlus LLC
Source: U.S. Department of Energy, Energy Information Administration, https://www.eia.gov/electricity/data/eia861/, Form EIA-861 database 2016, 'Sales_Ult_Cust_2016'.