Broadview

Coordinates: 46.0779	108.8765 (approximate)

Nearest town: Broadview, about two miles to north

Elevation: 3,850 ft

Height of tower: 20 m

Height of instruments: Not documented; presumed to be standard NRG configuration at 20 m

Wind vane orientation: Not documented; presumed to be due north.

Logger: NRG Wind Explorer

Quality Control

Data collection starts: 10-13-05

Data collection ends: 5-29-06

Data recovery: 100%

Missing data:

Observations used by DEQ: 100%

-This is a tower that was part of an NREL-funded project.  Data provided to DEQ without documentation.

-Location estimated by DEQ based on verbal description.