Cadillac Hill

Coordinates: 45.7990 109.1053

Nearest town: Columbus, about 14 miles to the southwest

Elevation: 4,500 ft

Height of tower: 20 m

Height of instruments: Not documented; presumed to be standard NRG configuration at 20 m

Wind vane orientation: 17 degrees magnetic. (Declination 12d 38m East)

Logger: NRG Wind Explorer

### Quality Control

Data collection starts: 7-28-02

Data collection ends: 8-4-05

Data recovery: 62%

Missing data:

3-13-03 to 1-22-04

9-5-04 to 12-09-04

Observations used by DEQ: 98%

- Some periods withheld from analysis because no wind speed and/or flatline wind direction, as judged by DEQ.

-Data believed to be Mountain Daylight Time.

-Tower originally was erected as part of NREL’s net metering/irrigation project.