Chinook

Coordinates: 48.4399  109.2336

Nearest town: Chinook, 12 miles north

Surrounding area: lots of dryland crops in the area, creek to south and east

Elevation: 3181 ft., 970 m.

Height of tower: 20 m

Height of instruments: 20 m

Wind vane orientation: 90 degrees (true east)

Logger: NRG Wind Explorer

Quality Control

Data collection starts: 3-28-06

Data collection ends: 9-23-07

Data recovery: 100%

Missing data: none

Observations used by DEQ: ~100%

- Some periods withheld from analysis because no wind speed and/or flatline wind direction, as judged by DEQ.

-Tower run by Hill County Electric Cooperative.

-Only one of the raw data files was provided to DEQ.