PFAS Site Summary, Montana Air National Guard/Great Falls International Airport

In July 2018, the National Guard Bureau (NGB) completed a site inspection at the Montana Air National Guard (MANG)/Great Falls International Airport in Great Falls, Montana. This inspection revealed per- and polyfluoroalkyl substances (PFAS) in all media (soil, sediment, groundwater, and surface water) sampled. Eight PFAS-impacted locations, known as PRL-3 through PRL-10, were identified. The suspected PFAS source is aqueous film forming foam (AFFF) discharges to the environment from multiple sources, including fire hose nozzle testing/training, fire suppression system testing, an airplane crash site response action, an AFFF retention pond, and surface dissipation to a storm water outfall. The highest reported concentrations of combined perfluorooctane sulfonate (PFOS) and perfluorooctanoic acid (PFOA), two of the most studied PFAS, were 11,500 nanograms/liter (ng/L) in surface water at a stormwater outfall and 4,020 ng/L in groundwater. The state of Montana has a human health groundwater standard for PFOS and PFOA, individually or combined, of 70 ng/L*.  The US EPA’s current maximum contaminant level (MCL) in drinking water for both PFOS and PFOA is 4 ng/L.  The highest reported PFOS concentration in soil was 2,800 J micrograms/kilogram (µg/kg) and the highest reported PFOS concentration in sediment was 33 µg/kg.  The EPA’s current direct contact residential regional screening levels (RSLs) for PFOS and PFOA are 0.63 and 0.019 µg/kg, respectively (see EPA’s November 2024 RSL Table; THQ = 0.1).

In July 2020, the NGB completed a supplemental site investigation (SI) at Environmental Restoration Program (ERP) Site 1, a former fire training area (FTA) located near the western boundary of the Great Falls International Airport. Site 1 was used as an FTA from 1968 until early 1989 and AFFF was reportedly used at this location during that timeframe. Eight soil samples were collected from four soil borings within ERP Site 1 and the adjacent one-time landfarm and submitted for PFAS analysis. Seven groundwater monitoring wells were also installed to evaluate potential PFAS impacts to groundwater. The highest reported combined PFOS and PFOA concentration in soil was 1,568 µg/kg. The highest combined PFOS and PFOA concentration in groundwater was 216 ng/L.

The results of the July 2020 supplemental SI prompted the NGB to sample two nearby off-base/off-airport private water supply wells for potential PFAS impacts during summer/fall 2021.  One of the two water supply wells sampled was in use at the time of sampling.  Reported combined PFOS and PFOA concentrations exceeded the 70 ng/L human health groundwater standard for the in-use water supply well. In response, the NGB immediately provided bottled water to the resident. In June 2022, the NGB installed a point-of-entry treatment (POET) system on this well to remove the PFOS and PFOA from the groundwater prior to household use. PFOS and PFOA concentrations were also detected in the out-of-use water supply well, but at concentrations below the 70 ng/L human health groundwater standard. After this water supply well was brought back into use, the NGB provided bottled water to the resident. In April 2025, the NGB also installed a POET system on this well to remove the PFOS and PFOA from the groundwater prior to household use.

The NGB is planning to complete a remedial investigation (RI) to determine the full extent and magnitude of PFAS impacts at the Montana Air National Guard/Great Falls International Airport; however, this RI has not yet been scheduled due to federal funding constraints. For additional information, please contact Patrick Skibicki at (406) 444-6452 or e-mail pskibicki@mt.gov.

*EPA’s 2016 drinking water health advisory for PFOS and PFOA, individually or combined, is 70 ng/L.

Updated November 2025