August 12, 2026

Beth Stimatz

NorthWestern Energy

Dry Creek Compressor Station 056

40 East Broadway

Butte, Montana 59701

RE: Final and Effective Montana Air Quality Permit #2784-08

Sent via email: beth.stimatz@northwestern.com

Dear Ms. Stimatz:

Montana Air Quality Permit (MAQP) #2784-08 for the above-named permittee is deemed final and effective as of August 12, 2026, by the Montana Department of Environmental Quality (DEQ).  All conditions of the Decision remain the same.  A copy of the final MAQP is enclosed.

For DEQ,

| Conor Fox Air Quality Engineering Scientist Air Quality Bureau Air, Energy, and Mining Division (406) 444-4267 conor.fox@mt.gov | Eric Merchant, Supervisor Air Quality Permitting Services Section Air Quality Bureau Air, Energy, and Mining Division (406) 444-3626 eric.merchant2@mt.gov |
| --- | --- |

Montana Department of Environmental Quality

Air, Energy & Mining Division

Air Quality Bureau

Montana Air Quality Permit #2784-08

NorthWestern Energy

Dry Creek Compressor Station 056

Section 34, Township 6 South, Range 21 East, Carbon County

40 East Broadway

Butte, Montana 59701

Final and Effective Date:

August 12, 2026

# MONTANA AIR QUALITY PERMIT

| Issued To: NorthWestern Energy Dry Creek Compressor Station 056 40 East Broadway Butte, Montana 59701 | MAQP: #2784-08 Administrative Amendment (AA) Request Received: 07/01/2026 DEQ’s Decision on AA: 07/27/2026 Permit Final: 08/12/2026 |
| --- | --- |

A Montana Air Quality Permit (MAQP), with conditions, is hereby granted to the NorthWestern Energy (NWE), pursuant to Sections 75-2-204 and 211 of the Montana Code Annotated (MCA), as amended, and the Administrative Rules of Montana (ARM) 17.8.740, et seq., as amended, for the following:

# Permitted Facilities

## Plant Location

NWE owns and operates a natural gas compressor station and associated equipment located in the SE¼ of the SW¼ of Section 34, Township 6 South, Range 21 East, Carbon County. This facility is known as the Dry Creek Field Station 056.  A complete list of the permitted equipment can be found in Section I.A of the Permit Analysis.

## Current Permit Action

On July 1, 2026, DEQ received a request for an administrative amendment (AA) of MAQP #2784-07 from NWE. The request for AA permanently removes EU001 while maintaining existing Title V synthetic minor emission limits applicable to EU002.

# Limitations and Conditions

## Operational Requirements

- Emissions from the 800-hp White Superior 8G825/W64 (EU002) compressor engine shall not exceed the following (ARM 17.8.749 and ARM 17.8.1204(3)(d)):

NOx					1.77 pounds per hour (lb/hr)

CO					3.53 lb/hr

VOC					0.20 lb/hr

- Emissions from each of the two 1500-hp Caterpillar G3516J (EU003 & EU004) compressor engines shall not exceed the following (ARM 17.8.749):

NOX					0.5 grams per brake horsepower-hour (g/bhp-hr)

CO					0.2 g/bhp-hr

VOC					0.3 g/bhp-hr

- NWE shall install, operate and maintain a non-selective catalytic reduction (NSCR) on EU002 within the parameters recommended by the equipment manufacturer (ARM 17.8.749 and ARM 17.8.1204(3)(d)).

- NWE shall comply with all applicable standards and limitations, and the reporting, record-keeping, and notification requirements contained in 40 CFR 60, Subpart KKK for the Joule-Thompson Refrigeration Unit (ARM 17.8.340 and 40 CFR 60, Subpart KKK).

- NWE may not cause or authorize emissions to be discharged into the outdoor atmosphere from any sources installed on or before November 23, 1968, that exhibit an opacity of 40% or greater averaged over 6 consecutive minutes (ARM 17.8.304).

- NWE may not cause or authorize emissions to be discharged into the outdoor atmosphere from any sources installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes (ARM 17.8.304).

- NWE shall not cause or authorize emissions to be discharged into the atmosphere from haul roads, access roads, parking lots, or the general plant property without taking reasonable precautions to control emissions of airborne particulate matter (ARM 17.8.308).

- NWE shall treat all unpaved portions of the access roads, parking lots, and general plant area with water and/or chemical dust suppressant as necessary to maintain compliance with the reasonable precautions limitation in Section II.A.7 (ARM 17.8.749).

- NWE shall not cause or authorize to be discharged into the atmosphere from the Smart Ash Burner any visible emissions that exhibit an opacity of 10% or greater averaged over 6 consecutive minutes (ARM 17.8.752).

- NWE shall not incinerate any material other than oil-soaked rags, oil adsorbents, and filters in the Smart Ash Burner. Hazardous waste may not be incinerated in the Smart Ash Burner (ARM 17.8.749).

- NWE shall limit the operating hours of the new and existing emergency backup generators (EU011, EU009) to 500 hours per unit per calendar year (ARM 17.8.749).

## Emission Testing Requirements

- Within 180 days after installation of the NSCR equipment required by MAQP #2784-07, EU002 shall be initially tested for NOX and CO, concurrently, to demonstrate compliance with the emission limits in Section II.A.2 and the requirements of Section II.A.5 and Section II.A.6 (ARM 17.8.105, ARM 17.8.749, and ARM 17.8.1204(3)(d)).

Additional concurrent NOx and CO testing shall be conducted within 12 months following the initial compliance source test and every 4 years thereafter or according to another testing/monitoring schedule as may be approved by DEQ (ARM 17.8.105, ARM 17.8.749, and ARM 17.8.1204(3)(d)).

- EU003 and EU004 shall be initially tested for NOX, CO, and VOC, concurrently, to demonstrate compliance with the emissions limits in Section II.A.3. Testing shall occur within 180 days after equipment commencement (ARM 17.8.105 and ARM 17.8.749).

- Following the date of the initial source testing of EU003 and EU004 to demonstrate compliance with Section II.A.3, compliance with the applicable emission limits shall be demonstrated via source testing for NOx, CO, and VOCs, concurrently, within 8,760 operating hours or 3 years, whichever comes first. Source testing shall follow the applicable methods defined in 40 CFR 60 Subpart JJJJ, or equivalent methods as approved in writing by DEQ (ARM 17.8.105, ARM 17.8.749, ARM 17.8.340, and 40 CFR 60 Subpart JJJJ).

- All compliance source tests shall be conducted in accordance with the Montana Source Test Protocol and Procedures Manual (ARM 17.8.106).

- DEQ may require further testing (ARM 17.8.105).

## Operational Reporting Requirements:

- NWE shall supply DEQ with annual production information for all emission points, as required by DEQ in the annual emission inventory request. The request will include, but is not limited to, all sources of emissions identified in the emission inventory contained in the permit analysis.

Production information shall be gathered on a calendar-year basis and submitted to DEQ by the date required in the emission inventory request. Information shall be in the units required by DEQ. This information may be used for calculating operating fees, based on actual emissions from the facility, and/or to verify compliance with permit limitations (ARM 17.8.505).

- NWE shall notify DEQ of any construction or improvement project conducted, pursuant to ARM 17.8.745, that would include the addition of a new emissions unit, change in control equipment, stack height, stack diameter, stack flow, stack gas temperature, source location, or fuel specifications, or would result in an increase in source capacity above its permitted operation. The notice must be submitted to DEQ, in writing, 10 days prior to startup or use of the proposed de minimis change, or as soon as reasonably practicable in the event of an unanticipated circumstance causing the de minimis change and must include the information requested in ARM 17.8.745(l)(d) (ARM 17.8.745).

- NWE shall document, by month, the hours of operation of EU002. By the 25th day of each month, NWE shall total the hours of operation of EU002 for the previous month. The monthly information will be used to verify compliance with the rolling 12-month limitations in Sections II.A.5. and 6. Emissions shall be totaled by multiplying the run hours by the average NOX and CO emission rates achieved during the most recent emissions compliance test. The information for each of the previous months shall be submitted along with the annual emission inventory (ARM 17.8.749 and ARM 17.8.1204(3)(d)).

- NWE shall annually certify that its emissions are less than those that would require the source to obtain an air quality operating permit as required by ARM 17.8.1204(3)(b).  The annual certification shall comply with the certification requirements of ARM 17.8.1207.  The annual certification shall be submitted along with the annual emissions inventory information (ARM 17.8.749 and ARM 17.8.1204).

# General Conditions

## Inspection – NWE shall allow DEQ's representatives access to the source at all reasonable times for the purpose of making inspections or surveys, collecting samples, obtaining data, auditing any monitoring equipment such as continuous emissions monitoring systems (CEMS) or continuous emissions rate monitoring systems (CERMS), or observing any monitoring or testing, and otherwise conducting all necessary functions related to this permit.

### Waiver – The permit and the terms, conditions, and matters stated herein shall be deemed accepted if NWE fails to appeal as indicated below.

## Compliance with Statutes and Regulations – Nothing in this permit shall be construed as relieving the NWE of the responsibility for complying with any applicable federal or Montana statute, rule or standard, except as specifically provided in ARM 17.8.740, et seq. (ARM 17.8.756).

## Enforcement – Violations of limitations, conditions and requirements contained herein may constitute grounds for permit revocation, penalties or other enforcement as specified in Section 75-2-401, et seq., MCA.

## Appeals – Any person or persons jointly or severally adversely affected by DEQ’s decision may request, within 15 days after DEQ renders its decision, upon affidavit setting forth the grounds therefore, a hearing before the Board of Environmental Review (Board). A hearing shall be held under the provisions of the Montana Administrative Procedures Act. The filing of a request for a hearing does not stay DEQ’s decision, unless the Board issues a stay upon receipt of a petition and a finding that a stay is appropriate under Section 75-2-211(11)(b), MCA. The issuance of a stay on a permit by the Board postpones the effective date of DEQ’s decision until conclusion of the hearing and issuance of a final decision by the Board. If a stay is not issued by the Board, DEQ’s decision on the application is final 16 days after DEQ’s decision is made.

## Permit Inspection – As required by ARM 17.8.755, Inspection of Permit, a copy of the air quality permit shall be made available for inspection by Department personnel at the location of the permitted source.

## Permit Fee – Pursuant to Section 75-2-220, MCA, failure to pay the annual operation fee by NWE may be grounds for revocation of this permit, as required by that section and rules adopted thereunder by the Board.

## Duration of Permit – Construction or installation must begin, or contractual obligations entered into that would constitute substantial loss within 3 years of permit issuance and proceed with due diligence until the project is complete or the permit shall expire (ARM 17.8.762).

Montana Air Quality Permit Analysis

NorthWestern Energy

MAQP #2784-08

# Introduction/Process Description

NorthWestern Energy (NWE) owns and operates a natural gas compressor station located within the SE¼ of the SW¼ of Section 34, Township 6 South, Range 21 East, in Carbon County.

## Permitted Equipment

NWE Dry Creek Compressor Station includes, but is not limited to, the following emitting units:

| Source # | Title V I.D. # | NorthWestern Internal I.D. | Year Installed | Make | Model | Size |
| --- | --- | --- | --- | --- | --- | --- |
| 02 | EU002 | Engine #02 | 1971 | White Superior | 8G825/W64 | 800-hp |
| 03 | EU003 | Engine #03 | TBD | Caterpillar | G3516J | 1,500-hp |
| 04 | EU004 | Engine #04 | TBD | Caterpillar | G3516J | 1,500-hp |
| 05 | EU005 | Engine #05 | pre-1968 | Solar | Saturn | 1,100-hp |
| Source # | Title V I.D. # | NorthWestern Internal I.D. | Description |  |  |  |
| 06 | EU006 | Dehydrator | 750 MBtu/hr Triethylene Glycol Dehydrator and Glycol Vent Emissions |  |  |  |
| 07 | EU007 | Refrigeration Unit | Joule-Thompson Refrigeration Unit |  |  |  |
| 08 | EU008 | Fuel Storage Tanks | Fuel Storage Tanks |  |  |  |
| 09 | EU009 | Backup Generator | Existing Emergency Backup Generator |  |  |  |
| 10 | EU010 | Incinerator | Model 100 SmartAsh Burner installed 1998 |  |  |  |
| 11 | EU011 | Backup Generator | New Emergency Backup Generator 105-hp (to be installed) |  |  |  |
| 12 | IEU001 | Reboiler | 0.256 MMBtu/hr Dehydrator Reboiler |  |  |  |
| 13 | IEU002 | Reboiler | 0.350 MMBtu/hr Dehydrator Reboiler |  |  |  |
| 14 | IEU003 | Reboiler | 0.750 MMBtu/hr ALCO Dehydrator Reboiler |  |  |  |
| 15 | IEU004 | Building Heaters | All Building Heaters - <1 MMBtu/hr |  |  |  |
| 16 | EU005 | Process Valves | Process Valves |  |  |  |

hp – Horsepower

MBtu/hr – Thousand British Thermal Units per Hour

MMBtu – Million British Thermal Units

## Source Description

The Ingersoll Rand 62-KVG compressor engine was installed at the Dry Creek Field compressor station in 1966, the White Superior 8G825/W62 compressor engine was installed in 1971, Two 1500-hp Caterpillar G3516J Engine are to be installed, and NWE installed a Solar Saturn 1100 horsepower (hp) compressor turbine in 2001.

The storage units are used primarily to inject natural gas into the storage field during the off season to replace gas withdrawn by natural feed during the previous heating season. The storage units can be used to withdraw from storage or in transmission service; however, this is rarely done. During withdrawal from storage, the gas is first dehydrated using the glycol contactor vessel(s) and then stripped of heavy-end hydrocarbons by passing through a Joule-Thompson type refrigeration plant before entering the transmission line at approximately 500 to 700 pounds per square inch, gauge pressure (psig).

The production compressors withdraw natural gas from local production wells and increase the gas pressure before entering the mechanical refrigeration plant, which removes both water and heavy-end hydrocarbons. The production gas stream then either enters the pipeline to be transmitted west or enters the inlet of the storage compressors for injection into the storage field. Discharge pressures on the production compressors may range from 350 to 700 psig. Emissions from both the mechanical refrigeration unit and the Joule-Thompson type refrigeration unit are assumed to be negligible because they are both completely enclosed systems and are contained under pressure.

The complex also has two other purposes. The first is to pump the field gas up to the required pressure in the natural gas transmission system. Compression of the gas is accomplished using the compressors described above. Three heaters provide heat to the various station facilities.

The second purpose of the complex is to "dry" the gas as it is being processed. The gas contains some moisture, which must be removed from the system prior to being sent into the transmission system. This is accomplished with a dehydrator, also commonly called a reboiler or glycol unit.

The gas is treated with a glycol solution, which absorbs the water in the gas stream. The glycol solution is then heated to about 300°F to drive off the water and return the glycol. The heat necessary for this activity is generated by burning natural gas in the dehydrator reboiler. These units will have heat inputs ranging from approximately 175 to 1,000 MBtu/hr. The reboilers are small by industrial standards, having a size approximately equivalent to a typical natural gas-fired small office heating system.

## Permit History

On July 14, 1993, Montana Power Company (MPC) was issued MAQP #2784-00 for the operation of their natural gas processing plant and associated equipment, located in the SE¼ of the SW¼ of Section 34, Township 6 South, Range 5 East, Carbon County near Red Lodge, Montana. The facility was identified as the Dry Creek Field, Station 056-1 through 4.

Most of the Dry Creek Field was an existing source (it was operating at the same location prior to March 16, 1979) and a Best Available Control Technology (BACT) determination was not required. However, the Joule-Thompson refrigeration unit was a new or modified source since it was installed in 1985. Therefore, a BACT analysis was required for the Joule-Thompson refrigeration unit.

The Joule-Thompson refrigeration unit at this facility is used to separate the heavy-end hydrocarbons from the gas storage field. The unit is completely enclosed and there should be no emissions from the unit during operation. In addition, the flanges and connections are state of the art, further preventing any loss of product from the unit. This Joule-Thompson refrigeration unit is subject to the New Source Performance Standards (NSPS) stated in 40 CFR 60, Subpart KKK because it meets the definition of a natural gas processing plant and was installed after January 20, 1984. Some of the NSPS requirements are monthly monitoring of applicable equipment to detect leaks, additional reporting and recordkeeping requirements, notification requirements, etc.

The Montana Department of Environmental Quality (Department) determined that BACT for this source was the proper operation of the Joule-Thompson refrigeration unit to maintain compliance with all standards and limitations, and the reporting, recordkeeping, and notification requirements as set forth in 40 CFR 60, Subpart KKK.

On March 7, 1994, MAQP #2784-01 was issued to the Dry Creek Field Station. This modification was requested because the Department revised the emission limitation units from grams per brake horsepower–hour (g/bhp-hr) to pounds per hour (lb/hr). The revision was due to varying parameters such as engine’s revolution per minute (RPM), operating load (bhp), ambient air temperature, gas temperature, site, elevation, fuel gas quality, air/fuel ratio (AFR), field gas conditions, etc. Rather than limiting the engines to a g/bhp-hr limit, an hourly emission limit allowed some needed operational flexibility. Also, to clarify NOx mass emission calculations, NOx emission limitations were identified as nitrogen dioxide (NO2).

On November 6, 1998, MAQP #2784-02 was issued to MPC. A Smart Ash Incinerator was added to the Dry Creek Station as part of this permit action. Furthermore, General Condition F was removed from the language that was contained in Permit #2784-01 and the rule references were updated. MPC requested to add the Smart Ash Burner to the facility to incinerate oil-soaked rags, oil adsorbents, and filters. Also, the rule references in the permit were updated. MPC requested to add the Smart Ash Burner to the facility to incinerate oil-soaked rags, oil absorbents, and filters. Also, the rule references in the permit were updated.

On August 24, 2000, MPC requested a modification of MAQP #2784-02. MPC requested to add an 1100-hp Solar Saturn turbine-driven compressor to the Dry Creek facility. After issuance of the Preliminary Determination (PD), the Department determined that informational testing was necessary to ensure that the 1100-hp Solar Saturn turbine-driven compressor could operate within the emission levels specified in the emission inventory; and thus, to ensure that the Dry Creek facility was a minor source of emissions in regard to the New Source Review Program. MAQP #2784-03 replaced MAQP #2784-02.

On November 23, 2001, MPC notified the Department of a pending merger of MPC with and into Montana Power, L.C.C. (MPC LCC). Due to questions regarding the length of time the new company name would be valid, the Department decided to wait on the name change for the permit. On October 18, 2002, the Department received a request to change the permit from MPC LLC to NorthWestern Corporation. This permit action changed the name on this permit from Montana Power Company to NorthWestern Corporation. MAQP #2784-04 replaced MAQP #2784-03.

On February 7, 2008, NWE requested that the Department change the name on their permit from NorthWestern Corporation to NWE. MAQP #2784-05 was also updated to reflect the current permit language and rule references used by the Department. MAQP #2784-05 replaced MAQP #2784-04.

On November 18, 2019, NWE notified the Department of the transfer of ownership of the two Ajax engines at the Dry Creek Field, Station 056 from NWE to Big Sky Energy, LLC and requested that all conditions related to the two Ajax engines be removed from NWE’s air quality permit. The two engines are an Ajax DPC-300 and an Ajax DPC-360. All applicable permit conditions for the two Ajax engines have been transferred to MAQP #5237-00. MAQP #2784-06 replaces MAQP #2784-05.

On June 20, 2025, DEQ received an application from NWE for modification of MAQP #2784-06 to add two 1,500 horsepower (hp) Caterpillar four-stroke natural gas fired compressor engines, add one additional 105-hp emergency backup generator and add one dehydrator reboiler. In addition, NWE is requesting to remove the mechanical refrigeration unit, and replace the 900,000 British thermal units per hour (Btu/hr) dehydrator reboiler with a 350,000 Btu/hr dehydrator reboiler.

Further, under the current permit action NWE is requesting enforceable annual emissions limits for oxides of nitrogen (NOX) and carbon monoxide (CO) applicable to the existing 660 hp Ingersoll-Rand and 800 hp White Superior compressor engines. The combined annual limits for NOx would be 70 tons per year (tpy) and CO would be 85 tpy. These enforceable limits would achieve a reduction in allowable emissions to a level below the Title V operating permit threshold, thereby achieving Title V “synthetic minor” status pursuant to ARM 17.8.1204(3)(d). Following the establishment of enforceable NOx and CO emission limits for the subject engines, NWE intends to request revocation of their existing Title V Operating Permit #OP2784-12. MAQP #2784-07 replaces MAQP #2784-06.

## Current Permit Action

On July 1, 2026, DEQ received a request for an administrative amendment (AA) of MAQP #2784-07 from NWE. The request for AA permanently removes EU001 while maintaining existing Title V synthetic minor emission limits applicable to EU002. MAQP #2784-08 replaces MAQP #2784-07.

## Additional Information

Additional information, such as applicable rules and regulations, BACT determinations, air quality impacts, and environmental assessments, is included in the analysis associated with each change to the permit.

# Applicable Rules and Regulations

The following are partial explanations of some applicable rules and regulations that apply to the facility. The complete rules are stated in the Administrative Rules of Montana (ARM) and are available upon request from DEQ. Upon request, DEQ will provide references for location of complete copies of all applicable rules and regulations or copies where appropriate.

## ARM 17.8, Subchapter 1 - General Provisions, including, but not limited to:

- ARM 17.8.101 Definitions. This rule includes a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.105 Testing Requirements. Any person or persons responsible for the emission of any air contaminant into the outdoor atmosphere shall, upon written request of DEQ, provide the facilities and necessary equipment (including instruments and sensing devices) and shall conduct tests, emission or ambient, for such periods of time as may be necessary using methods approved by DEQ.

- ARM 17.8.106 Source Testing Protocol. The requirements of this rule apply to any emission source testing conducted by DEQ, any source, or other entity as required by any rule in this chapter, or any permit or order issued pursuant to this chapter, or the provisions of the Clean Air Act of Montana, 75-2-101, et seq., Montana Code Annotated (MCA).

NWE shall comply with all requirements contained in the Montana Source Test Protocol and Procedures Manual, including, but not limited to, using the proper test methods and supplying the required reports. A copy of the Montana Source Test Protocol and Procedures Manual is available from DEQ upon request.

- ARM 17.8.110 Malfunctions. DEQ must be notified promptly by telephone whenever a malfunction occurs that can be expected to create emissions in excess of any applicable emission limitation or to continue for a period greater than 4 hours.

- ARM 17.8.111 Circumvention. (1) No person shall cause or permit the installation or use of any device or any means that, without resulting in reduction of the total amount of air contaminant emitted, conceals or dilutes an emission of air contaminant that would otherwise violate an air pollution control regulation. (2) No equipment that may produce emissions shall be operated or maintained in such a manner as to create a public nuisance.

## B.	ARM 17.8, Subchapter 2 - Ambient Air Quality, including, but not limited to:

1.	ARM 17.8.204 Ambient Air Monitoring

2.	ARM 17.8.210 Ambient Air Quality Standards for Sulfur Dioxide

3.	ARM 17.8.211 Ambient Air Quality Standards for Nitrogen Dioxide

4.	ARM 17.8.212 Ambient Air Quality Standards for Carbon Monoxide

5.	ARM 17.8.213 Ambient Air Quality Standard for Ozone

6.	ARM 17.8.214 Ambient Air Quality Standard for Hydrogen Sulfide

7.	ARM 17.8.220 Ambient Air Quality Standard for Settled Particulate Matter

8.	ARM 17.8.221 Ambient Air Quality Standard for Visibility

9.	ARM 17.8.222 Ambient Air Quality Standard for Lead

10.	ARM 17.8.223 Ambient Air Quality Standard for PM10

11.	ARM 17.8.230 Fluoride in Forage

## ARM 17.8, Subchapter 3 - Emission Standards, including, but not limited to:

- ARM 17.8.304 Visible Air Contaminants. This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes.

- ARM 17.8.308 Particulate Matter, Airborne. (1) This rule requires an opacity limitation of less than 20% for all fugitive emission sources and that reasonable precautions be taken to control emissions of airborne particulate matter. (2) Under this rule, NWE shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter.

- ARM 17.8.309 Particulate Matter, Fuel Burning Equipment. This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter caused by the combustion of fuel in excess of the amount determined by this rule.

- ARM 17.8.310 Particulate Matter, Industrial Process. This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter in excess of the amount set forth in this rule.

- ARM 17.8.322 Sulfur Oxide Emissions--Sulfur in Fuel. This rule requires that no person shall burn liquid, solid, or gaseous fuel in excess of the amount set forth in this rule.

- ARM 17.8.324 Hydrocarbon Emissions--Petroleum Products. (3) No person shall load or permit the loading of gasoline into any stationary tank with a capacity of 250 gallons or more from any tank truck or trailer, except through a permanent submerged fill pipe, unless such tank is equipped with a vapor loss control device as described in (1) of this rule.

- ARM 17.8.340 Standard of Performance for New Stationary Sources. The owner and operator of any stationary source or modification, as defined and applied in 40 CFR Part 60, shall comply with the standards and provisions of 40 CFR Part 60.

  - 40 CFR 60, Subpart A, General Provisions. Apply to all equipment or facilities subject to an NSPS subpart as listed below:

  - 40 CFR 60, Subpart JJJJ Standards of Performance for Stationary Spark Ignition Internal Combustion Engines.  The 1,500 horsepower engines are subject to this subpart.

  - The Joules-Thompson refrigeration unit, which removes heavy-end hydrocarbons, meets the definition of a natural gas processing plant in 40 CFR Part 60, therefore, the NWE Dry Creek Field Compressor Station is subject to 40 CFR 60, Subpart KKK, Standards of Performance for Equipment Leaks of VOC Onshore Natural Gas Processing Plants.

- ARM 17.8.342 Emission Standards for Hazardous Air Pollutants for Source Categories. The owner or operator of any affected source, as defined and applied in 40 CFR Part 63, shall comply with the requirements of 40 CFR Part 63, as applicable.

a.	40 CFR 63, Subpart A – General Provisions apply to all equipment or facilities subject to a NESHAPs Subpart as listed below.

b.	40 CFR 63, Subpart ZZZZ - National Emissions Standards for Hazardous Air Pollutants (HAPs) for Stationary Reciprocating Internal Combustion Engines (RICE). An owner or operator of a stationary reciprocating internal combustion engine (RICE) at a major or area source of HAP emissions is subject to this rule except if the stationary RICE is being tested at a stationary RICE test cell/stand. An area source of HAP emissions is a source that is not a major source. The RICE equipment to be used under MAQP #2784-06 are subject to this subpart because they are stationary RICE operating at an area source of HAP emissions.

## ARM 17.8, Subchapter 5 - Air Quality Permit Application, Operation and Open Burning Fees, including, but not limited to:

- ARM 17.8.504 Air Quality Permit Application Fees. This rule requires that an applicant submit an air quality permit application fee concurrent with the submittal of an air quality permit application.  A permit application is incomplete until the proper application fee is paid to DEQ. A permit application fee was not required for the current permit action because the permit change is considered an administrative change.

- ARM 17.8.505 Air Quality Operation Fees. An annual air quality operation fee must, as a condition of continued operation, be submitted to DEQ by each source of air contaminants holding an air quality permit (excluding an open burning permit) issued by DEQ. The air quality operation fee is based on the actual or estimated actual amount of air pollutants emitted during the previous calendar year.

An air quality operation fee is separate and distinct from an air quality permit application fee. The annual assessment and collection of the air quality operation fee, described above, shall take place on a calendar-year basis. DEQ may insert into any final permit issued after the effective date of these rules, such conditions as may be necessary to require the payment of an air quality operation fee on a calendar-year basis, including provisions that prorate the required fee amount.

## ARM 17.8, Subchapter 7 - Permit, Construction and Operation of Air Contaminant Sources, including, but not limited to:

- ARM 17.8.740 Definitions. This rule is a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

2.	ARM 17.8.743 Montana Air Quality Permits--When Required. This rule requires a person to obtain an air quality permit or permit modification to construct, modify, or use any air contaminant sources that have the potential to emit (PTE) greater than 25 tons per year of any pollutant. NWE has the potential to emit more than 25 tons per year of NOX, CO, and volatile organic compounds (VOC); therefore, a permit is required.

3.	ARM 17.8.744 Montana Air Quality Permits--General Exclusions. This rule identifies the activities that are not subject to the Montana Air Quality Permit program.

4.	ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes. This rule identifies the de minimis changes at permitted facilities that do not require a permit under the Montana Air Quality Permit Program.

5.	ARM 17.8.748 New or Modified Emitting Units--Permit Application Requirements. (1) This rule requires that a permit application be submitted prior to installation, modification, or use of a source. NWE was not required to submit a permit application for the current permit action. (7) An affidavit of publication of public notice was not required for the current permit action because the permit change is considered an administrative permit change.

6.	ARM 17.8.749 Conditions for Issuance or Denial of Permit. This rule requires that the permits issued by DEQ must authorize the construction and operation of the facility or emitting unit subject to the conditions in the permit and the requirements of this subchapter. This rule also requires that the permit must contain any conditions necessary to assure compliance with the Federal Clean Air Act (FCAA), the Clean Air Act of Montana, and rules adopted under those acts.

7.	ARM 17.8.752 Emission Control Requirements. This rule requires a source to install the maximum air pollution control capability that is technically practicable and economically feasible, except that BACT shall be utilized. The required BACT analysis is included in Section III of this permit analysis.

- ARM 17.8.755 Inspection of Permit. This rule requires that air quality permits shall be made available for inspection by DEQ at the location of the source.

- ARM 17.8.756 Compliance with Other Requirements. This rule states that nothing in the permit shall be construed as relieving NWE of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq.

- ARM 17.8.759 Review of Permit Applications. This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those permit applications that do not require the preparation of an environmental impact statement.

- ARM 17.8.762 Duration of Permit. An air quality permit shall be valid until revoked or modified, as provided in this subchapter, except that a permit issued prior to construction of a new or modified source may contain a condition providing that the permit will expire unless construction is commenced within the time specified in the permit, which in no event may be less than 1 year after the permit is issued.

- ARM 17.8.763 Revocation of Permit. An air quality permit may be revoked upon written request of the permittee, or for violations of any requirement of the Clean Air Act of Montana, rules adopted under the Clean Air Act of Montana, the FCAA, rules adopted under the FCAA, or any applicable requirement contained in the Montana State Implementation Plan (SIP).

- ARM 17.8.764 Administrative Amendment to Permit. An air quality permit may be amended for changes in any applicable rules and standards adopted by the Board of Environmental Review (Board) or changed conditions of operation at a source or stack that do not result in an increase of emissions as a result of those changed conditions. The owner or operator of a facility may not increase the facility’s emissions beyond permit limits unless the increase meets the criteria in ARM 17.8.745 for a de minimis change not requiring a permit, or unless the owner or operator applies for and receives another permit in accordance with ARM 17.8.748, ARM 17.8.749, ARM 17.8.752, ARM 17.8.755, and ARM 17.8.756, and with all applicable requirements in ARM Title 17, Chapter 8, Subchapters 8, 9, and 10.

- ARM 17.8.765 Transfer of Permit. This rule states that an air quality permit may be transferred from one person to another if written notice of intent to transfer, including the names of the transferor and the transferee, is sent to DEQ.

## ARM 17.8, Subchapter 8 - Prevention of Significant Deterioration of Air Quality, including, but not limited to:

- ARM 17.8.801 Definitions. This rule is a list of applicable definitions used in this subchapter.

2.	ARM 17.8.818 Review of Major Stationary Sources and Major Modifications--Source Applicability and Exemptions. The requirements contained in ARM 17.8.819 through ARM 17.8.827 shall apply to any major stationary source and any major modification, with respect to each pollutant subject to regulation under the Federal Clean Air Act (FCAA) that it would emit, except as this subchapter would otherwise allow.

This facility is not a major stationary source because this facility is not a listed source and the facility's PTE is below 250 tons per year of any pollutant (excluding fugitive emissions).

## ARM 17.8, Subchapter 12 - Operating Permit Program Applicability, including, but not limited to:

- ARM 17.8.1201 Definitions. (23) Major Source under Section 7412 of the FCAA is defined as any stationary source having:

  - PTE > 100 tons/year of any pollutant.

b.	PTE > 10 tons/year of any one hazardous air pollutant (HAP), or PTE > 25 tons/year of a combination of all HAPs, or lesser quantity as DEQ may establish by rule.

c.	PTE > 70 tons/year of particulate matter with an aerodynamic diameter of 10 microns or less (PM10) in a serious PM10 nonattainment area.

2.	ARM 17.8.1204 Air Quality Operating Permit Program Applicability. Title V of the FCAA Amendments of 1990 requires that all sources, as defined in ARM 17.8.1204 (1), obtain a Title V Operating Permit. In reviewing and issuing MAQP #2784-06 for the NWE Dry Creek Field, Station 056, the following conclusions were made:

  - The facility’s PTE is > 100 tons/year for NOX.

  - The facility’s PTE is < 10 tons/year of any single hazardous air pollutant (HAP) and < 25 tons/year of all HAPs.

  - This source is not located in a serious PM10 nonattainment area.

  - This facility is subject to 40 CFR 60, Subpart KKK.

  - This facility is subject to current NESHAP standards (40 CFR 63, Subparts A and ZZZZ).

  - This source is not a Title IV affected source or a solid waste combustion unit.

  - This source is not an EPA designated Title V source.

  - As allowed by ARM 17.8.1204(3), DEQ may exempt a source from the requirement to obtain an air quality operating permit by establishing federally enforceable limitations which limit that source’s potential to emit.

          - In applying for an exemption under this section, the owner or operator of the source shall certify to DEQ that the source’s potential to emit, does not require the source to obtain an air quality operating permit.

          - Any source that obtains a federally enforceable limit on potential to emit shall annually certify that its actual emissions are less than those that would require the source to obtain an air quality operating permit.

NWE has taken federally enforceable permit limits to keep potential emissions below major source permitting thresholds.  Therefore, the facility is a synthetic minor source and thus a Title V operating permit is not required.

DEQ determined that the source testing and annual reporting requirements contained in the permit are sufficient to satisfy this requirement.

3. 	ARM 17.8.1207 Certification of Truth, Accuracy, and Completeness. NWE shall annually certify that its actual emissions are less than those that would require the source to obtain an air quality operating permit as required by ARM 17.8.1204 (3)(b).  The annual certification shall comply with requirements of ARM 17.8.1207.  The annual certification shall be submitted along with the annual emission inventory information.

## Montana Code Annotated (MCA) 75-2-103, definitions, provides in part as follows:

1.	"Incinerator" means any single or multiple chambered combustion device that burns combustible material, alone or with a supplemental fuel or catalytic combustion assistance, primarily for the purpose of removal, destruction, disposal, or volume reduction of all or any portion of the input material.

2.	"Solid waste" means all putrescible and non-putrescible solid, semisolid, liquid, or gaseous wastes, including, but not limited to...air pollution control facilities.

## MCA 75-2-215, Solid or hazardous waste incineration - additional permit requirements:

- MCA 75-2-215 requires air quality permits for all new commercial solid waste incinerators. NWE therefore incorporated the Smart Ash Burner into air quality Permit #2784-02.

2.	MCA 75-2-215 requires the applicant to provide, to DEQ's satisfaction, a characterization and estimate of emissions and ambient concentrations of air pollutants, including hazardous air pollutants, from the incineration of solid waste. DEQ determined that the information submitted in Permit #2784-02 is sufficient to fulfill this requirement.

3.	MCA 75-2-215 requires that DEQ reach a determination that the projected emissions and ambient concentrations constitute a negligible risk to public health, safety and welfare. Bison Engineering, Inc. (Bison) submitted a health risk assessment on behalf of NWE. Based on the results of the emission inventory, modeling, and the health risk assessment submitted by Bison, DEQ has determined that NWE’s proposal complies with this requirement.

- MCA 75-2-215 requires the application of pollution control equipment or procedures that meet or BACT. DEQ has determined that the proposed incinerator constitutes BACT.

# BACT Determination

A BACT analysis was not required for the current permit action because the current permit action is an administrative permit action.

# Emission Inventory

| Emitting Unit ID | Description | PM2.5 (TPY) | PM10 (TPY) | SO2 (TPY) | NOX (TPY) | VOC (TPY) | CO (TPY) | HAPs (TPY) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EU002 | 800-hp White Superior 4-Stoke Rich Burn Engine | 0.58 | 0.58 | 0.02 | 7.73 | 1.53 | 15.45 | 1.13 |
| EU003* | 1,500-hr Caterpillar 4-Stroke Lean Burn Engine | 0.52 | 0.52 | 0.03 | 5.40 | 4.52 | 2.90 | 2.29 |
| EU004* | 1,500-hr Caterpillar 4-Stroke Lean Burn Engine | 0.52 | 0.52 | 0.03 | 5.40 | 4.52 | 2.90 | 2.29 |
| EU005 | 1,100-hp Solar Saturn Turbine-driven Compressor Engine | 0.00 | 0.00 | 0.00 | 13.10 | 0.09 | 3.36 | 0.27 |
| EU006 | 750 MBtu/hr Triethylene Glycol Dehydrator and Glycol Vent Emissions | 0.00 | 0.00 | 0.00 | 0.00 | 21.90 | 0.00 | 4.40 |
| EU0071 | Joule-Thompson Refrigeration Unit | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| EU008 | Fuel Storage Tanks | -- | -- | -- | -- | 3.00 | -- | 0.10 |
| EU009 | Emergency Backup Generator | 0.01 | 0.01 | 0.00 | 0.87 | 0.01 | 1.47 | 0.02 |
| EU010 | Smart Act Burner | 0.06 | 0.06 | 1.91 | 0.33 | 0.00 | 0.03 | -- |
| EU011 | Emergency Backup Generator | 0.00 | 0.00 | 0.00 | 0.49 | 0.01 | 0.83 | 0.01 |
| IEU01 | 0.256 MMBtu/hr Dehydrator Reboiler | 0.01 | 0.01 | 0.00 | 0.11 | 0.01 | 0.09 | 0.09 |
| IEU02* | 0.350 MMBtu/hr Dehydrator Reboiler | 0.01 | 0.01 | 0.00 | 0.15 | 0.01 | 0.13 | 0.12 |
| IEU03 | 0.750 MMBtu/hr Dehydrator Reboiler | 0.02 | 0.02 | 0.00 | 0.32 | 0.02 | 0.27 | 0.25 |
| IEU04 | All Building Heaters - < 1 MMBtu/hr | 0.03 | 0.03 | 0.00 | 0.43 | 0.02 | 0.36 | 0.34 |
| IEU05 | Process Valves | -- | -- | -- | -- | 0.24 | -- | 0.01 |
| Total |  | 1.77 | 1.78 | 2.00 | 34.34 | 35.22 | 27.78 | 11.31 |

1  per permit #2784-06, Section I.B. page 2 “Emissions from both the mechanical refrigeration unit and the Joule-Thompson type refrigeration unit are assumed to be negligible because they are both completely enclosed systems and are contained under pressure.” As the Mechanical Refrigeration Unit has been removed, this note only applies to the Joule-Thompson Refrigeration Unit.

# Existing Air Quality and Monitoring Requirements

The affected area is attainment or unclassified for all applicable national ambient air quality standards or NAAQS. NWE previously conducted ambient air quality modeling for all compressor stations in and near Glacier, Toole, Liberty, and Pondera Counties using two EPA guideline models: ISC2 and COMPLEX. The meteorological data used was taken from the Great Falls Airport National Weather Service station. The modeling submitted assumed approximately 278.5 tons per year of NOx and 278.5 tons per year of CO. This modeling did not show violations of the annual or hourly ambient standards. The modeling analysis demonstrated that this facility would not cause or contribute to a violation or exceedance of any state or federal ambient standard. No additional modeling is required because NOx emissions from the facility are 30 tons per year less than those initially modeled for NOx and nearly 200 tons per year for CO. Since the modeling demonstrated compliance with all applicable ambient standards, no ambient monitoring is necessary for the current permit action.

ISCT3 modeling was used to determine the ambient annual concentrations of HAPs resulting from the Smart Ash Burner. Upper air and surface air data from the National Weather Service for Great Falls (1991) were used to assist in determining the impacts. The results satisfied the conditions of MCA 75-2-215 and ARM 17.8.748. Further information can be found in Permit Application #2784-02. Air modeling was not required for the current permit action because the change reflects an administrative change.

# Air Quality Impacts

DEQ determined that there will be no impacts from this permitting action because this permitting action is considered an administrative action.  Therefore, DEQ believes this action will not cause or contribute to a violation of any ambient air quality standard.

# Taking or Damaging Implication Analysis

As required by 2-10-105, MCA, DEQ conducted the following private property taking and damaging assessment.

| YES | NO |  |
| --- | --- | --- |
| X |  | 1. Does the action pertain to land or water management or environmental regulation affecting private real property or water rights? |
|  | X | 2. Does the action result in either a permanent or indefinite physical occupation of private property? |
|  | X | 3. Does the action deny a fundamental attribute of ownership? (ex.: right to exclude others, disposal of property) |
|  | X | 4. Does the action deprive the owner of all economically viable uses of the property? |
|  | X | 5. Does the action require a property owner to dedicate a portion of property or to grant an easement? [If no, go to (6)]. |
|  |  | 5a. Is there a reasonable, specific connection between the government requirement and legitimate state interests? |
|  |  | 5b. Is the government requirement roughly proportional to the impact of the proposed use of the property? |
|  | X | 6. Does the action have a severe impact on the value of the property? (consider economic impact, investment-backed expectations, character of government action) |
|  | X | 7. Does the action damage the property by causing some physical disturbance with respect to the property in excess of that sustained by the public generally? |
|  | X | 7a. Is the impact of government action direct, peculiar, and significant? |
|  | X | 7b. Has government action resulted in the property becoming practically inaccessible, waterlogged or flooded? |
|  | X | 7c. Has government action lowered property values by more than 30% and necessitated the physical taking of adjacent property or property across a public way from the property in question? |
|  | X | Takings or damaging implications? (Taking or damaging implications exist if YES is checked in response to question 1 and also to any one or more of the following questions: 2, 3, 4, 6, 7a, 7b, 7c; or if NO is checked in response to questions 5a or 5b; the shaded areas) |

The proposed project would take place on private land. DEQ has determined that the permit

conditions are reasonably necessary to ensure compliance with applicable requirements under

the Montana Clean Air Act. Therefore, DEQ’s approval of MAQP #2784-08 would not have

private property-taking or damaging implications.

# Environmental Assessment

This permit is considered an administrative action; therefore, an environmental assessment is not required.

Analysis Prepared By: Conor Fox

Date: August 12, 2026