Date of Posting: June 3, 2026

Name of Permittee: Montana Dakota Utilities Co.

Facility Name: Billings Landfill Gas Extraction Facility

Physical Site Location (Address): 5240 Jellison Road, Billings, MT  59101

Sent via email: jerry.sauter@mdu.com

RE: Administrative Amendment of MAQP #4479-01

Pursuant to Administrative Rules of Montana (ARM) 17.8.764, the Montana Department of Environmental Quality (DEQ) has issued a Decision on the request for Administrative Amendment of Montana Air Quality Permit (MAQP) #4479-01 for the above-named permittee.

The permittee may appeal the Decision on the administrative amendment of MAQP #4479-01 to the Board of Environmental Review (Board).  A request for a hearing on DEQ’s Decision must be filed within 15 days after DEQ renders its Decision.  This permit shall become final and effective on June 19, 2026, unless the Board orders a stay on the permit.

Procedures for Appeal: The permittee may request a hearing before the Board.  The appeal must be filed before the final date stated above.  The request for a hearing must contain an affidavit setting forth the grounds for the request.  The hearing will be held under the provisions of the Montana Administrative Procedures Act.  Submit request for a hearing to: Chairman, Board of Environmental Review, P.O. Box 200901, Helena, Montana 59620, or the Board Secretary: DEQBERSecretary@mt.gov.

Conditions: See attached Decision on MAQP #4479-01.

For DEQ,

Eric Merchant, Supervisor

Air Quality Permitting Services Section

Air Quality Bureau

Air, Energy, and Mining Division

(406) 444-3626

eric.merchant2@mt.gov 
Conor Fox

AQ Engineering Scientist

Air Quality Bureau

Air, Energy, and Mining Division

(406) 444-4267

conor.fox@mt.gov

MONTANA AIR QUALITY PERMIT

Issued To: Montana Dakota Utilities Co

Billings Landfill Gas Extraction Facility

400 North Fourth Street

Bismark, North Dakota 58501

MAQP: #4479-01

Administrative Amendment (AA) Request Received: May 4, 2026

DEQ’s Decision on AA: June 3, 2026

Permit Final:

A Montana Air Quality Permit (MAQP), with conditions, is hereby granted to Montana Dakota Utilities Co. (MDU), pursuant to Sections 75-2-204 and 211 of the Montana Code Annotated (MCA), as amended, and Administrative Rules of Montana (ARM) 17.8.740, et seq., as amended, for the following:

# SECTION I:	Permitted Facilities

## Plant Location

The MDU land fill gas (LFG) extraction and purification facility will be located at the City of Billings Municipal Solid Waste Landfill at 5240 Jellison Road, Billings, MT  59101.  The legal description is the SW¼ of Section 29, Township 1 South, Range 26 East, in Yellowstone County.

## Current Permit Action

On May 4, 2026, DEQ received a request for an administrative amendment (AA) from MDU to update the permit to reflect current facility operations. Additionally, DEQ updated language in the permit to standard DEQ work practices.

# SECTION II:	Conditions and Limitations

## Emission Limitations

1.	MDU shall install, operate, and maintain a Thermal Oxidizer (TO) enclosed flare to control Volatile Organic Compound (VOC) emissions from Tail Gas Stream #1 or #2 (ARM 17.8.752).

2.	MDU shall not cause or authorize to be discharged into the atmosphere from the TO enclosed flare:

- Any visible emissions that exhibit an opacity of 10% or greater averaged over 6 consecutive minutes (ARM 17.8.752); and

- Any particulate matter emissions in excess of 0.10 grains per dry standard cubic feet (gr/dscf) (ARM 17.8.752).

- MDU shall install and continuously operate a thermocouple and an associated recorder or any other equivalent device on the TO enclosed flare to detect the presence of a flame (ARM 17.8.749).

4.	MDU shall install, operate, and maintain a utility flare to control VOC emissions from Tail Gas Streams #1 and #2 or the entire LFG stream during facility upsets or maintenance activity (ARM 17.8.749).

5.	MDU shall install and continuously operate a thermocouple and an associated recorder or any other equivalent device on the utility flare to detect the presence of a flame (ARM 17.8.749).

6.	MDU shall not cause or authorize emissions to be discharged into the outdoor atmosphere from any sources installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes (ARM 17.8.304).

7.	MDU shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter (ARM 17.8.308).

8.	MDU shall treat all unpaved portions of the LFG facility haul roads, access roads, parking lots, or general plant area with water and/or chemical dust suppressant as necessary to maintain compliance with the reasonable precautions limitation in Section II.A.8 (ARM 17.8.749).

## Testing Requirements

- The TO enclosed flare shall be initially tested for opacity and PM concurrently to demonstrate compliance with the emission limits in Section II.A.2.a and II.A.2.b within 180 days of the initial start up date of the TO enclosed flare (ARM 17.8.105 and ARM 17.8.749).

- All compliance source tests shall conform to the requirements of the Montana Source Test Protocol and Procedures Manual (ARM 17.8.106).

- The Department of Environmental Quality (DEQ) may require further testing (ARM 17.8.105).

## Operational Reporting Requirements

- MDU shall supply DEQ with annual production information for all emission points, as required by DEQ in the annual emission inventory request.  The request will include, but is not limited to, all sources of emissions identified in the emission inventory contained in the permit analysis.

Production information shall be gathered on a calendar-year basis and submitted to DEQ by the date required in the emission inventory request.  Information shall be in the units required by DEQ.  This information may be used to calculate operating fees, based on actual emissions from the facility, and/or to verify compliance with permit limitations (ARM 17.8.505).

2.	MDU shall notify DEQ of any construction or improvement project 	conducted, pursuant to ARM 17.8.745, that would include the addition of a new emissions unit, change in control equipment, stack height, stack diameter, stack flow, stack gas temperature, source location, or fuel specifications, or would result in an increase in source capacity above its permitted operation.  The notice must be submitted to DEQ, in writing, 10 days prior to startup or use of the proposed de minimis change, or as soon as reasonably practicable in the event of an unanticipated circumstance causing the de minimis change and must include the information requested in ARM 17.8.745(l)(d) (ARM 17.8.745).

3.	All records compiled in accordance with this permit must be maintained by MDU as a permanent business record for at least 5 years following the date of the measurement, must be available at the plant site for inspection by DEQ, and must be submitted to DEQ upon request (ARM 17.8.749).

# SECTION III:	General Conditions

## Inspection – MDU shall allow DEQ’s representatives access to the source at all reasonable times for the purpose of making inspections or surveys, collecting samples, obtaining data, auditing any monitoring equipment (CEMS, CERMS) or observing any monitoring or testing, and otherwise conducting all necessary functions related to this permit.

## Waiver – The permit and the terms, conditions, and matters stated herein shall be deemed accepted if MDU fails to appeal as indicated below.

## Compliance with Statutes and Regulations – Nothing in this permit shall be construed as relieving MDU of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq. (ARM 17.8.756).

## Enforcement – Violations of limitations, conditions and requirements contained herein may constitute grounds for permit revocation, penalties, or other enforcement action as specified in Section 75-2-401, et seq., MCA.

## Appeals – Any person or persons jointly or severally adversely affected by DEQ’s decision may request, within 15 days after DEQ renders its decision, upon affidavit setting forth the grounds therefor, a hearing before the Board of Environmental Review (Board).  A hearing shall be held under the provisions of the Montana Administrative Procedures Act.  The filing of a request for a hearing does not stay DEQ’s decision, unless the Board issues a stay upon receipt of a petition and a finding that a stay is appropriate under Section 75-2-211(11)(b), MCA.  The issuance of a stay on a permit by the Board postpones the effective date of DEQ’s decision until conclusion of the hearing and issuance of a final decision by the Board.  If a stay is not issued by the Board, DEQ’s decision on the application is final 16 days after DEQ’s decision is made.

## Permit Inspection – As required by ARM 17.8.755, Inspection of Permit, a copy of the air quality permit shall be made available for inspection by DEQ at the location of the source.

## Permit Fee – Pursuant to Section 75-2-220, MCA, failure to pay the annual operation fee by MDU may be grounds for revocation of this permit, as required by that section and rules adopted thereunder by the Board.

## Duration of Permit – Construction or installation must begin or contractual obligations entered into that would constitute substantial loss within 3 years of permit issuance and proceed with due diligence until the project is complete or the permit shall expire (ARM 17.8.762).

Permit Analysis

Montana Dakota Utilities Co.

Billings Landfill Gas Extraction Facility

Montana Air Quality Permit (MAQP) #4479-01

## Introduction/Process Description

Montana Dakota Utilities Co. (MDU) operates a landfill gas (LFG) extraction and purification facility capable of handling up to 2,400 standard cubic feet per minute (scfm) of LFG at full capacity.  The purification system extracts and converts a portion of the LFG into pipeline quality natural gas that will be sold.  The facility is located at the City of Billings Municipal Solid Waste Landfill at 5240 Jellison Road, Billings, Montana 59101.  The legal description is SW¼ of Section 29, Township 1 South, Range 26 East, in Yellowstone County.

## Permitted Equipment

The LFG extraction and purification facility will consist of:

- several wells (the number of wells will change over time as new wells are drilled and old wells are closed),

- two pressure swing absorption (PSA) beds that remove nitrogen (N2) and carbon dioxide (CO2) from the LFG stream,

- a propane-assisted Thermal Oxidizer (TO) enclosed flare with a maximum rated combustion fuel rate of 1,579 scfm at 15% methane (CH4),

- an open utility flare with a maximum rated combustion fuel rate of 2,400 scfm,

- Fugitive gas leaks from the LFG collection system.

## Source Description

The LFG extraction facility collects the LFG that is created as solid waste decomposes in the landfill.  Typically, LFG is comprised of about 50% methane gas (CH4), 50% CO2, and a small amount of non-methane organic compounds (NMOC).  Three test wells were drilled at the landfill in November 2008 for gas analysis that confirmed the presence of similar component concentrations.  The LFG extraction facility will be capable of collecting and processing 2,400 scfm of LFG when operating at full capacity.  The extraction facility will not be considered 100% efficient at collecting the LFG from the wells.  As stated in the original permit application, there will be some leaks in the system and associated piping; therefore, an 85% collection efficiency is assumed for this project.  This assumption is consistent with other LFG collection systems.  The remaining 15% is represented as fugitive LFG emissions to the atmosphere.

The LFG collected by the extraction facility will be routed to the purification system.  The purification system includes two PSA beds to remove CO2 and N2.  Each of the PSA units produces a waste gas stream known as a tail gas stream.  The LFG stream passes first through the CO2 PSA unit.  The CO2 is removed from the LFG and the gas stream continues through the process to the N2 PSA unit.  The tail gas stream from the CO2 PSA unit, Tail Gas Stream #1, is a low heat content stream and is combusted in the propane-assisted TO flare.  As stated in the original permit application, the TO flare is expected to operate at all times during normal production which is predicted to be 93% of the year.

After the gas stream passes through the N2 PSA unit, the gas stream is either recycled back through the N2 PSA unit again for further purification or it is compressed into a pipeline with an electric compressor to be sold as pipeline quality natural gas.  The tail gas stream from the N2 PSA, Tail Gas Stream #2 the TO flare, or the utility flare.  During normal desired operation the Tail Gas Stream #2 will be routed to the TO flare for combustion.  There may also be times when the TO flare does not have the capacity to combust the entire Tail Gas Stream #2 and then the Tail Gas Stream #2 will be routed to the utility flare.

The utility flare, also known as the open flare, is designed to be able to combust the entire process LFG stream of 2,400 scfm during periods of plant upset or maintenance.  This flare will serve as a back-up control device for the LFG purification facility.  The utility flare will also have the capability to combust off-spec Tail Gas #2 streams as needed.  As stated in the original permit application, this flare is only expected to operate at full capacity 7% of the year when the entire LFG stream will be combusted, and at a reduced capacity when only burning Tail Gas #2 for 10% of the year.

## Permit History

MAQP#4479-00 was issued January 5, 2010, for the construction of the MDU LFG extraction facility. MDU proposed to operate an LFG extraction and purification facility capable of handling up to 2,400 scfm of LFG at full capacity.  The purification system will extract and convert a portion of the LFG into pipeline quality natural gas that will be sold.

## Current Permit Action

On May 4, 2026, DEQ received a request for an AA from MDU to update the permit to reflect current facility operations. MDU is no longer operating one of the LFG fired generators and has uninstalled the one and never installed the second. Additionally, DEQ updated language in the permit to standard DEQ work practices. MAQP #4479-01 replaces MAQP #4479-00.

# Applicable Rules and Regulations

The following are partial explanations of some applicable rules and regulations that apply to the facility.  The complete rules are stated in the Administrative Rules of Montana (ARM) and are available, upon request, from the Department of Environmental Quality (DEQ).  Upon request, DEQ will provide references for location of complete copies of all applicable rules and regulations or copies where appropriate.

## ARM 17.8, Subchapter 1 – General Provisions, including but not limited to:

- ARM 17.8.101 Definitions.  This rule includes a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.105 Testing Requirements.  Any person or persons responsible for the emission of any air contaminant into the outdoor atmosphere shall, upon written request of DEQ, provide the facilities and necessary equipment (including instruments and sensing devices) and shall conduct tests, emission or ambient, for such periods of time as may be necessary using methods approved by DEQ.

- ARM 17.8.106 Source Testing Protocol.  The requirements of this rule apply to any emission source testing conducted by DEQ, any source or other entity as required by any rule in this chapter, or any permit or order issued pursuant to this chapter, or the provisions of the Clean Air Act of Montana, 75-2-101, et seq., Montana Code Annotated (MCA).

MDU shall comply with the requirements contained in the Montana Source Test Protocol and Procedures Manual, including, but not limited to, using the proper test methods and supplying the required reports.  A copy of the Montana Source Test Protocol and Procedures Manual is available from DEQ upon request.

- ARM 17.8.110 Malfunctions.  (2) DEQ must be notified promptly by telephone whenever a malfunction occurs that can be expected to create emissions in excess of any applicable emission limitation or to continue for a period greater than 4 hours.

- ARM 17.8.111 Circumvention.  (1) No person shall cause or permit the installation or use of any device or any means that, without resulting in reduction of the total amount of air contaminant emitted, conceals or dilutes an emission of air contaminant that would otherwise violate an air pollution control regulation.  (2) No equipment that may produce emissions shall be operated or maintained in such a manner as to create a public nuisance.

## ARM 17.8, Subchapter 2 – Ambient Air Quality, including, but not limited to the following:

1.	ARM 17.8.204 Ambient Air Monitoring

2.	ARM 17.8.210 Ambient Air Quality Standards for Sulfur Dioxide

3.	ARM 17.8.211 Ambient Air Quality Standards for Nitrogen Dioxide

4.	ARM 17.8.212 Ambient Air Quality Standards for Carbon Monoxide

5.	ARM 17.8.213 Ambient Air Quality Standard for Ozone

6.	ARM 17.8.214 Ambient Air Quality Standard for Hydrogen Sulfide

7.	ARM 17.8.220 Ambient Air Quality Standard for Settled Particulate Matter

8.	ARM 17.8.221 Ambient Air Quality Standard for Visibility

9.	ARM 17.8.222 Ambient Air Quality Standard for Lead

10.	ARM 17.8.223 Ambient Air Quality Standard for PM10

MDU must maintain compliance with the applicable ambient air quality standards.

## ARM 17.8, Subchapter 3 – Emission Standards, including, but not limited to:

- ARM 17.8.304 Visible Air Contaminants.  This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes.

- ARM 17.8.308 Particulate Matter, Airborne.  (1) This rule requires an opacity limitation of less than 20% for all fugitive emission sources and that reasonable precautions be taken to control emissions of airborne particulate matter (PM).  (2) Under this rule, MDU shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter.

- ARM 17.8.309 Particulate Matter, Fuel Burning Equipment.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere PM caused by the combustion of fuel in excess of the amount determined by this rule.

- ARM 17.8.310 Particulate Matter, Industrial Process.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter in excess of the amount set forth in this rule.

- ARM 17.8.316 Incinerators.  This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any incinerator, particulate matter in excess of 0.10 grains per standard cubic foot of dry flue gas, adjusted to 12% carbon dioxide and calculated as if no auxiliary fuel had been used.  Further, no person shall cause or authorize to be discharged into the outdoor atmosphere from any incinerator emissions that exhibit an opacity of 10% or greater averaged over 6 consecutive minutes.

While MDU is required to comply with the Emission Limitations specified in Section II.B of MAQP #4479-00 for the TO enclosed flare, this particular rule does not apply to the flare because MDU has applied for and will operate under an MAQP in accordance with ARM 17.8.770 and MCA 75-2-215 for this unit.

- ARM 17.8.322 Sulfur Oxide Emissions--Sulfur in Fuel.  This rule requires that no person shall burn liquid, solid, or gaseous fuel in excess of the amount set forth in this rule.

7.	ARM 17.8.324 Hydrocarbon Emissions--Petroleum Products.  (3) No person shall load or permit the loading of gasoline into any stationary tank with a capacity of 250 gallons or more from any tank truck or trailer, except through a permanent submerged fill pipe, unless such tank is equipped with a vapor loss control device as described in (1) of this rule.

8.	ARM 17.8.340 Standard of Performance for New Stationary Sources and Emission Guidelines for Existing Sources.  This rule incorporates, by reference, 40 CFR Part 60, Standards of Performance for New Stationary Sources (NSPS).  The Billings LFG extraction facility is not considered an NSPS affected facility under 40 CFR Part 60 and is not subject to the requirements of the following subparts.

9.	ARM 17.8.342 Emission Standards for Hazardous Air Pollutants for Source Categories.  The source, as defined and applied in 40 CFR Part 63, shall comply with the requirements of 40 CFR Part 63, as listed below:

- 40 CFR 63, Subpart A – General Provisions apply to all equipment or facilities subject to an NESHAP Subpart as listed below:

- 40 CFR 63, Subpart HH - National Emission Standards for Hazardous Air Pollutants From Oil and Natural Gas Production Facilities.  Owners or operators of oil and natural gas production facilities, as defined and applied in 40 CFR Part 63, shall comply with the applicable provisions of 40 CFR 63, Subpart HH.  In order for a natural gas production facility to be subject to 40 CFR 63, Subpart HH requirements, certain criteria must be met.  First, the facility must be a major source of hazardous air pollutants (HAPs) as determined according to paragraphs (a)(1)(i) through (a)(1)(iii) of 40 CFR 63, Subpart HH.  Second, a facility that is determined to be major for HAPs must also either process, upgrade, or store hydrocarbon liquids prior to the point of custody transfer, or process, upgrade, or store natural gas prior to the point at which natural gas enters the natural gas transmission and storage source category or is delivered to a final end user.  Third, the facility must also contain an affected source as specified in paragraphs (b)(1) through (b)(4) of 40 CFR 63, Subpart HH.  Finally, if the first three criteria are met, and the exemptions contained in paragraphs (e)(1) and (e)(2) of 40 CFR 63, Subpart HH do not apply, the facility is subject to the applicable provisions of 40 CFR 63, Subpart HH.

Based on the information submitted by MDU, the LFG extraction and purification facility is not subject to the major source provisions of 40 CFR 63, Subpart HH because the facility is not a major source of HAPs.  For area sources under 40 CFR 63, Subpart HH, the affected sources include each triethylene glycol (TEG) dehydration unit.  The MDU LFG extraction and purification facility does not have any TEG units and therefore does not operate an affected source under the area source provisions.

## ARM 17.8, Subchapter 5 – Air Quality Permit Application, Operation, and Open Burning Fees, including, but not limited to:

- ARM 17.8.504 Air Quality Permit Application Fees.  This rule requires that an applicant submit an air quality permit application fee concurrent with the submittal of an air quality permit application.  A permit application is incomplete until the proper application fee is paid to DEQ.  MDU submitted the appropriate permit application fee for the current permit action.

- ARM 17.8.505 Air Quality Operation Fees.  An annual air quality operation fee must, as a condition of continued operation, be submitted to DEQ by each source of air contaminants holding an air quality permit (excluding an open burning permit) issued by DEQ.  The air quality operation fee is based on the actual or estimated actual amount of air pollutants emitted during the previous calendar year.

An air quality operation fee is separate and distinct from an air quality permit application fee.  The annual assessment and collection of the air quality operation fee, described above, shall take place on a calendar-year basis.  DEQ may insert into any final permit issued after the effective date of these rules, such conditions as may be necessary to require the payment of an air quality operation fee on a calendar-year basis, including provisions that prorate the required fee amount.

## ARM 17.8, Subchapter 7 – Permit, Construction, and Operation of Air Contaminant Sources, including, but not limited to:

- ARM 17.8.740 Definitions.  This rule is a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.743 Montana Air Quality Permits--When Required.  This rule requires a person to obtain an air quality permit or permit modification to construct, modify, or use any air contaminant sources that have the potential to emit (PTE) greater than 25 tons per year (TPY) of any pollutant.  The Billings LFG extraction facility has a PTE greater than 25 tons per year of nitrogen oxides (NOx) and carbon monoxide (CO); therefore, an air quality permit is required.

- ARM 17.8.744 Montana Air Quality Permits--General Exclusions.  This rule identifies the activities that are not subject to the Montana Air Quality Permit program.

- ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes.  This rule identifies the de minimis changes at permitted facilities that do not require a permit under the Montana Air Quality Permit Program.

- ARM 17.8.748 New or Modified Emitting Units--Permit Application Requirements.  (1) This rule requires that a permit application be submitted prior to installation, modification, or use of a source.  MDU submitted the required permit application for the current permit action.  (7) This rule requires that the applicant notify the public by means of legal publication in a newspaper of general circulation in the area affected by the application for a permit.  No public notice is needed due to this action is an administrative amendment.

- ARM 17.8.749 Conditions for Issuance or Denial of Permit.  This rule requires that the permits issued by DEQ must authorize the construction and operation of the facility or emitting unit subject to the conditions in the permit and the requirements of this subchapter.  This rule also requires that the permit must contain any conditions necessary to assure compliance with the Federal Clean Air Act (FCAA), the Clean Air Act of Montana, and rules adopted under those acts.

- ARM 17.8.752 Emission Control Requirements.  This rule requires a source to install the maximum air pollution control capability that is technically practicable and economically feasible, except that BACT shall be utilized.  The required BACT analysis is included in Section III of this permit analysis.

- ARM 17.8.755 Inspection of Permit.  This rule requires that air quality permits shall be made available for inspection by DEQ at the location of the source.

- ARM 17.8.756 Compliance with Other Requirements.  This rule states that nothing in the permit shall be construed as relieving MDU of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq.

- ARM 17.8.759 Review of Permit Applications.  This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those permit applications that do not require the preparation of an environmental impact statement.

- ARM 17.8.762 Duration of Permit.  An air quality permit shall be valid until revoked or modified, as provided in this subchapter, except that a permit issued prior to construction of a new or modified source may contain a condition providing that the permit will expire unless construction is commenced within the time specified in the permit, which in no event may be less than 1 year after the permit is issued.

- ARM 17.8.763 Revocation of Permit.  An air quality permit may be revoked upon written request of the permittee, or for violations of any requirement of the Clean Air Act of Montana, rules adopted under the Clean Air Act of Montana, the FCAA, rules adopted under the FCAA, or any applicable requirement contained in the Montana State Implementation Plan (SIP).

- ARM 17.8.764 Administrative Amendment to Permit.  An air quality permit may be amended for changes in any applicable rules and standards adopted by the Board of Environmental Review (Board) or changed conditions of operation at a source or stack that do not result in an increase of emissions as a result of those changed conditions.  The owner or operator of a facility may not increase the facility’s emissions beyond permit limits unless the increase meets the criteria in ARM 17.8.745 for a de minimis change not requiring a permit, or unless the owner or operator applies for and receives another permit in accordance with ARM 17.8.748, ARM 17.8.749, ARM 17.8.752, ARM 17.8.755, and ARM 17.8.756, and with all applicable requirements in ARM Title 17, Chapter 8, Subchapters 8, 9, and 10.

- ARM 17.8.765 Transfer of Permit.  This rule states that an air quality permit may be transferred from one person to another if written notice of intent to transfer, including the names of the transferor and the transferee, is sent to DEQ.

- ARM 17.8.770 Additional Requirements for Incinerators.  This rule specifies the additional information that must be submitted to DEQ for incineration facilities subject to 75-2-215, Montana Code Annotated (MCA).

## ARM 17.8, Subchapter 8 – Prevention of Significant Deterioration of Air Quality, including, but not limited to:

- ARM 17.8.801 Definitions.  This rule is a list of applicable definitions used in this subchapter.

- ARM 17.8.818 Review of Major Stationary Sources and Major Modifications--Source Applicability and Exemptions.  The requirements contained in ARM 17.8.819 through ARM 17.8.827 shall apply to any major stationary source and any major modification, with respect to each pollutant subject to regulation under the FCAA that it would emit, except as this subchapter would otherwise allow.

This facility is not a major stationary source because this facility is not a listed source and the facility's PTE is below 250 tons per year of any pollutant (excluding fugitive emissions).

## ARM 17.8, Subchapter 12 – Operating Permit Program Applicability, including, but not limited to:

- ARM 17.8.1201 Definitions.  (23) Major Source under Section 7412 of the FCAA is defined as any source having:

- PTE > 100 TPY of any pollutant;

- PTE > 10 TPY of any one hazardous air pollutant (HAP), PTE > 25 TPY of a combination of all HAPs, or lesser quantity as DEQ may establish by rule; or

- PTE > 70 TPY of particulate matter with an aerodynamic diameter of 10 microns or less (PM10) in a serious PM10 nonattainment area.

- ARM 17.8.1204 Air Quality Operating Permit Program.  (1) Title V of the FCAA amendments of 1990 requires that all sources, as defined in ARM 17.8.1204(1), obtain a Title V Operating Permit.  In reviewing and issuing MAQP #4479-00 for MDU, the following conclusions were made:

- The facility’s PTE is less than 100 TPY for any pollutant.

- The facility’s PTE is less than 10 TPY for any one HAP and less than 25 TPY for all HAPs.

- This source is not located in a serious PM10 nonattainment area.

- This facility is not subject to any current NESHAP standards.

- This source is not a Title IV affected source, or a solid waste combustion unit.

- This source is not an EPA designated Title V source.

Based on these facts, DEQ determined that the Billings LFG extraction facility will be a minor source of emissions as defined under Title V.

## MCA 75-2-103, Definitions provided, in part, as follows:

1. 	"Incinerator" means any single or multiple-chambered combustion device that burns combustible material, alone or with a supplemental fuel or catalytic combustion assistance, primarily for the purpose of removal, destruction, disposal, or volume reduction of all or any portion of the input material.

2.	"Solid waste" means all putrescible and nonputrescible solid, semisolid, liquid, or gaseous wastes, including, but not limited to...air pollution control facilities...

## MCA 75-2-215, Solid or hazardous waste incineration - additional permit requirements:

  - MCA 75-2-215 requires air quality permits for all new commercial solid waste incinerators; therefore, MDU must obtain an air quality permit.

  - MCA 75-2-215 requires the applicant to provide, to DEQ's satisfaction, a characterization and estimate of emissions and ambient concentrations of air pollutants, including hazardous air pollutants from the incineration of solid waste. DEQ determined that the information submitted in the initial MAQP application was sufficient to fulfill this requirement.

  - MCA 75-2-215 requires that DEQ reach a determination that the projected emissions and ambient concentrations constitute a negligible risk to public health, safety, and welfare. DEQ completed a health risk assessment based on an emissions inventory and ambient air quality modeling for this MAQP application. Based on the results of the emission inventory, modeling, and the health risk assessment, DEQ determined that MDU complies with this requirement.

# BACT Determination

A BACT analysis was not required for the current permit action because the current permit action is an administrative permit action.

# Emission Inventory

The LFG extraction and purification facility has process restraints that will make it impossible for all of the emissions producing equipment to operate at maximum capacity simultaneously.  For example, when the process is operating normally at full capacity then there is no fuel being combusted in the utility flare.  Conversely, if there is a process upset and the PSA units are not operational then the full LFG stream will be routed to the utility flare and the remaining equipment will not be producing emissions.  Therefore, DEQ analyzed different scenarios to determine an operating schedule that results in the largest potential to emit air pollutants.  The different schedules represent different percentages of a year (8,760 hours) that each piece of equipment would be producing air emissions.  None of the equipment has a restriction on the allowable hours of operation.

The following tables represent some of the different schedules and their associated potential emissions.  DEQ determined that the greatest potential emissions of a single pollutant occur when the facility is operating at normal conditions with the TO flare and generator engines operating 100% of the time and no fuel being combusted in the utility flare.  This scenario is depicted in the table below titled “100% at Desired Operation.”  MDU provided a predicted annual schedule that is represented in the table titled “Normal Expected Operation.”  The calculations found after the tables are for the Normal Expected Operation because it provides a useful demonstration of the potential to emit calculations for each emitting unit.

| 100% at Desired Operation |  |  | TPY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| hours/year | % of year | Emission Source | PM | PM10 | NOx | CO | VOC | SO2 |
| 8760 | 100% | Thermal Oxidizer Flare (Tail Gas #1) | 0.21 | 0.21 | 0.48 | 0.73 | 0.05 | N/A |
| 8760 | 100% | Thermal Oxidizer Flare (Tail Gas #2) | 0.64 | 0.64 | 1.43 | 2.19 | 0.15 | N/A |
| 8760 | 100% | Thermal Oxidizer Flare Pilot | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | N/A |
| 8760 | 100% | Utility Flare (Tail Gas #2) | 0.21 | 0.21 | 0.48 | 0.72 | 0.00 | N/A |
| 438 | 5% | Utility Flare (LFG stream) | 0.29 | 0.29 | 0.66 | 0.99 | 0.03 | N/A |
| 8760 | 100% | Utility Flare Pilot | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | N/A |
| 8760 | 100% | Fugitive LFG | -- | -- | -- | 8.09 | 15.34 | 6.61 |
|  |  | Total Emissions | 1.36 | 1.36 | 3.09 | 12.80 | 15.58 | 6.61 |

| 100% Utility Flare |  |  | TPY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| hours/year | % of year | Emission Source | PM | PM10 | NOx | CO | VOC | SO2 |
| 0 | 0% | Thermal Oxidizer Flare (Tail Gas #1) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 0 | 0% | Thermal Oxidizer Flare (Tail Gas #2) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 8760 | 100% | Thermal Oxidizer Flare Pilot | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 0 | 0% | Utility Flare (Tail Gas #2) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 8760 | 100% | Utility Flare (LFG stream) | 5.11 | 5.11 | 13.28 | 15.67 | 1.87 | 0.20 |
| 0 | 0% | Utility Flare Pilot | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 8760 | 100% | Fugitive LFG | -- | -- | -- | 8.10 | 15.30 | 6.41 |
|  |  | Total Emissions | 5.11 | 5.11 | 13.28 | 23.77 | 17.17 | 6.61 |

| Normal Expected Operation |  |  | TPY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| hours/year | % of year | Emission Source | PM | PM10 | NOx | CO | VOC | SO2 |
| 6570 | 75% | Thermal Oxidizer Flare (Tail Gas #1) | 0.16 | 0.16 | 0.36 | 0.55 | 0.04 | 0.00 |
| 6570 | 75% | Thermal Oxidizer Flare (Tail Gas #2) | 0.48 | 0.48 | 1.07 | 1.64 | 0.12 | 0.00 |
| 8760 | 100% | Thermal Oxidizer Flare Pilot | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 6570 | 75% | Utility Flare (Tail Gas #2) | 0.16 | 0.16 | 0.36 | 0.54 | 0.00 | 0.00 |
| 2190 | 25% | Utility Flare (LFG stream) | 1.45 | 1.45 | 3.32 | 4.94 | 4.94 | 0.00 |
| 8760 | 100% | Utility Flare Pilot | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 8760 | 100% | Fugitive LFG | -- | -- | -- | 8.090 | 15.34 | 6.49 |
|  |  | Total Emissions | 2.25 | 2.25 | 5.15 | 15.84 | 15.67 | 6.61 |

Calculations For Normal Expected Operation:

Fugitive LFG

MDU conducted an LFG analysis in November 2008 as part of the project feasibility study to determine the gas concentrations found within the landfill.  The LFG extraction facility will operate with an assumed collection efficiency of 85%, which means that 15% of the maximum extraction rate from all the wells of 2,824 scfm will be lost to the atmosphere through system leaks as fugitive LFG emissions.  Fugitive emissions will occur continuously throughout the year.

Maximum flow from all wells = 2,824 scfm (Application information)

Collection efficiency = 85% (Application information)

Hours of Operation = 8,760 hours per year (hrs/yr)

VOC Emissions:

Non-methane VOC (as hexane) concentration = 616.67 parts per million (ppm) (Application information)

Hexane molecular weight (MW) = 86.17 pounds per pound-mole (lb/lb-mol)

Calculation:  (616.67 / 1E-6)*(2,824 scfm)*(86.17 lb/lb-mol)*(60 min/hr)*(1/385.5 lb-mol/scf) = 23.35 lb/hr

Calculation:  (23.35 lb/hr) * (1-85%) * (8,760 hrs/yr) * (ton/2000 lb) = 15.3 TPY

CO Emissions:

CO concentration = 0.1% volume per volume (v/v) (Application information)

CO MW = 28.01 lb/lb-mol

Calculation:  (0.001 v/v) * (2,824 scfm) * (28.01 lb/lb-mol) * (60 min/hr) * (1/385.5 lb-mol/scf) = 12.31 lb/hr

Calculation:  (12.31 lb/hr) * (1-85%) * (8,760 hrs/yr) * (ton/2000 lb) = 8.1 TPY

SO2 Emissions:

No direct SO2 emissions would occur as fugitive leaks from the LFG collection system because it is not present in LFG and is a product of combustion.  However, the sulfur components found in the LFG gas were measured and represented as total reduced sulfur (TRS).  It is assumed that all of the TRS will be completely converted to SO2 during combustion, regardless of the combustion source.  Therefore, the following calculation represents the amount of SO2 that will be produced by the entire facility based on the amount of TRS extracted from the LFG and combusted in the process.  The SO2 calculations presented in the emission inventory for each emitting unit are based on AP-42 emission factors and process rates.  In order to account for all of the predicted SO2 formation, the remaining difference between the total predicted SO2 formation and the sum of SO2 from the combustion emission sources is represented as fugitive LFG SO2 emissions.

TRS = 63.14 ppm as sulfur (S) (Application information)

MW of S = 32.0 lb/lb-mol

Ratio of MW of SO2 to S = 2 SO2/S

Calculation:  (63.14 / 1E-6) * (2,824 scfm) * (32.0 lb/lb-mol) * (60 min/hr) * (1/385.5 lb-mol/scf) = 0.89 lb/hr

Calculation:  (0.89 lb/hr) * (85%) * (8,760 hrs/yr) * (ton/2000 lb) = 3.3 TPY S

Calculation:  (3.3 TPY S) * (2 SO2/S) = 6.6 TPY SO2 (regardless of combustion source)

TO Flare for Combusting Tail Gas Stream #1

Maximum TO Flare capacity = 1,579 scfm (Application information)

Hours of Operation = 8,146.8 hrs/yr

Tail Gas Stream #1 Heat Content = 121.1 British thermal units per standard cubic foot (Btu/scf) (Application information)

Methane Heat Content = 1012 Btu/scf

Methane Percentage = 15% (Application information)

Methane Component = (1579 scfm)*(15% CH4)*(1E-6 MMscf/scf)*(60 min/hr) = 0.0142 million standard cubic feet of methane per hour (MMscf CH4/hr)

PM Emissions from landfill gas (for flare combustion, PM=PM10=PM2.5):

Emission Factor = 15 pounds per million standard cubic feet of methane (lb/MMscf CH4) (AP-42, Table 2.4-4 (DRAFT), 10/08)

Calculation:  (15 lb/MMscf CH4) * (0.0142 MMscf CH4/hr) * (8146.8 hrs/yr) * (ton/2000 lb) = 0.87 TPY

CO Emissions:

Emission Factor = 46 (lb/MMscf CH4) (AP-42, Table 2.4-4 (DRAFT), 10/08)

Calculation:  (46 lb/MMscf CH4) * (0.0142 MMscf CH4/hr) * (8146.8 hrs/yr) * (ton/2000 lb) = 2.66 TPY

NOx Emissions:

Emission Factor = 39 (lb/MMscf CH4) (AP-42, Table 2.4-4 (DRAFT), 10/08)

Calculation:  (39 lb/MMscf CH4) * (0.0142 MMscf CH4/hr) * (8146.8 hrs/yr) * (ton/2000 lb) = 2.26 TPY

SO2 Emissions:

Emission Factor = 0.6 lb/MMscf (AP-42, Table 1.4, 7/98)

Calculation:  (0.6 lb/MMscf) * (0.0142 MMscf/hr) * (8146.8 hrs/yr) * (ton/2000 lb) = 0.03 TPY

VOC Emissions:

Emission Factor = 5.5 lb/MMscf (AP-42, Table 1.4, 7/98)

Calculation:  (5.5 lb/MMscf) * (0.0142 MMscf/hr) * (8146.8 hrs/yr) * (ton/2000 lb) = 0.32 TPY

TO Flare for Combusting Supplemental Propane

Propane required = 0.843 gallons per minute (gal/min) (Application information)

Hours of Operation = 8,146.8 hrs/yr (always the same as TO Flare for Tail Gas Stream #1)

PM Emissions from propane assist (for flare combustion, PM=PM10=PM2.5):

Emission Factor = 0.7 pounds per thousand gallons (lb/1000 gal) (AP-42, Table 1.5-1, 7/08)

Calculation:  (0.843 gal/min)/1e3 * 60 min/hr * (8146.8 hrs/yr) * (0.7 lb/1000 gal) * (ton/2000 lb) = 0.14 TPY

NOx Emissions from propane assist:

Emission Factor = 13 lb/1000 gal (AP-42, Table 1.5-1, 7/08)

Calculation:  (0.843 gal/min) / 1e3 * 60 min/hr * (8146.8 hrs/yr) * (13 lb/1000 gal) * (ton/2000 lb) = 2.68 TPY

CO Emissions from propane assist:

Emission Factor = 7.5 lb/1000 gal (AP-42, Table 1.5-1, 7/08)

Calculation:  (0.843 gal/min)/1e3 * 60 min/hr * (8146.8 hrs/yr) * (7.5 lb/1000 gal) * (ton/2000 lb) = 1.55 TPY

SO2 Emissions from propane assist:

Emission Factor = 0.3 lb/1000 gal (AP-42, Table 1.5-1, 7/08 & Applicant info)

Calculation:  (0.843 gal/min)/1e3 * 60 min/hr * (8146.8 hrs/yr) * (0.3 lb/1000 gal) * (ton/2000 lb) = 0.06 TPY

VOC Emissions from propane assist:

Emission Factor = 0.8 lb/1000 gal (AP-42, Table 1.5-1, 7/08, VOC=TOC-CH4)

Calculation:  (0.843 gal/min)/1e3 * 60 min/hr * (8146.8 hrs/yr) * (0.8 lb/1000 gal) * (ton/2000 lb) = 0.16 TPY

Utility Flare for Combusting Entire LFG Stream

Maximum Process Rate = 2,400 scfm (Application information, total process)

Hours of Operation = 613.2 hrs/yr (combusting entire LFG stream)

Methane Percentage = 54% (Application information)

Methane Component = (2400 scfm)*(54%) = 1296 scfm (combusting entire LFG stream)

PM Emissions (for flare combustion, PM=PM10=PM2.5):

Emission Factor = 15 lb/MMscf CH4 (AP-42, Table 2.4-4 (DRAFT), 10/08)

Fuel Rate = (1296 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.08 MMscf/hr

Calculation:  (0.08 MMscf/hr) * (15 lb/MMscf CH4) * (613.2 hrs/yr) * (ton/2000 lb) = 0.36 TPY

CO Emissions:

Emission Factor = 46 lb/MMscfCH4 (AP-42, Table 2.4-4 (DRAFT), 10/08)

Fuel Rate = (1296 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.08 MMscf/hr

Calculation:  (0.08 MMscf/hr) * (46 lb/MMscfCH4) * (613.2 hrs/yr) * (ton/2000 lb) = 1.10 TPY

NOx Emissions:

Emission Factor = 39 lb/MMscfCH4 (AP-42, Table 2.4-4 (DRAFT), 10/08)

Fuel Rate = (1296 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.08 MMscf/hr

Calculation:  (0.08 MMscf/hr) * (39 lb/MMscfCH4) * (613.2 hrs/yr) * (ton/2000 lb) = 0.93 TPY

SO2 Emissions:

Emission Factor = 0.6 lb/MMscf (AP-42, Table 1.4, 7/98)

Fuel Rate = (1296 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.08 MMscf/hr

Calculation:  (0.6 lb/MMscf) * (0.08 MMscf/hr) * (613.2 hrs/yr) * (ton/2000 lb) = 0.01 TPY

VOC Emissions:

Emission Factor = 5.5 lb/MMscf (AP-42, Table 1.4, 7/98)

Fuel Rate = (1296 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.08 MMscf/hr

Calculation:  (5.5 lb/MMscf) * (0.08 MMscf/hr) * (613.2 hrs/yr) * (ton/2000 lb) = 0.13 TPY

Utility Flare for Combusting Tail Gas Stream #2

Tail Gas Stream #2 Rate = 160 scfm (Application information, reduced load)

Hours of Operation = 876 hrs/yr (combusting Tail Gas #2 only (generators off))

Methane Component = (160 scfm) * (54%) = 86.4 scfm (combusting Tail Gas #2 only)

PM Emissions (for flare combustion, PM=PM10=PM2.5):

Emission Factor = 15 lb/MMscf CH4 (AP-42, Table 2.4-4 (DRAFT), 10/08)

Fuel Rate = (86.4 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.01 MMscf/hr

Calculation:  (0.01 MMscf/hr) * (15 lb/MMscf CH4) * (876 hrs/yr) * (ton/2000 lb) = 0.03 TPY

CO Emissions:

Emission Factor = 46 lb/MMscfCH4 (AP-42, Table 2.4-4 (DRAFT), 10/08)

Fuel Rate = (86.4 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.01 MMscf/hr

Calculation:  (0.01 MMscf/hr) * (46 lb/MMscfCH4) * (876 hrs/yr) * (ton/2000 lb) = 0.10 TPY

NOx Emissions:

Emission Factor = 39 lb/MMscfCH4 (AP-42, Table 2.4-4 (DRAFT), 10/08)

Fuel Rate = (86.4 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.01 MMscf/hr

Calculation:  (0.01 MMscf/hr) * (39 lb/MMscfCH4) * (876 hrs/yr) * (ton/2000 lb) = 0.09 TPY

SO2 Emissions:

Emission Factor = 0.6 lb/MMscf (AP-42, Table 1.4, 7/98)

Fuel Rate = (86.4 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.01 MMscf/hr

Calculation:  (0.6 lb/MMscf) * (0.01 MMscf/hr) * (876 hrs/yr) * (ton/2000 lb) = 1.36E-3 TPY

VOC Emissions:

Emission Factor = 5.5 lb/MMscf (AP-42, Table 1.4, 7/98)

Fuel Rate = (86.4 scfm) * (60 min/hr) * (1E-6 MMscf/scf) = 0.01 MMscf/hr

Calculation:  (5.5 lb/MMscf) * (0.01 MMscf/hr) * (876 hrs/yr) * (ton/2000 lb) = 0.01 TPY

# Existing Air Quality

The Billings area is designated as an attainment area with a Limited Maintenance Plan for CO and an area of concern for SO2 nonattainment.  The Billings/Laurel area is currently under State Implementation Plan (SIP) provisions for SO2 control because of the Laurel SO2 nonattainment area and modeled violations of the SO2 standard in Billings.  In addition, some facilities are subject to Federal Implementation Plan (FIP) provisions for SO2.  The FIP is intended to complement the SIP to maintain compliance with national and state ambient air quality standards for SO2.  In the view of DEQ the amount of controlled emissions from this facility, including CO and SO2, will not violate any ambient air quality standard or contribute to any violation.

# Air Quality Impacts

DEQ determined that there will be no impacts from this permitting action because this permitting action is considered an administrative action.  Therefore, DEQ believes this action will not cause or contribute to a violation of any ambient air quality standard.

# Ambient Air Impact Analysis

DEQ determined that there was no need for ambient air modeling, because this permitting action is considered an administrative action. Therefore, DEQ believes it will not cause or contribute to a violation of any ambient air quality standard.

# Health Risk Assessment

This permit is considered an administrative action; therefore, a Health Risk Assessment is not required.

# Taking or Damaging Implication Analysis

As required by 2-10-105, MCA, DEQ conducted the following private property taking and damaging assessment.

| YES | NO |  |
| --- | --- | --- |
| X |  | 1. Does the action pertain to land or water management or environmental regulation affecting private real property or water rights? |
|  | X | 2. Does the action result in either a permanent or indefinite physical occupation of private property? |
|  | X | 3. Does the action deny a fundamental attribute of ownership? (ex.: right to exclude others, disposal of property) |
|  | X | 4. Does the action deprive the owner of all economically viable uses of the property? |
|  | X | 5. Does the action require a property owner to dedicate a portion of property or to grant an easement? [If no, go to (6)]. |
|  |  | 5a. Is there a reasonable, specific connection between the government requirement and legitimate state interests? |
|  |  | 5b. Is the government requirement roughly proportional to the impact of the proposed use of the property? |
|  | X | 6. Does the action have a severe impact on the value of the property? (consider economic impact, investment-backed expectations, character of government action) |
|  | X | 7. Does the action damage the property by causing some physical disturbance with respect to the property in excess of that sustained by the public generally? |
|  | X | 7a. Is the impact of government action direct, peculiar, and significant? |
|  | X | 7b. Has government action resulted in the property becoming practically inaccessible, waterlogged or flooded? |
|  | X | 7c. Has government action lowered property values by more than 30% and necessitated the physical taking of adjacent property or property across a public way from the property in question? |
|  | X | Takings or damaging implications? (Taking or damaging implications exist if YES is checked in response to question 1 and also to any one or more of the following questions: 2, 3, 4, 6, 7a, 7b, 7c; or if NO is checked in response to questions 5a or 5b; the shaded areas) |

Based on this analysis, DEQ determined there are no taking or damaging implications associated with this permit action.

# Environmental Assessment

This permit is an administrative action; therefore, an environmental assessment is not required.

Analysis Prepared By: Conor Fox

Date: June 3, 2026