Air, Energy & Mining Division

April 15, 2026

Travis Henson

ONEOK

Elk Creek Pipeline, LLC. & ONEOK Bakken Pipeline, LLC.

100 West Fifth Street

Tulsa, OK 74103

RE: Final and Effective Montana Air Quality Permit #5226-02

Sent via email: travis.henson@oneok.com

Dear Mr. Henson:

Montana Air Quality Permit (MAQP) #5226-02 for the above-named permittee is deemed final and effective as of May 10, 2022, by the Montana Department of Environmental Quality (DEQ).  All conditions of the Decision remain the same.  A copy of final MAQP #5226-02 is enclosed.

For DEQ,

Eric Merchant, Supervisor			John P. Proulx

Air Quality Permitting Services Section 	 		Air Quality Engineer

Air Quality Bureau				Air Quality Bureau

Air, Energy & Mining Division			Air, Energy & Mining Division

(406) 444-3626					(406) 444-5391

Eric.merchant2@mt.gov 			jproulx@mt.gov

Montana Department of Environmental Quality

Air, Energy & Mining Division

Air Quality Bureau

Montana Air Quality Permit #5226-02

ONEOK

Elk Creel Pipeline, LLC &

Bakken Pipeline, LLC.

Section 14, Township 9 North, Range 58 East, Fallon County

100 West Fifth Street

Tulsa, OK, 74103

Final and Effective Date:

May 10, 2022

MONTANA AIR QUALITY PERMIT

| Issued To: ONEOK Elk Creek Pipeline, LLC & ONEOK Bakken Pipeline, LLC 100 West Fifth Street Tulsa, OK, 74103 | MAQP: #5226-02 Application Complete: 03/14/2022 Preliminary Determination Issued: 4/1/2022 Department’s Decision Issued: 4/22/2022 Permit Final: 05/10/2022 |
| --- | --- |

A Montana Air Quality Permit (MAQP), with conditions, is hereby granted to ONEOK Elk Creek Pipeline, LLC and ONEOK Bakken Pipeline, LLC (collectively identified as ONEOK) for the Baker I and Baker II Pump Station, pursuant to Sections 75-2-204 and 211 of the Montana Code Annotated (MCA), as amended, and Administrative Rules of Montana (ARM) 17.8.740, et seq., as amended, for the following:

Section I:	Permitted Facilities

- Plant Location

ONEOK Elk Creek Pipeline, LLC and ONEOK Bakken Pipeline, LLC own and operate the Baker I Pump Station (Baker I) and the Baker II Pump Station (Baker II), respectively.  As Baker I and Baker II are located on contiguous property and operate under common control within the same standard industrial code classification, the emissions from Baker I and Baker II are aggregated together as the same facility in accordance with ARM 17.8.740(8).  This facility is located approximately 13 miles northwest of Baker, Montana, in Section 14, Township 9 North, Range 58 East, in Fallon County, 46.534747°N, latitude and -104.390016°W, longitude.

- Current Permit Action

On February 21, 2022, the Department of Environmental Quality (DEQ) received an application for modification to MAQP 5226-01 from ONEOK. In the application, ONEOK requested the following.

- update the pilot flare to propane instead of natural gas and update the emissions inventory to reflect the change in fuel.

- updated the fugitive emissions using actual component counts for Volatile Organic Compounds (VOC) and Hazardous Air Pollutants (HAPs) and account for possible fluctuations in the VOC and HAPs composition in the emissions inventory

Section II:	Conditions and Limitations

- Conditions

- Each valve, flange or other connection, compressor seal, and other such source of fugitive volatile organic compound (VOC) emissions from leaks shall be inspected quarterly for leaks, and all leaks repaired as soon as reasonably practicable.  Inspection methods may include utilizing sight, sound, or smell, soap bubble methods, Method 21 organic vapor analyzers, or optical gas-imaging cameras, to actively inspect for and detect leaks.  For any two consecutive quarters with no leaks detected, the inspections may thereafter be conducted every 6 months beginning with the next quarter, until a leak is observed.  No less than 30 days shall separate each inspection.  Inspections shall be recorded in a log including noting the inspection method(s) utilized, results of the inspection, the date the inspection was made, and the individual performing the inspection.  The same log shall be used to record the date of repair and a description of the repair (ARM 17.8.752).

- The facility shall be designed and operated such that volatile organic compounds from the pig launchers and pig receivers, pumps and pump strainer/seal flush filter change blowdowns, and valve blowdowns, are either recovered with 95% or greater efficiency, or directed to and combusted in a flare (ARM 17.8.752).

- The flares shall be designed and operated for no visible emissions, except for periods not to exceed a total of 5 minutes during any 2 consecutive hours (ARM 17.8.752).

- Within 180 days of commencement of operation of the flare at Baker II Pump Station, ONEOK shall perform a Method 22 test while the flare is operating.  Thereafter, ONEOK shall perform Method 22 tests upon request (ARM 17.8.105 and ARM 17.8.749).

- ONEOK shall perform a final component count and submit a report of the final component count, within 180 days of finalizing construction of the Baker II Pump Station modification (ARM 17.8.749).  This information will be used to ensure the MAQP did not underestimate potential emissions, and for use in estimating actual emissions, as will be required by Section II.C.1 (ARM 17.8.749, ARM 17.8.505).

- ONEOK shall maintain records of the number of events per month for the two sites, and the rolling 12-month total by month.  Events are defined as pig launching, pig receiving, smart pig launches, all blowdowns, and pump strainer/seal flush filter changes.

Such records shall be made by no later than the 25th of each month for the preceding month.  ONEOK is not limited to the number of events as submitted in the application emission inventory as the HAP emissions were modeled at twice the number of events included in the application (ARM 17.8.749 and ARM 17.8.505).

- Testing Requirements

- All compliance source tests shall conform to the requirements of the Montana Source Test Protocol and Procedures Manual (ARM 17.8.106).

- DEQ may require further testing (ARM 17.8.105).

- Operational Reporting Requirements

- ONEOK shall supply DEQ with annual production information for all emission points, as required by DEQ in the annual emission inventory request.  The request will include, but is not limited to, all sources of emissions identified in the emission inventory contained in the permit analysis.

Production information shall be gathered on a calendar-year basis and submitted to DEQ by the date required in the emission inventory request.  Information shall be in the units required by DEQ.  This information may be used to calculate operating fees, based on actual emissions from the facility, and/or to verify compliance with permit limitations (ARM 17.8.505).

- ONEOK shall notify DEQ of any construction or improvement project conducted, pursuant to ARM 17.8.745, that would include the addition of a new emissions unit, change in control equipment, stack height, stack diameter, stack flow, stack gas temperature, source location, or fuel specifications, or would result in an increase in source capacity above its permitted operation.  The notice must be submitted to DEQ, in writing, 10 days prior to startup or use of the proposed de minimis change, or as soon as reasonably practicable in the event of an unanticipated circumstance causing the de minimis change and must include the information requested in ARM 17.8.745(l)(d) (ARM 17.8.745).

- All records compiled in accordance with this permit must be maintained by ONEOK as a permanent business record for at least 5 years following the date of the measurement, must be available at the plant site for inspection by DEQ, and must be submitted to DEQ upon request.  These records may be stored at a location other than the plant site upon approval by DEQ (ARM 17.8.749).

- Notification

- ONEOK shall notify DEQ in writing of the date of commencement of operation of the flare at Baker II Pump Station within 15 days of commencement of operation.

Section III:	General Conditions

- Inspection – ONEOK shall allow DEQ’s representatives access to the source at all reasonable times for the purpose of making inspections or surveys, collecting samples, obtaining data, auditing any monitoring equipment such as Continuous Emission Monitoring Systems (CEMS) or Continuous Emission Rate Monitoring Systems (CERMS), or observing any monitoring or testing, and otherwise conducting all necessary functions related to this permit.

- Waiver – The permit and the terms, conditions, and matters stated herein shall be deemed accepted if ONEOK fails to appeal as indicated below.

- Compliance with Statutes and Regulations – Nothing in this permit shall be construed as relieving ONEOK of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq. (ARM 17.8.756).

- Enforcement – Violations of limitations, conditions and requirements contained herein may constitute grounds for permit revocation, penalties, or other enforcement action as specified in Section 75-2-401, et seq., MCA.

- Appeals – Any person or persons jointly or severally adversely affected by DEQ’s decision may request, within 15 days after DEQ renders its decision, upon affidavit setting forth the grounds therefor, a hearing before the Board of Environmental Review (Board).  A hearing shall be held under the provisions of the Montana Administrative Procedures Act.  The filing of a request for a hearing does not stay DEQ’s decision, unless the Board issues a stay upon receipt of a petition and a finding that a stay is appropriate under Section 75-2-211(11)(b), MCA.  The issuance of a stay on a permit by the Board postpones the effective date of DEQ’s decision until conclusion of the hearing and issuance of a final decision by the Board.  If a stay is not issued by the Board, DEQ’s decision on the application is final 16 days after DEQ’s decision is made.

- Permit Inspection – As required by ARM 17.8.755, Inspection of Permit, a copy of the air quality permit shall be made available for inspection by DEQ at the location of the source.

- Permit Fee – Pursuant to Section 75-2-220, MCA, failure to pay the annual operation fee by ONEOK may be grounds for revocation of this permit, as required by that section and rules adopted thereunder by the Board.

- Duration of Permit – Construction or installation must begin or contractual obligations entered into that would constitute substantial loss within 3 years of permit issuance and proceed with due diligence until the project is complete or the permit shall expire (ARM 17.8.762).

Montana Air Quality Permit (MAQP) Analysis

ONEOK Elk Creek Pipeline, LLC &

ONEOK Bakken Pipeline, LLC

MAQP #5226-02

I.	Introduction/Process Description

ONEOK Elk Creek Pipeline, LLC and ONEOK Bakken Pipeline, LLC (collectively referred to as “ONEOK”) own and operate the Baker I Pump Station (Baker I) and the Baker II Pump Station (Baker II), respectively.  As Baker I and Baker II are located on contiguous property and operate under common control within the same standard industrial code classification, the emissions from Baker I and Baker II are aggregated together as the same facility in accordance with Administrative Rules of Montana (ARM) 17.8.740(8).  The Baker II Pump Station serves the Elk Creek Natural Gas Liquids Pipeline and the Baker I Pump Station serves the Bakken Pipeline.

- Permitted Equipment

Baker I:

• 3 electric pumps

• Pig receiver

• Pig launcher

• Flare

Emissions at Baker I result from fugitive volatile organic compound (VOC) and hazardous air pollutant (HAP) emissions to the atmosphere from component leaks and pump seal losses, as well as emissions from seal flush filter changes, maintenance blowdowns from pigging activities that are routed to a flare.

Baker II:

• 3 electric pumps

• 1 meter skid

• YZ sampler

• Pig receiver

• Pig launcher

• Flare

Emissions at Baker II result from fugitive VOC and HAP emissions to the atmosphere from component leaks, pump seal losses, meter skid calibration and YZ sampler blowdowns; as well as seal flush filter changes and maintenance blowdowns from pigging activities that are routed to a flare.

- Source Description

In pipeline transportation, pigging is the practice of using devices known as pigs or scrapers to perform various maintenance operations, including cleaning the pipeline of buildup, and inspecting the pipeline.  The stations where pigs are sent and received vent emissions of volatile organic compounds and hazardous air pollutants.  ONEOK sends these emissions to a flare located at each facility to control these emissions.

Emissions from these facilities consist mainly of fugitive emissions from various piping components and a very small amount of combustion products from the flares used to control emissions.  Because the pumps are electric, this facility does not have the emissions or permit conditions typically associated with compressor engines.

Baker I is located approximately 13 miles northwest of Baker, Montana, in Section 14, Township 9 North, Range 58 East, in Fallon County, 46.534747°N, latitude and 104.390016°W, longitude.  Baker II is to be located less than ¼ mile from Baker I; therefore, identifying the two sites as a single facility is consistent with the Environmental Protection Agency (EPA) federal register notice clarifying the meaning of the term ‘adjacent’ that is used to determine the scope of a stationary source for sources in the oil and gas industry.

- Permit History

On August 15, 2019, the Montana Department of Environmental Quality (DEQ) – Air Quality Bureau issued Montana Air Quality Permit (MAQP) #5226-00 to ONEOK Elk Creek Pipeline, LLC and ONEOK Bakken Pipeline, LLC (collectively identified as ONEOK) for the Baker I Pump Station and Baker II Pigging Station.  This action authorized the construction of the Baker II Pigging Station.

The Baker I Pump Station was an existing pump station for ONEOK that started operation in February 2013.  DEQ had determined that Baker I did not require an MAQP in a May 2, 2012 letter because the maximum potential emission levels did not exceed the 25 tons per year threshold.  Baker I Pump Station and Baker II Pigging Station are located on contiguous property and operate under common control within the same standard industrial code classification; therefore, they are considered to be the same facility in accordance with ARM 17.8.740(8) and their emissions are aggregated together.

- The Baker I Pump Station consisted of a pig receiver and launcher that ONEOK Bakken owns at the Station and pigging blowdown events associated with this pig receiver and launcher. The number of pigging events at the facility would amount to 30 pigging events in total (15 pigging events from the launcher [12 normal pigging events and 3 smart pigging events] and 15 total pigging events from pig receiver [12 normal pigging events and 3 smart pigging events from the receivers]). Other scheduled annual maintenance activities include ten (10) valve blowdowns, one (1) pump strainer blowdown, and eight (8) pump blowdowns. All pigging blowdowns and other scheduled maintenance activities are routed to the flare. In addition, ONEOK proposed to permit certain maintenance activities at the Baker I Pump Station. One of these maintenance activities is referred to as a "seal flush filter change" and is performed once per week at the station. These seal flush filter changes extend the life of the pump seal and avoid emissions associated with pump blowdowns and potential pump seal replacement. The seal flush filter changes result in flaring of approximately 5 gallons of product per event. The other maintenance activity is referred to as a "pump seal loss." Pump seal losses account for the emissions generated when a pump starts-up. Pump startups occur approximately 140 times per year at the station, but as a conservative measure, ONEOK assumed 250 startup events per year for emissions calculations. Each pump startup produces approximately 0.02 gallons of product per event that are vented to the atmosphere.

- The Baker II Pigging Station included a pig receiver and launcher that ONEOK Elk Creek would construct and own. The number of pigging events at the facility was estimated to total 30 pigging events (15 pigging events from the launcher [12 normal pigging events and 3 smart pigging events and 15 pigging events from pig receiver [12 normal pigging events and 3 smart pigging events]). All pigging blowdowns would be routed to the existing flare at Baker I.

On March 31, 2020, ONEOK submitted a complete application to DEQ to modify the MAQP for Baker II with the addition of three (3) electric pumps and valves with associated blowdowns (10 valve blowdowns per year, 8 pump blowdowns per year, 1 pump strainer blowdown per year), one (1) meter skid, one (1) YZ sampler, and a flare.   In addition, ONEOK proposed to permit certain maintenance activities at Baker II. One of these maintenance activities is referred to as a “seal flush filter change” and is performed once per week at the station. These seal flush filter changes extend the life of the pump seal and reduce emissions associated with pump blowdowns and potential pump seal replacement. The seal flush filter changes resulted in flaring of approximately 5 gallons of product per event. The other maintenance activity is referred to as a “pump seal loss.” Pump seal losses account for the emissions generated when a pump starts-up. Pump startups occur approximately 140 times.  Baker II is  referred to as a pump station rather than a pigging station based on the updates to that facility.  MAQP #5226-01 replaced MAQP #5226-00.

- Current Permit Action

On February 21, 2022, the Department of Environmental Quality (DEQ) received an application for modification to MAQP 5226-01 from ONEOK. In the application, ONEOK requested the following;

- Update the pilot flare to propane instead of natural gas and update the emissions inventory to reflect the change in fuel.

- Updated the fugitive emission using actual component counts for VOC and HAPs and account for possible fluctuations in the VOC and HAPs composition

The fugitive emissions and composition were estimated using actual component counts with an additional 10% conservative estimation of the theoretical maximum VOC/HAPs liquid content analysis.

There are no proposed operational modifications to either Baker I or Baker II. DEQ updated the emissions inventory to include the change in pilot flare fuel and VOC/HAP composition. MAQP #5226-02 replaces 5226-01.

- Additional Information

Additional information, such as applicable rules and regulations, Best Available Control Technology (BACT)/Reasonably Available Control Technology (RACT) determinations, air quality impacts, and environmental assessments, is included in the analysis associated with each change to the permit.

- Applicable Rules and Regulations

The following are partial explanations of some applicable rules and regulations that apply to the facility.  The complete rules are stated in the Administrative Rules of Montana (ARM) and are available, upon request, from DEQ.  Upon request, DEQ will provide references for location of complete copies of all applicable rules and regulations or copies where appropriate.

- ARM 17.8, Subchapter 1 – General Provisions, including but not limited to:

- ARM 17.8.101 Definitions.  This rule includes a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.105 Testing Requirements.  Any person or persons responsible for the emission of any air contaminant into the outdoor atmosphere shall, upon written request of DEQ, provide the facilities and necessary equipment (including instruments and sensing devices) and shall conduct tests, emission or ambient, for such periods of time as may be necessary using methods approved by DEQ.

- ARM 17.8.106 Source Testing Protocol.  The requirements of this rule apply to any emission source testing conducted by DEQ, any source or other entity as required by any rule in this chapter, or any permit or order issued pursuant to this chapter, or the provisions of the Clean Air Act of Montana, 75-2-101, et seq., Montana Code Annotated (MCA).

ONEOK shall comply with the requirements contained in the Montana Source Test Protocol and Procedures Manual, including, but not limited to, using the proper test methods and supplying the required reports.  A copy of the Montana Source Test Protocol and Procedures Manual is available from DEQ upon request.

- ARM 17.8.110 Malfunctions.  (2)DEQ must be notified promptly by telephone whenever a malfunction occurs that can be expected to create emissions in excess of any applicable emission limitation or to continue for a period greater than 4 hours.

- ARM 17.8.111 Circumvention.  (1) No person shall cause or permit the installation or use of any device or any means that, without resulting in reduction of the total amount of air contaminant emitted, conceals or dilutes an emission of air contaminant that would otherwise violate an air pollution control regulation.  (2) No equipment that may produce emissions shall be operated or maintained in such a manner as to create a public nuisance.

- ARM 17.8, Subchapter 2 – Ambient Air Quality, including, but not limited to the following:

1.	ARM 17.8.204 Ambient Air Monitoring

2.	ARM 17.8.210 Ambient Air Quality Standards for Sulfur Dioxide

3.	ARM 17.8.211 Ambient Air Quality Standards for Nitrogen Dioxide

4.	ARM 17.8.212 Ambient Air Quality Standards for Carbon Monoxide

5.	ARM 17.8.213 Ambient Air Quality Standard for Ozone

6.	ARM 17.8.214 Ambient Air Quality Standard for Hydrogen Sulfide

7.	ARM 17.8.220 Ambient Air Quality Standard for Settled Particulate Matter

8.	ARM 17.8.221 Ambient Air Quality Standard for Visibility

9.	ARM 17.8.222 Ambient Air Quality Standard for Lead

10.	ARM 17.8.223 Ambient Air Quality Standard for PM10

ONEOK must not cause or contribute to a violation of any ambient air quality standard.

- ARM 17.8, Subchapter 3 – Emission Standards, including, but not limited to:

- ARM 17.8.304 Visible Air Contaminants.  This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes.

- ARM 17.8.308 Particulate Matter, Airborne.  (1) This rule requires an opacity limitation of less than 20% for all fugitive emission sources and that reasonable precautions be taken to control emissions of airborne particulate matter.  (2) Under this rule, ONEOK shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter.

- ARM 17.8.309 Particulate Matter, Fuel Burning Equipment.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter caused by the combustion of fuel in excess of the amount determined by this rule.

- ARM 17.8.310 Particulate Matter, Industrial Process.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter in excess of the amount set forth in this rule.

- ARM 17.8.322 Sulfur Oxide Emissions--Sulfur in Fuel.  This rule requires that no person shall burn liquid, solid, or gaseous fuel in excess of the amount set forth in this rule.

- ARM 17.8.324 Hydrocarbon Emissions--Petroleum Products.  (3) No person shall load or permit the loading of gasoline into any stationary tank with a capacity of 250 gallons or more from any tank truck or trailer, except through a permanent submerged fill pipe, unless such tank is equipped with a vapor loss control device as described in (1) of this rule.

- ARM 17.8.340 Standard of Performance for New Stationary Sources and Emission Guidelines for Existing Sources.  This rule incorporates, by reference, 40 CFR Part 60, Standards of Performance for New Stationary Sources (NSPS).  ONEOK shall comply with any applicable NSPS.  DEQ is not aware of any subpart of 40 CFR 60 currently applicable to this facility.

a.	40 CFR 60, Subpart OOOOa:

This facility is not reported to contain any equipment which is an affected facility under these rules.  Further, as a natural gas liquids related station, it does not appear that NSPS OOOOa would apply.

- ARM 17.8.341 Emission Standards for Hazardous Air Pollutants.  This source shall comply with the standards and provisions of 40 CFR Part 61, as appropriate.  DEQ is not aware of any subpart of 40 CFR 61 currently applicable to this facility.

- ARM 17.8.342 Emission Standards for Hazardous Air Pollutants for Source Categories.  This rule incorporates, by reference, 40 CFR Part 63, Emission Standards for Hazardous Air Pollutants.  DEQ is not aware of any subpart of 40 CFR 63 currently applicable to this facility.

- ARM 17.8, Subchapter 5 – Air Quality Permit Application, Operation, and Open Burning Fees, including, but not limited to:

- ARM 17.8.504 Air Quality Permit Application Fees.  This rule requires that an applicant submit an air quality permit application fee concurrent with the submittal of an air quality permit application.  A permit application is incomplete until the proper application fee is paid to DEQ.  ONEOK submitted the appropriate permit application fee for the current permit action.

- ARM 17.8.505 Air Quality Operation Fees.  An annual air quality operation fee must, as a condition of continued operation, be submitted to DEQ by each source of air contaminants holding an air quality permit (excluding an open burning permit) issued by DEQ.  The air quality operation fee is based on the actual or estimated actual amount of air pollutants emitted during the previous calendar year.

An air quality operation fee is separate and distinct from an air quality permit application fee.  The annual assessment and collection of the air quality operation fee, described above, shall take place on a calendar-year basis.  DEQ may insert into any final permit issued after the effective date of these rules, such conditions as may be necessary to require the payment of an air quality operation fee on a calendar-year basis, including provisions that prorate the required fee amount.

- ARM 17.8, Subchapter 7 – Permit, Construction, and Operation of Air Contaminant Sources, including, but not limited to:

- ARM 17.8.740 Definitions.  This rule is a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.743 Montana Air Quality Permits--When Required.  This rule requires a person to obtain an air quality permit or permit modification to construct, modify, or use any air contaminant sources that have the potential to emit (PTE) greater than 25 tons per year of any pollutant.  ONEOK has a PTE greater than 25 tons per year of Volatile Organic Compounds; therefore, an air quality permit is required.

- ARM 17.8.744 Montana Air Quality Permits--General Exclusions.  This rule identifies the activities that are not subject to the Montana Air Quality Permit program.

- ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes.  This rule identifies the de minimis changes at permitted facilities that do not require a permit under the Montana Air Quality Permit Program.

- ARM 17.8.748 New or Modified Emitting Units--Permit Application Requirements.  (1) This rule requires that a permit application be submitted prior to installation, modification, or use of a source.  ONEOK submitted the required permit application for the current permit action.  (7) This rule requires that the applicant notify the public by means of legal publication in a newspaper of general circulation in the area affected by the application for a permit.  ONEOK submitted an affidavit of publication of public notice for the March 14, 2022 issue of the Fallon County Times, a newspaper of general circulation in the Town of Baker in Fallon County, as proof of compliance with the public notice requirements.

- ARM 17.8.749 Conditions for Issuance or Denial of Permit.  This rule requires that the permits issued by DEQ must authorize the construction and operation of the facility or emitting unit subject to the conditions in the permit and the requirements of this subchapter.  This rule also requires that the permit must contain any conditions necessary to assure compliance with the Federal Clean Air Act (FCAA), the Clean Air Act of Montana, and rules adopted under those acts.

- ARM 17.8.752 Emission Control Requirements.  This rule requires a source to install the maximum air pollution control capability that is technically practicable and economically feasible, except that BACT shall be utilized.  The required BACT analysis is included in Section III of this permit analysis.

- ARM 17.8.755 Inspection of Permit.  This rule requires that air quality permits shall be made available for inspection by DEQ at the location of the source.

- ARM 17.8.756 Compliance with Other Requirements.  This rule states that nothing in the permit shall be construed as relieving ONEOK of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq.

- ARM 17.8.759 Review of Permit Applications.  This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those permit applications that do not require the preparation of an environmental impact statement.

- ARM 17.8.760 Additional Review of Permit Applications.  This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those applications that require an environmental impact statement.

- ARM 17.8.762 Duration of Permit.  An air quality permit shall be valid until revoked or modified, as provided in this subchapter, except that a permit issued prior to construction of a new or modified source may contain a condition providing that the permit will expire unless construction is commenced within the time specified in the permit, which in no event may be less than 1 year after the permit is issued.

- ARM 17.8.763 Revocation of Permit.  An air quality permit may be revoked upon written request of the permittee, or for violations of any requirement of the Clean Air Act of Montana, rules adopted under the Clean Air Act of Montana, the FCAA, rules adopted under the FCAA, or any applicable requirement contained in the Montana State Implementation Plan (SIP).

- ARM 17.8.764 Administrative Amendment to Permit.  An air quality permit may be amended for changes in any applicable rules and standards adopted by the Board of Environmental Review (Board) or changed conditions of operation at a source or stack that do not result in an increase of emissions as a result of those changed conditions.  The owner or operator of a facility may not increase the facility’s emissions beyond permit limits unless the increase meets the criteria in ARM 17.8.745 for a de minimis change not requiring a permit, or unless the owner or operator applies for and receives another permit in accordance with ARM 17.8.748, ARM 17.8.749, ARM 17.8.752, ARM 17.8.755, and ARM 17.8.756, and with all applicable requirements in ARM Title 17, Chapter 8, Subchapters 8, 9, and 10.

- ARM 17.8.765 Transfer of Permit.  This rule states that an air quality permit may be transferred from one person to another if written notice of intent to transfer, including the names of the transferor and the transferee, is sent to DEQ.

- ARM 17.8.770 Additional Requirements for Incinerators.  This rule specifies the additional information that must be submitted to DEQ for incineration facilities subject to 75-2-215, Montana Code Annotated.

- ARM 17.8, Subchapter 8 – Prevention of Significant Deterioration of Air Quality, including, but not limited to:

- ARM 17.8.801 Definitions.  This rule is a list of applicable definitions used in this subchapter.

- ARM 17.8.818 Review of Major Stationary Sources and Major Modifications--Source Applicability and Exemptions.  The requirements contained in ARM 17.8.819 through ARM 17.8.827 shall apply to any major stationary source and any major modification, with respect to each pollutant subject to regulation under the FCAA that it would emit, except as this subchapter would otherwise allow.

This facility is not a major stationary source because this facility is not a listed source and the facility's PTE is below 250 tons per year of any conventional pollutant.

- ARM 17.8, Subchapter 12 – Operating Permit Program Applicability:

The two sites are aggregated as a single facility due to common ownership, same SIC, and they are located within ¼ mile of each other.

- ARM 17.8.1201 Definitions.  (23) Major Source under Section 7412 of the FCAA is defined as any source having:

- PTE > 100 tons/year of any pollutant;

- PTE > 10 tons/year of any one hazardous air pollutant (HAP), PTE > 25 tons/year of a combination of all HAPs, or lesser quantity as DEQ may establish by rule; or

- PTE > 70 tons/year of particulate matter with an aerodynamic diameter of 10 microns or less (PM10) in a serious PM10 nonattainment area.

- ARM 17.8.1204 Air Quality Operating Permit Program.  (1) Title V of the FCAA amendments of 1990 requires that all sources, as defined in ARM 17.8.1204(1), obtain a Title V Operating Permit.  In reviewing and issuing MAQP #5226-02 for ONEOK, the following conclusions were made:

- The facility’s PTE is less than 100 tons/year for any pollutant.

- The facility’s PTE is less than 10 tons/year for any one HAP and less than 25 tons/year for all HAPs.

- This source is not located in a serious PM10 nonattainment area.

- This facility is not subject to any current NSPS.

- This facility is not subject to any current NESHAP.

- This source is not a Title IV affected source, or a solid waste combustion unit.

- This source is not an EPA designated Title V source.

Based on these facts, DEQ determined that the Baker I/II facility will be a minor source of emissions as defined under Title V.

- BACT Determination

A BACT determination is required for each new or modified source.  ONEOK shall install on the new or modified source the maximum air pollution control capability which is technically practicable and economically feasible, except that BACT shall be utilized.

A BACT analysis was submitted by ONEOK in permit application #5226-02, addressing some available methods of controlling VOC and HAPs emissions from the facility. DEQ reviewed these methods, as well as previous BACT determinations.  The following control options have been reviewed by DEQ in order to make the following BACT determination.

VOC and HAPs

VOC and HAP emissions occur as the result of pigging operations, blowdowns from pumps, valves, seal flush filter changes, sampling, and from pipeline components such as valves, flanges and other connections, pump seals, and other such components.  The gas composition from the natural gas liquids pipeline is expected to be approximately 90% non-methane and non-ethane hydrocarbons (88% based on a sample of flare gas composition).

ONEOK has proposed regular screening of components using audio, visual, and olfactory (AVO) inspections, following proper operations methods to minimize leakage, and installing Hazardous Air Monitor alarms at the site.

For VOC and HAPs leaks, a RACT/BACT/LAER/Clearing house (RBLC) search for both “Natural Gas/Gasoline Processing Plants” and “Petroleum Refining Equipment Leaks/Fugitive Emissions” listed general controls for fugitives that include Leak Detection and Repair, Quarterly Method 21 monitoring, and Best Management Practices.

In the absence of “add on” technology for the types of emissions associated with this and other similar sources, DEQ agrees that regular equipment screening using audio, visual, and AVO inspections along with Hazardous Air Monitors and proper operations constitute BACT.

- Emission Inventory

Baker I Pump Station

| Description |  | NOX |  |  | CO |  | VOC |  | HAP |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | lb/hr | tpy | lb/hr |  | tpy | lb/hr | tpy | lb/hr | tpy |
| Component Fugitives |  |  |  |  |  |  |  |  |  |  |
|  |  | - | - | - |  | - | 2.31 | 10.12 | .13 | .59 |
| Maintenance |  | - | - | - |  | - | Controlled by Flare |  |  |  |
| Seal Flush Filter Change |  | - | - | - |  | - | Controlled by Flare |  |  |  |
| Flare |  | 0.03 | 0.12 | 0.12 |  | 0.53 | 0.23 | 1.01 | 1.34E-02 | 5.87E-02 |
| Pump Seal Losses |  | - | - | - |  | - | - | 0.01 | - | 1.87E-04 |
| Total Emissions from Baker I Pump Station |  | 0.03 | 0.12 | 0.12 |  | 0.53 | 2.54 | 11.15 | 0.15 | 0.64 |

Baker II Pump Station

| Description |  | NOX |  |  | CO |  | VOC |  |  | HAP |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | lb/hr | tpy | lb/hr |  | tpy | lb/hr | tpy |  | lb/hr |  | tpy |  |
| Component Fugitives |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - | - | - |  | - | 3.25 | 14.24 |  | 0.19 |  | 0.82 |  |
| Pigging |  | - | - | - |  | - | Controlled by Flare |  |  |  |  |  |  |
| Maintenance (other blowdowns) |  | - | - | - |  | - | Controlled by Flare |  |  |  |  |  |  |
| Misc. Maintenance Blowdowns |  | - | - | - |  | - | - |  | 0.77 |  | - |  | 0.04 |
| Seal Flush Filter Change |  | - | - | - |  | - | Controlled by Flare (Neg.) |  |  |  |  |  |  |
| Flare |  | 0.03 | 0.12 | 0.12 |  | 0.54 | 0.24 | 1.03 |  | 1.36E-02 |  | 5.96E-02 |  |
| Pump Seal Losses |  | - | - | - |  | - | - | 0.01 |  | - |  | 6.89E-04 |  |
| Total Emissions from Baker II Pump Station |  | 0.03 | 0.12 | 0.12 |  | 0.54 | 3.49 | 16.05 |  | 0.202 |  | 0.93 |  |

Combined Emissions Inventory

| Description |  | NOX |  | CO |  | VOC |  | HAP |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | lb/hr | tpy | lb/hr | tpy | lb/hr | tpy | lb/hr | tpy |
| Total Emissions from Baker I Pump Station and Baker II Pump Station |  | 0.06 | 0.24 | 0.24 | 1.07 | 6.03 | 27.20 | 0.35 | 1.57 |

**	CO = carbon monoxide

HAPs = hazardous air pollutants

lb = pound

NOX = oxides of nitrogen

TPY = tons per year

VOC = volatile organic compounds

yr = year

A detailed emissions inventory is in the application for MAQP #5226-01.

- Existing Air Quality

Fallon County is currently designated as attainment/unclassifiable for all pollutants.

- Ambient Air Impact Analysis

DEQ determined, based on the amount of allowable emissions, that the impacts from this permitting action will be minor.  The DEQ believes it will not cause or contribute to a violation of any ambient air quality standard.

- Taking or Damaging Implication Analysis

As required by 2-10-105, MCA, DEQ conducted the following private property taking and damaging assessment.

| YES | NO |  |
| --- | --- | --- |
| X |  | 1. Does the action pertain to land or water management or environmental regulation affecting private real property or water rights? |
|  | X | 2. Does the action result in either a permanent or indefinite physical occupation of private property? |
|  | X | 3. Does the action deny a fundamental attribute of ownership? (ex.: right to exclude others, disposal of property) |
|  | X | 4. Does the action deprive the owner of all economically viable uses of the property? |
|  | X | 5. Does the action require a property owner to dedicate a portion of property or to grant an easement? [If no, go to (6)]. |
|  |  | 5a. Is there a reasonable, specific connection between the government requirement and legitimate state interests? |
|  |  | 5b. Is the government requirement roughly proportional to the impact of the proposed use of the property? |
|  | X | 6. Does the action have a severe impact on the value of the property? (consider economic impact, investment-backed expectations, character of government action) |
|  | X | 7. Does the action damage the property by causing some physical disturbance with respect to the property in excess of that sustained by the public generally? |
|  | X | 7a. Is the impact of government action direct, peculiar, and significant? |
|  | X | 7b. Has government action resulted in the property becoming practically inaccessible, waterlogged or flooded? |
|  | X | 7c. Has government action lowered property values by more than 30% and necessitated the physical taking of adjacent property or property across a public way from the property in question? |
|  | X | Takings or damaging implications? (Taking or damaging implications exist if YES is checked in response to question 1 and also to any one or more of the following questions: 2, 3, 4, 6, 7a, 7b, 7c; or if NO is checked in response to questions 5a or 5b; the shaded areas) |

Based on this analysis, DEQ determined there are no taking or damaging implications associated with this permit action.

- Environmental Assessment

An environmental assessment, required by the Montana Environmental Policy Act, is attached.

Air, Energy & Mining Division

ONEOK Elk Creek Pipeline, LLC. &

ONEOK Bakken Pipeline, LLC.

DRAFT Environmental Assessment for the

Preliminary Montana Air Quality Permit #5226-02

Montana Department of Environmental Quality

Air Quality Bureau

Air Permitting Services Section

ENVIRONMENTAL ASSESSMENT

| APPLICANT: ONEOK |  |  |
| --- | --- | --- |
| SITE NAME: Elk Creek and Bakken Pipelines |  |  |
| PROPOSED PERMIT NUMBER: Montana Air Quality Permit Number 5226-02 |  |  |
| APPLICATION DATE: February 21, 2022 |  |  |
| APPLICATION COMPLETE DATE: March 14, 2022 |  |  |
| LOCATION: Section 14, Township 9 North, Range 58 East |  | COUNTY: Fallon |
| PROPERTY OWNERSHIP: | FEDERAL ____ STATE ____ PRIVATE _X___ |  |
| EA PREPARER: | John P. Proulx – Environmental Scientist 2 |  |
| EA Draft Date | EA Final Date | Permit Final Date |
| April 1, 2022 | April 22, 2022 | May 10, 2022 |

Table of Contents

COMPLIANCE WITH THE MONTANA ENVIRONMENTAL POLICY ACT	3

1.	TOPOGRAPHY, GEOLOGY AND SOIL QUALITY, STABILITY AND MOISTURE:	6

2.	WATER QUALITY, QUANTITY, AND DISTRIBUTION:	6

3.	AIR QUALITY:	6

4.	VEGETATION COVER, QUANTITY AND QUALITY:	7

5.	TERRESTRIAL, AVIAN AND AQUATIC LIFE AND HABITATS:	7

6.	UNIQUE, ENDANGERED, FRAGILE OR LIMITED ENVIRONMENTAL RESOURCES:	7

7.	HISTORICAL AND ARCHAEOLOGICAL SITES:   Impacts:	7

8.	SAGE GROUSE EXECUTIVE ORDER:	7

9.	AESTHETICS:	8

10.	DEMANDS ON ENVIRONMENTAL RESOURCES OF LAND, WATER, AIR OR ENERGY:	8

11.	IMPACTS ON OTHER ENVIRONMENTAL RESOURCES:	8

12.	HUMAN HEALTH AND SAFETY:	8

13.	INDUSTRIAL, COMMERCIAL AND AGRICULTURAL ACTIVITIES AND PRODUCTION:	9

14.	QUANTITY AND DISTRIBUTION OF EMPLOYMENT:	9

15.	LOCAL AND STATE TAX BASE AND TAX REVENUES:	9

16.	DEMAND FOR GOVERNMENT SERVICES:	9

17.	LOCALLY ADOPTED ENVIRONMENTAL PLANS AND GOALS:	10

18.	ACCESS TO AND QUALITY OF RECREATIONAL AND WILDERNESS ACTIVITIES:	10

19.	DENSITY AND DISTRIBUTION OF POPULATION AND HOUSING:	10

20.	SOCIAL STRUCTURES AND MORES:	10

21.	CULTURAL UNIQUENESS AND DIVERSITY:	11

22.	PRIVATE PROPERTY IMPACTS:	11

23.	OTHER APPROPRIATE SOCIAL AND ECONOMIC CIRCUMSTANCES:	11

ADDITIONAL ALTERNATIVES CONSIDERED:	11

CUMULATIVE IMPACTS:	11

OTHER GOVERNMENTAL AGENCIES WITH JURSIDICTION:	12

NEED FOR FURTHER ANALYSIS AND SIGNIFICANCE OF POTENTIAL IMPACTS	12

# COMPLIANCE WITH THE MONTANA ENVIRONMENTAL POLICY ACT

The Montana Department of Environmental Quality (DEQ) prepared this Environmental Assessment (EA) in accordance with requirements of the Montana Environmental Policy Act (MEPA). An EA functions to determine the need to prepare an EIS through an initial evaluation and determination of the significance of impacts associated with the proposed action.  However, an agency is required to prepare an EA whenever statutory requirements do not allow sufficient time for the agency to prepare an EIS. This document may disclose impacts over which DEQ has no regulatory authority.

COMPLIANCE WITH THE CLEAN AIR ACT OF MONTANA

The state law that regulates air quality permitting in Montana is the Clean Air Act of Montana (§ 75-2-201, et seq., Montana Code Annotated (MCA). DEQ may not approve a proposed project contained in an application for an air quality permit unless the project complies with the requirements set forth in the Clean Air Act of Montana and the administrative rules adopted thereunder.  DEQ’s approval of an air quality permit application does not relieve the ONEOK, from complying with any other applicable federal, state, or county laws, regulations, or ordinances. ONEOK is responsible for obtaining any other permits, licenses, approvals, that are required for any part of the proposed project. DEQ will decide whether to approve the permit in accordance with the requirements of the Clean Air Act of Montana.  DEQ may not withhold, deny, or impose conditions on the permit based on the information contained in this Environmental Assessment. § 75-1-201(4), MCA.

SUMMARY OF THE PROPOSED ACTION:  ONEOK has applied for a modification to  Montana air quality permit under the Clean Air Act of Montana to update the fuel used in the pilot flare to propane instead of natural gas as well as update the emissions inventory to reflect the change in fuel, update the fugitive emissions using actual component counts for Volatile Organic Compounds (VOC) and Hazardous Air Pollutants (HAPs) and account for possible fluctuations in the VOC and HAPs composition in the emissions inventory. The proposed action would be located in Section 14, Township 9 North, Range 58 East, Fallon County. All information included in the EA is derived from the permit application, discussions with the applicant, analysis of aerial photography, topographic maps, and other research tools.

PURPOSE AND BENEFIT FOR PROPOSED ACTION: DEQ's purpose in conducting this environmental review is to act upon ONEOKs air quality permit application to authorize to update emissions inventory and VOC/HAP composition.  DEQ’s action on the permit application is governed by the Clean Air Act of Montana, § 75-2-201, et seq., MCA and the Administrative Rules of Montana (ARM) 17.8.740, et seq.

The benefits of the proposed action include: The proposed permit action will reflect more realistic emissions from the source.

REGULATORY RESPONSIBILITIES: In accordance with ARM 17.4.609(3)(c), DEQ must list any federal, state, or local authorities that have concurrent or additional jurisdiction or environmental review responsibility for the proposed action and the permits, licenses, and other authorizations required.

ONEOK must conduct its operations according to the terms of its permit. ONEOK further agrees to be legally bound by the permit, The Clean Air Act of§ 75-2-201, et seq., MCA and ARM 17.8.740, et seq.

ONEOK must cooperate fully with, and follow the directives of any federal, state, or local entity that may have authority over ONEOK’s generating operations. These permits, licenses, and other authorizations may include: Fallon County and DEQ AQB (air quality).

Table 1:  Proposed Action Details

| Summary of Proposed Action |  |
| --- | --- |
| General Overview | ONEOK air quality permit application consists of the following equipment: The permitted equipment associated with MAPQ 5226-02 is listed in Section 1.A of the MAQP Permit Analysis The facility would be permitted to operate until ONEOK requested permit revocation or until the permit were revoked by DEQ due to gross non-compliance with the permit conditions. |
| Proposed Action Estimated Disturbance |  |
| Disturbance | Minimal disturbance is estimated with the proposed permit action. |
| Proposed Action |  |
| Duration | Construction: Construction or commencement would start within three years of issuance of the final air quality permit. Construction Period: The construction period could begin as soon as the air quality permit (and any other permits identified in this EA) were in place. Operation Life: Until permit is either revoked at the request of the permittee or DEQ has determined the need for revocation. |
| Construction Equipment | Cranes, delivery trucks, various other types of smaller equipment |
| Personnel Onsite | Construction: Various number of installation personnel depending on which piece of equipment is being installed. Operations: Current number of employees. |
| Location and Analysis Area | Location: Section 14, Township 9 North, Range 58 East, in Fallon County, MT Analysis Area: The area being analyzed as part of this environmental review includes the immediate project area (Figure 1), as well as neighboring lands surrounding the analysis area, as reasonably appropriate for the impacts being considered. |
| Air Quality | This EA will be attached to the Air Quality Permit which would include all enforceable conditions for operation of the emitting units |
| Conditions incorporated into the Proposed Action | The conditions developed in the Preliminary Determination of the Montana Air Quality Permit dated April 1, 2022, set forth in Sections II.A-D, and updated in the Decision Air Quality Permit if needed. |

Figure 1: Map of general location of the proposed project.

EVALUATION AND SUMMARY OF POTENTIAL IMPACTS TO THE PHYSICAL AND HUMAN ENVIRONMENT IN THE AREA AFFECTED BY THE PROPOSED PROJECT:

The impact analysis will identify and evaluate direct and secondary impacts. Direct impacts are those that occur at the same time and place as the action that triggers the effect. Secondary impacts means “a further impact to the human environment that may be stimulated or induced by or otherwise result from a direct impact of the action.” ARM 17.4.603(18). Where impacts are expected to occur, the impacts analysis estimates the duration and intensity of the impact.

The duration of an impact is quantified as follows:

- Short-term: Short-term impacts are defined as those impacts that would not last longer than the proposed operation of the site.

- Long-term: Long-term impacts are defined as impacts that would remain or occur following shutdown of the proposed facility.

The severity of an impact is measured using the following:

- No impact: There would be no change from current conditions.

- Negligible: An adverse or beneficial effect would occur but would be at the lowest levels of detection.

- Minor: The effect would be noticeable but would be relatively small and would not affect the function or integrity of the resource.

- Moderate: The effect would be easily identifiable and would change the function or integrity of the resource.

- Major: The effect would alter the resource.

- TOPOGRAPHY, GEOLOGY AND SOIL QUALITY, STABILITY AND MOISTURE:

Direct Impacts:

Proposed Action: No impacts to topography, geology, stability, and moisture would be expected because the proposed project because there is no physical change to the facility.

Secondary Impacts:

Proposed Action: No secondary impacts to topography, geology, stability, and moisture are anticipated with the proposed action.

- WATER QUALITY, QUANTITY, AND DISTRIBUTION:

Direct Impacts:

Proposed Action: No primary impacts to water quality, quantity, and distribution would be expected because there are no physical changes to the facility or and permitted equipment.

Secondary Impacts:

Proposed Action: No secondary impacts are anticipated with the proposed action.

- AIR QUALITY:

Direct Impacts:

Proposed Action: Minor impacts to air quality would be expected with the current action due to lab analysis and a change from natural gas to propane in the flare. The lab analysis showed an increase in HAPs while simultaneously showing a decrease in NOX, CO, and VOCs.

Secondary Impacts:

Proposed Action: Negligible impacts could be expected with the proposed action in the event of equipment malfunction.

- VEGETATION COVER, QUANTITY AND QUALITY:

Direct Impacts:

Proposed Action: No impacts are expected with this permit action. The ONEOK facility is an existing, developed facility and the permit action does not disturb any new land.

Secondary Impacts:

Proposed Action: Negligible impacts to land disturbance at the site may result in propagation of noxious weeds.

- TERRESTRIAL, AVIAN AND AQUATIC LIFE AND HABITATS:

Direct Impacts:

Proposed Action: No impacts are expected with the proposed permit action. The ONEOK facility is an existing, developed facility and the permit action does not disturb any new land or water bodies.

Secondary Impacts:

Proposed Action: No secondary impacts to terrestrial, avian and aquatic life and habitats stimulated or induced by the direct impacts analyzed above would be anticipated for the proposed action.

- UNIQUE, ENDANGERED, FRAGILE OR LIMITED ENVIRONMENTAL RESOURCES:

Impacts:

Proposed Action:  According to a Montana Natural Heritage Program, there is one species of concern; Sage Grouse. No impacts are expected with the proposed permit action. The Baker I and Baker II site is an existing, developed facility and the proposed project is not expected to disturb any new habitat.

- HISTORICAL AND ARCHAEOLOGICAL SITES:

## Impacts:

Proposed Action: It is SHPO’s position that any structure over fifty years of age is considered historic and is potentially eligible for listing on the National Register of Historic Places. If any structures are within the Area of Potential Effect, and are over fifty years old, we would recommend that they be recorded, and a determination of their eligibility be made prior to any disturbance taking place. The ONEOK facility is less than 50 years old and there is no disturbance or alteration to structures over fifty years of age.

- SAGE GROUSE EXECUTIVE ORDER:

The current permit action is located in the Greater Sage Grouse habitat area.

- AESTHETICS:

Direct Impacts:

Proposed Action: No impacts are expected with the proposed permit action. The ONEOK facility is an existing, developed facility and the permit action does not disturb any new land.

Secondary Impacts:

Proposed Action: No secondary impacts to aesthetics and noise are anticipated with the proposed action.

- DEMANDS ON ENVIRONMENTAL RESOURCES OF LAND, WATER, AIR OR ENERGY:

Direct Impacts:

Proposed Action: No impacts are expected with the current permit action. The ONEOK facility is an existing, developed facility and the current permit action does not disturb any new land or water bodies. There will be minor impacts associated with the increase in HAPs and use of propane instead of natural gas.

Secondary Impacts:

Proposed Action: No secondary impacts to land, water, air or energy resources are anticipated with the proposed action.

- IMPACTS ON OTHER ENVIRONMENTAL RESOURCES:

Direct Impacts:

Proposed Actions: The ONEOK facility is an existing, developed facility and the current permit action will not have any impacts on environmental resources outside those already identified in this EA.

Secondary Impacts:

Proposed Action: No secondary impacts to other environmental resources are anticipated as a result of the proposed action.

- HUMAN HEALTH AND SAFETY:

Direct Impacts:

Proposed Action: Impacts to human health and safety are anticipated to be short-term and minor as a result of this project.

Secondary Impacts:

Proposed Action: No secondary impacts to human health and safety are anticipated as a result of the proposed action.

- INDUSTRIAL, COMMERCIAL AND AGRICULTURAL ACTIVITIES AND PRODUCTION:

Direct Impacts:

Proposed Action: No impacts are expected with the proposed permit action. The ONEOK facility is an existing, developed facility and the current permit action will not required industrial, commercial or agricultural activities.

Secondary Impacts:

Proposed Action: No secondary impacts to industrial, commercial, water conveyance structures, and agricultural activities and production are anticipated as a result of the proposed action.

- QUANTITY AND DISTRIBUTION OF EMPLOYMENT:

Direct Impacts:

Proposed Action: No impacts to quantity and distribution of employment are anticipated for the proposed action because the site is an unoccupied compressor station.

Secondary Impacts:

Proposed Action: Negligible increases in in distribution of employment are anticipated as a result of the proposed action.

- LOCAL AND STATE TAX BASE AND TAX REVENUES:

Direct Impacts:

Proposed Action: Local, state and federal governments would be responsible for appraising the property, setting tax rates, collecting taxes, from the companies, employees, or landowners benefitting from this operation.

Secondary Impacts:

Proposed Action:  No secondary impacts to local and state tax base and tax revenues are anticipated as a result of the proposed action.

- DEMAND FOR GOVERNMENT SERVICES:

Direct Impacts:

Proposed Action:  Minor impacts are anticipated for demand for government services. The air quality permit and physical site associated with the current permit action would require inspections from state government representatives to ensure the facility is operating within the limits and conditions listed in the air quality permit.

Secondary Impacts:

Proposed Action:  No secondary impacts are anticipated with the proposed action.

- LOCALLY ADOPTED ENVIRONMENTAL PLANS AND GOALS:

Direct Impacts:

Proposed Action:  No primary impacts to the locally adopted environmental plans and goals are anticipated as a result of the proposed action.

Secondary Impacts:

Proposed Action: No secondary impacts to the locally adopted environmental plans and goals are anticipated as a result of the proposed action.

- ACCESS TO AND QUALITY OF RECREATIONAL AND WILDERNESS ACTIVITIES:

Direct Impacts:

Proposed Action: No primary impacts to access and quality of recreational and wilderness activities are anticipated as a result of the proposed action. The ONEOK facility is surrounded on all sides by undeveloped wilderness.

Secondary Impacts:

Proposed Action: No secondary impacts to access and quality of recreational and wilderness activities are anticipated as a result of the proposed action.

- DENSITY AND DISTRIBUTION OF POPULATION AND HOUSING:

Direct Impacts:

Proposed Action: No primary impacts to density and distribution of population and housing are anticipated as a result of the current permit action.

Secondary Impacts:

Proposed Action: No secondary impacts to density and distribution of population and housing are anticipated as a result of the proposed action.

- SOCIAL STRUCTURES AND MORES:

Direct Impacts:

Proposed Action: No primary impacts anticipated to social structures and mores are anticipated as a result of the current permit action.

Secondary Impacts:

Proposed Action: No secondary impacts to social structures and mores are anticipated as a result of the proposed action.

- CULTURAL UNIQUENESS AND DIVERSITY:

Direct Impacts:

Proposed Action: No primary impacts anticipated to cultural uniqueness and diversity are anticipated from the current permit action.

Secondary Impacts:

Proposed Action: No secondary impacts to cultural uniqueness and diversity are anticipated as a result of the proposed action.

- PRIVATE PROPERTY IMPACTS:

The proposed action would take place on privately owned property and is not expected impact other privately owned properties. DEQ does not plan to deny the application or impose conditions that would restrict the regulated person’s use of private property so as to constitute a taking

- OTHER APPROPRIATE SOCIAL AND ECONOMIC CIRCUMSTANCES:

Due to the nature of the proposed action, no further direct or secondary impacts are anticipated from this project.

# ADDITIONAL ALTERNATIVES CONSIDERED:

No Action Alternative: In addition to the proposed action, DEQ is considering a “no action” alternative. The “no action” alternative would deny the approval of the proposed action. The applicant would lack the authority to conduct the proposed activity. Any potential impacts that would result from the proposed action would not occur.  The no action alternative forms the baseline from which the impacts of the proposed action can be measured.

If the applicant demonstrates compliance with all applicable rules and regulations as required for approval, the “no action” alternative would not be appropriate.  Pursuant to, § 75-1-201(4)(a), (MCA) DEQ “may not withhold, deny, or impose conditions on any permit or other authority to act based on” an environmental assessment.

# CUMULATIVE IMPACTS:

Cumulative impacts are the collective impacts on the human environment within the borders of Montana of the proposed action when considered in conjunction with other past and present actions related to the proposed action by location and generic type. Related future actions must also be considered when these actions are under concurrent consideration by any state agency through preimpact statement studies, separate impact statement evaluation, or permit processing procedures.
This environmental review analyzes the proposed action submitted by the ONEOK.

DEQ considered potential impacts related to this project and potential secondary impacts. Due to the limited activities in the analysis area, cumulative impacts related to this project would be minor and short-term.

PUBLIC INVOLVEMENT:

Scoping for this proposed action consisted of internal efforts to identify substantive issues and/or concerns related to the proposed operation. Internal scoping consisted of internal review of the environmental assessment document by DEQ Air Permitting staff.

Internal efforts also included queries to the following websites/ databases/ personnel:

• Montana State Historic Preservation Office

• Montana Department of Environmental Quality (DEQ)

• Montana Natural Heritage Program

# OTHER GOVERNMENTAL AGENCIES WITH JURSIDICTION:

The proposed project would be fully located on privately-owned land. All applicable local, state, and federal rules must be adhered to, which, at some level, may also include other local, state, federal, or tribal agency jurisdiction. Other governmental agencies which may have overlapping or sole jurisdiction include, but may not be limited to:  Fallon County, OSHA (worker safety), DEQ AQB (air quality) and Water Protection Bureau (groundwater and surface water discharge; stormwater), DNRC (water rights), and MDT (road access).

# NEED FOR FURTHER ANALYSIS AND SIGNIFICANCE OF POTENTIAL IMPACTS

Under ARM 17.4.608, DEQ is required to determine the significance of impacts associated with the proposed action.  This determination is the basis for the agency’s decision concerning the need to prepare an environmental impact statement and also refers to DEQ’s evaluation of individual and cumulative impacts.  DEQ is required to consider the following criteria in determining the significance of each impact on the quality of the human environment:

- The severity, duration, geographic extent, and frequency of the occurrence of the impact;

“Severity” is analyzed as the density of the potential impact while “extent” is described as the area where the impact is likely to occur. An example could be that a project may propagate ten noxious weeds on a surface area of 1 square foot. In this case, the impact may be a high severity over a low extent. If those ten noxious weeds were located over ten acres there may be a low severity over a larger extent.

“Duration” is analyzed as the time period in which the impact may occur while “frequency” is analyzed as how often the impact may occur. For example, an operation that occurs throughout the night may have impacts associated with lighting that occur every night (frequency) over the course of the one season project (duration).

- The probability that the impact will occur if the proposed action occurs; or conversely, reasonable assurance in keeping with the potential severity of an impact that the impact will not occur;

- Growth-inducing or growth-inhibiting aspects of the impact, including the relationship or contribution of the impact to cumulative impacts;

- The quantity and quality of each environmental resource or value that would be affected, including the uniqueness and fragility of those resources and values;

- The importance to the state and to society of each environmental resource or value that would be affected;

- Any precedent that would be set as a result of an impact of the proposed action that would commit the department to future actions with significant impacts or a decision in principle about such future actions; and

- Potential conflict with local, state, or federal laws, requirements, or formal plans.

The significance determination is made by giving weight to these criteria in their totality.  For example, impacts with moderate or major severity may be determined to be not significant if the duration of the impacts is considered to be short-term.  As another example, however, moderate or major impacts of short-term duration may be considered to be significant if the quantity and quality of the resource is limited and/or the resource is considered to be unique or fragile.  As a final example, moderate or major impacts to a resource may be determined to be not significant if the quantity of that resource is high or the quality of the resource is not unique or fragile.

Pursuant to ARM 17.4.607, preparation of an environmental assessment is the appropriate level of environmental review under MEPA if statutory requirements do not allow sufficient time for an agency to prepare an environmental impact statement.  An agency determines whether sufficient time is available to prepare an environmental impact statement by comparing statutory requirements that establish when the agency must make its decision on the proposed action with the time required to obtain public review of an environmental impact statement plus a reasonable period to prepare a draft environmental review and, if required, a final environmental impact statement.

SIGNIFICANCE DETERMINATION

The severity, duration, geographic extent and frequency of the occurrence of the impacts associated with the proposed action would be limited. ONEOK proposes to construct and operate the proposed action on private land located in Section 24, Township 25 North, Range 58 East, in Fallon County, Montana.

DEQ has not identified any significant impacts associated with the proposed action for any environmental resource. Approving ONEOK’s Air Quality Application would not set precedent that commits DEQ to future actions with significant impacts or a decision in principle about such future actions. If ONEOK submits another permit application, DEQ is not committed to approve those applications. DEQ would conduct a new environmental review for any subsequent air quality permit applications sought by ONEOK. DEQ would make a decision on ONEOK’s subsequent application based on the criteria set forth in the Clean Air Act of Montana.

DEQ’s issuance of an Air Quality Permit to ONEOK for this proposed operation does not set a precedent for DEQ’s review of other applications, including the level of environmental review. The level of environmental review decision is made based on a case-specific consideration of the criteria set forth in ARM 17.4.608.

DEQ does not believe that the proposed action has any growth-inducing or growth-inhibiting aspects or that it conflicts with any local, state, or federal laws, requirements, or formal plans. Based on a consideration of the criteria set forth in ARM 17.4.608, the proposed state action is not predicted to significantly impact the quality of the human environment. Therefore, at this time, preparation of an environmental assessment is determined to be the appropriate level of environmental review under the Montana Environmental Protection Act.

Environmental Assessment and Significance Determination Prepared By:

John P. Proulx                               Environmental Scientist 2

Name                            			Title

EA Reviewed By:

Ed Warner                      	             	     Lead Engineer

Name                            			Title

References