Date of Posting:  September 21, 2026

Joe Dauner

Montana Renewables, LLC

MRL Great Falls Renewable Fuels Plant

1900 10th Street NE

Great Falls, MT 59404

Sent via email: joseph.dauner@calumetspecialty.com

RE: 	Final and Effective Montana Air Quality Permit #5263-04 and Final Environmental Assessment; Energy Development Project

Dear Mr. Dauner:

Montana Air Quality Permit (MAQP) #5263-04, for the above-named permittee, and the associated environmental assessment (EA) prepared in accordance with the Montana Environmental Policy Act are deemed final as of September 19, 2026, by the Montana Department of Environmental Quality (DEQ).  All conditions of DEQ’s Decision on the MAQP remain the same.  A copy of the final MAQP is enclosed. A link to the final EA is available in the notice sent to the above-named permittee and on DEQ’s website at Air Permitting and Operator Assistance | Montana DEQ (click “Archived Air Quality Permits”)

Final and effective MAQP #5263-04 is no longer subject to appeal. The final EA may be appealed to the appropriate court of jurisdiction within 60 days after DEQ renders its final Decision on the EA. A request for a hearing must be filed by November 2, 2026. A challenge to DEQ’s final EA may only be brought by a person who submits formal comments on DEQ’s draft EA prior to the issuance of DEQ’s final Decision on the EA, and the challenge must be limited to those issues raised in those comments.

For DEQ,

| Craig Henrikson, P.E. Air Quality Bureau Permitting Services Air Quality Bureau Air, Energy, and Mining Division (406) 444-6711 chenrikson@mt.gov | Eric Merchant, Chief Air Quality Permitting Services Section Air Quality Bureau Air, Energy, and Mining Division (406) 444-3626 eric.merchant2@mt.gov |
| --- | --- |

Montana Department of Environmental Quality

Air, Energy & Mining Division

Air Quality Bureau

Montana Air Quality Permit #5263-04

Montana Renewables, LLC

MRL Great Falls Renewable Fuels Plant

1900 10th Street NE

Great Falls, MT 59404

Final and Effective Date:

September 19, 2026

MONTANA AIR QUALITY PERMIT

| Issued to: | Montana Renewables LLC 1900 10th Street NE Great Falls, Montana 59404 | MAQP: #5263-04 Application Received: 06/25/2026 Application Complete: 07/23/2026 Preliminary Determination: 08/12/2026 Department’s Decision: 09/03/2026 Permit Final: 09/19/2026 |  |
| --- | --- | --- | --- |

A Montana Air Quality Permit (MAQP), with conditions, is hereby granted to Montana Renewables LLC. (MRL) pursuant to Sections 75-2-204 and 211 of the Montana Code Annotated (MCA), as amended, and Administrative Rules of Montana (ARM) 17.8.740, et seq., as amended, for the following:

Section I:		Permitted Facilities

- Plant Location

The legal description of the site is the Northeast (NE) quarter of Section 1, Township 20 North, Range 3 East in Cascade County, Montana. The renewable fuels plant sits on the site previously occupied by the Montana Calumet Refinery (CMR).  A map of the site including the proposed changes is included in the Environmental Assessment accompanying this permit. The current permit action incorporates equipment used by CMR into the renewable fuels operation with the addition of some new infrastructure all occurring at the existing MRL/CMR industrial site.

- Current Permit Action

On June 25, 2026, the Montana Department of Environmental Quality - Air Quality Bureau (DEQ) received an application for modification of MAQP #5263-03. The proposed project is identified as the Revised Project, and it would revisit portions of permitted equipment in MAQP #5263-03 identified as the MaxSAF project.

The Revised MaxSAF Project would incorporate certain Calumet Montana Refinery assets into the MRL operations for renewable fuels production. The project would slightly increase MRL’s renewable fuel production capacity from 16,140 barrels per day (bpd) to 16,400 bpd and enable a higher production ratio of renewable kerosene and Sustainable Aviation Fuel (SAF) to Renewable Diesel (RD) to a ratio of approximately 80 to 20. The portions of MAQP #5263-03 that are again included and effectively re-permitted include the Water Conservation Unit (WCU) associated with the existing Pretreatment Unit (PTU), a new WCU wastewater pre-treatment system, and a new wastewater storage tank T-4202. A new #5 Hydrogen Plant with a new reformer heater (H-5801) would also be re-permitted but with a lower 178 MMBtu/hr design rating. There also would be new pipelines and fugitive components associated with the proposed new equipment and CMR incorporated equipment. The application also requests the incorporation of startup, shutdown and maintenance (SSM) NOx permit limits associated with existing heaters H-4101, H-4102, H-3815A/B, and H-4601.

The equipment processes proposed to be incorporated from CMR into MRL include the following equipment.

- Isomerization and Hydrogen treating units

- A portion of the existing CMR Fluid Catalytic Cracking (FCC) and Alkylation Units

- Naphtha Splitter

- Hydrogen Plant #2

- Storage Tanks #47, #124, #125 and #150

- Numerous propane and butane storage tanks including TK-2, TK-3, TK-4, TK-5, TK-14, and TK-15

Associated with the above processes, the following CMR-specific heaters, preheaters and reboilers would be incorporated into MRL’s operations.

- H-2815 #2 H2 Plant Reformer Heater

- H-0302 FCC Preheater

- H-0405 Naphtha Splitter Reboiler

- H-1501 DIB Reboiler Heater

- H-1701 HTU Heater

Additionally, the application re-requests changes that are administrative in nature, unrelated to the Revised MaxSAF™ project and were previously incorporated into MAQP #5263-03.  Specifically, MRL requested removal of Consent Decree (CD) (CIV-no 01-142LH) conditions and plantwide umbrella limits that were originally specific to the CMR-Petroleum Refinery. It has since been determined that, although the CMR-Petroleum Refinery is considered the same source as MRL for Title V purposes, for Prevention of Significant Deterioration (PSD) purposes they are considered separate sources; and PSD limits for Calumet are not applicable to MRL.

Section II:	Conditions and Limitations

- Emission Limitations

- RFU Combined Feed Heater (H-4101)

- NOx emissions shall not exceed 0.035 lb/MMBtu (Higher Heating Value) (HHV) on a 30-day rolling average basis during steady state operation using ultra-low NOx burners (ULNBs) and monitored via CEMS including an O2 analyzer and NOx analyzer. Steady state operation is defined as operation not included in startup, shutdown and maintenance (SSM) periods as defined in Section IV (ARM 17.8.752 and ARM 17.8.749).

- NOx emissions during SSM periods shall not exceed 2.10 lb/hr as averaged over the duration of the SSM period (ARM 17.8.752).

- MRL shall use good combustion practices and an oxygen monitoring system to control CO emissions which may not exceed 0.055 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- PM (filterable) emissions shall not exceed 0.00051 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- PM10 (filterable plus condensable) emissions shall not exceed 0.00051 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- PM2.5 (filterable plus condensable) emissions shall not exceed 0.00042 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize volatile organic compounds (VOCs) (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-4101 shall not exceed 54 MMBtu/hr (HHV) (ARM 17.8.752 and ARM 17.8.749).

- MRL shall conduct the work practice standards for minimizing CO required under 40 CFR 63 Subpart DDDDD (40 CFR 63 Subpart DDDDD, ARM 17.8.749 and ARM 17.8.342).

- H-4101 shall only combust natural gas and RFU off-gas (ARM 17.8.749).

- H-4101 shall not combust RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust RFU off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.749.)

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- MRL is prohibited from burning liquid fossil fuels in H-4101 with a sulfur content greater than 0.05% by weight (ARM 17.8.749).

- Hydrogen Plant #3 - Reformer Heaters (H-3815A and H-3815B)

- The annual average firing rate of each heater (H-3815A and H-3815B) shall not exceed 67.0 MMBtu/hr (HHV) (ARM 17.8.749).

- NOx emissions from each heater shall be controlled by an ULNB and the combined NOx emissions from the two heaters shall not exceed 0.051 lb/MMBtu (HHV) on a 30-day rolling average basis during steady state operation and monitored via CEMS including an O2 analyzer and NOx analyzer. Steady state operation is defined as operation not included in startup, shutdown and maintenance (SSM) periods as defined in Section IV (ARM 17.8.752 and ARM 17.8.749).

- NOx emissions during SSM periods shall not exceed 7.24 lb/hr as averaged over the duration of the SSM period for the combined stack emissions (ARM 17.8.752).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low sulfur fuels (ARM 17.8.752 and ARM 17.8.749):

- PM (filterable) emissions shall not exceed 0.00051 lb/MMBtu (HHV) on a 1-hour average.

- PM10 (filterable plus condensable) emissions shall not exceed 0.00051 lb/MMBtu (HHV) on a 1-hour average.

- PM2.5 (filterable plus condensable) emissions shall not exceed 0.00042 lb/MMBtu (HHV) on a 1-hour average.

- MRL shall control CO emissions using good combustion practices and CO emissions shall not exceed 0.03 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- H-3815A and H-3815B shall only combust natural gas, or PSA off-gas, which are inherently low sulfur fuels (ARM 17.8.749).

- MRL is prohibited from burning liquid fossil fuels in H-3815A and H-3815B with a sulfur content greater than 0.05% by weight (ARM 17.8.749).

- MRL shall control VOC emissions using good combustion practices and VOC emissions shall not exceed 0.004 lb/MMBtu on the average of three 1-hr runs (HHV) (ARM 17.8.749 and ARM 17.8.752).

- Hydrogen Plant #4 (H-4601- Formerly identified as H-4801 in MAQP versions prior to #5263-03). MRL shall comply with the following requirements:

- NOx emissions shall be controlled by an ULNB and shall not exceed 0.04 lb/MMBtu (HHV) on a 30-day rolling average basis during steady state operation and monitored via CEMS including an O2 analyzer and NOx analyzer. Steady state operation is defined as operation not included in startup, shutdown and maintenance (SSM) periods as defined in Section IV (ARM 17.8.752 and ARM 17.8.749).

- NOx emissions during SSM periods shall not exceed 9.37 lb/hr as averaged over the duration of the SSM period (ARM 17.8.752).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.03 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- H-4601 shall not combust PSA off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust PSA off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- H-4601 shall not combust RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust RFU off-gas in fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.749 and ARM 17.8.752).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-4601 shall not exceed 213 MMBtu/hr (HHV) (ARM 17.8.749).

- MRL shall comply with 40 CFR 63 Subpart DDDDD which requires the process heater to undergo a tune-up every five years, as specified in 40 CFR 63. 7540 (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-4601 shall only combust natural gas, PSA off-gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- MRL shall control VOC emissions using good combustion practices and VOC emissions shall not exceed 0.004 lb/MMBtu (HHV) on the average of three 1-hr runs (ARM 17.8.749 and ARM 17.8.752).

- Tanks (#29, #47, #116, #124, #125, #128, #150, #301, #302, #303, #304, #305, #306, #307, #308, #0801, #4201, and #4202)

- MRL shall control VOC emissions from Tanks #29, #47, #116, #125, #128, #150, #301, #302, #303, #305, #306, #307, #308, and #0801 by equipping each tank with a fixed roof and submerged fill design (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control VOC emissions from Tank #304 and Tank #124 by using  an external floating roof (EFR) (ARM 17.8.752, 40 CFR 60, Subpart Kc, ARM 17.8.340,and ARM 17.8.749

- MRL shall control VOC emissions from Tanks #4201 and #4202 by equipping it with a carbon adsorption device (ARM 17.8.749 and ARM 17.8.752).

- Tanks #301, #302 and #303 shall only be used to store renewable feed or an equivalent material with equal or lower vapor pressure (ARM 17.8.749).

- Tank #304 and Tank #124 shall only be used to store light renewable naphtha or an equivalent material with equal or lower vapor pressure (ARM 17.8.749 and ARM 17.8.752).

- Tank #305 shall only be used to store renewable kerosene or SAF or an equivalent material with equal or lower vapor pressure (ARM 17.8.749).

- Tanks (#29, #47, #116, #125, #128, #150, #306, #307, and #308) shall only be used to store renewable kerosene or SAF or an equivalent material with equal or lower vapor pressure (ARM 17.8.749 and ARM 17.8.752).

- Tank #0801 shall only be used to store conventional diesel or an equivalent material with equal or lower vapor pressure (ARM 17.8.749).

- Tanks #4201and #4202 shall only be used to store wastewater produced by the PTU and/or the Water Conservation Unit (ARM 17.8.749).

- Hot Oil Expansion Tanks (D-4203 and D-4204)

MRL shall utilize proper equipment design and good operating practices to minimize VOCs from the Hot Oil Expansion Tanks (D-4203 and D-4204) (ARM 17.8.752 and ARM 17.8.749).

- PTU Blowdown Drum (D-4208)

MRL shall utilize carbon adsorption for VOC control on the PTU Blowdown Drum (D-4208) (ARM 17.8.749 and ARM 17.8.752).

- Tank #112 shall only be used to store renewable feed or RFU slop oil or an equivalent material with equal or lower vapor pressure (ARM 17.8.749).

- Tanks #50 and #102 shall each be equipped with a fixed roof (ARM 17.8.752).

- MRL shall utilize equipment design and Leak Detection and Repair (LDAR) practices to control VOCs from the RFU, Hydrogen Plant #5, Storage Tanks, Water Conservation Unit, PTU piping fugitive components, PTU Wastewater Pretreatment System, WCU Wastewater Pretreatment System,  and Revised MaxSAF™ piping components (ARM 17.8.752 and ARM 17.8.749).

- Revised MaxSAF piping fugitive components “in VOC service” shall comply with the equipment leak provisions found in 40 CFR 60.482-1a through 60.482-10a. Pursuant to NESHAP Subpart FFFF, the RFU piping fugitive components “in organic HAP service” shall comply with the new source equipment leak provisions found in 40 CFR 63.2480 (ARM 17.8.749).

- Revised MaxSAF piping fugitive components “in VOC service” shall comply with the equipment leak provisions found in 40 CFR60.482-1a through 60.482-10a (ARM 17.8.749)

- MRL shall follow the applicable requirements under 40 CFR 63, Subpart FFFF for all existing and new tanks depending upon whether each specific tank is in Group 1 or Group 2 (ARM 17.8.749, ARM 17.8.342 and 40 CFR 63, Subpart FFFF).

- MRL shall comply with the monitoring requirements of 40 CFR 63.2455 for each applicable RFU Group 2 continuous process vent (40 CFR 63, Subpart FFFF, ARM 17.8.342 and ARM 17.8.749).

- OGI-LDAR Camera Monitoring

- Within ninety (90) days after MAQP #5263-04 is final, MRL shall prepare and submit to DEQ, for review and approval, an Optical Gas Imaging (OGI) Monitoring Plan as a supplement to MRL’s existing Leak Detection and Repair (LDAR) program. The plan shall describe the monitoring practices, leak identification and confirmation methods, recordkeeping requirements, and reporting procedures that the MRL will use to implement the facility’s OGI-based leak detection and repair program.  Upon approval by DEQ, MRL shall implement and maintain the OGI-LDAR Monitoring Plan and conduct OGI monitoring activities in accordance with the approved supplemental plan.  MRL may revise the OGI-LDAR Monitoring Plan as necessary to improve program implementation, provided that such revisions do not reduce the effectiveness of the monitoring program. Significant revisions shall be submitted to DEQ for review and approval prior to implementation (ARM 17.8.749).

- If the OGI Monitoring Plan cannot be prepared and submitted within the required time frame due to circumstances beyond the MRL’s control, MR:L may extend the deadline by an additional ninety (90) days by notifying DEQ. This extension notification does not require certification by a responsible official (ARM 17.8.749).

- Following the first full quarter after approval of the OGI-LDAR Monitoring Plan, MRL shall have implemented the monitoring program per the approved plan (ARM 17.8.749).

- Reporting of LDAR compliance data shall be submitted with MRL’s semiannual State BACT GGGa report, due on January 31 and July 31 of each year. The report shall include a summary of all leaks identified through OGI monitoring and confirmed through follow-up evaluation or Method 21 monitoring, as well as a summary identifying the months in which each process unit was monitored using OGI (ARM 17.8.749).

- MRL shall not cause or authorize emissions to be discharged into the outdoor atmosphere from any sources installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes (ARM 17.8.304).

- MRL shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter (ARM 17.8.308).

- MRL shall treat all unpaved portions of the access roads with water and/or chemical dust suppressant as necessary to maintain compliance with the reasonable precautions limitation in Section II.A.16 (ARM 17.8.749).

- RFU Fractionator Feed Heater (H-4102)

- NOx emissions shall not exceed 0.04 lb/MMBtu (HHV) on a 1-hour average during steady state operation using ULNBs. Steady state operation is defined as operation not included in startup, shutdown and maintenance (SSM) periods as defined in Section IV (ARM 17.8.752 and ARM 17.8.749).

- NOx emissions during SSM periods shall not exceed 1.67 lb/hr as averaged over the duration of the SSM period (ARM 17.8.752).

- MRL shall use good combustion practices and an oxygen monitoring system to control CO emissions which may not exceed 0.055 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- PM (filterable) emissions shall not exceed 0.00051 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- PM10 (filterable plus condensable) emissions shall not exceed 0.00051 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- PM2.5 (filterable plus condensable) emissions shall not exceed 0.00042 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-4102 shall not exceed 38 MMBtu/hr (HHV) (ARM 17.8.749).

- MRL shall conduct the work practice standards for minimizing CO and VOCs required under 40 CFR 63 Subpart DDDDD (40 CFR 63 Subpart DDDDD, ARM 17.8.749 and ARM 17.8.342).

- H-4102 shall only combust pipeline quality natural gas and RFU off-gas (ARM 17.8.749).

- H-4102 shall not combust RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust RFU off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.749 and ARM 17.8.752).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- Hot Oil Heater (H-4201)

- NOx emissions shall not exceed 0.02 lb/MMBtu (HHV) on a 1-hour average using ULNBs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall use good combustion practices and an oxygen system to control CO emissions which may not exceed 0.04	 lb/MMBtu (HHV) on a 1-hour average (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-4201 shall not exceed 38 MMBtu/hr (HHV) (ARM 17.8.752 and ARM 17.8.749).

- MRL shall conduct the work practice standards for minimizing CO and VOCs required under 40 CFR 63 Subpart DDDDD (40 CFR 63 Subpart DDDDD, ARM 17.8.749 and ARM 17.8.342).

- H-4201 shall only combust pipeline quality natural gas which is inherently low in sulfur (ARM 17.8.749 and Arm 17.8.752).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304)

- Railcar loading of renewable kerosene, renewable diesel, SAF and blended SAF shall utilize submerged fill loading (ARM 17.8.749 and ARM 17.8.752).

- Railcar loading of renewable naphtha shall utilize an existing vapor combustion unit maintained by Calumet Montana Refining (ARM 17.8.752).

- Railcar loading of renewable naphtha from Tank #304 must comply with 40 CFR 60 Subpart Kc (ARM 17.8.749, ARM 17.8.340 and 40 CFR 60 Subpart Kc).

- Truck loading and railcar loading of PTU wastewater shall utilize carbon adsorption to minimize VOC releases (ARM 17.8.749 and ARM 17.8.752).

- New PTU Wastewater Pre-treatment System and New WCU Wastewater Pre-treatment System shall minimize VOC emissions through proper design and operation (ARM 17.8.752).

- The new RFU Stripped Sour Water Recycling process shall minimize VOC emissions through proper design and operation (ARM 1.8.752).

- Truck loading of the Heavy Fractions Water from the new Water Conservation Unit shall utilize submerged fill loading (ARM 17.8.752).

- Hydrogen Plant #5 Reformer Heater (H-5801). MRL shall comply with the following requirements:

- NOx emissions shall be controlled by an ULNB, and shall not exceed 0.04 lb/MMBtu (HHV) on a 30-day rolling average basis during steady state operation and monitored via CEMS including an O2 analyzer and NOx analyzer. Steady state operation is defined as operation not included in startup, shutdown and maintenance (SSM) periods as defined in Section IV (ARM 17.8.752 and ARM 17.8.749).

- NOx emissions shall not exceed 7.83 lb/hr (HHV) as measured over the duration of the SSM period (ARM 17.8.752).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.03 lb/MMBtu (HHV) on an average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low sulfur fuels (ARM 17.8.752 and ARM 17.8.749):

  - PM (filterable) emissions shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM10 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM2.5 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

- H-5801 shall not combust PSA off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust PSA off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- H-5801 shall not combust RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust RFU off-gas in fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.749 and ARM 17.8.752).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- VOC emissions shall not exceed 0.004 lb/MMBtu (HHV) on the average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-5801 shall not exceed 178 MMBtu/hr (HHV) (ARM 17.8.749).

- MRL shall utilize the work practice standards associated with 40 CFR 63 Subpart DDDDD  as a demonstration of utilizing good combustion practices- as specified in 40 CFR 63.7540(A(10)i, ii, iv and v (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-5801 shall only combust natural gas, PSA off-gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- H-5801 shall not exceed 0.24 lb/MMBTU of PM emissions (HHV) (ARM 17.8.309 and ARM 17.8.749).

- #2 Hydrogen Plant Reformer Heater H-2815

- NOx emissions shall be controlled by an ULNB, and shall not exceed 0.035 lb/MMBtu (HHV) on a 30-day rolling average basis during steady state operation and monitored via CEMS including an O2 analyzer and NOx analyzer. Steady state operation is defined as operation not included in startup, shutdown and maintenance (SSM) periods as defined in Section IV (ARM 17.8.752 and ARM 17.8.749).

- NOx emissions shall not exceed 3.08 lb/hr (HHV) as measured over the duration of the SSM period (ARM 17.8.752).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.03 lb/MMBtu (HHV) on an average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low sulfur fuels (ARM 17.8.752 and ARM 17.8.749):

  - PM (filterable) emissions shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM10 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM2.5 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

- H-2815 shall not combust PSA off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust PSA off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- H-2815 shall not combust RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust RFU off-gas in fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.749 and ARM 17.8.752).

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S) (ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- VOC emissions shall not exceed 0.004 lb/MMBtu (HHV) on the average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-2815 shall not exceed 80 MMBtu/hr (HHV) (ARM 17.8.749).

- MRL shall utilize the work practice standards associated with 40 CFR 63 Subpart DDDDD  as a demonstration of utilizing good combustion practices- as specified in 40 CFR 63.7540(A(10)i, ii, iv and v (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-2815 shall only combust natural gas, PSA off-gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- H-2815 shall not exceed 0.24 lb/MMBTU of PM emissions (HHV) (ARM 17.8.309 and ARM 17.8.749).

- FCC Preheater H-0302

- NOx emissions shall use good combustion practices and shall not exceed 0.10 lb/MMBtu (HHV) on an average of three 1-hr runs during steady state operation (ARM 17.8.752 and ARM 17.8.749).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.08 lb/MMBtu (HHV) on an average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices and use of low ash content fuels to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low ash content fuels (ARM 17.8.752 and ARM 17.8.749):

  - PM (filterable) emissions shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM10 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs

  - PM2.5 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

- H-0302 shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- VOC emissions shall not exceed 0.0054 lb/MMBtu (HHV) on the average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize the work practice standards associated with 40 CFR 63 Subpart DDDDD  as a demonstration of utilizing good combustion practices- as specified in 40 CFR 63.7540(A(10) i, ii, iv, and v (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-0302 shall only combust natural gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- The annual average firing rate of H-0302 shall not exceed 8.9 MMBtu/hr (HHV) (ARM 17.8.749).

- Naphtha Splitter Reboiler H-0405

- NOx emissions shall use good combustion practices and shall not exceed 0.035 lb/MMBtu (HHV) on an average of three 1-hr runs during steady state operation (ARM 17.8.752 and ARM 17.8.749).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.04 lb/MMBtu (HHV) on an average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low sulfur fuels (ARM 17.8.752 and ARM 17.8.749):

  - PM (filterable) emissions shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM10 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM2.5 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

- H-0405 shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- VOC emissions shall not exceed 0.0054 lb/MMBtu (HHV) on the average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize the work practice standards associated with 40 CFR 63 Subpart DDDDD  as a demonstration of utilizing good combustion practices- as specified in 40 CFR 63.7540(A(10)i, ii, iii, and iv (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-0405 shall only combust natural gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- The annual average firing rate of H-0405 shall not exceed 9.9 MMBtu/hr (HHV) (ARM 17.8.749).

- Deisobutanizer (DIB) Reboiler Heater H-1501

- NOx emissions shall be use good combustion practices and shall not exceed 0.10 lb/MMBtu (HHV) on an average of three 1-hr runs during steady state operation (ARM 17.8.752 and ARM 17.8.749).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.08 lb/MMBtu (HHV) on an average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low sulfur fuels (ARM 17.8.752 and ARM 17.8.749):

  - PM (filterable) emissions shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM10 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM2.5 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

- H-1501 shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- VOC emissions shall not exceed 0.0054 lb/MMBtu (HHV) on the average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- The annual average firing rate of H-1501 shall not exceed 28 MMBtu/hr (HHV) (ARM 17.8.749).

- MRL shall utilize the work practice standards associated with 40 CFR 63 Subpart DDDDD  as a demonstration of utilizing good combustion practices- as specified in 40 CFR 63.7540(A(10)i, and ii (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-1501 shall only combust natural gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- HTU Heater H-1701

- NOx emissions shall be use low NOx burners (LNB), good combustion practices and shall not exceed 0.07 lb/MMBtu (HHV) on an average of three 1-hr runs during steady state operation (ARM 17.8.752 and ARM 17.8.749).

- MRL shall use good combustion practices and a continuous oxygen monitoring system to control CO emissions which may not exceed 0.08 lb/MMBtu (HHV) on an average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize PM (ARM 17.8.752 and ARM 17.8.749).

- MRL shall control PM (filterable), PM10 (filterable plus condensable) and PM2.5 (filterable plus condensable) emissions from each heater by utilizing good combustion practices and only combusting low sulfur fuels (ARM 17.8.752 and ARM 17.8.749):

  - PM (filterable) emissions shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM10 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

  - PM2.5 (filterable plus condensable) emissions shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three-1-hour runs.

- H-1701 shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 30 ppmv. Additionally, the heater shall not combust natural gas and RFU off-gas fuel containing H2S in excess of 10 ppmv on an annual average basis (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize an oxygen monitoring system and good combustion practices to minimize VOCs (ARM 17.8.752 and ARM 17.8.749).

- VOC emissions shall not exceed 0.0054 lb/MMBtu (HHV) on the average of three 1-hour runs (ARM 17.8.752 and ARM 17.8.749).

- MRL shall utilize the work practice standards associated with 40 CFR 63 Subpart DDDDD  as a demonstration of utilizing good combustion practices- as specified in 40 CFR 63.7540(A(10)i, ii, iv and v (40 CFR 63, Subpart DDDDD, ARM 17.8.342 and ARM 17.8.749).

- H-1701 shall only combust natural gas and RFU off-gas (ARM 17.8.749).

- Opacity shall not exceed 20% averaged over any 6 consecutive minutes (ARM 17.8.304).

- The annual average firing rate of H-1701 shall not exceed 22.5 MMBtu/hr (HHV) (ARM 17.8.749).

- Testing Requirements

- The RFU Combined Feed Heater (H-4101) shall be tested for CO and NOx concurrently and the results submitted to the Department in order to demonstrate compliance with the emission limits contained in Section II.A.1. The initial testing shall occur within 180 days of startup of the heater after it is transferred from Calumet Montana Refining, LLC (CMR) to MRL. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by the Department. Annual NOx CEMS RATA, and once every three years from date of last test, concurrent NOx and CO source testing. (ARM 17.8.105 and ARM 17.8.106).

- The combined emissions from Hydrogen Plant #3 Reformer Heaters (H-3815A and H-3815B) shall be tested in the common stack for CO and NOx concurrently and the results submitted to the Department in order to demonstrate compliance with the emission limits contained in Section II.A.2. The initial testing shall occur within 180 days of startup of the heaters after they are transferred from CMR to MRL. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by the Department (ARM 17.8.105 and ARM 17.8.106).

- The Hydrogen Plant #4 Reformer Heater (H-4601) shall be tested for CO and NOx concurrently and the results submitted to the Department in order to demonstrate compliance with the emission limits contained in Section II.A.3. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by the Department. Annual NOx CEMS RATA, and once every three years from date of last test, concurrent NOx and CO source testing (ARM 17.8.105 and ARM 17.8.106).

- The RFU Fractionator Feed Heater (H-4102) shall be tested for CO and NOx concurrently and the results submitted to the Department in order to demonstrate compliance with the emission limits contained in Section II.A 16.a. The initial testing shall occur within 180 days of startup of the heater after it is transferred from CMR to MRL. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by the Department. Once every three years from date of last test, concurrent NOx and CO testing (ARM 17.8.105 and ARM 17.8.106).

- The Hot Oil Heater (H-4201) shall be tested for CO and NOx concurrently and the results submitted to the Department in order to demonstrate compliance with the emission limits contained in Section II.A.17.a. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by the Department (ARM 17.8.105 and ARM 17.8.106).

- MRL shall sample and analyze the concentration (dry basis) of H2S in the Hydrogen Plant #4 PSA off-gas fuel at least once per week, in order to demonstrate compliance with the limit in Section II.A.3.e (ARM 17.8.749).

- MRL shall sample and analyze the concentration (dry basis) of H2S in the RFU off-gas fuel at least once per month in order to demonstrate compliance with the limit in Section II.A.1.k, II.A.3.e, and II.A.17.k (ARM 17.8.749).

- The NOx and O2 CEMS on the RFU Combined Feed Heater (H-4101), Hydrogen Plant #3 Reformer Heaters (H-31815A/H-3815B), and Hydrogen Plant #4 Reformer Heater (H-4601) shall comply with 40 CFR 60.13- 60.19 Subpart A—General Provisions and 40 CFR 60 Appendices B and F (ARM 17.8.749).

- The Hydrogen Plant #5 Reformer Heater (H-5801) shall be tested for CO and NOx concurrently and the results submitted to DEQ in order to demonstrate compliance with the emission limits contained in Section II.A.25. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by DEQ. H-5801 shall be tested every three years from the date of the last source test, or according to another testing/monitoring schedule as may be approved by DEQ, for NOx and CO, concurrently, and the results submitted to DEQ in order to demonstrate compliance with the NOx and CO emission limits contained in Section II.A.25 depending upon fuel. The NOx analyzer shall undergo an annual RATA (ARM 17.8.105, ARM 17.8.106 and ARM 17.8.749).

- The Hydrogen Plant #5 Reformer Heater (H-5801) shall be tested for PM PM10/PM2.5 emissions in order to demonstrate compliance with the emission limits contained in Section II.A.25. The initial testing shall occur within 180 days of startup of the heater based on EPA Reference Methods 5 or 201a and 202 (ARM 17.8.105, ARM 17.8.106 and 17.8.749).

- The FCC Feed Heater H-0302 shall be tested for CO and NOx concurrently and the results submitted to DEQ in order to demonstrate compliance with the emission limits contained in Section II.A.27. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by DEQ (ARM 17.8.105, ARM 17.8.106 and ARM 17.8.749).

- The FCC Feed Heater H-0302 shall be tested for PM PM10/PM2.5 emissions in order to demonstrate compliance with the emission limits contained in Section II.A.27. The initial testing shall occur within 180 days of startup of the heater based on EPA Reference Methods 5 or 201a and 202 (ARM 17.8.105, ARM 17.8.106 and 17.8.749).

- The Naphtha Splitter Reboiler H-0405 shall be tested for CO and NOx concurrently and the results submitted to DEQ in order to demonstrate compliance with the emission limits contained in Section II.A.28. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by DEQ. (ARM 17.8.105, ARM 17.8.106 and ARM 17.8.749).

- The Naphtha Splitter Reboiler H-0405 shall be tested for PM PM10/PM2.5 emissions in order to demonstrate compliance with the emission limits contained in Section II.A.28. The initial testing shall occur within 180 days of startup of the heater based on EPA Reference Methods 5 or 201a and 202 (ARM 17.8.105, ARM 17.8.106 and 17.8.749).

- The Deisobutanizer Reboiler Heater H-1501 shall be tested for CO and NOx concurrently and the results submitted to DEQ in order to demonstrate compliance with the emission limits contained in Section II.A.29. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by DEQ.. (ARM 17.8.105, ARM 17.8.106 and ARM 17.8.749).

- The Deisobutanizer Reboiler Heater H-1501 shall be tested for PM PM10/PM2.5 emissions in order to demonstrate compliance with the emission limits contained in Section II.A.29. The initial testing shall occur within 180 days of startup of the heater based on EPA Reference Methods 5 or 201a and 202 (ARM 17.8.105, ARM 17.8.106 and 17.8.749).

- The HTU Heater H-1701 shall be tested for CO and NOx concurrently and the results submitted to DEQ in order to demonstrate compliance with the emission limits contained in Section II.A30. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by DEQ. (ARM 17.8.105, ARM 17.8.106 and ARM 17.8.749).

- The HTU Heater H-1701 shall be tested for PM PM10/PM2.5 emissions in order to demonstrate compliance with the emission limits contained in Section II.A.30. The initial testing shall occur within 180 days of startup of the heater based on EPA Reference Methods 5 or 201a and 202 (ARM 17.8.105, ARM 17.8.106 and 17.8.749).

- ‘The Hydrogen Plant #2 Reformer Heater H-2815 shall be tested for CO and NOx concurrently and the results submitted to DEQ in order to demonstrate compliance with the emission limits contained in Section II.A.26. The initial testing shall occur within 180 days of startup of the heater. Test procedures shall use EPA Reference Methods 10 and 7E or equivalent, as approved by DEQ. H-5801 shall be tested every three years from the date of the last source test, or according to another testing/monitoring schedule as may be approved by DEQ, for NOx and CO, concurrently, and the results submitted to DEQ in order to demonstrate compliance with the NOx and CO emission limits contained in Section II.A.26 depending upon fuel. The NOx analyzer shall undergo an annual RATA (ARM 17.8.105, ARM 17.8.106 and ARM 17.8.749).

- The Hydrogen Plant #2 Reformer Heater H-2815 shall be tested for PM PM10/PM2.5 emissions in order to demonstrate compliance with the emission limits contained in Section II.A.26. The initial testing shall occur within 180 days of startup of the heater based on EPA Reference Methods 5 or 201a and 202 (ARM 17.8.105, ARM 17.8.106 and 17.8.749).

- All compliance source tests shall conform to the requirements of the Montana Source Test Protocol and Procedures Manual (ARM 17.8.106).

- DEQ may require further testing (ARM 17.8.105).

- Operational Reporting Requirements

- MRL shall supply DEQ with annual production information for all emission points, as required by DEQ in the annual emission inventory request.  The request will include, but is not limited to, all sources of emissions identified in the emission inventory contained in the permit analysis.

Production information shall be gathered on a calendar-year basis and submitted to DEQ by the date required in the emission inventory request.  Information shall be in the units required by DEQ.  This information may be used to calculate operating fees, based on actual emissions from the facility, and/or to verify compliance with permit limitations (ARM 17.8.505).

- MRL shall document, by month, the total MMBtu’s combusted for each of the heaters (RFU Combined Feed Heater (H-4101), Hydrogen Plant #3 Reformer Heaters (H-3815A and H-3815B), Hydrogen Plant #4 Reformer Heater (H-4601), RFU Fractionator Feed Heater (H-4102), and Hot Oil Heater (H-4201), H-5801,  H-0302, H-0405, H-1501, H-1701, and H-2815, and apply the appropriate emission factors on a lb/MMBtu basis to calculate the monthly emissions.  MRL should total MMBtu’s by whether each heater is in normal operation or whether it is in an SSM mode, if SSM applies to the heater. The monthly emissions information for the calendar year shall be submitted annually DEQ along with the annual emission inventory (ARM 17.8.749).

- MRL shall document for each of the heaters (RFU Combined Feed Heater (H-4101), Hydrogen Plant #3 Reformer Heaters (H-3815A and H-3815B), Hydrogen Plant #4 Reformer Heater (H-4601), RFU Fractionator Feed Heater (H-4102), H-5801, by month the total hours that each heater is effectively operating in startup, shutdown or maintenance mode (SSM) to allow for a comparison against the theoretical non-steady state operational time assumed to develop the emission inventory (ARM 17.8.749).

- MRL shall document for any emitting unit incorporated into MAQP #5263-04 where assets shared with CMR are discontinued from MRL service; the date of discontinuation of operation at MRL, and the date of each if those are later reconnected for MRL service. MRL shall have records available to clearly show the status of emitting unit service during a calendar year, and have those available upon request (ARM 17.8.749).

- MRL shall notify DEQ of any construction or improvement project 	conducted, pursuant to ARM 17.8.745, that would include the addition of a new emissions unit, change in control equipment, stack height, stack diameter, stack flow, stack gas temperature, source location, or fuel specifications, or would result in an increase in source capacity above its permitted operation.  The notice must be submitted to DEQ, in writing, 10 days prior to startup or use of the proposed de minimis change, or as soon as reasonably practicable in the event of an unanticipated circumstance causing the de minimis change and must include the information requested in ARM 17.8.745(l)(d) (ARM 17.8.745).

- All records compiled in accordance with this permit must be maintained by MRL as a permanent business record for at least 5 years following the date of the measurement, must be available at the plant site for inspection by DEQ and must be submitted to DEQ upon request.  These records may be stored at a location other than the plant site upon approval by DEQ (ARM 17.8.749).

- Notification

MRL shall provide DEQ with written notification of the following information within the specified time periods (ARM 17.8.749):

- Startup dates of the new Water Conservation Unit, Heavy Fractions loading, new PTU Wastewater Pretreatment Plant, new wastewater storage tank (T-4202), new WCU Pretreatment system and new RFU Stripped Source Water Recycling Process, within 15 working days of the startup date of each process.

- Startup date of new heater H-5801 within 15 working days of  startup.

- Startup dates of when heaters H-2815, H-0302, H-0405, H-1502 and H-1701 are each incorporated into MRL service, within 15 working days of startup of each heater.

SECTION III:	General Conditions

- Inspection – MRL shall allow DEQ’s representatives access to the source at all reasonable times for the purpose of making inspections or surveys, collecting samples, obtaining data, auditing any monitoring equipment such as Continuous Emission Monitoring Systems (CEMS) or Continuous Emission Rate Monitoring Systems (CERMS), or observing any monitoring or testing, and otherwise conducting all necessary functions related to this permit.

- Waiver – The permit and the terms, conditions, and matters stated herein shall be deemed accepted if MRL fails to appeal as indicated below.

- Compliance with Statutes and Regulations – Nothing in this permit shall be construed as relieving MRL of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq. (ARM 17.8.756).

- Enforcement – Violations of limitations, conditions and requirements contained herein may constitute grounds for permit revocation, penalties, or other enforcement action as specified in Section 75-2-401, et seq., MCA.

- Appeals – Any person or persons jointly or severally adversely affected by DEQ’s decision may request, within 15 days after DEQ renders its decision, upon affidavit setting forth the grounds therefor, a hearing before the Board of Environmental Review (Board).  A hearing shall be held under the provisions of the Montana Administrative Procedures Act.  The filing of a request for a hearing does not stay DEQ’s decision, unless the Board issues a stay upon receipt of a petition and a finding that a stay is appropriate under Section 75-2-211(11)(b), MCA.  The issuance of a stay on a permit by the Board postpones the effective date of DEQ’s decision until conclusion of the hearing and issuance of a final decision by the Board.  If a stay is not issued by the Board, DEQ’s decision on the application is final 16 days after DEQ’s decision is made.

- Permit Inspection – As required by ARM 17.8.755, Inspection of Permit, a copy of the air quality permit shall be made available for inspection by DEQ at the location of the source.

- Permit Fee – Pursuant to Section 75-2-220, MCA, failure to pay the annual operation fee by MRL may be grounds for revocation of this permit, as required by that section and rules adopted thereunder by the Board.

- Duration of Permit – Construction or installation must begin, or contractual obligations entered into that would constitute substantial loss within 3 years of permit issuance and proceed with due diligence until the project is complete or the permit shall expire (ARM 17.8.762).

SECTION IV:	Startup, Shutdown and Maintenance (SSM) Mode Definitions

MRL shall utilize the following descriptions to determine when the heaters are in a startup, shutdown or maintenance mode. Maintenance modes are expected to be covered by startup and shutdown criteria. All other times shall be considered part of normal, steady-state operation. These SSM limits specifically apply to NOx emission limit compliance demonstrations. (ARM 17.8.749).

- H-5801 SSM Definitions

Conditions related to SSM for H-5801 are identified as described below (ARM 17.8.749).

1.	Startup Beginning

- Startup begins when fuel combustion is initiated in the unit as verified by the   CEMs.  Burner pilots are exempt.

2.	Startup End (all the following permissives must be met)

- The minimum low heating value (LHV) of the heater is met, 142 MMBtu/hr.

- The firebox outlet O2 is <4%.

- The PSA is yielding vent gas to the burners at a steady state.

- The unit is yielding hydrogen.

- Startup ends after all 4 of the above criteria have been met for at least 30 minutes.

3.	Shutdown Beginning (all of the following permissives must be met)

- The shutdown begins when the Operator begins the planned or emergency

shutdown procedure.

4.	Shutdown End

- Shutdown ends when fuel combustion ceases in the unit as verified by the CEMS.

Burner pilots are exempt

- H-2815 SSM Definition

Conditions related to SSM for H-2815 are identified as described below (ARM 17.8.749).

- Startup Beginning

- Startup begins when fuel combustion is initiated in the unit as verified by the   CEMs.  Burner pilots are exempt.

- Startup End (all the following permissives must be met)

- The minimum low heating value (LHV) of the heater is met, 64 MMBtu/hr.

- The firebox outlet O2 is <4%.

- The PSA is yielding vent gas to the burners at a steady state.

- The unit is yielding hydrogen.

- Startup ends after all 4 of the above criteria have been met for at least 30 minutes.

- Shutdown Beginning (all of the following permissives must be met)

- The shutdown begins when the Operator begins the planned or emergency

shutdown procedure.

- Shutdown End

- Shutdown ends when fuel combustion ceases in the unit as verified by the CEMS.

Burner pilots are exempt

- H-4101 SSM Definitions

Conditions related to SSM for H-4101 are identified as described below (ARM 17.8.749).

- Startup Beginning

-	Startup begins when fuel combustion is initiated in the unit as verified by the CEMs.  Burner pilots are exempt.

- Startup End (all of the following permissives must be met)

-     The minimum low heating value (LHV) of the heater is met, 40 MMBtu/hr

-	The firebox outlet O2 is < 4%

-	The RDU feedstock heater outlet temperature is >615 F

-	Startup ends after all 3 of the above criteria have been met for at least 60 minutes

- Shutdown Beginning (all of the following permissives must be met)

-	The shutdown begins when the Operator begins the planned or emergency shutdown procedure.

- Shutdown End

-	Shutdown ends when fuel combustion ceases in the unit as verified by the CEMs. Burner pilots are exempt.

- H-4102 SSM Definitions

Conditions related to SSM for H-4102 are identified as described below (ARM 17.8.749).

1.	Startup Beginning

-	Startup begins when fuel combustion is initiated in the unit as verified by the CEMs.  Burner pilots are exempt.

2.	Startup End (all of the following permissives must be met)

-     The minimum low heating value (LHV) of the heater is met, 28 MMBtu/hr

-	The firebox outlet O2 is < 4%

-	The RDU feedstock heater outlet temperature is >615 F

-	Startup ends after all 3 of the above criteria have been met for at least 60 minutes

3.	Shutdown Beginning (all of the following permissives must be met)

-	The shutdown begins when the Operator begins the planned or emergency shutdown procedure.

4.	Shutdown End

-	Shutdown ends when fuel combustion ceases in the unit as verified by the CEMs. Burner pilots are exempt.

- H-3815A and H-3815B SSM Definitions

Conditions related to SSM for H-3815A and H-3815B are identified as described below (ARM 17.8.749).

- Startup Beginning

-	Startup begins when fuel combustion is initiated in the unit as verified by the CEMs.  Burner pilots are exempt.

- Startup End (all of the following permissives must be met)

-The minimum low heating value (LHV) is met, 108 MMBtu/hr

-	The firebox outlet O2 is <4%.

-	The PSA is yielding vent gas to the burners at a steady state.

-	The unit is yielding hydrogen

-	Startup ends after all 4 of the above criteria have been met for at least 30 minutes

- Shutdown Beginning (all the following permissives must be met)

-	The shutdown begins when the Operator begins the planned or emergency shutdown procedure.

- Shutdown End

-	Shutdown ends when fuel combustion ceases in the unit as verified by the CEMs. Burner pilots are exempt.

- H-4601 SSM Definitions

Conditions related to SSM for H-4601 are identified as described below (ARM 17.8.749).

1.	Startup Beginning

-	Startup begins when fuel combustion is initiated in the unit as verified by the CEMs.  Burner pilots are exempt.

2.	Startup End (all of the following permissives must be met)

-	The minimum low heating value (LHV) is met, 166 MMBtu/hr

-	The firebox outlet O2 is <4%.

-	The PSA is yielding vent gas to the burners at a steady state.

-	The unit is yielding hydrogen

-	Startup ends after all 4 of the above criteria have been met for at least 30 minutes

3.	Shutdown Beginning (all the following permissives must be met)

-	The shutdown begins when the Operator begins the planned or emergency shutdown procedure.

4.	Shutdown End

-	Shutdown ends when fuel combustion ceases in the unit as verified by the CEMs. Burner pilots are exempt.

Montana Air Quality Permit (MAQP) Analysis

Montana Renewables LLC.

MAQP #5263-04

I.	Introduction/Process Description

- Permitted Equipment

Pretreatment Unit (PTU) including

- Deaerator, liquid-liquid separator, and blowdown process vessels

- Liquid reactors

- Heat exchangers

- Filters and static mixers; and

- Piping and piping components (pumps, valves, flanges, connectors, etc.).

Hot Oil System including:

- Hot Oil Heater (H-4201)

- Hot Oil Expansion Tanks (D-4203 and D-4204)

PTU Wastewater Handling including:

- Tank #4201

- Truck loading facility and

- Railcar loading facility (or use of existing railcar loading infrastructure transferred from Calumet Montana Refining, LLC (CMR) to Montana Renewables, LLC (MRL).

Railcar Unloading of Renewable Feedstock

Railcar Loading of Renewable Diesel, Renewable Kerosene, and Sustainable Aviation Fuel

Equipment previously permitted under MAQP #5263-00 and changes to the original project design including other new equipment is noted below:

Hydrogen Plant #4 supplies hydrogen feedstock to the Renewable Fuels Unit (RFU)

•	Hydrogen Plant #4 Reformer Heater (H-4601)

•	Piping fugitive components and

•	Wastewater components

Previously permitted tanks storing either renewable feed or renewable fuels

•	Tank #301

•	Tank #302

•	Tank #303

•	Tank #304

•	Tank #305

MRL also operates the following existing equipment transferred from CMR

RFU Combined Feed Heater (H-4101)

Hydrogen Plant #3: (including Hydrogen Plant #3 Reformer Heaters H-3815A and H-3815B given new emitting unit numbers).

MHC Fractionator Feed Heater (H-4102) (Now RFU Fractionator Feed Heater H-4102)

Tanks

•	Tank #29

•	Tank #50

•	Tank #102

•	Tank #112

•	Tank #116

•	Tank #128 and

•	Tank #140

Associated piping, valves, pumps and supporting equipment.

The plant also shares some connectivity with flaring devices, material unloading and loading facilities, utility systems (e.g., steam and cooling water), and wastewater treatment systems owned and operated by CMR.  These are further described in the permit analysis.

Existing equipment related to Renewable Kerosene and Sustainable Aviation Fuel Production and other Design Changes.

Existing RFU side stripper for renewable kerosene production.

Piping (pumps, valves, flanges, connectors) and heat exchanger to handle and cool renewable kerosene.

Process vessels in the RFU to perform filtration, coalescence and drying of renewable kerosene.

Tanks to store renewable kerosene and sustainable aviation fuel (SAF)

- Tank #306 for storing renewable kerosene

- Tank #307 for storing renewable kerosene

- Tank #308 for storing renewable kerosene or sustainable aviation fuel

- Tank #309 for storing renewable kerosene or sustainable aviation fuel

Tank #0801 for storing conventional diesel which will be blended with renewable diesel during railcar loading operations. Tanks #802 and #803 are existing tanks (insignificant emitting units) at MRL for storage of fuel additives.

Low Pressure Boilers (Since removed)

LPB-1

LPB-2

Non-emergency Generators (Since removed)

Gen-1

Gen-2

Small Diesel Storage Tanks (4)

Under MAQP #5263-03 equipment was permitted but nothing was constructed before the application for the revised MaxSAF project was submitted. Equipment permitted under MAQP #5263-03 has been removed from this list, and if identical equipment is included in MAQP #5263-04, it is shown under MAQP #5263-04.

Under the Revised MaxSAF Project MAQP #5263-04 the following equipment is included:

New Hydrogen Plant #5

New Reformer Heater H-5801

Water Conservation Unit

New PTU Wastewater Pretreatment System

Equipment Being Incorporated from CMR not originally included in MAQP #5263-03 but in the Revised MaxSAF Project.

- Isomerization and hydrogen treating units

- A portion of the existing CMR Fluid Catalytic Cracking (FCC) and Alkylation units

- Naphtha Splitter

- Hydrogen Plant #2

- Storage Tanks #47, #124, #125 and #150

Associated with the above processes, the following specific heaters, preheaters and reboilers that are associated with the above equipment would at CMR would be incorporated into MRL’s operations.

- H-2815 #2 H2 Plant Reformer Heater

- H-0302 FCC Preheater

- H-0405 Naphtha Splitter Reboiler

- H-1501 DIB Reboiler Heater

- H-1701 HTU Heater

- Source Description

The equipment described above operates at the MRL Great Falls Renewable Fuels Plant, which is adjacent to the CMR Great Falls Refinery. MRL operates as a subsidiary to Calumet Specialty Products Partners, L.P., as does CMR. The renewable equipment operating at the site is not a petroleum refinery and the numerous regulatory requirements for petroleum refineries do not apply to any of the new equipment being incorporated operating under MAQP #5263-04.

- Permit History

MAQP #5263-00 was issued on October 26, 2021.  The proposed project allowed MRI to construct and operate a renewable diesel plant with a projected capacity of 15,000 barrels per day (bpd).  Most of the equipment used for the renewable diesel plant was transferred from the existing CMR petroleum refinery assets with additional equipment also permitted for the new facility.

MAQP #5263-01 was issued on July 7, 2022. On April 26, 2022, the DEQ received an application to modify MAQP #5263-00.  Since the initial MAQP was issued on October 26, 2021, construction has begun for the new facility, but the original design details have evolved to accommodate the latest project plan.  The application was submitted under the name Renewable Feed Flexibility Project. The primary change in the plant design entailed installing a pretreatment unit (PTU) to allow the facility to treat raw renewable materials such as fats and oils which will result in the need to handle and transfer additional wastewater from the facility.  The additional wastewater generation also required an additional storage tank as well as load-out facilities that use trucks, existing rail load-out infrastructure, or the installation of new rail load-out facilities.  Finally, kerosene and a sustainable aviation fuel were added as products produced from the renewable fuels unit.  These two new planned products also required new tanks as well as changes in the planned use of other tanks.  MRL also proposed to permit the MHC Fractionator Feed Heater (H-4102) which had earlier been planned for shutdown and will now be called the RDU Fractionator Feed Heater (H-4102). Additional process equipment is also being permitted and is described in the MAQP analysis. MAQP #5263-01 replaced MAQP #5263-00.

MAQP #5263-02

On August 31, 2023, DEQ received an application to modify MAQP #5263-01.  Since the last MAQP was issued on July 7, 2022; the overall facility design has evolved.  MRL operates one existing Renewable Diesel Unit (RDU) Combined Feed Heater and one existing RDU Fractionator Feed Heater, identified as H-4101 and H-4102 respectively, in MAQP #5263-01. The annual average firing rates of H-4101 and H-4102 are permitted not to exceed 25 one million British thermal units (MMBtu)/hour (hr) and 30 MMBtu/hr, respectively. MRL proposed to return the two heaters to the firing rates that were permitted when the heaters were part of CMR. No physical changes have been made to either heater, and H-4101 and H-4102 would be returned to their original firing rates of 54 MMBtu/hr, and 38 MMBtu/hr, respectively.

MRL also proposed to add two diesel-fired LP boilers, identified as, LPB-1 and LPB-2, which will be used for steam generation to heat rail cars that supply materials to the RDU. Each LP boiler will have a maximum heat input capacity of 2.2 MMBtu/hr. The two LP boilers will be trailer-mounted, and each trailer will be equipped with one diesel-fired non-emergency generator (Gen-1 and Gen-2). Each generator will be powered by an EPA Tier 4 certified engine with a maximum rated power capacity of 12.3 horsepower (hp).

MRL also proposed to add four small diesel fuel storage tanks to fire the two low pressure boilers and two non-emergency generators. MAQP #5263-02 replaced MAQP #5263-01

On July 15, 2025, the Montana Department of Environmental Quality - Air Quality Bureau (DEQ) received an application for modification of MAQP #5263-02. The proposed expansion would increase MRL’s combined sustainable aviation fuel (SAF) and renewable diesel (RD) production capacity from the current 16,140 barrels per day (bpd) to 24,000 bpd on an annual average, with a daily maximum of 27,000 bpd. The project is herein referred to as the “MaxSAF™ Project”.

The MaxSAF™ Project includes the addition of a renewable fuels unit (RFU) reactor, a new RFU heater, a new hydrogen plant (#5), a Water Conservation Unit associated with the existing pretreatment unit (PTU), several new storage tanks, a new rail/truck loadout for blended SAF, an on-site PTU wastewater pre-treatment system, associated piping systems, and a cogeneration plant.

For the existing heaters (H-4101, H-4102, H-3815A, H-3815B, and H-4601) and the

new heaters (H-4103 and H-5801), and Co-gen turbine, MRL also requested to set lb/hr-based oxides of nitrogen (NOx) emission limits for startup, shutdown, and maintenance (SSM) periods. Heater H-4801 was also renamed as H-4601 within this action.

The existing Hydrogen Plant #3 would be modified to allow the use of RFU off-gas as a feedstock but not as a direct fuel source to produce hydrogen. No physical changes will be made to the existing reformer heaters (H-3815A, H-3815B) of Hydrogen Plant #3.

No additional physical changes will be made to other existing permitted emitting

units. However, the maximum annual material throughputs to some units (e.g.,

tanks, loading processes, etc.) would change due to the proposed MaxSAF™ expansion, which are evaluated as non-modified units with potential emission increases.

Additionally, the application requests changes that are administrative in nature and are unrelated to the MaxSAF™ project.  Specifically, MRL requested removal of Consent Decree (CD) (CIV-no 01-142LH) conditions and plantwide umbrella limits that were originally specific to the Calumet Montana Refining-Petroleum Refinery. It has since been determined that although the Calumet Montana Refining-Petroleum Refinery is considered the same source as MRL for Title V purposes, for Prevention of Significant Deterioration (PSD) purposes, they are considered separate sources; therefore, the limits should be administratively removed from the MRL MAQP and thereafter, also from the MRL Title V Operating Permit. MAQP #5263-03 replaced MAQP #5263-02.

MRL has since changed their plans for expansion and while MAQP #5263-03 was issued, the project identified as the Revised MaxSAF Project replaces the MaxSAF Project.

- Current Permit Action

On June 25, 2026, the Montana Department of Environmental Quality - Air Quality Bureau (DEQ) received an application for modification of MAQP #5263-03. The proposed project is identified as the Revised MaxSAF Project, and it would revisit portions of permitted equipment in MAQP #5263-03 identified as the MaxSAF project.

The Revised MaxSAF Project would incorporate certain Calumet Montana Refinery assets into the MRL operations for renewable fuels production. The project would slightly increase MRL’s renewable fuel production capacity from 16,140 barrels per day (bpd) to 16,400 bpd and enable a higher production ratio of renewable kerosene and Sustainable Aviation Fuel (SAF) to Renewable Diesel (RD) to a ratio of approximately 80 to 20. The portions of MAQP #5263-03 that are again included, and effectively re-permitted include the Water Conservation Unit (WCU) associated with the existing Pretreatment Unit (PTU), a new PTU wastewater pre-treatment system and a new wastewater storage tank T-4202. A new #5 Hydrogen Plant with a new reformer heater (H-5801) would also be re-permitted but with a lower 178 MMBtu/hr design rating. There also would be new pipelines and fugitive components associated with the proposed new equipment and CMR incorporated equipment. The application also requests the incorporation of startup, shutdown and maintenance (SSM) NOx permit limits associated with existing heaters H-4101, H-4102, H-3815A/B, and H-4601.

The equipment processes proposed to be incorporated from CMR into MRL include the following equipment.

- Isomerization and Hydrogen treating units

- A portion of the existing CMR Fluid Catalytic Cracking (FCC) and Alkylation Units

- Naphtha Splitter

- Hydrogen Plant #2

- Storage Tanks #47, #124, #125 and #150

- Numerous propane and butane storage tanks including TK-2, TK-3, TK-4, TK-5, TK-14, and TK-15

- Diesel Fuel Additive Tanks #802, #803

Associated with the above processes, the following CMR-specific heaters, preheaters and reboilers would be incorporated into MRL’s operations.

- H-2815 #2 H2 Plant Reformer Heater

- H-0302 FCC Preheater

- H-0405 Naphtha Splitter Reboiler

- H-1501 DIB Reboiler Heater

- H-1701 HTU Heater

Additionally, the application re-requests changes that are administrative in nature, unrelated to the Revised MaxSAF™ project and were previously incorporated into MAQP #5263-03.  Specifically, MRL requested removal of Consent Decree (CD) (CIV-no 01-142LH) conditions and plantwide umbrella limits that were originally specific to the CMR-Petroleum Refinery. It has since been determined that, although the CMR-Petroleum Refinery is considered the same source as MRL for Title V purposes, for Prevention of Significant Deterioration (PSD) purposes they are considered separate sources; and PSD limits for Calumet are not applicable to MRL.

MAQP #5263-04 replaces MAQP #5263-03.

- Response to Public Comments

| Commenter | Draft Permit Section | Summarized Comment | DEQ Response |
| --- | --- | --- | --- |
| MRL | Current Permit Action Description | The pre-treatment system for the Water Conservation Unit was not originally proposed in MAQP #5263-03 | Modified in the Permit Action in the permit and permit analysis |
| MRL | Current Permit Description | Diesel Fuel Additive tanks #802 and #803 are existing MRL Tanks | Modified description to show as existing MRL insignificant emitting unit tanks |
| MRL | Section II.A.5 | There would be two hot oil expansion tanks, D-4203 and D-4204 | Modified to identify both tanks |
| MRL | Section II.A.25 and Section II.A.26 | These units have been removed from service, and should be deleted | Removed, and renumbered Section II.A such that all numbered items after #25, decrease in number reference by “two” as well as revised references to numbering in the Testing Section. |
| MRL | Section II.A.27 | MRL requests natural gas be added as a fuel for H-5801. | Modified as requested. This is now Section II.A.25. |
| MRL | Section II.A.28 | H-2815 is incorrectly identified as 178 MMBtu/hr. It should be 80 MMBtu/hr. | Modified as requested. This is now Section II.A.26. |
| MRL | Section II.A.28 | MRL requests natural gas be added as a fuel for H-2815. | Modified as requested. This is now Section II.A.26. |
| MRL | Section II.A.29 | MRL requests “blended” be removed from the fuel description because natural gas needed for startup of H-0302. | Modified as requested. This is now Section II.A.27. |
| MRL | Section II.A.30 | MRL requests “blended” be removed from the fuel description because natural gas needed for startup of H-0405. | Modified as requested. This is now Section II.A.28. |
| MRL | Section II.A.31 | MRL requests “blended” be removed from the fuel description because natural gas needed for startup of H-1501. | Modified as requested. This is now Section II.A.29. |
| MRL | Section II.A.32 | MRL requests “blended” be removed from the fuel description because natural gas needed for startup of H-1701. | Modified as requested. This is now Section II.A.30. |
| MRL | Permit Analysis | Identify D-4204 and Tanks #802 and #803 in summary. | Modified as requested |
| J Mack | Permit . | Please disclose expected emissions of PM2.5, PM10, NOx, VOCs, hazardous air pollutants, odors, and greenhouse gases, including emissions associated with feedstock handling, boilers or process equipment, storage tanks, truck or rail traffic, startup, shutdown, malfunction, and any flaring or emergency operations. | The emissions for the MaxSAF project are shown starting with page 168 of the Permit Analysis. All project increases for all emitting units are shown for the project. DEQ does not have authority to specifically address odors. Greenhouse Gases are discussed in the Environmental Assessment (See that separate document for specifics. Greenhouse Gases are discussed beginning on page 26). Hazardous Air Pollutant increases for this project were estimated at 5.00 tpy, with the primary HAP being n-Hexane. Once the project is constructed, total HAP emissions for the site are estimated to be 13.2 TPY. The HAP emissions have been added to the Emission Inventory Table on page 168. |
| J Mack | Permit | I also ask DEQ to evaluate cumulative industrial exposure in Cascade County rather than treating this permit as an isolated event. Great Falls and surrounding communities should not have to absorb repeated industrial decisions one at a time without a clear view of the combined air-quality burden. The analysis should identify existing sources, background air quality, transportation-related emissions, and whether sensitive populations such as children, older residents, outdoor workers, and people with asthma or heart/lung disease could face disproportionate risk. | The analysis for this permit included a cumulative modeling demonstration which incorporated not only MRL but the CMR (refinery) as well as nearby sources. This analysis begins on Page 172 of the Permit Analysis. It indicates the project would not cause or contribute to a violation of the National Ambient Air Quality Standards. Furthermore, the primary National Ambient Air Quality Standards protect sensitive populations. |

- Applicable Rules and Regulations

The following are partial explanations of some applicable rules and regulations that apply to the facility.  The complete rules are stated in the Administrative Rules of Montana (ARM) and are available, upon request, from the Department of Environmental Quality (DEQ).  Upon request, DEQ will provide references for location of complete copies of all applicable rules and regulations or copies where appropriate.

- ARM 17.8, Subchapter 1 – General Provisions, including but not limited to:

- ARM 17.8.101 Definitions.  This rule includes a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.105 Testing Requirements.  Any person or persons responsible for the emission of any air contaminant into the outdoor atmosphere shall, upon written request of DEQ, provide the facilities and necessary equipment (including instruments and sensing devices) and shall conduct tests, emission or ambient, for such periods of time as may be necessary using methods approved by DEQ.

- ARM 17.8.106 Source Testing Protocol.  The requirements of this rule apply to any emission source testing conducted by DEQ, any source or other entity as required by any rule in this chapter, or any permit or order issued pursuant to this chapter, or the provisions of the Clean Air Act of Montana, 75-2-101, et seq., Montana Code Annotated (MCA).

MRL shall comply with the requirements contained in the Montana Source Test Protocol and Procedures Manual, including, but not limited to, using the proper test methods and supplying the required reports.  A copy of the Montana Source Test Protocol and Procedures Manual is available from DEQ upon request.

- ARM 17.8.110 Malfunctions.  (2) DEQ must be notified promptly by telephone whenever a malfunction occurs that can be expected to create emissions in excess of any applicable emission limitation or to continue for a period greater than 4 hours.

- ARM 17.8.111 Circumvention.  (1) No person shall cause or permit the installation or use of any device or any means that, without resulting in reduction of the total amount of air contaminant emitted, conceals or dilutes an emission of air contaminant that would otherwise violate an air pollution control regulation.  (2) No equipment that may produce emissions shall be operated or maintained in such a manner as to create a public nuisance.

- ARM 17.8, Subchapter 2 – Ambient Air Quality, including, but not limited to the following:

1.	ARM 17.8.204 Ambient Air Monitoring

2.	ARM 17.8.210 Ambient Air Quality Standards for Sulfur Dioxide

3.	ARM 17.8.211 Ambient Air Quality Standards for Nitrogen Dioxide

4.	ARM 17.8.212 Ambient Air Quality Standards for Carbon Monoxide

5.	ARM 17.8.213 Ambient Air Quality Standard for Ozone

6.	ARM 17.8.214 Ambient Air Quality Standard for Hydrogen Sulfide

7.	ARM 17.8.220 Ambient Air Quality Standard for Settled Particulate Matter

8.	ARM 17.8.221 Ambient Air Quality Standard for Visibility

9.	ARM 17.8.222 Ambient Air Quality Standard for Lead

10.	ARM 17.8.223 Ambient Air Quality Standard for PM10

11.	ARM 17.8.230 Fluoride in Forage

MRL must maintain compliance with the applicable ambient air quality standards.

- ARM 17.8, Subchapter 3 – Emission Standards, including, but not limited to:

- ARM 17.8.304 Visible Air Contaminants.  This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes.

- ARM 17.8.308 Particulate Matter, Airborne.  (1) This rule requires an opacity limitation of less than 20% for all fugitive emission sources and that reasonable precautions be taken to control emissions of airborne particulate matter.  (2) Under this rule, MRL shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter.

- ARM 17.8.309 Particulate Matter, Fuel Burning Equipment.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter caused by the combustion of fuel in excess of the amount determined by this rule.

- ARM 17.8.310 Particulate Matter, Industrial Process.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter in excess of the amount set forth in this rule.

- ARM 17.8.316 Incinerators.  This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any incinerator, particulate matter in excess of 0.10 grains per standard cubic foot of dry flue gas, adjusted to 12% carbon dioxide and calculated as if no auxiliary fuel had been used.  Further, no person shall cause or authorize to be discharged into the outdoor atmosphere from any incinerator emissions that exhibit an opacity of 10% or greater averaged over 6 consecutive minutes.

6.	ARM 17.8.322 Sulfur Oxide Emissions--Sulfur in Fuel.  Sulfur Oxide Emissions-Sulfur in Fuel.  This rule requires that no person shall cause, allow or permit to be discharged into the atmosphere particulate matter in excess of the amount set forth in this rule.

7.	ARM 17.8.324 Hydrocarbon Emissions--Petroleum Products.  (3) No person shall load or permit the loading of gasoline into any stationary tank with a capacity of 250 gallons or more from any tank truck or trailer, except through a permanent submerged fill pipe, unless such tank is equipped with a vapor loss control device as described in (1) of this rule.

8.	ARM 17.8.340 Standard of Performance for New Stationary Sources and Emission Guidelines for Existing Sources.  This rule incorporates, by reference, 40 CFR Part 60, Standards of Performance for New Stationary Sources (NSPS). MRL is considered an NSPS affected facility under 40 CFR Part 60 (portions of the transferred and shared equipment was already subject) and is subject to the requirements of the following subparts.

- 40 CFR 60, Subpart A – General Provisions apply to all equipment or facilities subject to an NSPS Subpart as listed below:

- 40 CFR 60, Subpart DC – Standards of Performance for Small Industrial-Commercial Institutional Steam Generating Units.

- 40 CFR 60, Subpart Kb – Standards of Performance for Volatile Organic Liquid Storage Vessels (Including Petroleum Liquid Storage Vessels) for Which Construction, Reconstruction, or Modification Commenced after July 23, 1984.

- 40 CFR 60, Subpart IIII – Standards of Performance for Stationary Compression Ignition Internal Combustion Engines.

- 40 CFR 60, Subpart KKKK–Standards of Performance for Stationary Combustion Turbines.

9.	ARM 17.8.341 Emission Standards for Hazardous Air Pollutants.  This source shall comply with the standards and provisions of 40 CFR Part 61, as appropriate.

- 40 CFR 61, Subpart A – General Provisions apply to all equipment or facilities subject to a NESHAP Subpart as listed below:

- 40 CFR 61, Subpart M – National Emission Standard for Asbestos.  Any demolition occurring would fall under this subpart as applicable.

- 40 CFR 61, Subpart FF – National Emission Standard for Benzene Waste Operations.

10.	ARM 17.8.342 – Emission Standards for Hazardous Air Pollutants for Source Categories.  The source, as defined and applied in 40 CFR Part 63, shall comply with the requirements of 40 CFR Part 63, as listed below:

- 40 CFR 63, Subpart A – General Provisions apply to all equipment or facilities subject to a NESHAP Subpart as listed below:

- 40 CFR 63, Subpart FFFF – National Emission Standards for Hazardous Air Pollutants: Miscellaneous Organic Chemical Manufacturing.

- 40 CFR 63, Subpart YYYY – National Emission Standards for Hazardous Air Pollutants for Stationary Combustion Turbines

- 40 CFR 63, Subpart DDDDD – National Emission Standards for Hazardous Air Pollutants for Major Sources: Industrial, Commercial, and Institutional Boilers and Process Heaters.

- 40 CFR 63 Subpart ZZZZ – National Emission Standards for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines.

- ARM 17.8, Subchapter 4 – Stack Height and Dispersion Techniques, including, but not limited to:

- ARM 17.8.401 Definitions.  This rule includes a list of definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.402 Requirements.  MRL must demonstrate compliance with the ambient air quality standards with a stack height that does not exceed Good Engineering Practices (GEP).

- ARM 17.8, Subchapter 5 – Air Quality Permit Application, Operation, and Open Burning Fees, including, but not limited to:

- ARM 17.8.504 Air Quality Permit Application Fees.  This rule requires that an applicant submit an air quality permit application fee concurrent with the submittal of an air quality permit application.  A permit application is incomplete until the proper application fee is paid to DEQ.  MRL submitted the appropriate permit application fee for the current permit action.

- ARM 17.8.505 Air Quality Operation Fees.  An annual air quality operation fee must, as a condition of continued operation, be submitted to DEQ by each source of air contaminants holding an air quality permit (excluding an open burning permit) issued by DEQ.  The air quality operation fee is based on the actual or estimated actual amount of air pollutants emitted during the previous calendar year.

An air quality operation fee is separate and distinct from an air quality permit application fee.  The annual assessment and collection of the air quality operation fee, described above, shall take place on a calendar-year basis.  DEQ may insert into any final permit issued after the effective date of these rules, such conditions as may be necessary to require the payment of an air quality operation fee on a calendar-year basis, including provisions that prorate the required fee amount.

- ARM 17.8, Subchapter 7 – Permit, Construction, and Operation of Air Contaminant Sources, including, but not limited to:

- ARM 17.8.740 Definitions.  This rule is a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.743 Montana Air Quality Permits--When Required.  This rule requires a person to obtain an air quality permit or permit modification to construct, modify, or use any air contaminant sources that have the potential to emit (PTE) greater than 25 tons per year of any pollutant.  MRL has a PTE greater than 25 tons per year of NOx, CO and VOCs, therefore an air quality permit is required.

- ARM 17.8.744 Montana Air Quality Permits--General Exclusions.  This rule identifies the activities that are not subject to the Montana Air Quality Permit program.

- ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes.  This rule identifies the de minimis changes at permitted facilities that do not require a permit under the Montana Air Quality Permit Program.

- ARM 17.8.748 New or Modified Emitting Units--Permit Application Requirements.  (1) This rule requires that a permit application be submitted prior to installation, modification, or use of a source.  MRL submitted the required permit application for the current permit action.  (7) This rule requires that the applicant notify the public by means of legal publication in a newspaper of general circulation in the area affected by the application for a permit.  MRL submitted an affidavit of publication of public notice for July 24, 2025, in the Great Falls Tribune, as proof of compliance with the public notice requirements.

- ARM 17.8.749 Conditions for Issuance or Denial of Permit.  This rule requires that the permits issued by the Department must authorize the construction and operation of the facility or emitting unit subject to the conditions in the permit and the requirements of this subchapter.  This rule also requires that the permit must contain any conditions necessary to assure compliance with the Federal Clean Air Act (FCAA), the Clean Air Act of Montana, and rules adopted under those acts.

- ARM 17.8.752 Emission Control Requirements.  This rule requires a source to install the maximum air pollution control capability that is technically practicable and economically feasible, except that BACT shall be utilized.  The required BACT analysis is included in Section III of this permit analysis.

- ARM 17.8.755 Inspection of Permit.  This rule requires that air quality permits shall be made available for inspection by DEQ at the location of the source.

- ARM 17.8.756 Compliance with Other Requirements.  This rule states that nothing in the permit shall be construed as relieving MRL of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq.

- ARM 17.8.759 Review of Permit Applications.  This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those permit applications that do not require the preparation of an environmental impact statement.

- ARM 17.8.760 Additional Review of Permit Applications.  This rule describes the Department’s responsibilities for processing permit applications and making permit decisions on those applications that require an environmental impact statement.

- ARM 17.8.762 Duration of Permit.  An air quality permit shall be valid until revoked or modified, as provided in this subchapter, except that a permit issued prior to construction of a new or modified source may contain a condition providing that the permit will expire unless construction is commenced within the time specified in the permit, which in no event may be less than 1 year after the permit is issued.

- ARM 17.8.763 Revocation of Permit.  An air quality permit may be revoked upon written request of the permittee, or for violations of any requirement of the Clean Air Act of Montana, rules adopted under the Clean Air Act of Montana, the FCAA, rules adopted under the FCAA, or any applicable requirement contained in the Montana State Implementation Plan (SIP).

- ARM 17.8.764 Administrative Amendment to Permit.  An air quality permit may be amended for changes in any applicable rules and standards adopted by the Board of Environmental Review (Board) or changed conditions of operation at a source or stack that do not result in an increase of emissions as a result of those changed conditions.  The owner or operator of a facility may not increase the facility’s emissions beyond permit limits unless the increase meets the criteria in ARM 17.8.745 for a de minimis change not requiring a permit, or unless the owner or operator applies for and receives another permit in accordance with ARM 17.8.748, ARM 17.8.749, ARM 17.8.752, ARM 17.8.755, and ARM 17.8.756, and with all applicable requirements in ARM Title 17, Chapter 8, Subchapters 8, 9, and 10.

- ARM 17.8.765 Transfer of Permit.  This rule states that an air quality permit may be transferred from one person to another if written notice of intent to transfer, including the names of the transferor and the transferee, is sent to DEQ.

- ARM 17.8.770 Additional Requirements for Incinerators.  This rule specifies the additional information that must be submitted to DEQ for incineration facilities subject to 75-2-215, Montana Code Annotated (MCA).

- ARM 17.8, Subchapter 8 – Prevention of Significant Deterioration of Air Quality, including, but not limited to:

- ARM 17.8.801 Definitions.  This rule is a list of applicable definitions used in this subchapter.

- ARM 17.8.818 Review of Major Stationary Sources and Major Modifications--Source Applicability and Exemptions.  The requirements contained in ARM 17.8.819 through ARM 17.8.827 shall apply to any major stationary source and any major modification, with respect to each pollutant subject to regulation under the FCAA that it would emit, except as this subchapter would otherwise allow.

This facility is not a major stationary source because although the facility is a listed source its PTE is below 100 tons per year for all non-greenhouse gas pollutants.

With the PSD threshold being 100 tpy for a chemical manufacturing plant (SIC Code 2869, Industrial Organic Chemicals, Not Elsewhere Classified), following permit issuance MRL will be above the PSD threshold triggering thereby triggering the appropriate PSD analysis depending upon whether future project emission increases are determined to be significant increases or minor increases under the PSD program.

- ARM 17.8.1204 Air Quality Operating Permit Program.  (1) Title V of the FCAA amendments of 1990 requires that all sources, as defined in ARM 17.8.1204(1), obtain a Title V Operating Permit.  In reviewing and issuing MAQP #5263-04 for MRL, the following conclusions were made:

- The facility’s PTE for Carbon Monoxide (CO), Oxides of nitrogen (NOx), and volatile organic compounds (VOCs) is greater than 100 tpy.

- The facility’s PTE, in combination with the CMR Great Falls Refinery’s PTE is greater than 10 tons/year for any one HAP and greater than 25 tons/year for all HAPs.

- This source is not located in a serious PM10 nonattainment area.

- This facility is subject to NSPS 40 CFR 60, Subpart A, Subpart Dc, Subpart Kb, Subpart IIII, and Subpart KKKK.

- This facility is subject to NESHAP 40 CFR 63, Subpart A, Subpart FFFF, Subpart YYYY, Subpart DDDDD and Subpart ZZZZ.

- This source is not a Title IV affected source, or a solid waste combustion unit.

- This source is not an EPA designated Title V source.

Based on these facts, DEQ determined that MRL is subject to the Title V operating permit program. Because there is common ownership and adjacent/contiguous property, Title V applicability is assumed as long as the current ownership structure exists.

- BACT Analysis and Determination

A BACT determination is required for each new or modified source.  MRL shall install on the new or modified source the maximum air pollution control capability, which is technically practicable and economically feasible, except that BACT shall be utilized.

The BACT determination summary is presented directly below.  DEQ reviewed these methods, as well as previous BACT determinations.

A BACT determination is required for any new or modified source.  MRL shall install on the new or modified source the maximum air pollution control capability that is technologically practicable and economically feasible, except that BACT shall be utilized.

MRL provided a BACT analysis for the permitting action because the current permit action is subject to ARM 17.8.752.  The BACT analysis follows a process similar to the traditional 1990 draft New Source Review (NSR) five step BACT methodology. The analysis will be presented using the following steps for each pollutant and emitting unit.

Step 1: Identify All Available Control Technologies

Step 2: Eliminate Technically Infeasible Control Options

Step 3: Rank Remaining Control Technologies by Control Effectiveness

Step 4: Evaluate Most Effective Controls and Document Results

Step 5: Select BACT

Maximum Air Pollution Control Capability

Table III-1 lists all the emitting units by pollutant with a BACT analysis submitted for the Revised MaxSAF Project.

Table III-1	
Control Technology Evaluation: Emission Units and Associated Pollutants

| Source | PMFIL | PM10 | PM2.5 | SO2 | NOx | VOC | CO |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fuel Combustion Units |  |  |  |  |  |  |  |
| New Reformer Heater (H-5801) | X | X | X | X | X | X | X |
| CMR to MRL: Reformer Heater (H2815) | X | X | X | X | X | X | X |
| CMR to MRL: FCC Preheater (H-0302) | X | X | X | X | X | X | X |
| CMR to MRL: Naphtha Splitter Reboiler (H-0405) | X | X | X | X | X | X | X |
| CMR to MRL: DIB Reboiler Heater (H-1501) | X | X | X | X | X | X | X |
| CMR to MRL: HTU Heater (H-1701) | X | X | X | X | X | X | X |
| SSM Limits for Existing MRL Heaters (H-4101, H-4102, H-3815A/B, and H-4601) | X | X | X | X | X | X | X |
| Tanks |  |  |  |  |  |  |  |
| Existing Renewable Naphtha Storage Tank #304 with Updated Throughput |  |  |  |  |  | X |  |
| Existing Storage Tank #305 with Updated Service and Throughput |  |  |  |  |  | X |  |
| Existing Storage Tank #306 with Updated Throughput |  |  |  |  |  | X |  |
| Existing Storage Tank #307 with Updated Throughput |  |  |  |  |  | X |  |
| Existing Storage Tank #308 with Updated Throughput |  |  |  |  |  | X |  |
| Existing Storage Tank #29 with Updated Service |  |  |  |  |  | X |  |
| Existing Storage Tank #116 with Updated Service |  |  |  |  |  | X |  |
| Existing Storage Tank #128 with Updated Service |  |  |  |  |  | X |  |
| CMR to MRL: Storage Tank #47 |  |  |  |  |  | X |  |
| CMR to MRL: Storage Tank #124 |  |  |  |  |  | X |  |
| CMR to MRL: Storage Tank #125 |  |  |  |  |  | X |  |
| CMR to MRL: Storage Tank #150 |  |  |  |  |  | X |  |
| Existing PTU Blowdown Drum (D-4208) with Updated VOC Input |  |  |  |  |  | X |  |
| Existing PTU Wastewater Tank #4201 with Updated Throughput |  |  |  |  |  | X |  |
| New Wastewater Tank #4202 |  |  |  |  |  | X |  |
| Loading |  |  |  |  |  |  |  |
| Truck and Rail Loading of Renewable Diesel, Kerosene and SAF with Updated Throughputs |  |  |  |  |  | X |  |
| Rail Loading of Renewable Naphtha with Updated Throughput |  |  |  |  |  | X |  |
| New Truck Loading of Heavy Fractions from Water Conservation Unit |  |  |  |  |  | X |  |
| Others |  |  |  |  |  |  |  |
| New PTU Wastewater Treatment Plant |  |  |  |  |  | X |  |
| New WCU Wastewater Treatment Plant |  |  |  |  |  | X |  |
| New RFU Stripped Sour Water Recycling |  |  |  |  |  | X |  |

Definitions of Control Technologies

This section presents common technology descriptions that are used throughout this BACT analysis for the affected heaters under the Revised MaxSAF Project.

For Carbon Monoxide

- Good Combustion Practices

Good combustion practices for a gaseous fuel enclosed combustion device provide a properly set and controlled air-to-fuel ratio and appropriate combustion zone residence time, temperature and turbulence parameters essential to achieving low CO emission levels. Incomplete combustion of fuel hydrocarbons can occur because of improper combustion mechanisms, which may result from poor burner/combustion device design, operation and/or maintenance. However, a heater is designed and typically operated to maximize fuel combustion efficiency so that its fuel usage cost is minimized while maximizing process heating performance. Good combustion practices can be achieved by following a combustion device manufacturer’s operating procedures and guidelines, and as an example as well as complying with NESHAP Subpart DDDDD work practice standards, which require a combustion device to undergo regular tune-ups.

- Thermal Oxidation

Thermal oxidation can be used to reduce CO contained in a source’s exhaust stream by maintaining the stream at a high enough temperature in the presence of oxygen, resulting in the oxidation of CO to carbon dioxide (CO2). Thermal oxidation of a CO exhaust stream can be achieved by routing the stream to a flare, afterburner or regenerative or recuperative thermal oxidizer. The effectiveness of all thermal oxidation processes is influenced by residence time, mixing and temperature. Auxiliary fuel is typically required to achieve the temperature needed to ensure proper CO exhaust stream oxidation in a thermal oxidation device or process. The necessary amount of auxiliary fuel is dependent on the CO content of the exhaust stream, as well as the amount of hydrocarbon that may be present in the exhaust stream.

- Catalytic Oxidation

Catalytic oxidation makes use of catalysts, such as the precious metals platinum, palladium or rhodium, without the addition of any chemical reagents to reduce the temperature at which CO oxidizes to CO2. The effectiveness of catalytic oxidation is dependent on the exhaust stream temperature and the presence of potentially poisoning contaminants in the exhaust stream. The amount of catalyst volume is dependent upon the exhaust stream flow rate, CO content and temperature, as well as the desired CO removal efficiency. The catalyst will experience activity loss over time due to physical deterioration and/or chemical deactivation. Therefore, periodic testing of the catalyst is necessary to monitor its activity (i.e., oxidation promoting effectiveness) and predict its remaining life. As needed, the catalyst will require periodic replacement. Catalyst life varies from manufacturer-to manufacturer, but three to six-year windows are not uncommon.

For Oxides of Nitrogen Control

- LNBs/ULNBs (Good Combustion Practices)

LNBs/ULNBs are available in a variety of configurations and burner types and they may incorporate one or more of the following concepts of good combustion practices: lower flame temperatures, fuel rich conditions at the maximum flame temperature and decreased residence times for oxidation conditions. These burners are often designed so that fuel and air are pre-mixed prior to combustion, resulting in lower and more uniform flame temperatures. Pre-mix burners may require the aid of a blower to mix the fuel with air before combustion takes place. Additionally, an LNB/ULNB may be designed so that a portion of a combustion device’s flue gas is recycled back into the burner in order to reduce the burner’s flame temperature. However, instead of recycled flue gas, steam can also be used to reduce a burner’s flame temperature. Furthermore, LNBs/ULNBs may use staged combustion, which involves creating a fuel rich zone to start combustion and stabilize a burner’s flame, followed by a fuel lean zone to complete combustion and reduce the burner’s peak flame temperature. Installation of LNBs/ULNBs constitute combustion modifications that would fall under “good combustion practices”.

- SCR

SCR is a post-combustion treatment technology that promotes the selective catalytic chemical reduction of NOx (both nitric oxide and nitrogen dioxide) to molecular nitrogen and water. SCR technology involves the mixing of a reducing agent (aqueous or anhydrous ammonia or urea) with NOx-containing combustion gases and the resulting mixture is passed through a catalyst bed, which catalyst serves to lower the activation energy of the NOx reduction reactions. In the catalyst bed, the NOx and ammonia contained in the combustion gas-reagent mixture are adsorbed onto the SCR catalyst surface to form an activated complex and then the catalytic reduction of NOx occurs, resulting in the production of nitrogen and water from NOx. The nitrogen and water products of the SCR reaction are desorbed from the catalyst surface into the combustion exhaust gas passing through the catalyst bed. From the SCR catalyst bed, the treated combustion exhaust gas is emitted to the atmosphere. SCR systems can effectively operate at a temperature above 350°F and below 1,100°F, with a more refined temperature window dependent on the composition of the catalyst used in the SCR system.

- SNCR

SNCR is a post-combustion treatment technology that is effectively a partial SCR system. A reducing agent (aqueous or anhydrous ammonia or urea) is mixed with NOx-containing combustion gases and a portion of the NOx reacts with the reducing agent to form molecular nitrogen and water. As indicated by the name of this technology, SNCR unlike SCR does not utilize a catalyst to promote the chemical reduction of NOx. Because a catalyst is not used with SNCR, the NOx reduction reactions occur at high temperatures. SNCR typically requires thorough mixing of the reagent in the combustion chamber of an external combustion device because this technology requires at least 0.5 seconds of residence time at a temperature above 1,600°F and below 2,100°F. A combustion device equipped with SNCR technology may require multiple reagent injection locations because the optimum location (temperature profile) for reagent injection may change depending on the load at which the combustion device is operating. At temperatures below 1,600°F, the desired NOx reduction reactions will not effectively occur and much of the injected reagent will be emitted to the atmosphere along with the mostly uncontrolled NOx emissions. At temperatures above 2,100°F, the desired NOx reduction reactions will not effectively occur and the ammonia or urea reagent will begin to react with available oxygen to produce additional NOx emissions.

- NSCR

NSCR is a post-combustion treatment technology that promotes the catalytic chemical reduction of NOx (both nitric oxide and nitrogen dioxide) to molecular nitrogen and water. NSCR technology has been applied to nitric acid plants and rich burn and stoichiometric internal combustion engines to reduce NOx emissions. NSCR technology uses a reducing agent (hydrocarbon, hydrogen or CO), which can be inherently contained in the exhaust gas due to rich combustion conditions or injected into the exhaust gas, to react in the presence of a catalyst with a portion of the NOx contained in the source’s exhaust gas to generate molecular nitrogen and water. NSCR systems can effectively operate at a temperature above 725°F and below 1,200°F, with a more refined temperature window dependent on the source type and composition of the catalyst used in the NSCR system.

For Particulate Matter Control

- ESP

An ESP uses an electric field and collection plates to remove PM from a flowing gaseous stream. The PM contained in the gaseous stream is given an electric charge by passing the stream through a corona discharge. The resulting negatively charged PM is collected on grounded collection plates, which are periodically cleaned without re-entraining the PM into the flowing gaseous stream that is being treated by the ESP. In a dry ESP, the collection plate cleaning process can be accomplished mechanically by knocking the PM loose from the plates. Alternatively, in a wet ESP, a washing technique is used to remove the collected PM from the collection plates. ESPs can be configured in several ways, including a plate-wire ESP, a flat-plate ESP and a tubular ESP. As the diameter of the PM decreases, the efficiency of an ESP decreases.

- Filter

A filter is a porous media that removes PM from a gaseous stream as the stream passes through the filter. For an emissions unit with an appreciable exhaust rate, the filter system typically contains multiple filter elements. Filters can be used to treat exhaust streams containing dry or liquid PM.

Filters handling dry PM become coated with collected PM during operation and this coating (“cake”) contributes to the filtration mechanism. A dry PM filter system commonly used in industrial scale applications is a “baghouse.” A baghouse is comprised of multiple cylindrical bags and the number of bags is dependent on the exhaust rate requiring treatment, the PM loading of the exhaust stream and the baghouse design. The two most common baghouse designs today are the reverse-air and pulse-jet designs. These design references indicate the type of bag cleaning system used in the baghouse.

Filters handling liquid PM rely on the impingement of the entrained liquid PM on the surface of the filter media and the retention of these liquid particles on the surface until multiple particles coalesce into particles of sufficient size that are able to fall back against the flowing gas stream and collect at a location below the filter. For the high efficiency removal of submicron liquid particles from a gaseous stream, Brownian diffusion filters are used. “Brownian diffusion” is the random movement of submicron particles in a gaseous stream as these particles collide with gas molecules. Liquid PM filter systems can be comprised of pad or candle filter elements. These filter elements require little operation and maintenance attention.

- Wet Scrubber

A wet scrubber uses absorption to remove PM from a gaseous stream. Absorption is primarily a physical process, though it can also include a chemical component, in which a pollutant in a gas phase contacts a scrubbing liquid and is dissolved in the liquid. A key factor dictating the performance of a wet scrubber is the solubility of the pollutant of concern in the scrubbing liquid. Water is commonly used as the scrubbing liquid in a wet scrubber used for PM emission control, but other liquids can be used depending on the type of PM or other pollutant(s) to be removed from the gaseous stream undergoing treatment. There are several types of wet scrubbers, including packed-bed counterflow scrubbers, packed-bed crossflow scrubbers, bubble plate scrubbers and tray scrubbers.

- Cyclone

A cyclone is the most common type of inertial separator used to collect medium-sized and coarse PM from gaseous streams. The PM contained in a gaseous stream treated in a cyclone moves outward under the influence of centrifugal force until it contacts the wall of the cyclone. The PM is then carried downward by gravity along the wall of the cyclone and collected in a hopper located at the bottom of the cyclone. Although cyclones provide a relatively low cost, mechanically simple option for the removal of larger diameter PM from gaseous streams, alone they do not typically provide adequate PM removal, especially when the gaseous stream contains smaller diameter PM. Instead, these devices are typically used to preclean a gaseous stream by removing larger diameter PM upstream of PM emission control devices that are more effective at removing smaller diameter PM.

For SO2 Control

- Low Sulfur Fuel

A gaseous fuel may inherently contain low levels of sulfur compounds or it may be treated to remove sulfur compounds using absorption or adsorption technologies. For example, pipeline quality natural gas may be from a well that produces inherently low sulfur gas or it may be treated using absorption or adsorption technology to lower its sulfur content. Low sulfur gaseous fuels result in low levels of SO2 emissions when they are combusted.

- Flue Gas Desulfurization

Flue gas desulfurization is commonly used to reduce SO2 emissions from coal-fired and oil- fired combustion sources due to the relatively high concentration of SO2 (thousands of ppmv) contained in the flue gas generated by these sources. Flue gas desulfurization can be accomplished using the following technologies []:

- Wet scrubbers,

- Semi-dry scrubbers, and

- Dry scrubbers [], although wet scrubbers are normally capable of higher SO2 removal efficiencies than semi-dry and dry scrubbers.

In a wet scrubber, an aqueous slurry of sorbent is injected into a source’s flue gas and the SO2 contained in the gas dissolves into the slurry droplets where it reacts with an alkaline compound present in the slurry. The treated flue gas is then emitted to the atmosphere after passing through a mist eliminator that is designed to remove any entrained slurry droplets, while the falling slurry droplets make their way to the bottom of the scrubber where they are collected and either regenerated and recycled or removed as a waste or byproduct.

Semi-dry scrubbers are like wet scrubbers, but the slurry used in a semi-dry scrubber has a higher sorbent concentration, which results in the complete evaporation of the slurry water and the formation of a dry spent sorbent material that is entrained in the treated flue gas. This dry spent sorbent is removed from the flue gas using a baghouse or ESP.

In a dry scrubber, a dry sorbent material is pneumatically injected into a source’s flue gas and the dry spent sorbent material entrained in the treated flue gas is removed using a baghouse or ESP.

This section presents common technology descriptions that are used throughout this BACT analysis for Storage Tanks

For VOC Control

- IFR Storage Tank with Vapor Collection System and Control Device

An IFR storage tank is equipped with two roofs – a fixed roof connected to the top of the storage tank wall and a floating roof (the IFR) that rests on the surface of the liquid contained in the storage tank. In general, a floating roof design effectively eliminates the breathing and working emissions that result from a fixed roof storage tank because the floating roof eliminates the vapor space that would be present in a fixed roof tank by directly contacting nearly all of the liquid surface area. Additionally, certain emissions mechanisms and floating roof operating and maintenance risks that exist for an EFR tank (a tank where the floating roof is exposed to the atmosphere) do not exist for an IFR tank because the IFR tank’s floating roof is not directly exposed to the atmosphere since the tank’s fixed roof is located above the floating roof.

Because an IFR tank incorporates a fixed roof above a floating roof, the vapor between the floating roof and fixed roof can be collected and routed to a control device to reduce VOC emissions to the atmosphere. The following are examples of the types of control devices that can be used to reduce VOC emissions from the vapor collected from an IFR tank:

- Condenser;

- Thermal oxidizer; and

- Carbon adsorption.

- Fixed Roof Storage Tank with Vapor Collection System and Control Device

A fixed roof storage tank contains a vapor space between the surface of the liquid contained in the tank and the roof of the tank and this vapor space is partially comprised of the compounds making up the liquid contained in the tank. A portion of the vapor contained in the vapor space of an atmospheric fixed roof storage tank is routinely vented to the atmosphere because of the breathing and working emissions mechanisms described above.

A fixed roof tank can be equipped with a vapor collection system to collect the vapor vented from the tank. This collected vapor can then be routed to a control device to reduce VOC emissions to the atmosphere. The following are examples of the types of control devices that can be used to reduce VOC emissions from the vapor collected from a fixed roof tank:

- Condenser;

- Thermal oxidizer; and

- Carbon adsorption.

- IFR Storage Tank

As described above, an IFR storage tank is equipped with two roof structures – a fixed roof located above a floating roof (the IFR). In general, a floating roof design effectively eliminates the breathing and working emissions that result from a fixed roof storage tank because the floating roof eliminates the vapor space that would be present in a fixed roof tank by directly contacting nearly all of the liquid surface area. Additionally, certain emissions mechanisms and floating roof operating and maintenance risks that exist for an EFR tank do not exist for an IFR tank because the IFR tank’s floating roof is not directly exposed to the atmosphere since the tank’s fixed roof is located above its floating roof. As a result, emissions from an IFR tank are typically lower than the emissions that would occur from an otherwise identical EFR tank containing the same material at the same storage conditions.

- EFR Storage Tank

An EFR storage tank is equipped with a roof structure that rests on the surface of the liquid contained in the storage tank and this floating roof is exposed to the atmosphere. As discussed above for an IFR tank, a floating roof design effectively eliminates the breathing and working emissions that result from a fixed roof storage tank. However, emissions from an EFR tank tend to be higher than from an IFR tank because the rim seal and openings of an EFR tank are directly exposed to the atmosphere and, therefore, the emissions from these seals and openings are influenced by wind conditions.

- Fixed Roof Storage Tank with Submerged Fill

There are two mechanisms that result in emissions from a fixed roof storage tank. The first mechanism results in breathing emissions, while the second mechanism results in working emissions. By incorporating submerged fill into the design of a fixed roof storage tank, the saturation level of the vapor space between the surface of the liquid contained in the tank and the roof of the tank can be reduced versus the level that would occur if the liquid were introduced into the tank under splash loading conditions. Therefore, by reducing the saturation level of the vapor space, the vapor vented from the storage tank contains less VOC, which means lower VOC emissions to the atmosphere.

- Absorption (Wet Scrubber)

Absorption is primarily a physical process, though it can also include a chemical component, in which a pollutant in a gas phase contacts a scrubbing media and is removed from the gas phase by the scrubbing media. The common absorption device used to remove VOC from a gaseous stream is a wet scrubber. The wet scrubber provides an intimate contacting environment for the soluble VOC to be dissolved in the scrubbing liquid. Water can be used as the scrubbing liquid in a wet scrubber used for VOC emission control, but very low vapor pressure organic materials are also used when the VOC requiring control is not soluble in water. In general, VOC containing nitrogen or oxygen atoms that are free to form strong hydrogen bonds and that have one to three carbon atoms are soluble in water. As the number of carbon atoms increases, the VOC is typically less soluble in water to a point where it is insoluble in water. There are several types of wet scrubbers, including packed bed counterflow scrubbers, packed-bed crossflow scrubbers, bubble plate scrubbers and tray scrubbers.

- Carbon Adsorption

Carbon adsorption is used to capture a specific compound, or a range of compounds, present in a gas phase on the surface of granular activated carbon. Carbon adsorption performance depends on the type of activated carbon used, the characteristics of the target compound(s), the concentration of the target compound(s) in the gaseous stream and the temperature, pressure and moisture content of the gaseous stream. Carbon adsorbers can be of the fixed-bed or fluidized bed design. A fixed-bed carbon adsorber must be periodically regenerated to desorb the collected compounds from the carbon, while a fluidized-bed carbon adsorber is continuously regenerated. Additionally, portable, easily replaceable carbon adsorption units (e.g., 55-gallon drums) are used in some applications. This type of unit is not regenerated at MRL where it is used. Instead, the portable unit is typically returned to the supplier of the unit and the supplier regenerates or disposes of the spent carbon.

- Condensation

In principle, a condenser achieves condensation by lowering the temperature of the gas stream containing a condensable to a temperature at which the desired condensate's vapor pressure is lower than its entering partial pressure. Condensation is performed by a condenser that is either a surface noncontact condenser or a direct-contact condenser. A surface condenser is usually a shell-and-tube heat exchanger in which the cooling fluid flows inside the tubes of the exchanger and the gas undergoing condensation treatment flows on the outside of the tubes. A direct-contact condenser is a device in which intimate contact occurs between the cooling fluid and the gas undergoing condensation treatment, usually in a spray or packed tower. Although a direct-contact condenser may also be part of a chemical recovery system, an extra separation step is usually required to separate the cooling liquid from the newly formed condensate. Examples of cooling fluids used in condensers are water, brine cooled to below the freezing point of pure water and refrigerants.

- Submerged Fill Loading

By incorporating submerged fill into the design of a loading operation, the saturation level of the vapor space between the surface of the liquid contained in the tank and the roof of the tank can be reduced versus the level that would occur if the liquid were introduced into the tank under splash loading conditions. Therefore, the vapor vented from the storage tank contains less VOC, which means lower VOC emissions to the atmosphere.

Hydrogen Plant #5 Reformer Heater (H-5801)

The maximum air pollution control capability determinations made for the new Hydrogen Plant #5 Reformer Heater (H-5801) – 178 MMBtu/hr pursuant to ARM 17.8.752 is summarized below in Table III-2.  The analysis supporting the determinations are found below

Table III-2

Summary of Proposed BACT Limits: Hydrogen Plant #5 Heater H-5801

| Emissions Unit | Pollutant | Control Technology/Practice | Emissions Level |
| --- | --- | --- | --- |
| H-5801 Fired with PSA Off-gas and RFU Off-gas | CO | Good Combustion Practices | 0.03 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | NOX – Steady State Operations | ULNB (Good Combustion Practices) | 0.04 lb/MMBtu (HHV) (30-day rolling average) |
|  | NOX – SSM | ULNB (Good Combustion Practices) | 7.83 lb/hr (HHV) (SSM period average) |
|  | PM (filt.) | Good Combustion Practices and use of low ash content fuels | 0.0019 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM10 (filt. + cond.) |  | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM2.5 (filt. + cond.) |  | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | SO2 | Low Sulfur Gaseous Fuel | Fuel gas containing ≤30 ppmv H2S maximum and ≤10 ppmv H2S on an annual average basis |
|  | VOC | Good Combustion Practices | 0.004 lb/MMBtu (HHV) (Average of three 1-hour runs) |

Carbon Monoxide

The Hydrogen Plant #5 Reformer Heater (H-5801) will combust PSA off-gas and RFU off-gas. The PSA off gas will consist mainly of methane (CH4), hydrogen (H2), carbon monoxide (CO), carbon dioxide (CO2), water and nitrogen. The RFU off gas will consist mainly of CH4, ethane, propane, butanes, pentanes and hydrogen. Combustion of these fuels can produce CO from incomplete oxidation of hydrocarbons; however, because both PSA and RFU off gases are low carbon fuel streams, CO emissions from H 5801 are expected to be low.

H-5801 will be equipped with a burner management system that includes continuous oxygen and combustibles monitors. Real-time tuning of both will optimize air to fuel ratio, minimizing CO formation and supporting stable, low-NOx combustion.

The heater will not be subject to any New Source Performance Standards (NSPS) or National Emission Standards for Hazardous Air Pollutants (NESHAP) CO emission standard. However, the heater will follow the following NESHAP Subpart DDDDD work practice standards to minimize its CO emissions.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burner(s) and clean or replace any components of the burner(s) as necessary;

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burner(s) and adjust the burner(s) as necessary to optimize the flame pattern, consistent with the manufacturer's specifications;

- Pursuant to 40 CFR 63.7540(a)(10)(iv), MRL will optimize total emissions of CO. This optimization will be consistent with the manufacturer's specifications and any NOx emission limitation requirement to which the heater is subject; and

- Pursuant to 40 CFR 63.7540(a)(10)(v), MRL will measure the CO and oxygen concentrations in the heater’s exhaust stream before and after making the adjustments referenced above.

Step 1: Identify Control Technologies

The following are available CO emission control technologies for H-5801.

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below these technologies are generally described.

Good Combustion Practices

Please see the Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see the Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see the Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the CO emission control technologies determined to be available for H-5801 is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of CO emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is not technically feasible for controlling CO emissions from the reformer heater (H 5801) at the hydrogen plant for two main reasons: catalyst poisoning by sulfur compounds and incompatible operating temperatures.

- Sulfur poisoning: Fuel gas to reformer heaters typically contains residual sulfur species even after desulfurization. These sulfur compounds strongly adsorb to platinum group metal (PGM) catalyst active sites, deactivating the catalyst and severely reducing both activity and service life. This makes it difficult to achieve and maintain the necessary CO oxidation rates.

- Temperature incompatibility: The steam methane reformer firebox operates at very high temperatures [expected > 1,800 degrees Fahrenheit (°F)], whereas standard catalytic oxidizers are designed for much lower temperatures (650 – 1000°F) [ ]. The extreme temperatures would cause thermal degradation of the catalyst material itself and a loss of active surface area. This would dramatically shorten the catalyst's useful life and necessitate frequent, costly replacements. Moreover, while catalysts allow oxidation to occur at lower temperatures, trying to force a catalytic system to operate in a high-temperature environment would require significant and often impractical energy input.

Given these constraints, catalytic oxidation is not technically feasible for controlling CO emissions from the new hydrogen plant reformer heater H-5801.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available CO emission control technologies for H-5801 are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the CO emission control technologies that were determined to be technically feasible H-5801.

Thermal Oxidation

The oxidation of CO to CO2 is a time-dependent chemical reaction. For a thermal oxidation system to effectively reduce CO, the process requires a wide combustion chamber specifically designed for increased residence time to allow the chemical reactions to complete. This design will increase the cost and require a large space to accommodate the device. Chamber residence time and temperature are directly linked. Shorter residence times (smaller chambers) require higher temperatures to achieve the same destruction rate, which increases fuel costs and can risk equipment damage.

For H 5801, the low CO concentration in the exhaust means a thermal oxidizer would need either a large combustion chamber to provide adequate reaction time or substantial auxiliary fuel to raise temperatures enough to oxidize the small CO mass. Either approach substantially increases capital and operating expense.

In addition, combustion in the oxidizer also generates additional pollutants, including CO, which can offset the CO reduction achieved by oxidation.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s CO emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as nitrogen oxides (NOx) and CO2, emitted into the atmosphere. Furthermore, research of emission control technology application data sets indicates thermal oxidation has not been used to control CO emissions from a comparable heater.

MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described factors, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-5801. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Good Combustion Practices

The only remaining available CO emission control technology for H-5801 is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for CO emissions from H-5801. Therefore, MRL will control CO emissions from the heater by using good combustion practices and complying with the following emission limitation:

- CO emissions from H-5801 shall not exceed 0.03 lb/MMBtu (HHV), based on a 1-hr average as determined from three 1-hour runs.

Nitrogen Oxides

The heater will emit NOx mainly from thermal and prompt NOx formation mechanisms. Fuel NOx is not expected to be significant because the PSA and RFU off gases contain negligible organo- nitrogen compounds.

- Thermal NOx forms in the high temperature combustion zone near the burner when molecular nitrogen and oxygen dissociate and react. Its formation rate increases with higher oxygen availability, higher peak flame temperatures, and longer residence time at those temperatures.

- Prompt NOx occurs at the flame front through the relatively fast reaction between combustion air nitrogen and oxygen molecules and fuel hydrocarbon radicals, which are intermediate species formed during the combustion process. Prompt NOx may represent a meaningful portion of the NOx emissions resulting from low-NOx burners (LNBs) and ultra-low NOx burners (ULNBs).

Step 1: Identify Control Technologies

The following are available NOx emission control technologies for H-5801.

• LNBs/ULNBs (Good Combustion Practices);

• SCR;

• SNCR; and

• NSCR.

LNBs/ULNBs (Good Combustion Practices)

Please see Definition Section IV herein for a discussion of this technology.

SCR

Please see Definition Section V herein for a discussion of this technology.

SNCR

Please see Definition Section VI herein for a discussion of this technology.

NSCR

Please see Definition Section VII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the NOx emission control technologies determined to be available for H-5801 is evaluated below.

LNBs/ULNBs (Good Combustion Practices)

This option is technically feasible for the heater.

SCR

This option is technically feasible for the heater.

SNCR

SNCR performance depends on three concurrent conditions: (1) flue gas temperature within the reagent reaction window; (2) adequate residence time at that temperature; and (3) effective mixing between reagent and flue gas. To meet SNCR residence-time requirements, reagent injection would likely need to occur within the heater firebox. Injection too far downstream will drop the gas temperature below the reaction window. In fact, the designer of the heater, TechnipFMC, evaluated SNCR for its reformer heaters and concluded that injection in the firebox would be necessary to achieve sufficient residence time. However, injection in the flame zone can risk reagent destruction, uneven mixing, or formation of undesirable byproducts. Poor mixing will lead to low NOx reduction and high ammonia slip. Unreacted reagent (ammonia slip) can form ammonium salts with sulfur or acidic species in the flue gas, leading to deposition and corrosion on heat transfer surfaces, ductwork, and pollution control equipment.

Additionally, reformer heaters experience wide load variability (startups, shutdowns, steam demand swings, and feed changes). Firebox temperatures and flow patterns move in and out of the SNCR window during normal operations. SNCR systems are sensitive to these transient excursions. During turndown or startup, the system will either produce little NOx removal or require conservative dosing that increases ammonia slip risk.

Furthermore, reformer flue gases may contain sulfur compounds, particulates, and other contaminants that can foul injectors, poison reaction pathways, or create corrosive byproducts when combined with injected reagent. Injector nozzles exposed to these conditions require frequent cleaning/replacement, reducing availability and raising lifecycle costs.

Temperature profile, limited residence time and poor mixing, wide load transients, and fuel/stream contaminants prevent the reagent/NOx gas phase chemistry from achieving reliable NOx reductions without ammonia slip or equipment fouling. Given these factors, SNCR is not technically feasible for controlling NOx from H 5801.

NSCR

NSCR is not technically feasible for controlling NOx from the heater because it requires very low excess oxygen levels (≤ ~0.5%) to achieve effective NOx reduction, whereas the heater will operate with approximately 2 – 2.5% excess oxygen. Operating at this higher excess oxygen level is necessary to maintain low CO, high combustion efficiency, and safe operation under variable fuel gas conditions (e.g., changes in composition or supply pressure). In addition, available application data shows no precedent for using NSCR on comparable reformer heaters. For these reasons, NSCR is not a practical NOx control option for this heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available NOx emission control technologies for H-5801 are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- SCR- Typical SCR control efficiencies are highly dependent on flue gas temperatures as well as inlet NOx concentrations and can range from 62 to 92 percent (SRC Cost Manual Chapter7, 2016 Edition with 2017 Revisions); and

- ULNB- H-5801 will be equipped with ULNBs, which reflect good combustion practices, as its base design. For natural gas-fired boilers/heaters, ULNBs can achieve approximately 30-50% NOx control (again, depending on the inlet NOx concentrations).

Step 4: Evaluate Most Effective Control Options and Document Results

As indicated in the application, MRL estimated that the installation and operation of an SCR system on the heater would result in a cost effectiveness equal to approximately $28,045 per ton of NOx emission reduction, which is not cost effective. The cost for the installation and operation of an SCR system on the heater was estimated using the SCR cost estimating spreadsheet that EPA developed and published in June of 2019. The installation of an SCR system on the heater would require additional energy to operate the SCR system’s electrical equipment (e.g., pumps, heaters/vaporizers, instrumentation) and provide fan power to overcome the pressure drop across the SCR catalyst bed(s). This increase in electricity usage at the plant would likely result in increased greenhouse gas (GHG) and non-GHG emission rates at one or more power generating stations, reducing the net environmental benefit of the SCR system. Furthermore, the SCR catalyst would require periodic replacement, which would result in a spent catalyst waste stream. This waste stream may represent hazardous waste depending on the composition of the catalyst and the heater’s combustion products collected on the catalyst. Lastly, an SCR system would experience ammonia slip during operation, resulting in ammonia emissions from the heater’s stack, which may negatively impact regional haze due to an increase in the amount of atmospheric ammonia available to generate visibility impairing ammonium nitrates and ammonium sulfates.

In summary, MRL determined that it would not be cost effective to equip the heater with an SCR system and the operation of an SCR system on the heater would likely result in collateral emissions of GHG and non-GHG pollutants, as well as the generation of an additional solid waste stream at the site. For these reasons, MRL eliminated an SCR system from consideration as the maximum air pollution control capability for the heater’s NOx emissions. MRL has elected to equip the H-5801 with ULNBs and install a SCR for further reduction of NOx emissions, the most efficient control technology for this source and therefore does not need to conduct an economic impact analysis of these technologies.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that ULNBs represent the maximum air pollution control capability for the NOx emissions from H-5801. Therefore, MRL will control NOx emissions from the heater by equipping it with ULNBs to comply with the following emission limitation: NOx emissions from H-5801, during steady state operations, shall not exceed 0.004 lb/MMBtu (HHV), based on a 30-day rolling average.

- NOx emissions from the Hydrogen Plant #5 Reformer Heater (H-5801), during steady state operations, shall not exceed 0.04 lb/MMBtu (HHV), based on a 30-day rolling average.

BACT for NOx during SSM and SCR Warm-up Periods

Step 1: Identify all Control Options

Available control options for steady state operation of this heater considered:

- LNBS/ULBNs (Good Combustion Practices);

- SCR;

- SNCR; and

- NSCR.

Each of these technologies are described beginning in the Definition Section IV.

In addition, MRL also evaluated potential ways to minimize the startup period, maintain optimal oxygen content and reduce NOx emissions while maintaining and balancing heater startup operating safety in accordance with the startup procedures. However, a cold startup process can normally take up to 24 hours and maintaining NOx emissions in compliance with the short-term lb/MMBtu-based emission limits during the entire startup period can be challenging. To that end, MRL proposes the above-mentioned best management practices that would minimize emissions by reducing the duration of startup. Minimizing the duration of the startup combined with a higher lb/MMBtu limit to reflect steady state controls are not fully functional during these periods.

Step 2: Eliminate Technically Infeasible Options

During SSM periods, add on NOx control devices cannot reach operating temperature and therefore cannot provide the NOx removal necessary to meet the proposed lb/MMBtu permit limit. While H 5801 can meet the proposed steady state BACT limit of 0.04 lb/MMBtu (30 day rolling average) during steady-state operation, its instantaneous emission rate may exceed 0.04 lb/MMBtu during SSM events. However, the heat input to the heater during SSM periods is expected to be low such that even at the elevated lb/MMBtu, the maximum short-term emissions [pounds per hour (lb/hr)] will not be exceeded.

MRL follows standard startup procedures for heaters to ensure safe operation within maximum pressure and temperature curves, and the same procedures will apply to H 5801. Startup occurs at an acceptable maximum firing rate while maintaining safety and compliance with the equipment maximum pressure and temperature operating curve.

SCR, SNCR, and NSCR are not technically feasible during SSM because they require catalyst or reagent temperatures and residence conditions that are not attainable during these transient periods.

Good combustion practices and the use of ULNBs remain viable and are already implemented for steady state control, and they also provide some benefit during transients.

Documented SSM procedures and an appropriately higher, time limited lb/MMBtu allowance for startup remain viable compliance options to balance efficient startup with emissions control.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

Good combustion practices and following established transient-operation procedures, particularly startup which requires longer warm-up times to avoid metal fatigue and other heat-related stresses, are available.

Step 4: Evaluate Most Effective -Control Options and Document Results

Good combustion practices and following established procedures for minimizing transient durations are both effective. Combining good combustion practices and procedures, MRL has determined an expected lb/hr limit that could be achieved. The lb/hr-based SSM NOx emission limit is determined based on the NOx emission rate of 0.04 lb/MMBtu and the heater’s maximum firing rate 178 MMBtu/hr, with an additional 10% safety factor applied. The resulting limit would provide a 7.83 lb/hr limit calculated as an overall average over the transient period of an SSM event.

Step 5: Select BACT

MRL proposed Good Combustion Practices, use of established procedures limiting transient period duration, and a NOx emission limit of 7.83 lb/hr (over the transient period of each SSM event).

SSM periods are defined in Section IV of the permit and subject to ARM 17.8.749.

PM/PM10/PM2.5

H-5801 will emit PM, PM10 and PM2.5 comprised of filterable and condensable portions. The heater will combust PSA off-gas and RFU off-gas, which contain relatively low levels of high molecular weight hydrocarbons. Therefore, elevated PM, PM10 and PM2.5 emissions from the heater as a result of the incomplete combustion of high molecular weight hydrocarbons are not expected to occur. Additionally, the referenced gaseous fuels will pass through desulfurization, which is an integral process in hydrogen production to reduce their H2S concentrations to low levels, further minimizing the generation of PM10 and PM2.5 when they are combusted.

The heater will not be subject to any NSPS or NESHAP PM, PM10 or PM2.5 emission standard. However, it will follow the DEQ opacity and PM standards:

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over 6 consecutive minutes; and

- Pursuant to ARM 17.8.309, PM emissions from the heater shall not exceed 0.24 lb/MMBtu.

Step 1: Identify Control Technologies

The following are available PM, PM10 and PM2.5 emission control technologies for H-5801.

- Good Combustion Practices;

- ESP;

- Filter;

- Wet Scrubber; and

- Cyclone.

These technologies are generally described below.

Good Combustion Practices

Please see the Definition Section I herein for a discussion of this technology.

ESP

Please see the Definition Section VIII herein for a discussion of this technology.

Filter

Please see the Definition Section IX herein for a discussion of this technology.

Wet Scrubber

Please see the Definition Section X herein for a discussion of this technology.

Cyclone

Please see the Definition Section XI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the PM, PM10 and PM2.5 emission control technologies determined to be available for H-5801 is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

ESP

MRL estimated that the PM emitted by the heater will be PM10 only, which is a characteristic that would limit the control effectiveness of an ESP. Additionally, the PM10 concentration in the heater’s exhaust stream will be below the concentration typically seen in an ESP’s exhaust stream. Thus, an ESP would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of emission control technology application data sets indicates an ESP has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use an ESP to control PM emissions from the heater.

Fabric Filter / Baghouse

##### Baghouses/fabric filters are not used on natural gas-fired combustion units due to the inherently low filterable PM content of natural gas. Uncontrolled PM emissions from natural gas combustion are already on the order of ~0.001 to 0.003 lb/MMBtu, which is comparable to or below typical fabric filter outlet concentrations. Therefore, the installation of a baghouse would provide negligible emission reduction at disproportionate capital and operating cost.

Secondly, conventional filter bags have temperature limits, typically ranging from 275°F (e.g., standard polyester bags) to 500°F (e.g., fiberglass, Nomex, Teflon). Flue gas from fuel gas combustion of the reformer heater could melt or damage the filter material.

Thirdly, fuel gas combustion produces a high volume of moisture in the flue gas. When the flue gas drops below its dew point, moisture can condense on the filter bags, which will cause the bags to become clogged as the fine condensable PM sticks to the wet fabric and thus will not lower the condensable PM emissions by any appreciable amount. Additionally, condensation can also cause corrosion to the baghouse's metal components, leading to material degradation and equipment failure.

##### Furthermore, research of emission control technology application data sets indicates a filter has not been used to control PM emissions from a comparable heater.

##### These factors indicate it would not be technically feasible to use a filter to control PM emissions from the heater.

Wet Scrubber

The PM10-only profile of the heater’s PM emissions indicates a wet scrubber would require a considerable pressure drop to effectively reduce the heater’s PM emissions. Additionally, the PM10 concentration in the heater’s exhaust stream will be below the concentration typically seen in a wet scrubber’s exhaust stream. Furthermore, the liquid carryover in the exhaust stream from a wet scrubber contains dissolved and suspended solids, which would result in a new PM emission mechanism, reducing any negligible PM10 control effectiveness of the wet scrubber in this application. Moreover, research of emission control technology application data sets indicates a wet scrubber has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a wet scrubber to control PM emissions from the heater.

Cyclone

The PM10-only profile of the heater’s PM emissions would limit the control effectiveness of a cyclone. Additionally, the PM10 concentration in the heater’s exhaust stream will be below the concentration typically seen in a cyclone’s exhaust stream. Thus, a cyclone would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of emission control technology application data sets indicates a cyclone has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a cyclone to control PM emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available PM, PM10 and PM2.5 emission control technology for H-5801 is good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available PM, PM10 and PM2.5 emission control technology for H-5801 is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the PM, PM10 and PM2.5 emissions from H-5801. Therefore, MRL will control PM, PM10 and PM2.5 emissions from the heater by using good combustion practices and comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu (HHV), based on the average of three 1-hour runs;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV), based on the average of three 1-hour runs; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) based on the average of three 1-hour runs.

Sulfur Dioxide

The new Hydrogen Plant #5 will use RFU purge gas and RFU off gas as feedstock gas options (in addition to natural gas) to produce hydrogen. RFU purge gas is intentionally removed from the RFU system to control buildup of non-reactive compounds and contains a high concentration of unreacted hydrogen plus accumulated inert gases. RFU off gas is a byproduct of hydrotreating reactions and consists primarily of hydrocarbons (e.g., methane, propane) and unreacted hydrogen. Both streams can contain H2S and therefore are routed through desulfurization prior to the main hydrogen production steps.

Desulfurization is essential to protect downstream catalysts because sulfur compounds can poison the hydrogen production catalysts by binding strongly to the surface of the catalysts and therefore blocking the active sites required for the reforming reaction. This will reduce catalyst efficiency and necessitate more frequent and costly catalyst replacement. Integrating a desulfurization step upfront will protect the catalysts, ensure long-term operational stability, and reduce unscheduled downtime. For this reason, desulfurization is an integral upstream process in hydrogen production rather than an add on emissions control, although it has the co benefit of lowering H2S levels and reducing potential SO2 emissions from subsequent fuel combustion.

After desulfurization, the desulfurized gases will proceed to the reformer and the water gas shift (WGS) reactor, where hydrocarbons and CO are converted to hydrogen. The reformer’s hydrogen rich stream will then be sent to a Pressure Swing Adsorption (PSA) unit for final purification to separate hydrogen from impurities like CO2, methane, CO, and residual water vapor.

The separated impurities from the PSA unit (referred to as the PSA off gas) will be used as fuel gas for the Hydrogen Plant #5 reformer heater H-5801. Due to the upfront desulfurization, the fuel gas combustion in the heater will emit only a small amount of SO2 emissions.

The Hydrogen Plant #5 Reformer Heater (H-5801) will be subject to the following MTDEQ SO2 emission standard.

After desulfurization, the desulfurized gases will be sent to the hydrogen plant reformer and the water-gas shift (WGS) reactor to convert hydrocarbons and CO into hydrogen. The hydrogen-rich stream from the reformers will then be sent to a Pressure Swing Adsorption (PSA) unit for final purification to separate hydrogen from impurities like CO2, methane, CO, and residual water vapor.

The separated impurities from the PSA unit (referred to as the PSA off-gas) will be used as fuel gas for the Hydrogen Plant #5 reformer heater H-5801. Due to the upfront desulfurization, the fuel gas combustion in the heater will emit only a small amount of SO2 emissions.

H-5801 will be subject to the following MTDEQ SO2 emission standard.

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S).

Step 1: Identify Control Technologies

The following are available SO2 emission control technologies for H-5801.

- Low Sulfur Fuel; and

- Flue Gas Desulfurization.

Below these technologies are generally described.

Low Sulfur Fuel

Please see the Definition Section XII herein for a discussion of this technology.

Flue Gas Desulfurization

Please see the Definition Section XIII  herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the SO2 emission control technologies determined to be available for H-5801 is evaluated below.

Low Sulfur Fuel

Low sulfur fuel is technically feasible for the heater.

Flue Gas Desulfurization

Flue gas desulfurization is commonly used to reduce SO2 emissions from coal-fired and oil- fired combustion sources due to the relatively high concentration of SO2 (thousands of ppmv) contained in the flue gas generated by these sources.

The Hydrogen Plant #5 reformer heater H-5801 will emit SO2 at concentrations less than 15 ppmv, which are below the concentrations oftentimes seen in a wet scrubber’s exhaust stream. Flue gas desulfurization systems rely on efficient mass transfer of SO2 from the gas stream into a liquid or solid absorbent. When the concentration of SO2 is very low, the “driving force” for this mass transfer is extremely inefficient, which makes it difficult for the absorbent to capture the remaining sulfur molecules effectively.

Additionally, with low inlet SO2 concentrations in flue gas, it is very challenging to control the system’s chemistry and maintain the ideal pH for the scrubbing liquid, which further reduces removal efficiency.

Furthermore, the liquid carryover in the exhaust stream from a wet scrubber or the solid carryover in the exhaust stream from a semi-dry or dry scrubber would result in a new PM emission mechanism for the heater.

Lastly, research of emission control technology application data sets indicated wet, semi-dry and dry scrubbers have not been used to control SO2 emissions from a comparable heater.

These factors indicate it would not be technically feasible to use flue gas desulfurization technologies to control SO2 emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available SO2 emission control technology for H-5801 is low sulfur fuel.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available SO2 emission control technology for H-5801 is low sulfur fuel.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that combusting low sulfur gaseous fuel represents the maximum air pollution control capability for the SO2 emissions from H-5801. Specifically, MRL shall control SO2 emissions from the heater by combusting PSA off-gas and RFU off-gas containing no more than 30 ppmv H2S with an annual average of no more than 10 ppmv H2S.

Volatile Organic Compounds

H-5801 will emit VOC due to the incomplete oxidation of hydrocarbons present in its gaseous fuels. However, the low molecular weight characteristic of the hydrocarbons in the PSA off-gas and RFU off-gas will promote low levels of VOC emissions from the heater.

The heater will not be subject to any NSPS or NESHAP VOC emission standard. However, the heater will follow the NESHAP Subpart DDDDD work practice standards that will minimize its VOC emissions:

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burner(s) and clean or replace any components of the burner(s) as necessary; and

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burner(s) and adjust the burner(s) as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for H-5801.

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below these technologies are generally described.

Good Combustion Practices

Please see the Definition I herein for a discussion of this technology.

Thermal Oxidation

Please see the Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see the Definition III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for H-5801 is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the

heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of VOC emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is not technically feasible for the control of VOC emissions from the heater due to catalyst poisoning by sulfur compounds and operational temperature constraints.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies forH-5801 are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation; and

- Good combustion practices

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for H-5801.

Thermal Oxidation

Due to the very low concentration of VOC in its exhaust stream. The application of thermal oxidation to reduce the heater’s VOC emission rate would require the combustion of a considerable amount of fuel to achieve the elevated temperature necessary to promote the oxidation of the small amount of VOC that will be present in the heater’s exhaust stream. This fuel combustion would generate additional combustion pollutants, including VOC. Thus, the VOC emission reduction effectiveness of the thermal oxidation system would be reduced, if not negated, because of the VOC generated by the thermal oxidation process.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s VOC emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere. Furthermore, research of emission control technology application data sets indicated thermal oxidation has not been used to control VOC emissions from a comparable heater.

Lastly, MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s VOC emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-5801. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Good Combustion Practices

The only remaining available VOC emission control technology for H-5801 is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the VOC emissions from H-5801. Therefore, MRL will control VOC emissions from the heater by using good combustion practices and comply with the following emission limitation to reflect the performance of the maximum air pollution control capability for this unit:

- VOC emissions from the heater shall not exceed 0.004 lb/MMBtu (HHV), based on the average of three 1-hour runs.

Additional Applicability:

Separate and distinct from the BACT analysis, the heater will be subject to the following work practice standards in 40 CFR, Part 63, Subpart DDDDD – National Emission Standards for Hazardous Air Pollutants (NESHAP) for Major Sources: Industrial, Commercial and Institutional Boilers and Process Heaters: These requirements are applicable under ARM 17.8.749. These applicable requirements are included here as they further support federal requirements for maintaining proper equipment operation.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burner(s) and clean or replace any components of the burner(s) as necessary;

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burner(s) and adjust the burner(s) as necessary to optimize the flame pattern, consistent with the manufacturer's specifications;

Furthermore, the heater will be equipped with an oxygen monitoring system, which will allow the plant to make on-line optimization adjustments to the heater’s combustion process, as needed. This system will greatly assist in minimizing the heater’s VOC emissions by providing the site with the capability to maintain good combustion practices at the heater.

The heater will not be subject to any NSPS or NESHAP PM, PM10 or PM2.5 emission standard. However, it will be subject to the following MTDEQ opacity and PM standards.

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over 6 consecutive minutes; and

- Pursuant to ARM 17.8.309, PM emissions from the heater shall not exceed 0.24 lb/MMBtu.

CMR to MRL Hydrogen Plant #2 Reformer Heater

The existing #2 Hydrogen Plant Reformer Heater H-2815, currently permitted in CMR’s Title V Operating Permit #OP2161-24, will be taken offline at CMR and recommissioned to serve MRL’s operation. The maximum air pollution control capability determinations made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-3 below, and details are presented in the subsequent sections, by pollutant.

A top-down BACT analysis for the H-2815 is presented below.

Table III-3

Proposed BACT Limits: #2 Hydrogen Plant Reformer Heater

| Emissions Unit | Pollutant | Control Technology/Practice | Emissions Level |
| --- | --- | --- | --- |
| #2 Hydrogen Plant Reformer Heater | CO | Good Combustion Practices | 0.03 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | NOX – Steady State Operations | ULNB (Good Combustion Practices) | 0.035 lb/MMBtu (HHV) (30-day rolling average) |
|  | NOX – SSM & SCR Warm-up Periods | ULNB (Good Combustion Practices) | 3.08 lb/hr (SSM period average) |
|  | PM (filt.) | Good Combustion Practices and use of low ash content fuels | 0.0019 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM10 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM2.5 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | SO2 | Low Sulfur Gaseous Fuel | Fuel gas containing ≤30 ppmv H2S maximum and ≤10 ppmv H2S on an annual average basis |
|  | VOC | Good Combustion Practices | 0.004 lb/MMBtu (HHV) (Average of three 1-hour runs) |

Carbon Monoxide

The #2 Hydrogen Plant Reformer Heater (H-2815) will combust PSA off gas and RFU off gas. The PSA off gas will consist mainly of CH4, H2, CO, CO2, water and nitrogen. The RFU off gas will be composed primarily of CH4, ethane, propane, butanes, pentanes and hydrogen. Combustion of these fuels can produce CO from incomplete oxidation of hydrocarbons; however, because both PSA and RFU off gases are low carbon fuel streams, CO emissions from H 2815 are expected to be low.

Furthermore, the heater will be equipped with an oxygen monitoring system that enables on line optimization of the combustion process, as needed. By allowing operators to maintain appropriate air to fuel ratios in real time, this system will help minimize CO emissions and support consistent good combustion practice.

The heater will not be subject to any NSPS or NESHAP CO emission standard. However, the heater will follow the following NESHAP Subpart DDDDD work practice standards that will minimize its CO emissions.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burner(s) and clean or replace any components of the burner(s) as necessary;

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burner(s) and adjust the burner(s) as necessary to optimize the flame pattern, consistent with the manufacturer's specifications;

- Pursuant to 40 CFR 63.7540(a)(10)(iv), MRL will optimize total emissions of CO. This optimization will be consistent with the manufacturer's specifications and any NOx emission limitation requirement to which the heater is subject; and

- Pursuant to 40 CFR 63.7540(a)(10)(v), MRL will measure the CO and oxygen concentrations in the heater’s exhaust stream before and after making the adjustments referenced above.

Step 1: Identify Control Technologies

The following are available CO emission control technologies for the turbine.

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below these technologies are generally described.

Good Combustion Practices

Please see the Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see the Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see the Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the CO emission control technologies determined to be available for the turbine is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the turbine. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of CO emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available CO emission control technologies for the heater are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- Catalytic Oxidation;

- Thermal Oxidation; and

- Good Combustion Practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the CO emission control technologies that were determined to be technically feasible for the turbine.

.

Thermal Oxidation

The oxidation of CO to CO2 is a time-dependent chemical reaction. For a thermal oxidation system to effectively reduce CO, the process requires a wide combustion chamber specifically designed for increased residence time to allow the chemical reactions to complete. This design will increase the cost and require a large space to accommodate the device. Chamber residence time and temperature are directly linked. Shorter residence times (smaller chambers) require higher temperatures to achieve the same destruction rate, which increases fuel costs and can risk equipment damage.

For H 2815, the low CO concentration in the exhaust means a thermal oxidizer would need either a large combustion chamber to provide adequate reaction time or substantial auxiliary fuel to raise temperatures enough to oxidize the small CO mass. Either approach substantially increases capital and operating expense.

Additionally, Combustion in the oxidizer also generates additional pollutants, including CO, which can offset the CO reduction achieved by oxidation.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s CO emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as Nox and CO2, emitted into the atmosphere. Furthermore, research of emission control technology application data sets indicates thermal oxidation has not been used to control CO emissions from a comparable heater.

MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described factors, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-2815. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain CO oxidation activity. Based on the current operating records, the exhaust gas temperatures for H 2815 typically range from about 320 - 380 °F and are expected to remain in this range after the unit switches to RFU off gas. These temperatures are generally below the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the reformer heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary CO oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an induced draft (ID) fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. The heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-2815. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for its CO emissions.

Good Combustion Practices

The only remaining available CO emission control technology for H-2815 is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for CO emissions from the #2 Hydrogen Plant Reformer Heater (H-2815). Therefore, MRL will control CO emissions from the heater by using good combustion practices and complying with the following emission limitations:

- CO emissions from the #2 Hydrogen Plant Reformer Heater (H-2815) shall not exceed 0.03 lb/MMBtu (HHV), on an average of three 1-hr runs.

Nitrogen Oxides

#2 Hydrogen Plant Reformer Heater (H-2815) will emit NOx mainly from thermal and prompt NOx formation mechanisms. Fuel NOx is not expected to be significant because the PSA and RFU off gases contain negligible organo-nitrogen compounds.

- Thermal NOx forms in the high temperature combustion zone near the burner when molecular nitrogen and oxygen dissociate and react. Its formation rate increases with higher oxygen availability, higher peak flame temperatures, and longer residence time at those temperatures.

- Prompt NOx occurs at the flame front through the relatively fast reaction between combustion air nitrogen and oxygen molecules and fuel hydrocarbon radicals, which are intermediate species formed during the combustion process. Prompt NOx may represent a meaningful portion of the NOx emissions resulting from LNBs and ULNBs.

H-2815 is currently subject to the NOx emission standards in NSPS Subpart Ja. However, after the unit is taken offline at CMR and recommissioned at MRL, it will not be subject to any NOx emission standards in the NSPS or NESHAP rules.

Step 1: Identify Control Technologies

The following are available NOx emission control technologies for the heater

- LNBs/ULNBs;

- SCR;

- SNCR;

- NSCR; and

Below these technologies are generally described.

LNBs/ULNBs

Please see the Definition IV herein for a discussion of this technology.

SCR

Please see the Definition V herein for a discussion of this technology.

SNCR

Please see the Definition VI herein for a discussion of this technology.

NSCR

Please see the Definition VII herein for a discussion of this technology

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the NOx emission control technologies determined to be available for the heater is evaluated below.

LNBs/ULNBs

This option is technically feasible for the heater.

SCR

This option is technically feasible for the heater.

SNCR

SNCR is not technically feasible for NOx control for H-2815 because the process conditions (temperature window, residence time, flue gas composition and flow pattern), operational transients, and integration constraints prevent reliable reagent reaction and acceptable NOx removal efficiency without unacceptable impacts on process operations or requiring impractical auxiliary systems.

- Narrow and high temperature window: SNCR relies on homogeneous gas phase reactions between injected reagent (typically ammonia or urea) and NOx to form N2 and H2O. These reactions are effective only within a relatively narrow, elevated temperature range (generally 1600 – 2100 °F). Based on the current operating records, exhaust gas temperatures for H 2815 range from about 320 - 380 °F and are expected to remain in this range after the unit switches to RFU off gas. These temperatures are far below the SNCR optimal temperature range.

- •	Insufficient residence time and gas mixing: Effective SNCR requires sufficient residence time at the proper reaction temperature and good mixing between reagent and flue gas. H-2815 and its downstream ductwork cannot provide the long residence times or well controlled turbulent mixing necessary for SNCR to reach meaningful NOx reductions. Short residence time and poor mixing lead to low NOx conversion and elevated ammonia slip.

- For H-2815, the relatively low NOx concentrations in combustion flue gas make SNCR inefficient because it requires substantial reagent flow to obtain acceptable percentage reductions. To achieve modest NOx reduction (25 – 60% for urea-based systems and 61 – 65% for ammonia-based systems [ ]), reagent dosing must be elevated, which increases risk of ammonia slip. Unreacted reagent (ammonia slip) can form ammonium salts with sulfur or acidic species in the flue gas, leading to deposition and corrosion on heat transfer surfaces, ductwork, and pollution control equipment.

- Furthermore, H-2815 combustion flue gas may contain sulfur compounds, particulates, and other contaminants that foul injectors, poison reaction pathways, or create corrosive byproducts when combined with injected reagent. Injector nozzles exposed to these conditions require frequent cleaning/replacement, reducing availability and raising lifecycle costs.

Given these factors, SNCR is not technically feasible for controlling NOx from H 2815

NSCR

NSCR is not technically feasible for controlling NOx from the heater because it requires very low excess oxygen levels (≤ ~0.5%) to achieve effective NOx reduction, whereas the heater will operate with approximately 2 – 2.5% excess oxygen. Operating at this higher excess oxygen level is necessary to maintain low CO, high combustion efficiency, and safe operation under variable fuel gas conditions (e.g., changes in composition or supply pressure). In addition, available application data show no precedent for using NSCR on comparable reformer heaters. For these reasons, NSCR is not a practical NOx control option for this heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available NOx emission control technologies for the #2 Hydrogen Plant Reformer Heater (H-2815) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- SCR; and

- ULNB- H-2815 are equipped with ULNBs, which reflect good combustion practices, as its base design.

Step 4: Evaluate Most Effective Control Options and Document Results

As indicated in the application, MRL estimated that the installation and operation of an SCR system on the heater would result in a cost effectiveness equal to approximately $52,717 per ton of NOx emission reduction, which is not cost effective. The cost for the installation and operation of an SCR system on the heater was estimated using the SCR cost estimating spreadsheet that EPA developed and published in June of 2019. The installation of an SCR system on the heater would require additional energy to operate the SCR system’s electrical equipment (e.g., pumps, heaters/vaporizers, instrumentation) and provide fan power to overcome the pressure drop across the SCR catalyst bed(s). This increase in electricity usage at the plant would likely result in increased GHG and non-GHG emission rates at one or more power generating stations, reducing the net environmental benefit of the SCR system. Furthermore, the SCR catalyst would require periodic replacement, which would result in a spent catalyst waste stream. This waste stream may represent hazardous waste depending on the composition of the catalyst and the heater’s combustion products collected on the catalyst. Lastly, an SCR system would experience ammonia slip during operation, resulting in ammonia emissions from the heater’s stack, which may negatively impact regional haze due to an increase in the amount of atmospheric ammonia available to generate visibility impairing ammonium nitrates and ammonium sulfates.

In summary, MRL determined that it would not be cost effective to equip the heater with an SCR system and the operation of an SCR system on the heater would likely result in collateral emissions of GHG and non-GHG pollutants, as well as the generation of an additional solid waste stream at the site. For these reasons, MRL eliminated an SCR system from consideration as the maximum air pollution control capability for the heater’s NOx emissions. MRL has elected to install an SCR, the most efficient control technology for this source and therefore does not need to conduct an economic impact analysis of these technologies.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that ULNBs represent the maximum air pollution control capability for the NOx emissions from H-2815. Therefore, MRL will control NOx emissions from the heater by equipping it with ULNBs to comply with the following emission limitation:

- NOx emissions from the #2 Hydrogen Plant Reformer Heater (H-2815), during steady state operations, shall not exceed 0.035 lb/MMBtu (HHV), based on a 30-day rolling average.

BACT for NOx during SSM Periods

Step 1: Identify all Control Options

Available control options for steady state operation of the turbine considered:

- LNBS/ULBNs (Good Combustion Practices);

- SCR;

- SNCR; and

- NSCR.

Each of these technologies are described beginning in the Definition Section IV and are not repeated here.

In addition, MRL also evaluated potential ways to minimize the startup period, maintain optimal oxygen content and reduce NOx emissions while maintaining and balancing turbine startup operating safety in accordance with the startup procedures. However, a cold startup process can take up to 24 hours and maintaining NOx emissions in compliance with the short-term lb/MMBtu-based emission limits during the entire startup period can be challenging. To that end, MRL proposes the above-mentioned best management practices that would minimize emissions by reducing the duration of startup. Minimizing the duration of the startup combined with a higher lb/MMBtu limit to reflect steady state controls are not fully functional during these periods.

Step 2: Eliminate Technically Infeasible Options

During SSM periods, add on NOx control devices cannot reach operating temperature and therefore cannot provide the NOx removal necessary to meet the proposed lb/MMBtu permit limit. While H 2815 can meet the proposed steady state BACT limit of 0.035 lb/MMBtu (30 day rolling average) during steady-state operation, its instantaneous emission rate may exceed 0.035 lb/MMBtu during SSM events. However, the heat input to the heater during SSM periods is expected to be low such that even at the elevated lb/MMBtu, the maximum short-term lb/hr emissions will not be exceeded.

MRL follows standard startup procedures for heaters to ensure safe operation within maximum pressure and temperature curves, and the same procedures will apply to H 2815. Startup occurs at an acceptable maximum firing rate while maintaining safety and compliance with the equipment maximum pressure and temperature operating curve.

SCR, SNCR, and NSCR are not technically feasible during SSM because they require catalyst or reagent temperatures and residence conditions that are not attainable during these transient periods.

Good combustion practices and the use of ULNBs remain viable and are already implemented for steady state control, and they also provide some benefit during transients.

Documented SSM procedures and an appropriately higher, time limited lb/MMBtu allowance for startup remain viable compliance options to balance efficient startup with emissions control.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

Good combustion practices and following established transient-operation procedures, particularly startup which requires longer warm-up times to avoid metal fatigue and other heat-related stresses, are available.

Step 4: Evaluate Most Effective -Control Options and Document Results

Good combustion practices and following established procedures for minimizing transient durations are both effective. Combining good combustion practices and procedures, MRL has determined an expected lb/hr limit that could be achieved. The lb/hr-based SSM NOx emission limit is determined based on the NOx emission rate of 0.035 lb/MMBtu and the heater’s maximum firing rate 80 MMBtu/hr, with an additional 10% safety factor applied. The resulting limit would provide a 3.08 lb/hr limit calculated as an overall average over the transient period of an SSM event.

Step 5: Select BACT

MRL proposed Good Combustion Practices, use of established procedures limiting transient duration, and a NOx emission limit of 3.08 lb/hr (over the transient period of each SSM event), during periods characterized as SSM by MRL.

SSM periods are defined in Section IV of the permit and subject to ARM 17.8.749.

PM/PM10/PM2.5

The #2 Hydrogen Plant Reformer Heater (H-2815) will emit PM, PM10 and PM2.5 comprising both filterable and condensable fractions. The heater will burn PSA off gas and RFU off gas, which contain relatively low levels of high molecular weight hydrocarbons; therefore elevated particulate emissions from incomplete combustion of heavy hydrocarbons are not expected.

The gaseous fuels will also undergo desulfurization, which is an integral process in hydrogen production to reduce H2S concentrations to low levels prior to combustion. Lower sulfur content in the fuel further reduces the potential for PM10 and PM2.5 formation during combustion.

The heater will not be subject to any NSPS or NESHAP PM, PM10 or PM2.5 emission standard.

However, it will follow the MTDEQ opacity and PM standards:

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over 6 consecutive minutes; and

- Pursuant to ARM 17.8.309, PM emissions from the heater shall not exceed 0.24 lb/MMBtu

Step 1: Identify Control Technologies

The following are available PM, PM10 and PM2.5 emission control technologies for the heater.

- Good Combustion Practices;

- ESP;

- Filter;

- Wet Scrubber; and

- Cyclone.

Below these technologies are generally described.

Good Combustion Practices

Please see the Definition I herein for a discussion of this technology.

ESP

Please see the Definition VIII herein for a discussion of this technology.

Filter

Please see the Definition Section IX herein for a discussion of this technology.

Wet Scrubber

Please see the Definition Section X herein for a discussion of this technology.

Cyclone

Please see the Definition Section XI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the PM, PM10 and PM2.5 emission control technologies determined to be available for the heater is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

ESP

MRL estimated that the PM emitted by the heater will be PM10 only, which is a characteristic that would limit the control effectiveness of an ESP. Additionally, the PM10 concentration in the heater’s exhaust stream will be below the concentration typically seen in an ESP’s exhaust stream. Thus, an ESP would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of emission control technology application data sets indicates an ESP has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use an ESP to control PM emissions from the heater.

Baghouses / Fabric Filters

Baghouses/fabric filters are not used on natural gas-fired combustion units due to the inherently low filterable PM content of natural gas. Uncontrolled PM emissions from natural gas combustion are already on the order of ~0.001 to 0.003 lb/MMBtu, which is comparable to or below typical fabric filter outlet concentrations. Therefore, the installation of a baghouse would provide negligible emission reduction at disproportionate capital and operating cost.

Secondly, conventional filter bags have temperature limits, typically ranging from 275°F (e.g., standard polyester bags) to 500°F (e.g., fiberglass, Nomex, Teflon). Flue gas from fuel gas combustion could melt or damage the filter material.

Thirdly, fuel gas combustion produces a high volume of moisture in the flue gas. When the flue gas drops below its dew point, moisture can condense on the filter bags, which will cause the bags to become clogged as the fine condensable PM sticks to the wet fabric and thus will not lower the condensable PM emissions by any appreciable amount. Additionally, condensation can also cause corrosion to the baghouse's metal components, leading to material degradation and equipment failure.

Furthermore, research of emission control technology application data sets indicates a filter has not been used to control PM emissions from a comparable heater.

These factors indicate it would not be technically feasible to use a filter to control PM emissions from the heater.

Wet Scrubber

The PM10-only profile of the heater’s PM emissions indicates a wet scrubber would require a considerable pressure drop to effectively reduce the heater’s PM emissions. Additionally, the PM10 concentration in the heater’s exhaust stream will be below the concentration typically seen in a wet scrubber’s exhaust stream. Furthermore, the liquid carryover in the exhaust stream from a wet scrubber contains dissolved and suspended solids, which would result in a new PM emission mechanism, reducing any negligible PM10 control effectiveness of the wet scrubber in this application. Moreover, research of emission control technology application data sets indicates a wet scrubber has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a wet scrubber to control PM emissions from the heater.

Cyclone

The PM10-only profile of the heater’s PM emissions would limit the control effectiveness of a cyclone. Additionally, the PM10 concentration in the heater’s exhaust stream will be below the concentration typically seen in a cyclone’s exhaust stream. Thus, a cyclone would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of emission control technology application data sets indicates a cyclone has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a cyclone to control PM emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available PM, PM10 and PM2.5 emission control technology for the #2 Hydrogen Plant Reformer Heater (H-2815) is good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available PM, PM10 and PM2.5 emission control technology for the #2 Hydrogen Plant Reformer Heater (H-2815) is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the PM, PM10 and PM2.5 emissions from H-2815. Therefore, MRL will control PM, PM10 and PM2.5 emissions from the heater by using good combustion practices and comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu (HHV), based on the average of three 1-hour runs;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV), based on the average of three 1-hour runs; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) based the average of three 1-hour runs.

Sulfur Dioxide

The #2 Hydrogen Plant will use RFU purge gas and RFU off gas as feedstock gas options (in addition to natural gas) to produce hydrogen. RFU purge gas is intentionally removed from the RFU system to control buildup of non-reactive compounds and contains a high concentration of unreacted hydrogen plus accumulated inert gases. RFU off gas is a byproduct of hydrotreating reactions and consists primarily of hydrocarbons (e.g., methane, propane) and unreacted hydrogen. Both streams can contain H2S and therefore are routed through desulfurization prior to the main hydrogen production steps.

Desulfurization is essential to protect downstream catalysts because sulfur compounds can poison the hydrogen production catalysts by binding strongly to the surface of the catalysts and therefore blocking the active sites required for the reforming reaction. This will reduce catalyst efficiency and necessitate more frequent and costly catalyst replacement. Integrating a desulfurization step upfront will protect the catalysts, ensure long-term operational stability, and reduce unscheduled downtime. For this reason, desulfurization is an integral upstream process in hydrogen production rather than an add on emissions control, although it has the co benefit of lowering H2S levels and reducing potential SO2 emissions from subsequent fuel combustion.

After desulfurization, the desulfurized gases will proceed to the reformer and the WGS reactor, where hydrocarbons and CO are converted to hydrogen. The reformer’s hydrogen rich stream will then be sent to a PSA unit for final purification to separate hydrogen from impurities like CO2, methane, CO, and residual water vapor.

PSA off gas will be used as fuel gas for the #2 Hydrogen Plant reformer heater H-2815. Due to the upfront desulfurization, the fuel gas combustion in the heater will emit only a small amount of SO2 emissions.

H-2815 will be subject to the following MTDEQ SO2 emission standard.

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S).

Step 1: Identify Control Technologies

The following are available SO2 emission control technologies for #2 Hydrogen Plant Reformer Heater (H-2815).

- Low Sulfur Fuel; and

- Flue Gas Desulfurization.

Below these technologies are generally described.

Low Sulfur Fuel

Please see the Definition Section XII herein for a discussion of this technology.

Flue Gas Desulfurization

Please see the Definition Section XIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the SO2 emission control technologies determined to be available for the cogeneration plant is evaluated below.

Low Sulfur Fuel

Low sulfur fuel is technically feasible for the turbine.

Flue Gas Desulfurization

Flue gas desulfurization is commonly used to reduce SO2 emissions from coal-fired and oil- fired combustion sources due to the relatively high concentration of SO2 (thousands of ppmv) contained in the flue gas generated by these sources.

H-2815 will emit SO2 at concentrations less than 15 ppmv, which are below the concentrations oftentimes seen in a wet scrubber’s exhaust stream. Flue gas desulfurization systems rely on efficient mass transfer of SO2 from the gas stream into a liquid or solid absorbent. When the concentration of SO2 is very low, the “driving force” for this mass transfer is extremely inefficient, which makes it difficult for the absorbent to capture the remaining sulfur molecules effectively.

Additionally, with low inlet SO2 concentrations in flue gas, it is very challenging to control the system’s chemistry and maintain the ideal pH for the scrubbing liquid, which further reduces removal efficiency.

Furthermore, the liquid carryover in the exhaust stream from a wet scrubber or the solid carryover in the exhaust stream from a semi-dry or dry scrubber would result in a new PM emission mechanism for the heater.

Lastly, research of emission control technology application data sets indicated wet, semi-dry and dry scrubbers have not been used to control SO2 emissions from a comparable heater.

These factors indicate it would not be technically feasible to use flue gas desulfurization technologies to control SO2 emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available SO2 emission control technology for the #2 Hydrogen Plant Reformer Heater (H-2815) is low sulfur fuel.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available SO2 emission control technology for the #2 Hydrogen Plant Reformer Heater (H-2815) is low sulfur fuel.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that combusting low sulfur gaseous fuel represents the maximum air pollution control capability for the SO2 emissions from the #2 Hydrogen Plant Reformer Heater (H-2815). Specifically, MRL shall control SO2 emissions from the heater by combusting PSA off gas and RFU off gas containing no more than 30 ppmv H2S with an annual average of no more than 10 ppmv H2S.

Volatile Organic Compounds

H-2815 will emit VOC due to the incomplete oxidation of hydrocarbons present in its gaseous fuels. However, the low molecular weight characteristic of the hydrocarbons in the PSA off gas and RFU off gas will promote low levels of VOC emissions from the heater.

Furthermore, the heater will be equipped with an oxygen monitoring system, which will allow the plant to make on-line optimization adjustments to the heater’s combustion process, as needed. This system will greatly assist in minimizing the heater’s VOC emissions by providing the site with the capability to maintain good combustion practices at the heater.

The heater will not be subject to any NSPS or NESHAP VOC emission standard. However, the heater will follow the NESHAP Subpart DDDDD work practice standards that will minimize its VOC emissions:

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burner(s) and clean or replace any components of the burner(s) as necessary; and

- •	Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burner(s) and adjust the burner(s) as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the heater.

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below these technologies are generally described.

Good Combustion Practices

Please see the Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see the Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see the Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available

for the heater is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of VOC emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the #2 Hydrogen Plant Reformer Heater (H-2815) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- Thermal Oxidation

- Catalytic Oxidation;

- Good Combustion Practices

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the #2 Hydrogen Plant Reformer Heater (H-2815).

Thermal Oxidation

Due to the very low concentration of VOC in its exhaust stream. The application of thermal oxidation to reduce the heater’s VOC emission rate would require the combustion of a considerable amount of fuel to achieve the elevated temperature necessary to promote the oxidation of the small amount of VOC that will be present in the heater’s exhaust stream. This fuel combustion would generate additional combustion pollutants, including VOC. Thus, the VOC emission reduction effectiveness of the thermal oxidation system would be reduced, if not negated, because of the VOC generated by the thermal oxidation process.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s VOC emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere. Furthermore, research of emission control technology application data sets indicated thermal oxidation has not been used to control VOC emissions from a comparable heater.

Lastly, MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s VOC emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-2815. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Catalytic Oxidation

Exhaust gas temperatures for H 2815 fall below the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

Fuel gas to the reformer heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. The heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s VOC emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

In consideration of the low VOC emissions from the heater [1.40 tons per year (tpy)], MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-2815. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for its VOC emissions

Good Combustion Practices

The only remaining available VOC emission control technology for the Hydrogen Plant #2 Reformer Heater H-2815 is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the VOC emissions from the #2 Hydrogen Plant Reformer Heater (H-2815). Therefore, MRL will control VOC emissions from the heater by using good combustion practices and comply with the following emission limitation to reflect the performance of the maximum air pollution control capability for this unit.

- VOC emissions from the heater shall not exceed 0.004 lb/MMBtu (HHV) on an average of three 1-hr runs.

CMR to MRL FCC Preheater H-0302

The maximum air pollution control capability determinations made for the turbine burning renewable naphtha pursuant to ARM 17.8.752 are presented below, by pollutant. Table III-4 below summarizes the proposed BACT limits for this fuel scenario.

Table III-4

Proposed BACT Limits: FCC Preheater -0302

| Emissions Unit | Pollutant | Control Technology/Practice | Emissions Level |
| --- | --- | --- | --- |
| H-0302 Fired with Natural Gas and RFU Off-gas | CO | Good Combustion Practices | 0.08 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | NOX – Steady State Operations | Good Combustion Practices | 0.10 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM (filt.) | Good Combustion Practices and use of low ash content fuels | 0.0019 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM10 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM2.5 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | SO2 | Low Sulfur Gaseous Fuel | Fuel gas containing ≤30 ppmv H2S maximum and ≤10 ppmv H2S on an annual average basis |
|  | VOC | Good Combustion Practices | 0.0054 lb/MMBtu (HHV) (Average of three 1-hour runs) |

Carbon Monoxide

FCC Preheater (H-0302) will combust a blend of pipeline quality natural gas and RFU off gas. The heater will emit CO due to the incomplete oxidation of hydrocarbons present in natural gas and RFU off gas. However, natural gas and RFU off gas are both low-carbon fuels. This fuel characteristic will promote low levels of CO emissions from the heater.

The heater is equipped with an oxygen monitoring system, which is a component of good combustion practices. The oxygen monitoring system is designed to allow MRL to make on-line optimization adjustments to its combustion process, as needed. This system greatly assists in minimizing the heater’s CO emissions by providing MRL with the capability to maintain good combustion practices at the heater.

The heater will continue to follow the work practice standards in 40 CFR, Part 63, Subpart DDDDD – National Emission Standards for Hazardous Air Pollutants (NESHAP) for Major Sources: Industrial, Commercial and Institutional Boilers and Process Heaters:

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary.

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

- Pursuant to 40 CFR 63.7540(a)(10)(iv), MRL will optimize total emissions of CO from the heater. This optimization will be consistent with the manufacturer's specifications and the nitrogen oxides (NOx) emission limitation to which the heater is subject.

- Pursuant to 40 CFR 63.7540(a)(10)(v), MRL will measure the CO and oxygen concentrations in the heater’s exhaust stream before and after making the adjustments referenced above.

Additionally, MRL proposes the following maximum air pollutant control capability CO emission standard pursuant to ARM 17.8.752:

- CO emissions from the heater shall not exceed 0.08 pounds per MMBtu (lb/MMBtu) on an average of three 1-hr runs.

Step 1: Identify Control Technologies

. The following are available CO emission control technologies for the FCC Preheater (H-0302).

•	Good Combustion Practices;

•	Thermal Oxidation; and

•	Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Good combustion practices for a gaseous fuel enclosed combustion device provide a properly set and controlled air-to-fuel ratio and appropriate combustion zone residence time, temperature, and turbulence parameters essential to achieving low CO emission levels. Incomplete combustion of fuel hydrocarbons can occur because of improper combustion mechanisms, which may result from poor burner/combustion device design, operation, and/or maintenance. However, a heater is designed and typically operated to maximize fuel combustion efficiency so that its fuel usage cost is minimized while maximizing process heating performance. Good combustion practices can be achieved by following a combustion device manufacturer’s operating procedures and guidelines, as well as complying with NESHAP Subpart DDDDD work practice standards, which require a combustion device to undergo regular tune-ups.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the CO emission control technologies determined to be available for FCC Preheater (H-0302) is evaluated below.

Good Combustion Practices

Good combustion practices, including an oxygen monitoring system, are an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of CO emissions from the preheater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of CO emissions from the preheater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available CO emission control technologies for the FCC Preheater (H-0302) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic Oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

.

Below, MRL evaluated the cost effectiveness of the installation and operation of the CO emission control technologies that were determined to be technically feasible for FCC Preheater (H-0302).

Thermal Oxidation

The oxidation of CO to CO2 is a time-dependent chemical reaction. For a thermal oxidation system to effectively reduce CO, the process requires a wide combustion chamber specifically designed for increased residence time to allow the chemical reactions to complete. This design will increase the cost and require a large space to accommodate the device. Chamber residence time and temperature are directly linked. Shorter residence times (smaller chambers) require higher temperatures to achieve the same destruction rate, which increases fuel costs and can risk equipment damage.

For H 0302, the very low CO concentration in the exhaust means a thermal oxidizer would need either a large combustion chamber to provide adequate reaction time or substantial auxiliary fuel to raise temperatures enough to oxidize the small CO mass. Either approach substantially increases capital and operating expense.

Additionally, Combustion in the oxidizer also generates additional pollutants, including CO, which can offset the CO reduction achieved by oxidation.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s CO emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere.

MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Research of emission control technology application data [i.e., Environmental Protection Agency’s (EPA’s) Reasonably Available Control Technology (RACT)/BACT/Lowest Achievable Emission Rate (LAER) Clearinghouse (RBLC) database] indicates that thermal oxidation has not been used to control CO emissions from a comparable heater.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-0302. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Catalytic Oxidation

Fuel gas to the preheater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary CO oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

In addition, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, together with the low CO emissions from the preheater, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-0302. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the preheater’s CO emissions.

Good Combustion Practices

The only remaining available CO emission control technology for FCC Preheater (H-0302) is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices, including an oxygen monitoring system, represent the maximum air pollution control capability for CO emissions from H-0302. Therefore, MRL will control CO emissions from the heater by using good combustion practices and complying with the following emission limitations:

- CO emissions from FCC Preheater (H-0302) shall not exceed 0.08 lb/MMBtu higher heating value (HHV) on an average of three 1-hr runs.

Nitrogen Oxides

FCC Preheater (H-0302) will emit NOx, primarily due to the thermal and prompt NOx generation mechanisms because the heater’s fuel will not contain appreciable amounts of organo-nitrogen compounds that result in fuel NOx emissions. Thermal NOx results from the high temperature thermal dissociation and subsequent reaction of combustion air molecular nitrogen and oxygen and it tends to be generated in the high temperature zone near the burner of an external combustion device. The rate of thermal NOx generation is affected by the following three factors: oxygen concentration, peak flame temperature and duration at peak flame temperature. As these three factors increase in value, the rate of thermal NOx generation increases.

Prompt NOx occurs at the flame front through the relatively fast reaction between nitrogen and oxygen molecules in combustion air and fuel hydrocarbon radicals, which are intermediate species formed during the combustion process.

The preheater is currently not subject to the NOx emission standard in NSPS Subpart Ja as its rated capacity is less than 40 MMBtu/hr. After the unit is taken offline at CMR and recommissioned at MRL, it will not be subject to any NOx emission standards in the NSPS or NESHAP rules.

Step 1: Identify Control Technologies

The following are available NOx emission control technologies for FCC Preheater (H-0302).

- Good Combustion Practices;

- SCR;

- SNCR; and

- NSCR.

These technologies are generally described in the following sections.

Good Combustion Practices

Good combustion practices are an available, practical NOx control approach for FCC Preheater H-0302 and can achieve meaningful NOx reductions without adding end of pipe hardware. These practices focus on optimizing the combustion process to minimize thermal NOx formation by controlling flame temperature, residence time in high temperature zones, and oxygen availability. The key elements of good combustion practices include properly tuned burners, fuel/air ratio control, appropriate excess air limits, regular calibration and maintenance of combustion air and fuel flow instrumentation, and routine inspection/maintenance of burners and refractory to preserve designed flame patterns and heat transfer. For H-0302, implementing and documenting good combustion practice consistent with NESHAP Subpart DDDDD ensures operation within the conditions that minimize NOx generation across normal and transient operating modes. Because these measures require relatively low capital cost, are inherently robust to fuel and load variability, and avoid reagent handling or catalyst sensitivity issues associated with add on controls, they represent a technically feasible and cost effective NOx control option for this unit.

SCR

Please see Definition Section V herein for a discussion of this technology.

SNCR

Please see Definition Section VI herein for a discussion of this technology.

NSCR

Please see Definition Section VII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the NOx emission control technologies determined to be available for FCC Preheater (H-0302) is evaluated below.

Good Combustion Practices

The heater implements good combustion practices, including minimizing excess air, ensuring proper fuel and air mixing, maintaining low flame temperatures, and controlling residence times, etc. This option is technically feasible.

SCR

This option is technically feasible for the heater.

SNCR

SNCR is not technically feasible for NOx control for H-0302 because the process conditions (temperature window, residence time, flue gas composition and flow pattern), operational transients, and integration constraints prevent reliable reagent reaction and acceptable NOx removal efficiency without unacceptable impacts on process operations or requiring impractical auxiliary systems.

- Narrow and high temperature window: SNCR relies on homogeneous gas phase reactions between injected reagent (typically ammonia or urea) and NOx to form N2 and H2O. These reactions are effective only within a relatively narrow, elevated temperature range (generally 1600 – 2100 °F). Based on the current operating records, exhaust gas temperatures for H 0302 (burning refinery off gas) range from about 800 - 1050 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below the SNCR optimal temperature range.

- Insufficient residence time and gas mixing: Effective SNCR requires sufficient residence time at the proper reaction temperature and good mixing between reagent and flue gas. The FCC preheater and its downstream ductwork cannot provide the long residence times or well controlled turbulent mixing necessary for SNCR to reach meaningful NOx reductions. Short residence time and poor mixing lead to low NOx conversion and elevated ammonia slip.

- For H-0302, the relatively low NOx concentrations in combustion flue gas make SNCR inefficient because it requires substantial reagent flow to obtain acceptable percentage reductions. To achieve modest NOx reduction (25 – 60% for urea-based systems and 61 – 65% for ammonia-based systems), reagent dosing must be elevated, which increases risk of ammonia slip. Unreacted reagent (ammonia slip) can form ammonium salts with sulfur or acidic species in the flue gas, leading to deposition and corrosion on heat transfer surfaces, ductwork, and pollution control equipment.

- Furthermore, H-0302 combustion flue gas may contain sulfur compounds, particulates, and other contaminants that foul injectors, poison reaction pathways, or create corrosive byproducts when combined with injected reagent. Injector nozzles exposed to these conditions require frequent cleaning/replacement, reducing availability and raising lifecycle costs.

Given these factors, SNCR is not technically feasible for controlling NOx from FCC Preheater H-0302.

NSCR

NSCR technology is not technically feasible for the control of NOx emissions from the heater because it will not operate at the 0.5% or less excess oxygen concentration necessary to ensure NOx reduction with NSCR. Instead, the heater will operate with an excess oxygen concentration of approximately 2 - 3%. This amount of excess oxygen will promote both low levels of CO and high combustion (thermal) efficiency, while also providing for safe heater operations during variations in fuel gas operating conditions (e.g., fuel gas composition changes, fuel gas supply pressure variations). Furthermore, research of EPA’s RBLC database indicates NSCR has not been used to control NOx emissions from a comparable heater. These factors indicate that it is not technically feasible to use NSCR to control the heater’s NOx emissions.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available NOx emission control technologies for FCC Preheater (H-0302) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- SCR; and

- Good Combustion Practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the NOx emission control technologies that were determined to be technically feasible for FCC Preheater H-0302.

SCR

As indicated in the application, MRL estimated that the installation and operation of an SCR system on the heater would result in a cost effectiveness equal to approximately $30,902 per ton of NOx emission reduction, which is not cost effective. The cost for the installation and operation of an SCR system on the heater was estimated using the SCR cost estimating spreadsheet that EPA developed and published in June of 2019. The installation of an SCR system on the heater would require additional energy to operate the SCR system’s electrical equipment (e.g., pumps, heaters/vaporizers, instrumentation) and provide fan power to overcome the pressure drop across the SCR catalyst bed(s). This increase in electricity usage at the plant would likely result in increased GHG and non-GHG emission rates at one or more power generating stations, reducing the net environmental benefit of the SCR system. Furthermore, the SCR catalyst would require periodic replacement, which would result in a spent catalyst waste stream. This waste stream may represent hazardous waste depending on the composition of the catalyst and the heater’s combustion products collected on the catalyst. Lastly, an SCR system would experience ammonia slip during operation, resulting in ammonia emissions from the heater’s stack, which may negatively impact regional haze due to an increase in the amount of atmospheric ammonia available to generate visibility impairing ammonium nitrates and ammonium sulfates.

In summary, MRL determined that it would not be cost effective to equip the heater with an SCR system and the operation of an SCR system on the heater would likely result in collateral emissions of GHG and non-GHG pollutants, as well as the generation of an additional solid waste stream at the site. For these reasons, MRL eliminated an SCR system from consideration as the maximum air pollution control capability for the heater’s NOx emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices following NESHAP DDDDD requirements represent the maximum air pollution control capability for the NOx emissions from FCC Preheater (H-0302). The unit will comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- NOx emissions from FCC Preheater (H-0302) shall not exceed 0.1 lb/MMBtu (HHV), based on a 30-day rolling average during steady state operations.

PM/PM10/PM2.5

Step 1: Identify Control Technologies

The FCC Preheater (H-0302) will emit PM, PM10 and PM2.5 comprising both filterable and condensable fractions. A gaseous fuel combustion device can emit condensable PM10 and PM2.5 due to the incomplete combustion of higher molecular weight hydrocarbons present in the device’s gaseous fuel. However, the heater will combust pipeline quality natural gas and RFU off gas, which contain relatively low levels of high molecular weight hydrocarbons; therefore, elevated particulate emissions from incomplete combustion of heavy hydrocarbons are not expected. Additionally, the proposed fuels contain low levels of sulfur, further minimizing the generation of PM10 and PM2.5 when they are combusted.

The heater will not be subject to an NSPS or NESHAP emission standard. MRL proposes the following opacity and maximum air pollution control capability for PM, PM10 and PM2.5:

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over six consecutive minutes;

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu.

The following are available PM, PM10 and PM2.5 emission control technologies for the cogeneration plant.

- Good Combustion Practices;

- ESP;

- Filter;

- Wet Scrubber; and

- Cyclone.

Below these technologies are generally described.

Good Combustion Practices

Please see the Definition Section I herein for a discussion of this technology.

ESP

Please see the Definition Section VIII herein for a discussion of this technology.

Filter

Please see the Definition Section IX herein for a discussion of this technology.

Wet Scrubber

Please see the Definition Section X herein for a discussion of this technology.

Cyclone

Please see the Definition Section XI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the PM emission control technologies determined to be available for the FCC Preheater (H-0302) is evaluated below.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available PM, PM10 and PM2.5 emission control technology for the cogeneration plant turbine is good combustion practices.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

ESP

MRL estimated that the PM emitted by the heater will be PM10, which is a characteristic that would limit the control effectiveness of an ESP. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically required for effective performance of the ESP. Thus, an ESP would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates that ESP has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use an ESP to control PM emissions from the heater.

Fabric Filter / Baghouse

Baghouses/fabric filters are not used on natural gas-fired combustion units due to the inherently low filterable PM content of natural gas. Uncontrolled PM emissions from natural gas combustion are already on the order of ~0.001 to 0.003 lb/MMBtu, which is comparable to or below typical fabric filter outlet concentrations. Therefore, the installation of a baghouse would provide negligible emission reduction at disproportionate capital and operating cost.

Secondly, conventional filter bags have temperature limits, typically ranging from 275°F (e.g., standard polyester bags) to 500°F (e.g., fiberglass, Nomex, Teflon). Flue gas from fuel gas combustion of the heater (expected to be 800°F – 1050°F) could melt or damage the filter material.

Thirdly, fuel gas combustion produces a high volume of moisture in the flue gas. When the flue gas drops below its dew point, moisture can condense on the filter bags, which will cause the bags to become clogged as the fine condensable PM sticks to the wet fabric and thus will not lower the condensable PM emissions by any appreciable amount. Additionally, condensation can also cause corrosion to the baghouse's metal components, leading to material degradation and equipment failure.

Furthermore, research of emission control technology application data sets indicates a filter has not been used to control PM emissions from a comparable gas-fired heater.

These factors indicate it would not be technically feasible to use a filter to control PM emissions from the heater.

Wet Scrubber

The PM10-only profile of the heater’s PM emissions indicates a wet scrubber would require a considerable pressure drop to effectively reduce the heater’s PM emissions. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a wet scrubber’s exhaust stream. Furthermore, the liquid carryover in the exhaust stream from a wet scrubber contains dissolved and suspended solids, which would result in a new PM emission mechanism, reducing any negligible PM10 control effectiveness of the wet scrubber in this application. Moreover, research of EPA’s RBLC database indicates a wet scrubber has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a wet scrubber to control PM emissions from the heater.

Cyclone

The PM10-only profile of the heater’s PM emissions would limit the control effectiveness of a cyclone. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a cyclone’s exhaust stream. Thus, a cyclone would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates a cyclone has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a cyclone to control PM emissions from the heater.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available PM, PM10 and PM2.5 emission control technology for the FCC Preheater (H-0302) is good combustion practices..

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the PM, PM10 and PM2.5 emissions from the FCC Preheater (H-0302). Therefore, MRL will control PM, PM10 and PM2.5 emissions from the heater by using good combustion practices and comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three 1-hr runs;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs.

Sulfur Dioxide

FCC Preheater (H-0302) will combust pipeline quality natural gas and RFU off gas. The natural gas will contain a negligible amount of H2S. The RFU off gas will pass through de-sulfurization to minimize its H2S content. Therefore, the heater will emit only a small amount of SO2.

The heater is currently subject to the SO2 standard in NSPS Subpart Ja. However, after the unit is taken offline at CMR and recommissioned to serve MRL, it will not be an affected facility under NSPS Subpart Ja as MRL is not a “petroleum refinery”.

The heater is subject to the following state SO2 emission standard:

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S).

Step 1: Identify Control Technologies

The following are available SO2 emission control technologies for FCC Preheater (H-0302).

Low Sulfur Fuel; and

Flue Gas Desulfurization.

These technologies are generally described in the following subsections.

Low Sulfur Fuel

Please see the Definition Section XII herein for a discussion of this technology.

Flue Gas Desulfurization

Please see the Definition Section XIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

As noted previously, flue gas desulfurization consists of three main types of scrubbers – wet, dry and semi-dry. The heater will emit SO2 at concentrations less than 15 ppmv, which are below the concentrations oftentimes seen in a wet scrubber’s exhaust stream. Flue gas desulfurization systems rely on efficient mass transfer of SO2 from the gas stream into a liquid or solid absorbent. Due to the very low concentration of SO2 in the exhaust gas stream, the “driving force” for this mass transfer would be extremely inefficient, which makes it difficult for the absorbent to capture the sulfur molecules in flue gas effectively.

Additionally, with low inlet SO2 concentrations in flue gas, it is very challenging to control the system’s chemistry and maintain the ideal pH for the scrubbing liquid, which further reduces removal efficiency.

Furthermore, the liquid carryover in the exhaust stream from a wet scrubber or the solid carryover in the exhaust stream from a semi-dry or dry scrubber would result in a new PM emission mechanism for the heater.

Lastly, research of emission control technology application data sets indicate that wet, semi-dry and dry scrubbers have not been used to control SO2 emissions from a comparable natural gas-fired heater.

These factors indicate it would not be technically feasible to use flue gas desulfurization technologies to control SO2 emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available SO2 emission control technology for FCC Preheater (H-0302) is low sulfur fuel.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available SO2 emission control technology for FCC Preheater (H-0302) is low sulfur fuel.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that combusting low sulfur gaseous fuel represents the maximum air pollution control capability for the SO2 emissions from FCC Preheater (H-0302). Specifically, MRL will control SO2 emissions from H-0302 by combusting gaseous fuel containing no more than 30 ppmv H2S, with an annual average of no more than 10 ppmv H2S.

Volatile Organic Compounds

FCC Preheater (H-0302) will emit VOCs due to the incomplete oxidation of hydrocarbons present in the heater’s gaseous fuel. However, the low molecular weight characteristic of the hydrocarbons in the fuel will promote low levels of VOC emissions from the heater.

Furthermore, the heater is equipped with an oxygen monitoring system, which allows the plant to make on-line optimization adjustments to the heater’s combustion process, as needed. This system greatly assists in minimizing the heater’s VOC emissions by providing the plant with the capability to maintain good combustion practices at the heater.

No NSPS or NESHAP VOC emission standard applies to the heater. However, the heater will be subject to the following NESHAP Subpart DDDDD work practice standards that will minimize its VOC emissions.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary; and

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the FCC Preheater (H-0302).

Good Combustion Practices;

Thermal Oxidation; and

Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for FCC Preheater (H-0302) is evaluated below..

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of VOC emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for FCC Preheater (H-0302) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

Thermal oxidation;

Catalytic oxidation; and

Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

MRL evaluated the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for FCC Preheater (H-0302).

Thermal Oxidation

Due to the very low concentration of VOC in its exhaust stream, the application of thermal oxidation to reduce the heater’s VOC emission rate would require the combustion of a considerable amount of fuel to achieve the elevated temperature necessary to promote the oxidation of the small amount of VOC that will be present in the heater’s exhaust stream. This fuel combustion would generate additional combustion pollutants, including VOC. Thus, the VOC emission reduction effectiveness of the thermal oxidation system would be reduced, if not negated, because of the VOC generated by the thermal oxidation process.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s VOC emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere. Furthermore, research of EPA’s RBLC database indicates thermal oxidation has not been used to control VOC emissions from a comparable heater. These factors indicate it is not technically feasible to use thermal oxidation to control VOC emissions from the heater.

Lastly, MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s VOC emissions of 0.21 tpy. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-0302. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Catalytic Oxidation

Fuel gas to the preheater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary VOC oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

In addition, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s VOC emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

In consideration of the low VOC emissions from the preheater (0.21 tpy), MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-0302. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the preheater’s VOC emissions.

Good Combustion Practices

The only remaining available VOC emission control technology for the FCC Preheater (H-0302) is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the VOC emissions from FCC Preheater (H-0302). Therefore, MRL will control VOC emissions from the heater by using good combustion practices and comply with the following emission limitation to reflect the performance of the maximum air pollution control capability for this unit:

- VOC emissions from the heater shall not exceed 0.0054 lb/MMBtu (HHV) on an average of three 1-hr runs.

CMR to MRL Naphtha Splitter Reboiler H-0405

The existing 9.9 MMBtu/hr Naphtha Splitter Reboiler H-0405, currently permitted in CMR’s Title V Operating Permit #OP2161-24, will be taken offline at CMR and recommissioned to serve MRL’s operation. The maximum air pollution control capability determinations made for H-0405 pursuant to ARM 17.8.752 are presented in Table III-5, by pollutant.

Table III-5

Proposed BACT Limits: Splitter Reboiler H-0405

| Emissions Unit | Pollutant | Control Technology/Practice | Emissions Level |
| --- | --- | --- | --- |
| H-0405 Fired with Natural Gas and RFU Off-gas | CO | Good Combustion Practices | 0.04 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | NOX – Steady State Operations | ULNB (Good Combustion Practices) | 0.035 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM (filt.) | Good Combustion Practices and use of low ash content fuels | 0.0019 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM10 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM2.5 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | SO2 | Low Sulfur Gaseous Fuel | Fuel gas containing ≤30 ppmv H2S maximum and ≤10 ppmv H2S on an annual average basis |
|  | VOC | Good Combustion Practices | 0.0054 lb/MMBtu (HHV) (Average of three 1-hour runs) |

Carbon Monoxide

Naphtha Splitter Reboiler (H-0405) will combust a blend of pipeline quality natural gas and RFU off gas. The heater will emit CO due to the incomplete oxidation of hydrocarbons present in natural gas and RFU off gas. However, natural gas and RFU off gas are both low-carbon fuels. This fuel characteristic will promote low levels of CO emissions from the heater.

The heater is equipped with an oxygen monitoring system, which is a component of good combustion practices. The oxygen monitoring system is designed to allow MRL to make on-line optimization adjustments to its combustion process, as needed. This system greatly assists in minimizing the heater’s CO emissions by providing MRL with the capability to maintain good combustion practices at the heater.

The heater will continue to follow the work practice standards in 40 CFR, Part 63, Subpart DDDDD – National Emission Standards for Hazardous Air Pollutants (NESHAP) for Major Sources: Industrial, Commercial and Institutional Boilers and Process Heaters:

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary.

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

- Pursuant to 40 CFR 63.7540(a)(10)(iv), MRL will optimize total emissions of CO from the heater. This optimization will be consistent with the manufacturer's specifications and the nitrogen oxides (NOx) emission limitation to which the heater is subject.

- Pursuant to 40 CFR 63.7540(a)(10)(v), MRL will measure the CO and oxygen concentrations in the heater’s exhaust stream before and after making the adjustments referenced above.

Additionally, MRL proposes the following maximum air pollutant control capability CO emission standard pursuant to ARM 17.8.752:

- CO emissions from the heater shall not exceed 0.04 lb/MMBtu on an average of three 1-hr runs.

Step 1: Identify Control Technologies

The following are available CO emission control technologies for the Naphtha Splitter Reboiler (H-0405).

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the CO emission control technologies determined to be available for Naphtha Splitter Reboiler (H-0405) is evaluated below.

Good Combustion Practices

Good combustion practices, including an oxygen monitoring system, are an integral component of the design and operation of the unit. Therefore, this option is technically feasible for H-0405.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of CO emissions from H-0405.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of CO emissions from H-0405.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available CO emission control technologies for the Naphtha Splitter Reboiler (H-0405) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic Oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the CO emission control technologies that were determined to be technically feasible for Naphtha Splitter Reboiler (H-0405).

Thermal Oxidation

The oxidation of CO to CO2 is a time-dependent chemical reaction. For a thermal oxidation system to effectively reduce CO, the process requires a wide combustion chamber specifically designed for increased residence time to allow the chemical reactions to complete. This design will increase the cost and require a large space to accommodate the device. Chamber residence time and temperature are directly linked. Shorter residence times (smaller chambers) require higher temperatures to achieve the same destruction rate, which increases fuel costs and can risk equipment damage.

For H-0405, the very low CO concentration in the exhaust means a thermal oxidizer would need either a large combustion chamber to provide adequate reaction time or substantial auxiliary fuel to raise temperatures enough to oxidize the small CO mass. Either approach substantially increases capital and operating expense.

Additionally, Combustion in the oxidizer also generates additional pollutants, including CO, which can offset the CO reduction achieved by oxidation.

In summary, the addition of a second thermal oxidation process to the reboiler may not reduce its CO emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere.

MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the reboiler’ s CO emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Research of emission control technology application data (i.e., EPA’s RBLC database) indicates that thermal oxidation has not been used to control CO emissions from a comparable heater.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-0405. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for its CO emissions.

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain CO oxidation activity. Heaters can experience variable inlet temperatures and transient operating conditions that may drop below the catalyst light off temperature, causing incomplete oxidation and CO slip. Exhaust gas temperatures for H-0405 (burning refinery off gas) currently range from about 450 - 550 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the unit will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary CO oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-0405. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Good Combustion Practices

The only remaining available CO emission control technology for Naphtha Splitter Reboiler (H-0405) is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices, including an oxygen monitoring system, represent the maximum air pollution control capability for CO emissions from Naphtha Splitter Reboiler (H-0405). Therefore, MRL will control CO emissions from the heater by using good combustion practices and complying with the following emission limitation:

- CO emissions from Naphtha Splitter Reboiler (H-0405) shall not exceed 0.04 lb/MMBtu higher heating value (HHV) on an average of three 1-hr runs.

Nitrogen Oxides

Naphtha Splitter Reboiler (H-0405) will emit NOx, primarily due to the thermal and prompt NOx generation mechanisms because the fuel will not contain appreciable amounts of organo-nitrogen compounds that result in fuel NOx emissions. Thermal NOx results from the high temperature thermal dissociation and subsequent reaction of combustion air molecular nitrogen and oxygen and it tends to be generated in the high temperature zone near the burner of an external combustion device. The rate of thermal NOx generation is affected by the following three factors: oxygen concentration, peak flame temperature and duration at peak flame temperature. As these three factors increase in value, the rate of thermal NOx generation increases.

Prompt NOx occurs at the flame front through the relatively fast reaction between nitrogen and oxygen molecules in combustion air and fuel hydrocarbon radicals, which are intermediate species formed during the combustion process. Prompt NOx may represent a meaningful portion of the NOx emissions resulting from LNBs and ULNBs due to the relatively low levels of thermal NOx generated by these burners.

The heater is currently not subject to the NOx emission standard in NSPS Subpart Ja as its rated capacity is less than 40 MMBtu/hr. After the unit is taken offline at CMR and recommissioned at MRL, it will not be subject to any NOx emission standards in the NSPS or NESHAP rules.

Step 1: Identify Control Technologies

The following are available NOx emission control technologies for Naphtha Splitter Reboiler (H-0405).

- ULNBs (Good Combustion Practices);

- SCR;

- SNCR; and

- NSCR.

These technologies are generally described in the following sections.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

SCR

Please see Definition Section V herein for a discussion of this technology.

SNCR

Please see Definition Section IV herein for a discussion of this technology.

NSCR

Please see Definition Section VII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the NOx emission control technologies determined to be available for Naphtha Splitter Reboiler (H-0405) is evaluated below.

Good Combustion Practices

The heater implements good combustion practices, including minimizing excess air, ensuring proper fuel and air mixing, maintaining low flame temperatures, and controlling residence times, etc. This option is technically feasible.

SCR

This option is technically feasible for the heater.

SNCR

SNCR is not technically feasible for NOx control for H-0405 because the process conditions (temperature window, residence time, flue gas composition and flow pattern), operational transients, and integration constraints prevent reliable reagent reaction and acceptable NOx removal efficiency without unacceptable impacts on process operations or requiring impractical auxiliary systems.

- Narrow and high temperature window: SNCR relies on homogeneous gas phase reactions between injected reagent (typically ammonia or urea) and NOx to form N2 and H2O. These reactions are effective only within a relatively narrow, elevated temperature range (generally 1600–2100 °F). Based on the current operating records, exhaust gas temperatures for H-0405 (burning refinery off gas) range from about 450 to 550 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below the SNCR optimal temperature range.

- Insufficient residence time and gas mixing: Effective SNCR requires sufficient residence time at the proper reaction temperature and good mixing between reagent and flue gas. The heater and its downstream ductwork cannot provide the long residence times or well controlled turbulent mixing necessary for SNCR to reach meaningful NOx reductions. Short residence time and poor mixing lead to low NOx conversion and elevated ammonia slip.

- For H-0405, the relatively low NOx concentrations in combustion flue gas make SNCR inefficient because it requires substantial reagent flow to obtain acceptable percentage reductions. To achieve modest NOx reduction, reagent dosing must be elevated, which increases risk of ammonia slip. Unreacted reagent (ammonia slip) can form ammonium salts with sulfur or acidic species in the flue gas, leading to deposition and corrosion on heat transfer surfaces, ductwork, and pollution control equipment.

- Furthermore, H-0405 combustion flue gas may contain sulfur compounds, particulates, and other contaminants that foul injectors, poison reaction pathways, or create corrosive byproducts when combined with injected reagent. Injector nozzles exposed to these conditions require frequent cleaning/replacement, reducing availability and raising lifecycle costs.

Given these factors, SNCR is not technically feasible for controlling NOx from Naphtha Splitter Reboiler H-0405.

NSCR

NSCR technology is not technically feasible for the control of NOx emissions from the unit because it will not operate at the 0.5% or less excess oxygen concentration necessary to ensure NOx reduction with NSCR. Instead, the heater will operate with an excess oxygen concentration of approximately 2 - 3%. This amount of excess oxygen will promote both low levels of CO and high combustion (thermal) efficiency, while also providing for safe heater operations during variations in fuel gas operating conditions (e.g., fuel gas composition changes, fuel gas supply pressure variations). Furthermore, research of EPA’s RBLC database indicates NSCR has not been used to control NOx emissions from a comparable heater. These factors indicate that it is not technically feasible to use NSCR to control NOx emissions from H-0405.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available NOx emission control technologies for Naphtha Splitter Reboiler (H-0405) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- SCR; and

- Good Combustion Practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the NOx emission control technologies that were determined to be technically feasible for Naphtha Splitter Reboiler H-0405.

SCR

As indicated in the application, MRL estimated that the installation and operation of an SCR system on the heater would result in a cost effectiveness equal to approximately $106,582 per ton of NOx emission reduction, which is not cost effective. The cost for the installation and operation of an SCR system on the heater was estimated using the SCR cost estimating spreadsheet that EPA developed and published in June of 2019. The installation of an SCR system on the heater would require additional energy to operate the SCR system’s electrical equipment (e.g., pumps, heaters/vaporizers, instrumentation) and provide fan power to overcome the pressure drop across the SCR catalyst bed(s). This increase in electricity usage at the plant would likely result in increased GHG and non-GHG emission rates at one or more power generating stations, reducing the net environmental benefit of the SCR system. Furthermore, the SCR catalyst would require periodic replacement, which would result in a spent catalyst waste stream. This waste stream may represent hazardous waste depending on the composition of the catalyst and the heater’s combustion products collected on the catalyst. Lastly, an SCR system would experience ammonia slip during operation, resulting in ammonia emissions from the heater’s stack, which may negatively impact regional haze due to an increase in the amount of atmospheric ammonia available to generate visibility impairing ammonium nitrates and ammonium sulfates.

In summary, MRL determined that it would not be cost effective to equip the reboiler with an SCR system and the operation of an SCR system on the reboiler would likely result in collateral emissions of GHG and non-GHG pollutants, as well as the generation of an additional solid waste stream at the site. For these reasons, MRL eliminated an SCR system from consideration as the maximum air pollution control capability for the reboiler’ s NOx emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices following NESHAP DDDDD requirements represent the maximum air pollution control capability for the NOx emissions from Naphtha Splitter Reboiler (H-0405). The unit will comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- NOx emissions from Naphtha Splitter Reboiler (H-0405) shall not exceed 0.035 lb/MMBtu (HHV) on an average of three 1-hr runs.

Particulate Matter PM/PM10/PM2.5

The Naphtha Splitter Reboiler (H-0405) will emit PM, PM10 and PM2.5 comprising both filterable and condensable fractions. A gaseous fuel combustion device can emit condensable PM10 and PM2.5 due to the incomplete combustion of higher molecular weight hydrocarbons present in the device’s gaseous fuel. However, the heater will combust pipeline quality natural gas and RFU off gas, which contain relatively low levels of high molecular weight hydrocarbons; therefore, elevated particulate emissions from incomplete combustion of heavy hydrocarbons are not expected. Additionally, the proposed fuels contain low levels of sulfur, further minimizing the generation of PM10 and PM2.5 when they are combusted.

The heater will not be subject to an NSPS or NESHAP emission standard. MRL proposes the following opacity and maximum air pollution control capability for PM, PM10 and PM2.5:

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over six consecutive minutes;

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu.

Step 1: Identify Control Technologies

The following are available PM emission control technologies for the Naphtha Splitter Reboiler (H-0405).

- Good Combustion Practices;

- ESP;

- Filter;

- Wet Scrubber; and

- Cyclone.

These technologies are generally described below.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

ESP

Please see Definition Section VIII herein for a discussion of this technology.

Filter

Please see Definition Section IX herein for a discussion of this technology.

Wet Scrubber

Please see Definition Section X herein for a discussion of this technology.

Cyclone

Please see Definition Section XI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the PM emission control technologies determined to be available for the Naphtha Splitter Reboiler (H-0405) is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the unit. Therefore, this option is technically feasible for H-0405.

ESP

MRL estimated that the PM emitted by the heater will be PM10, which is a characteristic that would limit the control effectiveness of an ESP. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically required for effective performance of the ESP. Thus, an ESP would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates that ESP has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use an ESP to control PM emissions from the unit.

Fabric Filter / Baghouse

Baghouses/fabric filters are not used on natural gas-fired combustion units due to the inherently low filterable PM content of natural gas. Uncontrolled PM emissions from natural gas combustion are already on the order of ~0.001 to 0.003 lb/MMBtu, which is comparable to or below typical fabric filter outlet concentrations. Therefore, the installation of a baghouse would provide negligible emission reduction at disproportionate capital and operating cost.

Secondly, conventional filter bags have temperature limits, typically ranging from 275°F (e.g., standard polyester bags) to 500°F (e.g., fiberglass, Nomex, Teflon). Flue gas from fuel gas combustion of the heater could melt or damage the filter material.

Thirdly, fuel gas combustion produces a high volume of moisture in the flue gas. When the flue gas drops below its dew point, moisture can condense on the filter bags, which will cause the bags to become clogged as the fine condensable PM sticks to the wet fabric and thus will not lower the condensable PM emissions by any appreciable amount. Additionally, condensation can also cause corrosion to the baghouse's metal components, leading to material degradation and equipment failure.

Furthermore, research of emission control technology application data sets indicates a filter has not been used to control PM emissions from a comparable gas-fired heater.

These factors indicate it would not be technically feasible to use a filter to control PM emissions from the unit.

Wet Scrubber

The PM10-only profile of the heater’s PM emissions indicates a wet scrubber would require a considerable pressure drop to effectively reduce the heater’s PM emissions. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a wet scrubber’s exhaust stream. Furthermore, the liquid carryover in the exhaust stream from a wet scrubber contains dissolved and suspended solids, which would result in a new PM emission mechanism, reducing any negligible PM10 control effectiveness of the wet scrubber in this application. Moreover, research of EPA’s RBLC database indicates a wet scrubber has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a wet scrubber to control PM emissions from the unit.

Cyclone

The PM10-only profile of the heater’s PM emissions would limit the control effectiveness of a cyclone. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a cyclone’s exhaust stream. Thus, a cyclone would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates a cyclone has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a cyclone to control PM emissions from the unit.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available PM, PM10 and PM2.5 emission control technology for the Naphtha Splitter Reboiler (H-0405) is good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available PM, PM10 and PM2.5 emission control technology for the Naphtha Splitter Reboiler (H-0405) is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the PM, PM10 and PM2.5 emissions from the Naphtha Splitter Reboiler (H-0405). Therefore, MRL will control PM, PM10 and PM2.5 emissions from the heater by using good combustion practices and comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three 1-hr runs;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs.

Sulfur Dioxide

Naphtha Splitter Reboiler (H-0405) will combust pipeline quality natural gas and RFU off gas. The natural gas will contain a negligible amount of H2S. The RFU off gas will pass through de-sulfurization to minimize its H2S content. Therefore, the heater will emit only a small amount of SO2.

The heater is currently subject to the SO2 standard in NSPS Subpart Ja. However, after the unit is taken offline at CMR and recommissioned to serve MRL, it will not be an affected facility under NSPS Subpart Ja as MRL is not a “petroleum refinery”.

The heater is subject to the following state SO2 emission standard:

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S).

Step 1: Identify Control Technologies

The following are available SO2 emission control technologies for Naphtha Splitter Reboiler (H-0405).

- Low Sulfur Fuel; and

- Flue Gas Desulfurization.

These technologies are generally described in the following subsections.

Low Sulfur Fuel

A gaseous fuel may inherently contain low levels of sulfur compounds or it may be treated to remove sulfur compounds using absorption or adsorption technologies. For example, pipeline quality natural gas may be from a well that produces inherently low sulfur gas or it may be treated using absorption or adsorption technology to lower its sulfur content. Low sulfur gaseous fuels result in low levels of SO2 emissions when they are combusted.

Flue Gas Desulfurization

Flue gas desulfurization is commonly used to reduce SO2 emissions from coal-fired and oil- fired combustion sources due to the relatively high concentration of SO2 (thousands of ppmv) contained in the flue gas generated by these sources. Flue gas desulfurization can be accomplished using the following technologies:

- Wet scrubbers,

- Semi-dry scrubbers, and

- Dry scrubbers, although wet scrubbers are normally capable of higher SO2 removal efficiencies than semi-dry and dry scrubbers.

In a wet scrubber, an aqueous slurry of sorbent is injected into a source’s flue gas and the SO2 contained in the gas dissolves into the slurry droplets where it reacts with an alkaline compound present in the slurry. The treated flue gas is then emitted to the atmosphere after passing through a mist eliminator that is designed to remove any entrained slurry droplets, while the falling slurry droplets make their way to the bottom of the scrubber where they are collected and either regenerated and recycled or removed as a waste or byproduct.

Semi-dry scrubbers are like wet scrubbers, but the slurry used in a semi-dry scrubber has a higher sorbent concentration, which results in the complete evaporation of the slurry water and the formation of a dry spent sorbent material that is entrained in the treated flue gas. This dry spent sorbent is removed from the flue gas using a baghouse or ESP.

In a dry scrubber, a dry sorbent material is pneumatically injected into a source’s flue gas and the dry spent sorbent material entrained in the treated flue gas is removed using a baghouse or ESP.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the SO2 emission control technologies determined to be available for the Naphtha Splitter Reboiler (H-0405) is evaluated below.

Low Sulfur Fuel

Use of low sulfur fuel is technically feasible for H-0405.

Flue Gas Desulfurization

As noted previously, flue gas desulfurization consists of three main types of scrubbers – wet, dry and semi-dry. The heater will emit SO2 at concentrations less than 15 ppmv, which are below the concentrations oftentimes seen in a wet scrubber’s exhaust stream. Flue gas desulfurization systems rely on efficient mass transfer of SO2 from the gas stream into a liquid or solid absorbent. Due to the very low concentration of SO2 in the exhaust gas stream, the “driving force” for this mass transfer would be extremely inefficient, which makes it difficult for the absorbent to capture the sulfur molecules in flue gas effectively.

Additionally, with low inlet SO2 concentrations in flue gas, it is very challenging to control the system’s chemistry and maintain the ideal pH for the scrubbing liquid, which further reduces removal efficiency.

Furthermore, the liquid carryover in the exhaust stream from a wet scrubber or the solid carryover in the exhaust stream from a semi-dry or dry scrubber would result in a new PM emission mechanism for the heater.

Lastly, research of emission control technology application data sets indicate that wet, semi-dry and dry scrubbers have not been used to control SO2 emissions from a comparable natural gas-fired heater.

These factors indicate it would not be technically feasible to use flue gas desulfurization technologies to control SO2 emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available SO2 emission control technology for H-0405 is low sulfur fuel.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available SO2 emission control technology for Naphtha Splitter Reboiler (H-0405) is low sulfur fuel.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that combusting low sulfur gaseous fuel represents the maximum air pollution control capability for the SO2 emissions from Naphtha Splitter Reboiler (H-0405). Specifically, MRL will control SO2 emissions from H-0405 by combusting gaseous fuel containing no more than 30 ppmv H2S, with an annual average of no more than 10 ppmv H2S.

Volatile Organic Compounds

Naphtha Splitter Reboiler (H-0405) will emit VOCs due to the incomplete oxidation of hydrocarbons present in gaseous fuel. However, the low molecular weight characteristic of the hydrocarbons in the fuel will promote low levels of VOC emissions from the unit.

Furthermore, the reboiler is equipped with an oxygen monitoring system, which allows the plant to make on-line optimization adjustments to the reboiler’ s combustion process, as needed. This system will greatly assist in minimizing the heater’s VOC emissions by providing the plant with the capability to maintain good combustion practices at the reboiler.

No NSPS or NESHAP VOC emission standard applies to the unit. However, it will be subject to the following NESHAP Subpart DDDDD work practice standards that will minimize its VOC emissions.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the burners of the reboiler and clean or replace any components of the burners as necessary; and

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the reboiler’ s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for H-0405.

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for H-0405 is evaluated below.

Good Combustion Practices

Good combustion practices are an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the reboiler.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of VOC emissions from the reboiler.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of VOC emissions from the reboiler, although due to the considerably low concentration of VOC in the exhaust stream, the potential effectiveness of a catalytic oxidation system in this case would be limited.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for H-0405 are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for Naphtha Splitter Reboiler (H-0405).

Thermal Oxidation

Due to the very low concentration of VOC in its exhaust stream, the application of thermal oxidation to reduce the heater’s VOC emission rate would require the combustion of a considerable amount of fuel to achieve the elevated temperature necessary to promote the oxidation of the small amount of VOC that will be present in the exhaust stream. This fuel combustion would generate additional combustion pollutants, including VOC. Thus, the VOC emission reduction effectiveness of the thermal oxidation system would be reduced, if not negated, because of the VOC generated by the thermal oxidation process.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce VOC emissions from the reboiler by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere. Furthermore, research of EPA’s RBLC database indicates thermal oxidation has not been used to control VOC emissions from a comparable heater. These factors indicate it is not technically feasible to use thermal oxidation to control VOC emissions from the reboiler.

Lastly, MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the reboiler’ s VOC emissions of 0.23 tpy. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-0405. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain VOC oxidation activity. Heaters can experience variable inlet temperatures and transient operating conditions that may drop below the catalyst light off temperature, causing incomplete oxidation. Exhaust gas temperatures for H-0405 (burning refinery off gas) currently range from about 450 - 550 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary VOC oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the reboiler’ s VOC emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-0405. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Good Combustion Practices

The only remaining available VOC emission control technology for the Naphtha Splitter Reboiler (H-0405) is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the VOC emissions from Naphtha Splitter Reboiler (H-0405). Therefore, MRL will control VOC emissions from the heater by using good combustion practices and comply with the following emission limitation to reflect the performance of the maximum air pollution control capability for this unit:

- VOC emissions from the heater shall not exceed 0.0054 lb/MMBtu (HHV) on an average of three 1-hr runs.

CMR to MRL Deisobutanizer (DIB) Reboiler Heater H-1501

The existing 28 MMBtu/hr DIB Reboiler Heater H-1501, currently permitted in CMR’s Title V Operating Permit #OP2161-24, will be taken offline at CMR and recommissioned to serve MRL’s operation. The maximum air pollution control capability determinations made for H-1501 pursuant to ARM 17.8.752 are presented in Table III-6, by pollutant.

Table III-6

Proposed BACT Limits: DIB Reboiler Heater H-1501

| Emissions Unit | Pollutant | Control Technology/Practice | Emissions Level |
| --- | --- | --- | --- |
| H-1501 Fired with Natural Gas and RFU Off-gas | CO | Good Combustion Practices | 0.08 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | NOX – Steady State Operations | Good Combustion Practices | 0.10 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM (filt.) | Good Combustion Practices and use of low ash content fuels | 0.0019 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM10 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM2.5 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | SO2 | Low Sulfur Gaseous Fuel | Fuel gas containing ≤30 ppmv H2S maximum and ≤10 ppmv H2S on an annual average basis |
|  | VOC | Good Combustion Practices | 0.0054 lb/MMBtu (HHV) (Average of three 1-hour runs) |

Carbon Monoxide

DIB Reboiler Heater (H-1501) will combust a blend of pipeline quality natural gas and RFU off gas. The heater will emit CO due to the incomplete oxidation of hydrocarbons present in natural gas and RFU off gas. However, natural gas and RFU off gas are both low-carbon fuels. This fuel characteristic will promote low levels of CO emissions from the heater.

The heater is equipped with an oxygen monitoring system, which is a component of good combustion practices. The oxygen monitoring system is designed to allow MRL to make on-line optimization adjustments to its combustion process, as needed. This system greatly assists in minimizing the heater’s CO emissions by providing MRL with the capability to maintain good combustion practices at the heater.

The heater will continue to follow the work practice standards in 40 CFR, Part 63, Subpart DDDDD – National Emission Standards for Hazardous Air Pollutants (NESHAP) for Major Sources: Industrial, Commercial and Institutional Boilers and Process Heaters:

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary.

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

- Pursuant to 40 CFR 63.7540(a)(10)(iv), MRL will optimize total emissions of CO from the heater. This optimization will be consistent with the manufacturer's specifications and the nitrogen oxides (NOx) emission limitation to which the heater is subject.

- Pursuant to 40 CFR 63.7540(a)(10)(v), MRL will measure the CO and oxygen concentrations in the heater’s exhaust stream before and after making the adjustments referenced above.

Additionally, MRL proposes the following maximum air pollutant control capability CO emission standard pursuant to ARM 17.8.752:

- CO emissions from the heater shall not exceed 0.08 lb/MMBtu on an average of three 1-hr runs.

Step 1: Identify Control Technologies

The following are available CO emission control technologies for DIB Reboiler Heater (H-1501).

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the CO emission control technologies determined to be available for DIB Reboiler Heater (H-1501) is evaluated below.

Good Combustion Practices

Good combustion practices, including an oxygen monitoring system, are an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of CO emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of CO emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available CO emission control technologies for H-1501 are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic Oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the CO emission control technologies that were determined to be technically feasible for DIB Reboiler Heater (H-1501).

Thermal Oxidation

The oxidation of CO to CO2 is a time-dependent chemical reaction. For a thermal oxidation system to effectively reduce CO, the process requires a wide combustion chamber specifically designed for increased residence time to allow the chemical reactions to complete. This design will increase the cost and require a large space to accommodate the device. Chamber residence time and temperature are directly linked. Shorter residence times (smaller chambers) require higher temperatures to achieve the same destruction rate, which increases fuel costs and can risk equipment damage.

For H-1501, the low CO concentration in the exhaust means a thermal oxidizer would need either a large combustion chamber to provide adequate reaction time or substantial auxiliary fuel to raise temperatures enough to oxidize the small CO mass. Either approach substantially increases capital and operating expense.

Additionally, Combustion in the oxidizer also generates additional pollutants, including CO, which can offset the CO reduction achieved by oxidation.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s CO emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere.

MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Research of emission control technology application data (i.e.,EPA’s RBLC database) indicates that thermal oxidation has not been used to control CO emissions from a comparable heater.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for the new heater H-1501. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain CO oxidation activity. Heaters can experience variable inlet temperatures and transient operating conditions that may drop below the catalyst light off temperature, causing incomplete oxidation and CO slip. Exhaust gas temperatures for H-1501 (burning refinery off gas) currently range from about 525 to 600 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary CO oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-1501. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Good Combustion Practices

The only remaining available CO emission control technology for H-1501 is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices, including an oxygen monitoring system, represent the maximum air pollution control capability for CO emissions from H-1501. Therefore, MRL will control CO emissions from the heater by using good combustion practices and complying with the following emission limitations:

- CO emissions from DIB Reboiler Heater H-1501 shall not exceed 0.08 lb/MMBtu higher heating value (HHV) on an average of three 1-hr runs.

Nitrogen Oxides

H-1501 will emit NOx, primarily due to the thermal and prompt NOx generation mechanisms because the heater’s fuel will not contain appreciable amounts of organo-nitrogen compounds that result in fuel NOx emissions. Thermal NOx results from the high temperature thermal dissociation and subsequent reaction of combustion air molecular nitrogen and oxygen and it tends to be generated in the high temperature zone near the burner of an external combustion device. The rate of thermal NOx generation is affected by the following three factors: oxygen concentration, peak flame temperature and duration at peak flame temperature. As these three factors increase in value, the rate of thermal NOx generation increases.

Prompt NOx occurs at the flame front through the relatively fast reaction between nitrogen and oxygen molecules in combustion air and fuel hydrocarbon radicals, which are intermediate species formed during the combustion process. Prompt NOx may represent a meaningful portion of the NOx emissions resulting from LNBs and ULNBs due to the relatively low levels of thermal NOx generated by these burners.

The heater is currently not submit to the NOx emission standard in NSPS Subpart Ja as its rated capacity is less than 40 MMBtu/hr. After the unit is taken offline at CMR and recommissioned at MRL, it will not be subject to any NOx emission standards in the NSPS or NESHAP rules.

Step 1: Identify Control Technologies

The following are available NOx emission control technologies for DIB Reboiler Heater (H-1501).

- Good Combustion Practices;

- SCR;

- SNCR; and

- NSCR.

These technologies are generally described in the following sections.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

SCR

Please see Definition Section V herein for a discussion of this technology.

SNCR

Please see Definition Section VI herein for a discussion of this technology.

NSCR

Please see Definition Section VII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the NOx emission control technologies determined to be available for DIB Reboiler Heater (H-1501) is evaluated below.

Good Combustion Practices

The heater implements good combustion practices, including minimizing excess air, ensuring proper fuel and air mixing, maintaining low flame temperatures, and controlling residence times, etc. This option is technically feasible.

SCR

This option is technically feasible for the heater.

SNCR

SNCR is not technically feasible for NOx control for H-1501 because the process conditions (temperature window, residence time, flue gas composition and flow pattern), operational transients, and integration constraints prevent reliable reagent reaction and acceptable NOx removal efficiency without unacceptable impacts on process operations or requiring impractical auxiliary systems.

- Narrow and high temperature window: SNCR relies on homogeneous gas phase reactions between injected reagent (typically ammonia or urea) and NOx to form N2 and H2O. These reactions are effective only within a relatively narrow, elevated temperature range (generally 1600–2100 °F). Based on the current operating records, exhaust gas temperatures for H-1501 (525 to 600 °F) are generally below the SNCR optimal temperature range.

- Insufficient residence time and gas mixing: Effective SNCR requires sufficient residence time at the proper reaction temperature and good mixing between reagent and flue gas. The heater and its downstream ductwork cannot provide the long residence times or well controlled turbulent mixing necessary for SNCR to reach meaningful NOx reductions. Short residence time and poor mixing lead to low NOx conversion and elevated ammonia slip.

- For H-1501, the relatively low NOx concentrations in combustion flue gas make SNCR inefficient because it requires substantial reagent flow to obtain acceptable percentage reductions. To achieve modest NOx reduction (25 – 60% for urea-based systems and 61 – 65% for ammonia-based systems), reagent dosing must be elevated, which increases risk of ammonia slip. Unreacted reagent (ammonia slip) can form ammonium salts with sulfur or acidic species in the flue gas, leading to deposition and corrosion on heat transfer surfaces, ductwork, and pollution control equipment.

- Furthermore, H-1501 combustion flue gas may contain sulfur compounds, particulates, and other contaminants that foul injectors, poison reaction pathways, or create corrosive byproducts when combined with injected reagent. Injector nozzles exposed to these conditions require frequent cleaning/replacement, reducing availability and raising lifecycle costs.

Given these factors, SNCR is not technically feasible for controlling NOx from DIB Reboiler Heater (H-1501).

NSCR

NSCR technology is not technically feasible for the control of NOx emissions from the heater because it will not operate at the 0.5% or less excess oxygen concentration necessary to ensure NOx reduction with NSCR. Instead, the heater will operate with an excess oxygen concentration of approximately 2 to 3%. This amount of excess oxygen will promote both low levels of CO and high combustion (thermal) efficiency, while also providing for safe heater operations during variations in fuel gas operating conditions (e.g., fuel gas composition changes, fuel gas supply pressure variations). Furthermore, research of EPA’s RBLC database indicates NSCR has not been used to control NOx emissions from a comparable heater. These factors indicate that it is not technically feasible to use NSCR to control the heater’s NOx emissions.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available NOx emission control technologies for DIB Reboiler Heater (H-1501) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- SCR; and

- Good Combustion Practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the NOx emission control technologies that were determined to be technically feasible for DIB Reboiler Heater (H-1501).

SCR

As indicated in the application, MRL estimated that the installation and operation of an SCR system on the heater would result in a cost effectiveness equal to approximately $20,887 per ton of NOx emission reduction, which is not cost effective. The cost for the installation and operation of an SCR system on the heater was estimated using the SCR cost estimating spreadsheet that EPA developed and published in June of 2019. The installation of an SCR system on the heater would require additional energy to operate the SCR system’s electrical equipment (e.g., pumps, heaters/vaporizers, instrumentation) and provide fan power to overcome the pressure drop across the SCR catalyst bed(s). This increase in electricity usage at the plant would likely result in increased GHG and non-GHG emission rates at one or more power generating stations, reducing the net environmental benefit of the SCR system. Furthermore, the SCR catalyst would require periodic replacement, which would result in a spent catalyst waste stream. This waste stream may represent hazardous waste depending on the composition of the catalyst and the heater’s combustion products collected on the catalyst. Lastly, an SCR system would experience ammonia slip during operation, resulting in ammonia emissions from the heater’s stack, which may negatively impact regional haze due to an increase in the amount of atmospheric ammonia available to generate visibility impairing ammonium nitrates and ammonium sulfates.

In summary, MRL determined that it would not be cost effective to equip the heater with an SCR system and the operation of an SCR system on the heater would likely result in collateral emissions of GHG and non-GHG pollutants, as well as the generation of an additional solid waste stream at the site. For these reasons, MRL eliminated an SCR system from consideration as the maximum air pollution control capability for the heater’s NOx emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices following NESHAP DDDDD requirements represent the maximum air pollution control capability for the NOx emissions from H-1501. The unit will comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- NOx emissions from DIB Reboiler Heater (H-1501) shall not exceed 0.10 lb/MMBtu (HHV) on an average of three 1-hr runs.

Particulate Matter PM/PM10/PM2.5

DIB Reboiler Heater (H-1501) will emit PM, PM10 and PM2.5 comprising both filterable and condensable fractions. A gaseous fuel combustion device can emit condensable PM10 and PM2.5 due to the incomplete combustion of higher molecular weight hydrocarbons present in the device’s gaseous fuel. However, the heater will combust pipeline quality natural gas and RFU off gas, which contain relatively low levels of high molecular weight hydrocarbons; therefore, elevated particulate emissions from incomplete combustion of heavy hydrocarbons are not expected. Additionally, the proposed fuels contain low levels of sulfur, further minimizing the generation of PM10 and PM2.5 when they are combusted.

The heater will not be subject to an NSPS or NESHAP emission standard. MRL proposes the following opacity and maximum air pollution control capability for PM, PM10 and PM2.5:

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over six consecutive minutes;

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu.

Step 1: Identify Control Technologies

The following are available PM emission control technologies for DIB Reboiler Heater (H-1501).

- Good Combustion Practices;

- ESP;

- Filter;

- Wet Scrubber; and

- Cyclone.

These technologies are generally described below.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

ESP

Please see Definition SectionVIII herein for a discussion of this technology.

Filter

Please see Definition Section IX herein for a discussion of this technology.

Wet Scrubber

Please see Definition Section X herein for a discussion of this technology.

Cyclone

Please see Definition SectionXI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the PM emission control technologies determined to be available for the DIB Reboiler Heater (H-1501) is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

ESP

MRL estimated that the PM emitted by the heater will be PM10, which is a characteristic that would limit the control effectiveness of an ESP. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically required for effective performance of the ESP. Thus, an ESP would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates that ESP has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use an ESP to control PM emissions from the heater.

Fabric Filter / Baghouse

Baghouses/fabric filters are not used on natural gas-fired combustion units due to the inherently low filterable PM content of natural gas. Uncontrolled PM emissions from natural gas combustion are already on the order of ~0.001 to 0.003 lb/MMBtu, which is comparable to or below typical fabric filter outlet concentrations. Therefore, the installation of a baghouse would provide negligible emission reduction at disproportionate capital and operating cost.

Secondly, conventional filter bags have temperature limits, typically ranging from 275°F (e.g., standard polyester bags) to 500°F (e.g., fiberglass, Nomex, Teflon). Flue gas from fuel gas combustion of the heater (expected to be 525°F – 600°F) could melt or damage the filter material.

Thirdly, fuel gas combustion produces a high volume of moisture in the flue gas. When the flue gas drops below its dew point, moisture can condense on the filter bags, which will cause the bags to become clogged as the fine condensable PM sticks to the wet fabric and thus will not lower the condensable PM emissions by any appreciable amount. Additionally, condensation can also cause corrosion to the baghouse's metal components, leading to material degradation and equipment failure.

Furthermore, research of emission control technology application data sets indicates a filter has not been used to control PM emissions from a comparable gas-fired heater.

These factors indicate it would not be technically feasible to use a filter to control PM emissions from the heater.

Wet Scrubber

The PM10-only profile of the heater’s PM emissions indicates a wet scrubber would require a considerable pressure drop to effectively reduce the heater’s PM emissions. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a wet scrubber’s exhaust stream. Furthermore, the liquid carryover in the exhaust stream from a wet scrubber contains dissolved and suspended solids, which would result in a new PM emission mechanism, reducing any negligible PM10 control effectiveness of the wet scrubber in this application. Moreover, research of EPA’s RBLC database indicates a wet scrubber has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a wet scrubber to control PM emissions from the heater.

Cyclone

The PM10-only profile of the heater’s PM emissions would limit the control effectiveness of a cyclone. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a cyclone’s exhaust stream. Thus, a cyclone would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates a cyclone has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a cyclone to control PM emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available PM, PM10 and PM2.5 emission control technology for H-1501 is good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available PM, PM10 and PM2.5 emission control technology for DIB Reboiler Heater (H-1501) is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the PM, PM10 and PM2.5 emissions from DIB Reboiler Heater (H-1501). Therefore, MRL will control PM, PM10 and PM2.5 emissions from the heater by using good combustion practices and comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three 1-hr runs;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs.

Sulfur Dioxide

DIB Reboiler Heater (H-1501) will combust pipeline quality natural gas and RFU off gas. The natural gas will contain a negligible amount of H2S. The RFU off gas will pass through de-sulfurization to minimize its H2S content. Therefore, the heater will emit only a small amount of SO2.

The heater is currently subject to the SO2 standard in NSPS Subpart Ja. However, after the unit is taken offline at CMR and recommissioned to serve MRL, it will not be an affected facility under NSPS Subpart Ja as MRL is not a “petroleum refinery”.

The heater is subject to the following state SO2 emission standard:

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv) H2S).

Step 1: Identify Control Technologies

The following are available SO2 emission control technologies H-1501.

- Low Sulfur Fuel; and

- Flue Gas Desulfurization.

These technologies are generally described in the following subsections.

Low Sulfur Fuel

A gaseous fuel may inherently contain low levels of sulfur compounds or it may be treated to remove sulfur compounds using absorption or adsorption technologies. For example, pipeline quality natural gas may be from a well that produces inherently low sulfur gas or it may be treated using absorption or adsorption technology to lower its sulfur content. Low sulfur gaseous fuels result in low levels of SO2 emissions when they are combusted.

Flue Gas Desulfurization

Flue gas desulfurization is commonly used to reduce SO2 emissions from coal-fired and oil- fired combustion sources due to the relatively high concentration of SO2 (thousands of ppmv) contained in the flue gas generated by these sources. Flue gas desulfurization can be accomplished using the following technologies:

- Wet scrubbers,

- Semi-dry scrubbers, and

- Dry scrubbers, although wet scrubbers are normally capable of higher SO2 removal efficiencies than semi-dry and dry scrubbers.

In a wet scrubber, an aqueous slurry of sorbent is injected into a source’s flue gas and the SO2 contained in the gas dissolves into the slurry droplets where it reacts with an alkaline compound present in the slurry. The treated flue gas is then emitted to the atmosphere after passing through a mist eliminator that is designed to remove any entrained slurry droplets, while the falling slurry droplets make their way to the bottom of the scrubber where they are collected and either regenerated and recycled or removed as a waste or byproduct.

Semi-dry scrubbers are like wet scrubbers, but the slurry used in a semi-dry scrubber has a higher sorbent concentration, which results in the complete evaporation of the slurry water and the formation of a dry spent sorbent material that is entrained in the treated flue gas. This dry spent sorbent is removed from the flue gas using a baghouse or ESP.

In a dry scrubber, a dry sorbent material is pneumatically injected into a source’s flue gas and the dry spent sorbent material entrained in the treated flue gas is removed using a baghouse or ESP.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the SO2 emission control technologies determined to be available for H-1501 is evaluated below.

Low Sulfur Fuel

Use of low sulfur fuel is technically feasible for the heater.

Flue Gas Desulfurization

As noted previously, flue gas desulfurization consists of three main types of scrubbers – wet, dry and semi-dry. The heater will emit SO2 at concentrations less than 15 ppmv, which are below the concentrations oftentimes seen in a wet scrubber’s exhaust stream. Flue gas desulfurization systems rely on efficient mass transfer of SO2 from the gas stream into a liquid or solid absorbent. Due to the very low concentration of SO2 in the exhaust gas stream, the “driving force” for this mass transfer would be extremely inefficient, which makes it difficult for the absorbent to capture the sulfur molecules in flue gas effectively.

Additionally, with low inlet SO2 concentrations in flue gas, it is very challenging to control the system’s chemistry and maintain the ideal pH for the scrubbing liquid, which further reduces removal efficiency.

Furthermore, the liquid carryover in the exhaust stream from a wet scrubber or the solid carryover in the exhaust stream from a semi-dry or dry scrubber would result in a new PM emission mechanism for the heater.

Lastly, research of emission control technology application data sets indicate that wet, semi-dry and dry scrubbers have not been used to control SO2 emissions from a comparable natural gas-fired heater.

These factors indicate it would not be technically feasible to use flue gas desulfurization technologies to control SO2 emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available SO2 emission control technology for H-1501 is low sulfur fuel.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available SO2 emission control technology for H-1501 is low sulfur fuel.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that combusting low sulfur gaseous fuel represents the maximum air pollution control capability for the SO2 emissions from DIB Reboiler Heater (H-1501).

Specifically, MRL will control SO2 emissions from the H-1501 by combusting gaseous fuel containing no more than 30 ppmv H2S, with an annual average of no more than 10 ppmv H2S.

Volatile Organic Compounds

DIB Reboiler Heater (H-1501) will emit VOCs due to the incomplete oxidation of hydrocarbons present in the heater’s gaseous fuel. However, the low molecular weight characteristic of the hydrocarbons in the fuel will promote low levels of VOC emissions from the heater.

Furthermore, the heater is equipped with an oxygen monitoring system, which allows the plant to make on-line optimization adjustments to the heater’s combustion process, as needed. This system greatly assists in minimizing the heater’s VOC emissions by providing the plant with the capability to maintain good combustion practices at the heater.

No NSPS or NESHAP VOC emission standard applies to the heater. However, the heater will be subject to the following NESHAP Subpart DDDDD work practice standards that will minimize its VOC emissions.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary; and

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for H-1501.

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for H-1501 is evaluated below.

Good Combustion Practices

Good combustion practices are an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of VOC emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of VOC emissions from the heater, although due to the considerably low concentration of VOC in the heater’s exhaust stream, the potential effectiveness of a catalytic oxidation system in this case would be limited.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for DIB Reboiler Heater (H-1501) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for DIB Reboiler Heater (H-1501).

Thermal Oxidation

Due to the very low concentration of VOC in its exhaust stream, the application of thermal oxidation to reduce the heater’s VOC emission rate would require the combustion of a considerable amount of fuel to achieve the elevated temperature necessary to promote the oxidation of the small amount of VOC that will be present in the heater’s exhaust stream. This fuel combustion would generate additional combustion pollutants, including VOC. Thus, the VOC emission reduction effectiveness of the thermal oxidation system would be reduced, if not negated, because of the VOC generated by the thermal oxidation process.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s VOC emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere. Furthermore, research of EPA’s RBLC database indicates thermal oxidation has not been used to control VOC emissions from a comparable heater. These factors indicate it is not technically feasible to use thermal oxidation to control VOC emissions from the heater.

Lastly, MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s VOC emissions of 0.66 tpy. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for the new heater H-1501. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain VOC oxidation activity. Exhaust gas temperatures for H-1501 (burning refinery off gas) currently range from about 520 to 600 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary VOC oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s VOC emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-1501. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Good Combustion Practices

The only remaining available VOC emission control technology for H-1501 is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the VOC emissions from DIB Reboiler Heater (H-1501). Therefore, MRL will control VOC emissions from the heater by using good combustion practices and comply with the following emission limitation to reflect the performance of the maximum air pollution control capability for this unit:

- VOC emissions from the heater shall not exceed 0.0054 lb/MMBtu (HHV) on an average of three 1-hr runs.

CMR to MRL HTU Heater H-1701

The existing 22.5 MMBtu/hr HTU Heater H-1701, currently permitted in CMR’s Title V Operating Permit #OP2161-24, will be taken offline at CMR and recommissioned to serve MRL’s operation. The maximum air pollution control capability determinations made for H-1701 pursuant to ARM 17.8.752 are presented in Table III-7, by pollutant.

Table III-7

Proposed BACT Limits: HTU Heater H-1701

| Emissions Unit | Pollutant | Control Technology/Practice | Emissions Level |
| --- | --- | --- | --- |
| H-1701 Fired with Natural Gas and RFU Off-gas | CO | Good Combustion Practices | 0.04 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | NOX – Steady State Operations | LNB (Good Combustion Practices) | 0.07 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM (filt.) | Good Combustion Practices and use of low ash content fuels | 0.0019 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM10 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | PM2.5 (filt. + cond.) | Good Combustion Practices and use of low ash content fuels | 0.0075 lb/MMBtu (HHV) (Average of three 1-hour runs) |
|  | SO2 | Low Sulfur Gaseous Fuel | Fuel gas containing ≤30 ppmv H2S maximum and ≤10 ppmv H2S on an annual average basis |
|  | VOC | Good Combustion Practices | 0.0054 lb/MMBtu (HHV) (Average of three 1-hour runs) |

Carbon Monoxide

HTU Heater (H-1701) will combust a blend of pipeline quality natural gas and RFU off gas. The heater will emit CO due to the incomplete oxidation of hydrocarbons present in natural gas and RFU off gas. However, natural gas and RFU off gas are both low-carbon fuels. This fuel characteristic will promote low levels of CO emissions from the heater.

The heater is equipped with an oxygen monitoring system, which is a component of good combustion practices. The oxygen monitoring system is designed to allow MRL to make on-line optimization adjustments to its combustion process, as needed. This system greatly assists in minimizing the heater’s CO emissions by providing MRL with the capability to maintain good combustion practices at the heater.

The heater will continue to follow the work practice standards in 40 CFR, Part 63, Subpart DDDDD – National Emission Standards for Hazardous Air Pollutants (NESHAP) for Major Sources: Industrial, Commercial and Institutional Boilers and Process Heaters:

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary.

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

- Pursuant to 40 CFR 63.7540(a)(10)(iv), MRL will optimize total emissions of CO from the heater. This optimization will be consistent with the manufacturer's specifications and the nitrogen oxides (NOx) emission limitation to which the heater is subject.

- Pursuant to 40 CFR 63.7540(a)(10)(v), MRL will measure the CO and oxygen concentrations in the heater’s exhaust stream before and after making the adjustments referenced above.

Additionally, MRL proposes the following maximum air pollutant control capability CO emission standard pursuant to ARM 17.8.752:

- CO emissions from the heater shall not exceed 0.04 lb/MMBtu on an average of three 1-hr runs.

Step 1: Identify Control Technologies

The following are available CO emission control technologies for the HTU Heater (H-1701).

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the CO emission control technologies determined to be available for HTU Heater (H-1701) is evaluated below.

Good Combustion Practices

Good combustion practices, including an oxygen monitoring system, are an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of CO emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of CO emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available CO emission control technologies for the HTU Heater (H-1701) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic Oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the CO emission control technologies that were determined to be technically feasible for HTU Heater (H-1701).

Thermal Oxidation

The oxidation of CO to CO2 is a time-dependent chemical reaction. For a thermal oxidation system to effectively reduce CO, the process requires a wide combustion chamber specifically designed for increased residence time to allow the chemical reactions to complete. This design will increase the cost and require a large space to accommodate the device. Chamber residence time and temperature are directly linked. Shorter residence times (smaller chambers) require higher temperatures to achieve the same destruction rate, which increases fuel costs and can risk equipment damage.

For H-1701, the very low CO concentration in the exhaust means a thermal oxidizer would need either a large combustion chamber to provide adequate reaction time or substantial auxiliary fuel to raise temperatures enough to oxidize the small CO mass. Either approach substantially increases capital and operating expense.

Additionally, Combustion in the oxidizer also generates additional pollutants, including CO, which can offset the CO reduction achieved by oxidation.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s CO emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere.

MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Research of emission control technology application data (i.e., EPA’s RBLC database) indicates that thermal oxidation has not been used to control CO emissions from a comparable heater.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for the new heater H-1701. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain CO oxidation activity. Heaters can experience variable inlet temperatures and transient operating conditions that may drop below the catalyst light off temperature, causing incomplete oxidation and CO slip. Exhaust gas temperatures for H-1701 (burning refinery off gas) currently range from about 550 to 750 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below or at the lower end of the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary CO oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s CO emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-1701. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the heater’s CO emissions.

Good Combustion Practices

The only remaining available CO emission control technology for HTU Heater (H-1701) is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices, including an oxygen monitoring system, represent the maximum air pollution control capability for CO emissions from HTU Heater (H-1701). Therefore, MRL will control CO emissions from the heater by using good combustion practices and complying with the following emission limitations:

- CO emissions from HTU Heater (H-1701) shall not exceed 0.04 lb/MMBtu higher heating value (HHV) on an average of three 1-hr runs.

Nitrogen Oxides

HTU Heater (H-1701) will emit NOx, primarily due to the thermal and prompt NOx generation mechanisms because the heater’s fuel will not contain appreciable amounts of organo-nitrogen compounds that result in fuel NOx emissions. Thermal NOx results from the high temperature thermal dissociation and subsequent reaction of combustion air molecular nitrogen and oxygen and it tends to be generated in the high temperature zone near the burner of an external combustion device. The rate of thermal NOx generation is affected by the following three factors: oxygen concentration, peak flame temperature and duration at peak flame temperature. As these three factors increase in value, the rate of thermal NOx generation increases.

Prompt NOx occurs at the flame front through the relatively fast reaction between nitrogen and oxygen molecules in combustion air and fuel hydrocarbon radicals, which are intermediate species formed during the combustion process. Prompt NOx may represent a meaningful portion of the NOx emissions resulting from LNBs due to the relatively low levels of thermal NOx generated by these burners.

The heater is currently not subject to the NOx emission standard in NSPS Subpart Ja as its rated capacity is less than 40 MMBtu/hr. After the unit is taken offline at CMR and recommissioned at MRL, it will not be subject to any NOx emission standards in the NSPS or NESHAP rules.

Step 1: Identify Control Technologies

The following are available NOx emission control technologies for HTU Heater (H-1701).

- Good Combustion Practices;

- SCR;

- SNCR; and

- NSCR.

These technologies are generally described in the following sections.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

SCR

Please see Definition Section V herein for a discussion of this technology.

SNCR

Please see Definition Section VI herein for a discussion of this technology.

NSCR

Please see Definition Section VII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the NOx emission control technologies determined to be available for HTU Heater (H-1701) is evaluated below.

Good Combustion Practices

The heater utilizes LNBs and implements good combustion practices, including minimizing excess air, ensuring proper fuel and air mixing, maintaining low flame temperatures, and controlling residence times, etc. This option is technically feasible.

SCR

This option is technically feasible for the heater.

SNCR

SNCR is not technically feasible for NOx control for H-1701 because the process conditions (temperature window, residence time, flue gas composition and flow pattern), operational transients, and integration constraints prevent reliable reagent reaction and acceptable NOx removal efficiency without unacceptable impacts on process operations or requiring impractical auxiliary systems.

- Narrow and high temperature window: SNCR relies on homogeneous gas phase reactions between injected reagent (typically ammonia or urea) and NOx to form N2 and H2O. These reactions are effective only within a relatively narrow, elevated temperature range (generally 1600–2100 °F). Based on the current operating records, exhaust gas temperatures for H-1701 (550 to 750 °F) are generally below the SNCR optimal temperature range.

- Insufficient residence time and gas mixing: Effective SNCR requires sufficient residence time at the proper reaction temperature and good mixing between reagent and flue gas. The heater and its downstream ductwork cannot provide the long residence times or well controlled turbulent mixing necessary for SNCR to reach meaningful NOx reductions. Short residence time and poor mixing lead to low NOx conversion and elevated ammonia slip.

- For H-1701, the relatively low NOx concentrations in combustion flue gas make SNCR inefficient because it requires substantial reagent flow to obtain acceptable percentage reductions. To achieve modest NOx reduction (25 – 60% for urea-based systems and 61 – 65% for ammonia-based systems), reagent dosing must be elevated, which increases risk of ammonia slip. Unreacted reagent (ammonia slip) can form ammonium salts with sulfur or acidic species in the flue gas, leading to deposition and corrosion on heat transfer surfaces, ductwork, and pollution control equipment.

- Furthermore, H-1701 combustion flue gas may contain sulfur compounds, particulates, and other contaminants that foul injectors, poison reaction pathways, or create corrosive byproducts when combined with injected reagent. Injector nozzles exposed to these conditions require frequent cleaning/replacement, reducing availability and raising lifecycle costs.

Given these factors, SNCR is not technically feasible for controlling NOx from HTU Heater H-1701.

NSCR

NSCR technology is not technically feasible for the control of NOx emissions from the heater because it will not operate at the 0.5% or less excess oxygen concentration necessary to ensure NOx reduction with NSCR. Instead, the heater will operate with an excess oxygen concentration of approximately 2 to 3%. This amount of excess oxygen will promote both low levels of CO and high combustion (thermal) efficiency, while also providing for safe heater operations during variations in fuel gas operating conditions (e.g., fuel gas composition changes, fuel gas supply pressure variations). Furthermore, research of EPA’s RBLC database indicates NSCR has not been used to control NOx emissions from a comparable heater. These factors indicate that it is not technically feasible to use NSCR to control the heater’s NOx emissions.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available NOx emission control technologies for HTU Heater (H-1701) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- SCR; and

- Good Combustion Practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the NOx emission control technologies that were determined to be technically feasible for HTU Heater H-1701.

SCR

As indicated in Attachment 1, MRL estimated that the installation and operation of an SCR system on the heater would result in a cost effectiveness equal to $33,904 per ton of NOx emission reduction, which is not cost effective. The cost for the installation and operation of an SCR system on the heater was estimated using the SCR cost estimating spreadsheet that EPA developed and published in June of 2019. The installation of an SCR system on the heater would require additional energy to operate the SCR system’s electrical equipment (e.g., pumps, heaters/vaporizers, instrumentation) and provide fan power to overcome the pressure drop across the SCR catalyst bed(s). This increase in electricity usage at the plant would likely result in increased GHG and non-GHG emission rates at one or more power generating stations, reducing the net environmental benefit of the SCR system. Furthermore, the SCR catalyst would require periodic replacement, which would result in a spent catalyst waste stream. This waste stream may represent hazardous waste depending on the composition of the catalyst and the heater’s combustion products collected on the catalyst. Lastly, an SCR system would experience ammonia slip during operation, resulting in ammonia emissions from the heater’s stack, which may negatively impact regional haze due to an increase in the amount of atmospheric ammonia available to generate visibility impairing ammonium nitrates and ammonium sulfates.

In summary, MRL determined that it would not be cost effective to equip the heater with an SCR system and the operation of an SCR system on the heater would likely result in collateral emissions of GHG and non-GHG pollutants, as well as the generation of an additional solid waste stream at the site. For these reasons, MRL eliminated an SCR system from consideration as the maximum air pollution control capability for the heater’s NOx emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices following NESHAP DDDDD requirements represent the maximum air pollution control capability for the NOx emissions from HTU Heater (H-1701). The unit will comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- NOx emissions from HTU Heater (H-1701) shall not exceed 0.07 lb/MMBtu (HHV) on an average of three 1-hr runs.

Particulate Matter PM/PM10/PM2.5

The HTU Heater (H-1701) will emit PM, PM10 and PM2.5 comprising both filterable and condensable fractions. A gaseous fuel combustion device can emit condensable PM10 and PM2.5 due to the incomplete combustion of higher molecular weight hydrocarbons present in the device’s gaseous fuel. However, the heater will combust pipeline quality natural gas and RFU off gas, which contain relatively low levels of high molecular weight hydrocarbons; therefore, elevated particulate emissions from incomplete combustion of heavy hydrocarbons are not expected. Additionally, the proposed fuels contain low levels of sulfur, further minimizing the generation of PM10 and PM2.5 when they are combusted.

The heater will not be subject to an NSPS or NESHAP emission standard. MRL proposes the following opacity and maximum air pollution control capability for PM, PM10 and PM2.5:

- Pursuant to ARM 17.8.304(2), emissions from the heater shall not exceed an opacity of 20% or greater averaged over six consecutive minutes;

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu.

Step 1: Identify Control Technologies

The following are available PM emission control technologies for H-1701.

- Good Combustion Practices;

- ESP;

- Filter;

- Wet Scrubber; and

- Cyclone.

These technologies are generally described below.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

ESP

Please see Definition Section VII herein for a discussion of this technology.

Filter

Please see Definition Section VIII herein for a discussion of this technology.

Wet Scrubber

Please see Definition Section X herein for a discussion of this technology.

Cyclone

Please see Definition Section XI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the PM emission control technologies determined to be available for H-1701 is evaluated below.

Good Combustion Practices

Good combustion practices will be an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

ESP

MRL estimated that the PM emitted by the heater will be PM10, which is a characteristic that would limit the control effectiveness of an ESP. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically required for effective performance of the ESP. Thus, an ESP would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates that ESP has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use an ESP to control PM emissions from the heater.

Fabric Filter / Baghouse

Baghouses/fabric filters are not used on natural gas-fired combustion units due to the inherently low filterable PM content of natural gas. Uncontrolled PM emissions from natural gas combustion are already on the order of ~0.001 to 0.003 lb/MMBtu, which is comparable to or below typical fabric filter outlet concentrations. Therefore, the installation of a baghouse would provide negligible emission reduction at disproportionate capital and operating cost.

Secondly, conventional filter bags have temperature limits, typically ranging from 275°F (e.g., standard polyester bags) to 500°F (e.g., fiberglass, Nomex, Teflon). Flue gas from fuel gas combustion of the heater (expected to be 550°F – 750°F) could melt or damage the filter material.

Thirdly, fuel gas combustion produces a high volume of moisture in the flue gas. When the flue gas drops below its dew point, moisture can condense on the filter bags, which will cause the bags to become clogged as the fine condensable PM sticks to the wet fabric and thus will not lower the condensable PM emissions by any appreciable amount. Additionally, condensation can also cause corrosion to the baghouse's metal components, leading to material degradation and equipment failure.

Furthermore, research of emission control technology application data sets indicates a filter has not been used to control PM emissions from a comparable gas-fired heater.

These factors indicate it would not be technically feasible to use a filter to control PM emissions from the heater.

Wet Scrubber

The PM10-only profile of the heater’s PM emissions indicates a wet scrubber would require a considerable pressure drop to effectively reduce the heater’s PM emissions. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a wet scrubber’s exhaust stream. Furthermore, the liquid carryover in the exhaust stream from a wet scrubber contains dissolved and suspended solids, which would result in a new PM emission mechanism, reducing any negligible PM10 control effectiveness of the wet scrubber in this application. Moreover, research of EPA’s RBLC database indicates a wet scrubber has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a wet scrubber to control PM emissions from the heater.

Cyclone

The PM10-only profile of the heater’s PM emissions would limit the control effectiveness of a cyclone. Additionally, the PM10 concentration in the heater’s exhaust stream is below the concentration typically seen in a cyclone’s exhaust stream. Thus, a cyclone would not lower the heater’s PM10 emissions by any appreciable amount. Furthermore, research of EPA’s RBLC database indicates a cyclone has not been used to control PM emissions from a comparable heater. These factors indicate it would not be technically feasible to use a cyclone to control PM emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available PM, PM10 and PM2.5 emission control technology for H-1701 is good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available PM, PM10 and PM2.5 emission control technology for the H-1701 is good combustion practices.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the PM, PM10 and PM2.5 emissions from the HTU Heater (H-1701). Therefore, MRL will control PM, PM10 and PM2.5 emissions from the heater by using good combustion practices and comply with the following emission limitations to reflect the performance of the maximum air pollution control capability for this unit:

- PM (filterable) emissions from the heater shall not exceed 0.0019 lb/MMBtu (HHV) on an average of three 1-hr runs;

- PM10 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs; and

- PM2.5 emissions from the heater shall not exceed 0.0075 lb/MMBtu (HHV) on an average of three 1-hr runs.

Sulfur Dioxide

HTU Heater (H-1701) will combust pipeline quality natural gas and RFU off gas. The natural gas will contain a negligible amount of H2S. The RFU off gas will pass through de-sulfurization to minimize its H2S content. Therefore, the heater will emit only a small amount of SO2.

The heater is currently subject to the SO2 standard in NSPS Subpart Ja. However, after the unit is taken offline at CMR and recommissioned to serve MRL, it will not be an affected facility under NSPS Subpart Ja as MRL is not a “petroleum refinery”.

The heater is subject to the following state SO2 emission standard:

- Pursuant to ARM 17.8.322(5), the heater shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 ft3 of gaseous fuel, calculated as H2S at standard conditions (or approximately 808 ppmv H2S).

Step 1: Identify Control Technologies

The following are available SO2 emission control technologies for H-1701.

- Low Sulfur Fuel; and

- Flue Gas Desulfurization.

These technologies are generally described in the following subsections.

Low Sulfur Fuel

A gaseous fuel may inherently contain low levels of sulfur compounds or it may be treated to remove sulfur compounds using absorption or adsorption technologies. For example, pipeline quality natural gas may be from a well that produces inherently low sulfur gas or it may be treated using absorption or adsorption technology to lower its sulfur content. Low sulfur gaseous fuels result in low levels of SO2 emissions when they are combusted.

Flue Gas Desulfurization

Flue gas desulfurization is commonly used to reduce SO2 emissions from coal-fired and oil- fired combustion sources due to the relatively high concentration of SO2 (thousands of ppmv) contained in the flue gas generated by these sources. Flue gas desulfurization can be accomplished using the following technologies:

- Wet scrubbers;

- Semi-dry scrubbers;

- Dry scrubbers, although wet scrubbers are normally capable of higher SO2 removal efficiencies than semi-dry and dry scrubbers.

In a wet scrubber, an aqueous slurry of sorbent is injected into a source’s flue gas and the SO2 contained in the gas dissolves into the slurry droplets where it reacts with an alkaline compound present in the slurry. The treated flue gas is then emitted to the atmosphere after passing through a mist eliminator that is designed to remove any entrained slurry droplets, while the falling slurry droplets make their way to the bottom of the scrubber where they are collected and either regenerated and recycled or removed as a waste or byproduct.

Semi-dry scrubbers are like wet scrubbers, but the slurry used in a semi-dry scrubber has a higher sorbent concentration, which results in the complete evaporation of the slurry water and the formation of a dry spent sorbent material that is entrained in the treated flue gas. This dry spent sorbent is removed from the flue gas using a baghouse or ESP.

In a dry scrubber, a dry sorbent material is pneumatically injected into a source’s flue gas and the dry spent sorbent material entrained in the treated flue gas is removed using a baghouse or ESP.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the SO2 emission control technologies determined to be available for the HTU Heater (H-1701) is evaluated below.

Low Sulfur Fuel

Use of low sulfur fuel is technically feasible for the heater.

Flue Gas Desulfurization

As noted previously, flue gas desulfurization consists of three main types of scrubbers – wet, dry and semi-dry. The heater will emit SO2 at concentrations less than 15 ppmv, which are below the concentrations oftentimes seen in a wet scrubber’s exhaust stream. Flue gas desulfurization systems rely on efficient mass transfer of SO2 from the gas stream into a liquid or solid absorbent. Due to the very low concentration of SO2 in the exhaust gas stream, the “driving force” for this mass transfer would be extremely inefficient, which makes it difficult for the absorbent to capture the sulfur molecules in flue gas effectively.

Additionally, with low inlet SO2 concentrations in flue gas, it is very challenging to control the system’s chemistry and maintain the ideal pH for the scrubbing liquid, which further reduces removal efficiency.

Furthermore, the liquid carryover in the exhaust stream from a wet scrubber or the solid carryover in the exhaust stream from a semi-dry or dry scrubber would result in a new PM emission mechanism for the heater.

Lastly, research of emission control technology application data sets indicate that wet, semi-dry and dry scrubbers have not been used to control SO2 emissions from a comparable natural gas-fired heater.

These factors indicate it would not be technically feasible to use flue gas desulfurization technologies to control SO2 emissions from the heater.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The only remaining available SO2 emission control technology for HTU Heater (H-1701) is low sulfur fuel.

Step 4: Evaluate Most Effective Control Options and Document Results

The only remaining available SO2 emission control technology for HTU Heater (H-1701) is low sulfur fuel.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that combusting low sulfur gaseous fuel represents the maximum air pollution control capability for the SO2 emissions from HTU Heater (H-1701). Specifically, MRL will control SO2 emissions from the HTU Heater (H-1701) by combusting gaseous fuel containing no more than 30 ppmv H2S, with an annual average of no more than 10 ppmv H2S.

Volatile Organic Compounds

HTU Heater (H-1701) will emit VOCs due to the incomplete oxidation of hydrocarbons present in the heater’s gaseous fuel. However, the low molecular weight characteristic of the hydrocarbons in the fuel will promote low levels of VOC emissions from the heater.

Furthermore, the heater is equipped with an oxygen monitoring system, which allows the plant to make on-line optimization adjustments to the heater’s combustion process, as needed. This system greatly assists in minimizing the heater’s VOC emissions by providing the plant with the capability to maintain good combustion practices at the heater.

No NSPS or NESHAP VOC emission standard applies to the heater. However, the heater will be subject to the following NESHAP Subpart DDDDD work practice standards that will minimize its VOC emissions.

- Pursuant to 40 CFR 63.7540(a)(10)(i), MRL will inspect the heater’s burners and clean or replace any components of the burners as necessary; and

- Pursuant to 40 CFR 63.7540(a)(10)(ii), MRL will inspect the flame pattern of the heater’s burners and adjust the burners as necessary to optimize the flame pattern, consistent with the manufacturer's specifications.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the HTU Heater (H-1701).

- Good Combustion Practices;

- Thermal Oxidation; and

- Catalytic Oxidation.

Below, these technologies are generally described.

Good Combustion Practices

Please see Definition Section I herein for a discussion of this technology.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for HTU Heater (H-1701) is evaluated below.

Good Combustion Practices

Good combustion practices are an integral component of the design and operation of the heater. Therefore, this option is technically feasible for the heater.

Thermal Oxidation

Thermal oxidation is technically feasible for the control of VOC emissions from the heater.

Catalytic Oxidation

Catalytic oxidation is technically feasible for the control of VOC emissions from the heater, although due to the considerably low concentration of VOC in the heater’s exhaust stream, the potential effectiveness of a catalytic oxidation system in this case would be limited.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for HTU Heater (H-1701) are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions:

- Thermal oxidation;

- Catalytic oxidation; and

- Good combustion practices.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, MRL evaluated the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for HTU Heater (H-1701).

Thermal Oxidation

Due to the very low concentration of VOC in its exhaust stream, the application of thermal oxidation to reduce the heater’s VOC emission rate would require the combustion of a considerable amount of fuel to achieve the elevated temperature necessary to promote the oxidation of the small amount of VOC that will be present in the heater’s exhaust stream. This fuel combustion would generate additional combustion pollutants, including VOC. Thus, the VOC emission reduction effectiveness of the thermal oxidation system would be reduced, if not negated, because of the VOC generated by the thermal oxidation process.

In summary, the addition of a second thermal oxidation process to the heater system may not reduce the heater’s VOC emissions by any appreciable amount, if at all and this add-on control technology would considerably increase the energy requirements of the heater system while notably increasing the amount of combustion pollutants, such as NOx and CO2, emitted into the atmosphere. Furthermore, research of EPA’s RBLC database indicates thermal oxidation has not been used to control VOC emissions from a comparable heater. These factors indicate it is not technically feasible to use thermal oxidation to control VOC emissions from the heater.

Lastly, MRL estimated a capital cost of approximately $2,500,000 – $3,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the heater’s VOC emissions of 0.53 tpy. Furthermore, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a thermal oxidizer for H-1701. Therefore, MRL eliminated thermal oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Catalytic Oxidation

Catalysts require a stable temperature window and minimum gas temperature to achieve and maintain VOC oxidation activity. Exhaust gas temperatures for H-1701 (burning refinery off gas) currently range from about 550 to 750 °F and are expected to fall further when the unit switches to RFU off gas. These temperatures are generally below or at the lower end of the optimal temperature range of catalytic oxidation (650 – 1000°F). Maintaining catalyst inlet temperature within the required window would therefore require substantial modification of the unit’s convective heat recovery system and addition of gas pre heating controls.

In addition, fuel gas to the heater will contain hydrocarbons, sulfur species, particulates, which can poison or foul common oxidation catalysts, deactivating the catalyst and reducing both activity and service life. This makes it difficult to achieve and maintain the necessary VOC oxidation rates. To avoid deactivation of catalysts would require gas pretreatment and/or use of specialized, poison tolerant catalysts. These mitigations add complexity, capital expense, and ongoing maintenance requirements, and may not fully eliminate the risk of frequent catalyst replacement or unexpected performance loss.

Moreover, adding a catalytic bed will require installation of an ID fan, which will pull flue gases out of the combustion chamber, creating negative pressure within the system to ensure that flue gases are effectively directed through the catalytic oxidizer before being discharged. Moreover, the heat exchanger system will need to be designed with multiple, independently controlled sections or circuits to improve efficiency and operational flexibility.

MRL estimated a capital cost of approximately $2,000,000 to install piping, associated equipment (e.g., valves and instrumentation) and a catalytic oxidizer to collect and control the heater’s VOC emissions. Furthermore, annual operating costs (e.g., periodic catalytic replacements, electricity, maintenance labor and maintenance materials) required to operate and maintain the catalytic oxidizer would make it even less cost-effective.

Based on the above-described reasons, MRL concluded that it would not be cost effective to install a catalytic oxidizer for H-1701. Therefore, MRL eliminated catalytic oxidation from consideration as the maximum air pollution control capability for the heater’s VOC emissions.

Good Combustion Practices

The only remaining available VOC emission control technology for the HTU Heater (H-1701) is good combustion practices, which will be an integral component of the design and operation of the heater.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that good combustion practices represent the maximum air pollution control capability for the VOC emissions from HTU Heater (H-1701). Therefore, MRL will control VOC emissions from the heater by using good combustion practices and comply with the following emission limitation to reflect the performance of the maximum air pollution control capability for this unit:

- VOC emissions from the heater shall not exceed 0.0054 lb/MMBtu (HHV) on an average of three 1-hr runs.

SSM Limits for Existing Heaters H-4101, H-4102, H-3815A/B, and H-4601

MRL conducted the top-down 5-step BACT analysis for each of the following existing heaters to establish a lb/hr-based NOx emission limit during SSM periods of the fuel combustion unit:

- RFU Combined Feed Heater (H-4101);

- RFU Fractionator Feed Heater (H-4102);

- #3 Hydrogen Plant Reformer Heaters (H-3815A/B); and

- #4 Hydrogen Plant Reformer Heater (H-4601).

Step 1: Identify all Control Options

In the original BACT analyses for the listed existing heaters, available control options for steady state operation of these heaters considered:

- LNBS/ULBNs (Good Combustion Practices);

- SCR;

- SNCR; and

- NSCR.

Each of these technologies are described in the Definition Section IV, V, VI and VII, respectively.

In addition, MRL evaluated potential ways to minimize the startup period, maintain optimal oxygen content and reduce NOx emissions from each heater while maintaining and balancing heater startup operating safety in accordance with the startup procedures. However, a cold startup process can normally take up to 24 hours and maintaining NOx emissions in compliance with the short-term lb/MMBtu-based emission limits during the entire startup period can be challenging.  To that end, MRL proposes the above-mentioned best management practices that would minimize emissions by reducing the duration of startup. Minimizing the duration of the startup combined with a higher lb/MMBtu limit to reflect steady state controls are not fully functional during these periods.

Step 2: Eliminate Technically Infeasible Options

During SSM periods, none of the add-on NOx control devices are up to temperature to offer the level of NOx control required for meeting the existing lb/MMBtu permit limit of each heater. While each existing heater can comply with its lb/MMBtu steady state BACT limit (as a 30-day rolling average) during steady state operations, its emission rate during SSM periods may exceed the existing lb/MMBtu limit during those events. However, the heat input to each heater during SSM periods is expected to be low such that even at the elevated lb/MMBtu, the maximum short-term lb/hr emissions are not exceeded. MRL follows the prescribed startup procedure to start each heater. Startup occurs at an acceptable maximum firing rate while maintaining safety and compliance with the equipment maximum pressure and temperature operating curve.

Therefore, SCR, SNCR and NSCR are each technically infeasible during these transient periods of startup, shutdown and malfunction.

To a limited degree good combustion practices and equipping each heater with ULBNs are still viable during transient events, and the controls are already in place related to steady state operation BACT.

Procedures associated with the transient periods, and an appropriate higher lb/MMBTU limit, particularly with startup, remain a viable control option for allowing efficient startup periods.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

Both good combustion practices and following developed procedures for transient operation, particularly startup which requires longer warm-up times to avoid metal fatigue and other heat-related stresses, are available.

Step 4: Evaluate Most Effective -Control Options and Document Results

Good combustion practices and following developed procedures for minimizing transient durations are both effective. Combining good combustion practices and procedures, MRL has determined an expected lb/hr limit that could be achieved for each existing heater. The lb/hr-based SSM NOx emission limit is determined based on the existing stead-state BACT limit of each heater and the heater’s maximum firing rate, with an additional 10% safety factor applied. The resulting lb/hr limit of each existing heater (calculated as an overall average over the transient period of an SSM event) is listed in Table III-6 below.

Step 5: Select BACT

MRL proposed Good Combustion Practices, use of developed procedures limiting transient period duration, and the BACT limit in the unit of lb/hr as shown in Table III-8 below for each listed existing heater. SSM definitions are located in Section IV of the permit.

Table III-8

Proposed BACT Limits for NOx Emissions During SSM Periods: Existing Heaters

| Heater | Proposed SSM Limit |
| --- | --- |
| H-4101 (RFU Combined Feed Heater) | 2.10 lb/hr* |
| H-4102 (RFU Fractionator Feed Heater) | 1.67 lb/hr* |
| H-3815A and B (Hydrogen Plant #3 Reformer Heaters combined) | 7.24 lb/hr* |
| H-4601 (Hydrogen Plant #4 Reformer Heater) | 9.37 lb/hr* |
| * Each of the listed SSM limits is calculated as an overall average over the transient period of an SSM event. |  |

SSM periods are defined in Section IV of the permit and subject to ARM 17.8.749.

BACT Tanks Analysis

EXISTING RENEWABLE PRODUCT STORAGE TANK 304

Tank #304 is an existing external floating roof (EFR) storage tank storing a VOC-containing material. Under the revised MaxSAF Project, Tank #304 will be used to store light renewable naphtha, which will have a higher vapor pressure than the current renewable naphtha, and the annual throughput to this tank will increase, resulting in higher emissions. Consequently, a BACT analysis is being performed for this tank.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-9 below and the details are presented in the subsequent sections.

Table III-9

Proposed BACT Limits: Tank #304

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #304 | VOC | Vertical EFR, 40 CFR 60 Subpart Kc |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

Tank #304 is currently subject to NSPS Subpart Kb and will become subject to NSPS Subpart Kc after the stored material change (renewable naphtha to light renewable naphtha with a higher vapor pressure).

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #304.

- Internal Floating Roof (IFR) Storage Tank with Vapor Collection System and Control Device;

- Fixed Roof Storage Tank (FRT) with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

IFR storage tank has two roofs: a fixed roof attached to the top of the tank shell and a floating roof that rests directly on the liquid surface. Because the floating roof contacts nearly the entire liquid surface, it effectively eliminates the vapor space present in a fixed-roof tank and thus greatly reduces breathing and working emissions. In addition, certain emission pathways and the operating/maintenance risks associated with EFR tanks, where the floating roof is exposed to the atmosphere, are not present in IFR tanks because the floating roof is enclosed beneath the fixed roof.

The space between the floating roof and the fixed roof can be vented to a control device to further reduce VOC emissions. Typical control options for IFR vapor collection include condenser, thermal oxidizer, and carbon adsorption.

FRT with Vapor Collection System and Control Device

A FRT contains a vapor space between the surface of the liquid contained in the tank and the roof of the tank and this vapor space is partially comprised of the compounds making up the liquid contained in the tank. A portion of the vapor contained in the vapor space of an atmospheric FRT is routinely vented to the atmosphere because of the breathing and working emissions mechanisms described above.

A fixed roof tank can be equipped with a vapor collection system to collect the vapor vented from the tank. This collected vapor can then be routed to a control device to reduce VOC emissions to the atmosphere. Typical control options for IFR vapor collection include condenser, thermal oxidizer, and carbon adsorption.

IFR Storage Tank

As described above, an IFR storage tank has two roof structures: a fixed roof above a floating roof. Because the floating roof rests on the liquid surface and contacts nearly the entire liquid area, it effectively eliminates the vapor space present in a fixed-roof tank and therefore greatly reduces breathing and working emissions. Also, certain emissions mechanisms and floating roof operating and maintenance risks that exist for an EFR tank do not exist for an IFR tank because the IFR tank’s floating roof is not directly exposed to the atmosphere since the tank’s fixed roof is located above its floating roof. As a result, emissions from an IFR tank are typically lower than the emissions that would occur from an otherwise identical EFR tank containing the same material at the same storage conditions.

EFR Storage Tank

An EFR storage tank is equipped with a roof structure that rests on the surface of the liquid contained in the storage tank and this floating roof is exposed to the atmosphere. As discussed above for an IFR tank, a floating roof design effectively eliminates the breathing and working emissions that result from a FRT. However, emissions from an EFR tank tend to be higher than from an IFR tank because the rim seal and openings of an EFR tank are directly exposed to the atmosphere and, therefore, the emissions from these seals and openings are influenced by wind conditions.

FRT with Submerged Fill

There are two mechanisms that result in emissions from a FRT. The first mechanism results in breathing emissions, while the second mechanism results in working emissions. By incorporating submerged fill into the design of a FRT, the saturation level of the vapor space between the surface of the liquid contained in the tank and the roof of the tank can be reduced versus the level that would occur if the liquid were introduced into the tank under splash loading conditions. Therefore, by reducing the saturation level of the vapor space, the vapor vented from the storage tank contains less VOC, which means lower VOC emissions to the atmosphere.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #304.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically infeasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

FRT with Submerged Fill

This option is technically feasible for the tank, but Tank #304 is already equipped with a more effective EFR. Therefore, this option will not be further evaluated.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank; and

- EFR Storage Tank.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

MRL evaluated the cost and practicality of converting the existing EFR Tank #304 to an IFR equipped with a vapor collection and control system and concluded the conversion is not cost effective. Conversion would require installing a fixed roof over the existing floating roof (or replacing the tank roof assembly), plus piping, valves, instrumentation, and a dedicated control device (e.g., a thermal oxidizer) to treat collected vapors. MRL estimates the capital cost for the piping and thermal oxidizer and associated modifications at approximately $1,250,000 to $2,000,000.

It should be noted that the tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new combustion control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. The estimate for capital cost includes the piping and a thermal oxidizer. Furthermore, ongoing fuel, electricity, maintenance labor, and materials for the thermal oxidizer would add materially to lifecycle costs. In consideration of the 7.39 tpy VOC emissions from the EFR Tank #304, the incremental emissions reduction achievable by converting to an IFR with vapor collection and control would be small compared with the substantial capital and ongoing expenses. Additionally, a thermal oxidizer would generate additional NOx, CO, and GHG emissions from fuel combustion.

Considering the significant capital investment and increased operating costs required to convert the existing EFR to an IFR with vapor collection and a control device, together with the modest emissions (7.39 tpy) from the EFR Tank #304, MRL determined that the conversion is not a cost effective control option. Consequently, MRL eliminated the IFR-with-vapor-collection alternative from consideration as the maximum air pollution control measure for Tank #304.

FRT with Vapor Collection System and Control Device

MRL evaluated the option of converting the existing EFR Tank #304 to a fixed roof configuration with a vapor collection system routed to a control device (e.g., thermal oxidizer, condenser, or carbon adsorption). As described in the IFR Storage tank with vapor collection system and control device section above, the tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system. Conversion would require substantial modification to the existing tank (installation of a fixed roof or replacement of the roof assembly), plus piping, valves, instrumentation, and a dedicated control device. Estimated capital cost for piping, associated equipment, and a thermal oxidizer (or equivalent control) is on the order of $1,250,000 to $2,000,000. Furthermore, ongoing fuel, electricity, maintenance labor, and materials for the thermal oxidizer would add materially to lifecycle costs.

The current EFR configuration already provides substantial emissions reduction compared with a fixed roof configuration, and the calculated VOC emissions for Tank #304 are modest (7.39 tpy). The incremental VOC reduction achievable by converting it to a fixed roof with vapor collection and control would be small compared with the substantial capital and ongoing expenses. Based on technical, economic, and operational considerations, this option is not considered the maximum air pollution control measure and is therefore eliminated from further consideration.

IFR Storage Tank

MRL evaluated converting the existing EFR Tank #304 to an IFR configuration. As described in the IFR storage tank with vapor collection system and control device section above, conversion would require adding a fixed roof over the existing floating roof (or replacing the roof assembly), together with new piping, valves, and instrumentation. Because the current EFR design already provides substantial emissions control, the incremental VOC reduction achievable with an IFR would be small compared with the high costs to install and operate an IFR storage tank. Consequently, MRL concluded that converting Tank #304 to an IFR is not cost effective and has been eliminated from consideration as the maximum air pollution control measure for this tank.

EFR Storage Tank

Tank #304 is an EFR storage tank. This control technology has been incorporated in its basic design and operation of this tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., EFR storage tank, still represents the maximum air pollution control capacity for the VOC emissions from Tank #304. No physical modifications will be made to this tank or its existing control technology.

EXISTING RENEWABLE PRODUCT STORAGE TANK 305

Tank #305 is an existing FRT currently used for renewable diesel. MRL intends to use Tank #305 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-10 below and the details are presented in the subsequent sections.

Table III-10

Proposed BACT Limits: Tank #305

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #305 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #305.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #305.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #305 is an existing FRT with a volume capacity of approximately 4.8 million gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditures would be in the range of $750,000 to $1,500,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 8.10 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #305 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 8.10 tpy VOC emission rate calculated for a fixed roof tank without any vapor collection and control. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

As described in the IFR Storage Tank section above, conversion of FRT #305 to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $750,000 to $1,500,000 for a retrofit to IFR. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 8.10 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #305 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage.

Tank #305 has a volume capacity of approximately 4.8 million gallons with a tank diameter of 130 feet. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $750,000 to $1,500,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year for a tank this size.

In consideration of the 8.10 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, plus the operational disruption and safety risks during retrofitting and product transfers, MRL concluded that it would not be cost effective to install or convert the existing FRT #305 to an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #305. No physical modifications will be made to this tank or its existing control technology.

EXISTING RENEWABLE PRODUCT STORAGE TANK 306

Tank #306 is an existing atmospheric FRT storing renewable kerosene/SAF. MRL intends to use Tank #306 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-11 below and the details are presented in the subsequent sections.

Table III-11

Proposed BACT Limits: Tank #306

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #306 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #306.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section VII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #306.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #306 is an existing FRT with a volume capacity of 360,972 gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditures would be in the range of $600,000 to $1,300,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 1.80 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #306 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 1.80 tpy VOC emission rate calculated for a fixed roof version of the tank without any vapor collection system and control device. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost-effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for converting the existing FRT #306 to an IFR configuration. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 1.80 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #306 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $600,000 to $1,300,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year.

In consideration of the 1.80 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, MRL concluded that it would not be cost effective to install an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #306. No physical modifications will be made to this tank or its existing control technology.

EXISTING RENEWABLE PRODUCT STORAGE TANK 307

Tank #307 is an existing atmospheric FRT storing renewable kerosene/SAF. MRL intends to use Tank #307 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-12 below and the details are presented in the subsequent sections.

Table III-12

Proposed BACT Limits: Tank #307

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #307 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #307.

- •	IFR Storage Tank with Vapor Collection System and Control Device;

- •	FRT with Vapor Collection System and Control Device;

- •	IFR Storage Tank;

- •	EFR Storage Tank; and

- •	FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #307.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #307 is an existing FRT with a volume capacity of 360,972 gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 1.80 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #307 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 1.80 tpy VOC emission rate calculated for a fixed roof version of the tank without any vapor collection system and control device. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost-effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for converting the existing FRT #307 to an IFR configuration. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 1.80 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #307 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $600,000 to $1,300,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year.

In consideration of the 1.80 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, MRL concluded that it would not be cost effective to install an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #307. No physical modifications will be made to this tank or its existing control technology.

EXISTING RENEWABLE PRODUCT STORAGE TANK 308

Tank #308 is an existing atmospheric FRT storing renewable kerosene/SAF. MRL intends to use Tank #308 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels. No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-13 below and the details are presented in the subsequent sections.

Table III-13

Proposed BACT Limits: Tank #308

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #308 | VOC | Vertical fixed roof with submerged filling |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #308.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #308.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #308 is an existing FRT with a volume capacity of 812,190 gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 3.76 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #308 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 3.76 tpy VOC emission rate calculated for a fixed roof version of the tank without any vapor collection system and control device. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost-effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for converting the existing FRT #308 to an IFR configuration. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 3.76 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #308 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $600,000 to $1,300,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year.

In consideration of the 3.76 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, MRL concluded that it would not be cost effective to install an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #308. No physical modifications will be made to this tank or its existing control technology.

Existing Renewable Fuel Storage Tank 29

Tank #29 is an existing FRT currently used for renewable diesel. MRL intends to use this tank to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-14 below and the details are presented in the subsequent sections

.

Table III-14

Proposed BACT Limits: Tank #29

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #29 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #29.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #29.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #29 is an existing FRT with a volume capacity of 869,625 gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 2.80 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #29 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 2.80 tpy VOC emission rate calculated for a fixed roof version of the tank without any vapor collection system and control device. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost-effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for converting the existing FRT #29 to an IFR configuration. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 2.80 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #29 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $600,000 to $1,300,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year.

In consideration of the 2.80 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, MRL concluded that it would not be cost effective to install an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #29. No physical modifications will be made to this tank or its existing control technology.

EXISTING RENEWABLE PRODUCT STORAGE TANK 116

Tank #116 is an existing atmospheric FRT storing renewable diesel. MRL intends to use this tank to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-15 below and the details are presented in the subsequent sections.

Table III-15

Proposed BACT Limits: Tank #116

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #116 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #116.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII  herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #116.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #116 is an existing FRT with a volume capacity of approximately 1.9 million gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditures would be in the range of $750,000 to $1,500,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

The tank’s fixed roof emissions are calculated at 4.76 tpy. Given the relatively low incremental VOC reduction and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #116 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 4.76 tpy VOC emission rate calculated for a fixed roof tank without any vapor collection and control. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

Conversion of FRT #116 to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $750,000 to $1,500,000 for a retrofit to IFR. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 4.76 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #116 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage.

Tank #116 has a volume capacity of approximately 1.9 million gallons with a tank diameter of 80 feet. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $750,000 to $1,500,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year for a tank this size.

In consideration of the 4.76 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, plus the operational disruption and safety risks during retrofitting and product transfers, MRL concluded that it would not be cost effective to install or convert the existing FRT #116 to an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #116, No physical modifications will be made to this tank or its existing control technology.

EXISTING RENEWABLE PRODUCT STORAGE TANK 128

Tank #128 is an existing FRT currently used for renewable diesel. MRL intends to use this tank to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-16 below and the details are presented in the subsequent sections.

Table III-16

Proposed BACT Limits: Tank #128

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #128 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #128.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #128.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #128 is an existing FRT with a volume capacity of 909,483 gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 2.89 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #128 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 2.89 tpy VOC emission rate calculated for a fixed roof version of the tank without any vapor collection system and control device. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost-effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for converting the existing FRT #128 to an IFR configuration. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 2.89 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #128 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $600,000 to $1,300,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year.

In consideration of the 2.89 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, MRL concluded that it would not be cost effective to install an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #128. No physical modifications will be made to this tank or its existing control technology.

CMR TANK TO MRL: EXISTING STORAGE TANK 47

Tank #47 is an existing atmospheric FRT at CMR, which currently stores petroleum-based kerosene/Jet A fuel. Tank #47 will be taken offline at CMR and restarted at MRL. MRL intends to use Tank #47 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-17 below and the details are presented in the subsequent sections

Table III-17

Proposed BACT Limits: Tank #47

.

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #47 | VOC | Vertical fixed roof with submerged filling |

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #47.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #47.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #47 is an existing FRT with a volume capacity of 863,102 gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

Given the relatively low incremental VOC reduction (the tank’s fixed roof emissions are calculated at 2.03 tpy) and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #47 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 2.03 tpy VOC emission rate calculated for a fixed roof version of the tank without any vapor collection system and control device. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost-effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

MRL estimated that the capital expenditure would be in the range of $600,000 to $1,300,000 for converting the existing FRT #47 to an IFR configuration. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 2.03 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #47 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $600,000 to $1,300,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year.

In consideration of the 2.03 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, MRL concluded that it would not be cost effective to install an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #47. No physical modifications will be made to this tank or its existing control technology.

CMR TANK TO MRL: EXISTING STORAGE TANK 124

Tank #124 is an existing EFR storage tank at CMR, which currently stores petroleum-based naphtha. Under the revised MaxSAF Project, Tank #124 will be taken offline at CMR and restarted at MRL. MRL intends to use Tank #124 to store renewable naphtha. No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-18 below and the details are presented below.

III-18

Proposed BACT Limits: Tank #124

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #124 | VOC | Vertical EFR, 40 CFR 60 Subpart Kc and submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

Tank #124 will be subject to NSPS Subpart Kc.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #124.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT (FRT) with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #124.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically infeasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

FRT with Submerged Fill

This option is technically feasible for the tank, but Tank #124 is already equipped with a more effective EFR. Therefore, this option will not be further evaluated.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank; and

- EFR Storage Tank.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

MRL evaluated the cost and practicality of converting the existing EFR Tank #124 to an IFR equipped with a vapor collection and control system and concluded the conversion is not cost effective. Conversion would require installing a fixed roof over the existing floating roof (or replacing the tank roof assembly), plus piping, valves, instrumentation, and a dedicated control device (e.g., a thermal oxidizer) to treat collected vapors. MRL estimates the capital cost for the piping and thermal oxidizer and associated modifications at approximately $1,250,000 to $2,000,000.

The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new combustion control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. The estimate for capital cost includes the piping and a thermal oxidizer. Furthermore, ongoing fuel, electricity, maintenance labor, and materials for the thermal oxidizer would add materially to lifecycle costs. In consideration of the 3.65 tpy VOC emissions from the EFR Tank #124, the incremental emissions reduction achievable by converting to an IFR with vapor collection and control would be small compared with the substantial capital and ongoing expenses. Additionally, a thermal oxidizer would generate additional NOx, CO, and GHG emissions from fuel combustion.

Considering the significant capital investment and increased operating costs required to convert the existing EFR to an IFR with vapor collection and a control device, together with 3.65 tpy from EFR Tank #124, MRL determined that the conversion is not a cost effective control option. Consequently, MRL eliminated the IFR-with-vapor-collection alternative from consideration as the maximum air pollution control measure for Tank #124.

FRT with Vapor Collection System and Control Device

MRL evaluated the option of converting the existing EFR Tank #124 to a fixed roof configuration with a vapor collection system routed to a control device (e.g., thermal oxidizer, condenser, or carbon adsorption). As described in the IFR storage tank and vapor collection system and control device section, the tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system. Conversion would require substantial modification to the existing tank (installation of a fixed roof or replacement of the roof assembly), plus piping, valves, instrumentation, and a dedicated control device. Estimated capital cost for piping, associated equipment, and a thermal oxidizer (or equivalent control) is on the order of $1,250,000 to $2,000,000. Furthermore, ongoing fuel, electricity, maintenance labor, and materials for the thermal oxidizer would add materially to lifecycle costs.

The current EFR configuration already provides substantial emissions reduction compared with a fixed roof configuration, and the calculated VOC emissions for Tank #124 are 3.65 tpy. The incremental VOC reduction achievable by converting it to a fixed roof with vapor collection and control would be small compared with the substantial capital and ongoing expenses. Based on technical, economic, and operational considerations, this option is not considered the maximum air pollution control measure and is therefore eliminated from further consideration.

IFR Storage Tank

MRL evaluated converting the existing EFR Tank #124 to an IFR configuration. Conversion would require adding a fixed roof over the existing floating roof (or replacing the roof assembly), together with new piping, valves, and instrumentation. Because the current EFR design already provides substantial emissions control, the incremental VOC reduction achievable with an IFR would be small compared with the high costs to install and operate an IFR storage tank. Consequently, MRL concluded that converting Tank #124 to an IFR is not cost effective and has been eliminated from consideration as the maximum air pollution control measure for this tank.

EFR Storage Tank

Tank #124 is an EFR storage tank. This control technology has been incorporated in its basic design and operation of this tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., EFR storage tank with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #124. No physical modifications will be made to this tank or its existing control technology.

CMR TANK TO MRL: EXISTING STORAGE TANK 125

Tank #125 is an existing FRT at CMR, which is currently used for gas oil. Under the revised MaxSAF Project, Tank #125 will be taken offline at CMR and restarted at MRL. MRL intends to use Tank #125 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-19 below and the details are presented in the subsequent sections.

III-19

Proposed BACT Limits: Tank #125

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #125 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #125.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #125.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #125 is an existing FRT with a volume capacity of approximately 1.6 million gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditures would be in the range of $750,000 to $1,500,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

The tank’s fixed roof emissions are calculated at 5.32 tpy. Given the relatively low incremental VOC reduction and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #125 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 5.32 tpy VOC emission rate calculated for a fixed roof tank without any vapor collection and control. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

, Conversion of FRT #125 to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $750,000 to $1,500,000 for a retrofit to IFR. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of the 5.32 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #125 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage.

Tank #125 has a volume capacity of approximately 1.6 million gallons with a tank diameter of 80 feet. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $750,000 to $1,500,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year for a tank this size.

In consideration of the 5.32 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, plus the operational disruption and safety risks during retrofitting and product transfers, MRL concluded that it would not be cost effective to install or convert the existing FRT #125 to an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #125. No physical modifications will be made to this tank or its existing control technology.

CMR TANK TO MRL: EXISTING STORAGE TANK 150

Tank #150 is an existing FRT at CMR, which is currently used for petroleum-based kerosene/Jet A fuel. Under the revised MaxSAF Project, Tank #150 will be taken offline at CMR and restarted at MRL. MRL intends to use Tank #150 to store a renewable fuel whose vapor pressure will be equal to or less than that of renewable kerosene/SAF. Potential VOC emissions from this tank have been conservatively updated using the vapor pressure of renewable kerosene/SAF, which represents the highest vapor pressure among the candidate fuels (see updated tank emissions in Appendix B). No physical modifications to the tank are planned.

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-20 below and the details are presented in the subsequent sections.

III-20

Proposed BACT Limits: Tank #125

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #150 | VOC | Vertical fixed roof with submerged fill |

Volatile Organic Compounds

Emissions from the storage tank occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

The storage tank is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #150.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

IFR Storage Tank with Vapor Collection System and Control Device

Please see Definition Section XIV herein for a discussion of this technology.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

IFR Storage Tank

Please see Definition Section XVI herein for a discussion of this technology.

EFR Storage Tank

Please see Definition Section XVII herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank 150.

IFR Storage Tank with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

IFR Storage Tank

This option is technically feasible for the tank.

EFR Storage Tank

This option is technically feasible for the tank.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the base design and operation of the tank. Therefore, this option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- IFR Storage Tank with Vapor Collection System and Control Device;

- FRT with Vapor Collection System and Control Device;

- IFR Storage Tank;

- EFR Storage Tank; and

- FRT with Submerged Fill: this control technology was incorporated into the emissions unit’s baseline emissions because the unit’s design basis incorporates a fixed roof and submerged fill.

Step 4: Evaluate Most Effective Control Options and Document Results

Below, we evaluate the cost effectiveness of the installation and operation of the VOC emission control technologies that were determined to be technically feasible for the tank but not already included in its base design.

IFR Storage Tank with Vapor Collection System and Control Device

Tank #150 is an existing FRT with a volume capacity of approximately 1.2 million gallons. Conversion of this FRT to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditures would be in the range of $750,000 to $1,500,000 for a retrofit to IFR, and an additional $500,000 to $1,000,000 would be required to install a dedicated thermal oxidizer and associated vapor collection piping, valves, and instrumentation. Annual operating and maintenance costs for the IFR and control system (seal maintenance, inspections, thermal oxidizer fuel and electricity, routine maintenance) are estimated at roughly $50,000 to $200,000 per year.

The tank’s fixed roof emissions are calculated less than 5.0 tpy. Given the relatively low incremental VOC reduction and the high capital and ongoing costs above, the implied cost per ton of VOC removed is very high and not economically justified. Therefore, MRL concluded that converting Tank #150 to an IFR with vapor collection and control is not cost effective and has been eliminated from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Vapor Collection System and Control Device

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the tank’s VOC emissions would cost approximately $500,000 to $1,000,000, which is not cost effective in consideration of the 5.32 tpy VOC emission rate calculated for a fixed roof tank without any vapor collection and control. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the thermal oxidizer would be in the range of $50,000 - $150,000, which make it even less cost effective. Therefore, MRL eliminated a vapor collection system and control device from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

IFR Storage Tank

Conversion of FRT #150 to an IFR would require installation of an IFR assembly (including primary seals and fittings), modification or replacement of the existing roof structure and supports as needed, new manways and safety/access features, and rerouting or installation of piping, valves and instrumentation to accommodate the IFR. The tank’s VOC emissions cannot be safely routed to the adjacent CMR Great Falls Refinery’s flare system because that system operates at a very high pressure. Therefore, a new control device, such as a thermal oxidizer, would be required to be installed to safely treat the tank’s VOC emissions. MRL estimated that the capital expenditure would be in the range of $750,000 to $1,500,000 for a retrofit to IFR. Annual operating and maintenance costs for the IFR are estimated at roughly $25,000 to $50,000 per year. In consideration of less than 5.0 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an IFR storage tank, MRL concluded that it would not be cost effective to install an IFR storage tank. Therefore, MRL eliminated an IFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

EFR Storage Tank

MRL evaluated conversion of FRT #150 to an EFR and has determined that EFR conversion is not a cost effective option for this tank. Conversion to an EFR would require removal or modification of the existing fixed roof (including structural work to support an open top configuration), installation of an external floating roof and associated primary and secondary seals, new roof drains and deck fittings, manways and safety features, and rerouting of liquid and vapor piping and instrumentation. The work also typically involves extensive scaffolding, confined space safety procedures, tank emptying and product transfers during the outage.

Tank #150 has a volume capacity of approximately 1.2 million gallons with a tank diameter of 67 feet. MRL estimated that preliminary capital costs for converting it to an IFR configuration would be in the range of $750,000 to $1,500,000. Annual operating and maintenance costs for an EFR (seal inspections and replacement, periodic cleaning, routine inspections, recordkeeping) are typically in the range of $15,000 to $50,000 per year for a tank this size.

In consideration of less than 5.0 tpy VOC emission rate calculated for a fixed roof version of the tank and the higher costs to install and operate an EFR storage tank, plus the operational disruption and safety risks during retrofitting and product transfers, MRL concluded that it would not be cost effective to install or convert the existing FRT #150 to an EFR storage tank. Therefore, MRL eliminated an EFR storage tank from consideration as the maximum air pollution control capability for the tank’s VOC emissions.

FRT with Submerged Fill

Fixed roof with submerged fill is an integral component of the design and operation of the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., fixed roof with submerged fill, still represents the maximum air pollution control capacity for the VOC emissions from Tank #150. No physical modifications will be made to this tank or its existing control technology.

EXISTING WASTEWATER TANK #4201

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table II-21 below, and the details are presented in the subsequent sections.

III-21

Proposed BACT Limits: Tank #4201

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Tank #4201 | VOC | Vertical fixed roof with a Carbon Adsorption Device |

Volatile Organic Compounds

Tank #4201 is an atmospheric FRT storing PTU wastewater potentially containing VOC. The annual PTU wastewater throughput to the tank is expected to increase due to the revised MaxSAF project, which will increase the potential VOC emissions from the tank. As such, a BACT analysis is conducted for the tank.

Tank #4201 is not subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #4201.

- •	FRT with Vapor Collection System and Control Device; and

- •	FRT with Submerged Fill.

Below, these technologies are generally described.

A floating roof is generally not an available technology for Tank #4201 because of the waxy or fatty physical characteristic of the organic material contained in the PTU wastewater. This characteristic would negatively impact the operability of a floating roof, including the effectiveness of the roof’s seals.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Sectio XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #4201.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Submerged Fill

This option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- FRT with Vapor Collection System and Control Device; and

- FRT with Submerged Fill.

Step 4: Evaluate Most Effective Control Options and Document Results

MRL currently utilizes the most effective control technology on Tank #4201. Therefore, it is not necessary to analyze control technology options for the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., vertical fixed roof with a carbon adsorption device, still represents the maximum air pollution control capacity for the VOC emissions from Tank #4201. No physical modifications will be made to this tank or its existing control technology.

NEW WASTEWATER TANK #4202

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-22 below, and the details are presented in the subsequent sections.

III-22

Proposed BACT Limits: Tank #4202

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| New Tank #4202 | VOC | Vertical fixed roof with a vapor collection system and control device |

Volatile Organic Compounds

Tank #4202 will be an atmospheric FRT storing wastewater (potentially containing VOC) generated from the proposed new Water Conservation Unit. Emissions from the storage tank will occur by two mechanisms: (1) vapor contraction and expansion in the tank’s vapor space due to operating temperature fluctuations, which produces breathing emissions; and (2) hydraulic displacement of vapor from cyclic liquid-level changes, which produces working emissions.

Tank #4202 will not be subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for Tank #4202.

- FRT with Vapor Collection System and Control Device; and

- FRT with Submerged Fill.

Below, these technologies are generally described.

A floating roof is generally not an available technology for Tank #4202 because of the waxy or fatty physical characteristic of the organic material contained in the wastewater. This characteristic would negatively impact the operability of a floating roof, including the effectiveness of the roof’s seals.

FRT with Vapor Collection System and Control Device

Please see Definition Section XV herein for a discussion of this technology.

FRT with Submerged Fill

Please see Definition Section XVIII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for Tank #4202.

FRT with Vapor Collection System and Control Device

This option is technically feasible for the tank.

FRT with Submerged Fill

This option is technically feasible for the tank.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The remaining available VOC emission control technologies for the tank are listed below from the highest to lowest potential emission control relative to the emissions unit’s baseline emissions.

- FRT with Vapor Collection System and Control Device; and

- FRT with Submerged Fill.

Step 4: Evaluate Most Effective Control Options and Document Results

MRL will install and operate the most effective control technology on Tank #4202. Therefore, it is not necessary to analyze control technology options for the tank.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that a fixed roof with a vapor collection system and control device represents the maximum air pollution control capability for the VOC emissions from Tank #4202. Therefore, MRL will control VOC emissions from the tank by equipping it with a fixed roof and a vapor collection system and control device.

EXISTING LOADING OPERATIONS – RENEWABLE DIESEL, KEROSENE AND SAF

The maximum air pollution control capability determination made for the existing truck and rail loading of renewable diesel and renewable kerosene/SAF products pursuant to ARM 17.8.752 is summarized in Table III-23 below, and the details are presented in the subsequent sections.

III-23

Proposed BACT Limits: Truck and Rail Loading

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Truck and Rail Loading of Renewable Diesel, Kerosene and SAF | VOC | Submerged Fill |

Volatile Organic Compounds

The loading activity represents the loading of renewable diesel, kerosene or SAF into tanker trucks or railcars which will have the potential to result in VOC emissions to the atmosphere because of the displacement of VOC-containing vapor present in the vessel. Under the revised MaxSAF project, the annual production of renewable fuel products will slightly increase and the fuel production ratio (renewable kerosene : renewable diesel) will increase, resulting in an increase in VOC emissions from loading. As such, a BACT analysis is conducted for the truck and rail loading of renewable diesel, kerosene and SAF.

The Loading - Renewable Diesel, Kerosene and SAF activity is now subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the Loading Operations – Renewable Fuels.

- Thermal Oxidation;

- Catalytic Oxidation;

- Absorption;

- Carbon Adsorption;

- Condensation; and

- Submerged Fill Loading.

Below, these technologies are generally described.

Thermal Oxidation

Thermal oxidation can be used to reduce VOC contained in a source’s exhaust stream by maintaining the stream at a high enough temperature in the presence of oxygen, resulting in the oxidation of hydrocarbons (HCs) to CO2. Thermal oxidation of an exhaust stream can be achieved by routing the stream to a flare, afterburner or regenerative or recuperative thermal oxidizer. The effectiveness of all thermal oxidation processes is influenced by residence time, mixing and temperature. Auxiliary fuel is typically required to achieve the temperature needed to ensure proper carbon exhaust stream oxidation in a thermal oxidation device or process. The necessary amount of auxiliary fuel is dependent on the VOC content of the exhaust stream.

Catalytic Oxidation

Catalytic oxidation makes use of catalysts, such as the precious metals platinum, palladium or rhodium, without the addition of any chemical reagents to reduce the temperature at which HCs are oxidized to CO2. The effectiveness of catalytic oxidation is dependent on the exhaust stream temperature and the presence of potentially poisoning contaminants in the exhaust stream. The amount of catalyst volume is dependent upon the exhaust stream flow rate, VOC content and temperature, as well as the desired VOC removal efficiency. The catalyst will experience activity loss over time due to physical deterioration and/or chemical deactivation. Therefore, periodic testing of the catalyst is necessary to monitor its activity (i.e., oxidation promoting effectiveness) and predict its remaining life. As needed, the catalyst will require periodic replacement. Catalyst life varies from manufacturer-to manufacturer, but three to six-year windows are not uncommon.

Absorption (Wet Scrubber)

Absorption is primarily a physical process, though it can also include a chemical component, in which a pollutant in a gas phase contacts a scrubbing media and is removed from the gas phase by the scrubbing media. The common absorption device used to remove VOC from a gaseous stream is a wet scrubber. The wet scrubber provides an intimate contacting environment for the soluble VOC to be dissolved in the scrubbing liquid. Water can be used as the scrubbing liquid in a wet scrubber used for VOC emission control, but very low vapor pressure organic materials are also used when the VOC requiring control is not soluble in water. In general, VOC containing nitrogen or oxygen atoms that are free to form strong hydrogen bonds and that have one to three carbon atoms are soluble in water. As the number of carbon atoms increases, the VOC is typically less soluble in water to a point where it is insoluble in water. There are several types of wet scrubbers, including packed bed counterflow scrubbers, packed-bed crossflow scrubbers, bubble plate scrubbers and tray scrubbers.

Carbon Adsorption

Carbon adsorption is used to capture a specific compound, or a range of compounds, present in a gas phase on the surface of granular activated carbon. Carbon adsorption performance depends on the type of activated carbon used, the characteristics of the target compound(s), the concentration of the target compound(s) in the gaseous stream and the temperature, pressure and moisture content of the gaseous stream. Carbon adsorbers can be of the fixed-bed or fluidized bed design. A fixed-bed carbon adsorber must be periodically regenerated to desorb the collected compounds from the carbon, while a fluidized-bed carbon adsorber is continuously regenerated. Additionally, portable, easily replaceable carbon adsorption units (e.g., 55-gallon drums) are used in some applications. This type of unit is not regenerated at MRL where it is used. Instead, the portable unit is typically returned to the supplier of the unit and the supplier regenerates or disposes of the spent carbon.

Condensation

In principle, a condenser achieves condensation by lowering the temperature of the gas stream containing a condensable to a temperature at which the desired condensate's vapor pressure is lower than its entering partial pressure. Condensation is performed by a condenser that is either a surface noncontact condenser or a direct-contact condenser. A surface condenser is usually a shell-and-tube heat exchanger in which the cooling fluid flows inside the tubes of the exchanger and the gas undergoing condensation treatment flows on the outside of the tubes. A direct-contact condenser is a device in which intimate contact occurs between the cooling fluid and the gas undergoing condensation treatment, usually in a spray or packed tower. Although a direct-contact condenser may also be part of a chemical recovery system, an extra separation step is usually required to separate the cooling liquid from the newly formed condensate. Examples of cooling fluids used in condensers are water, brine cooled to below the freezing point of pure water and refrigerants.

Submerged Fill Loading

By incorporating submerged fill into the design of a loading operation, the saturation level of the vapor space between the surface of the liquid contained in the tank and the roof of the tank can be reduced versus the level that would occur if the liquid were introduced into the tank under splash loading conditions. Therefore, the vapor vented from the storage tank contains less VOC, which means lower VOC emissions to the atmosphere.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for the Loading Operations – Renewable Fuels is evaluated below.

Thermal Oxidation

This option is technically feasible.

Catalytic Oxidation

This option is technically feasible.

Absorption

This option is technically feasible.

Carbon Adsorption

This option is technically feasible.

Condensation

This option is technically feasible.

Submerged Fill Loading

This option is technically feasible.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The available add-on VOC emission control technologies for loading renewable diesel, kerosene and SAF products are all effectively the same with respect to VOC emission control capabilities. Alternatively, the submerged fill loading option would not be as effective as the add-on VOC emission control options.

Step 4: Evaluate Most Effective Control Options and Document Results

As noted above, the available add-on VOC emission control technologies are all effectively the same with respect to VOC emission control capabilities (depending on the composition of the VOC stream, these add-on controls are capable of achieving 70-80% control of VOC emissions).

The different add-on control device technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste and combustion emissions).

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the VOC emissions from loading operation would have a capital cost of approximately $1,250,000 to $2,000,000, which is not expected to be cost effective in consideration of less than 9.0 tpy VOC emissions calculated for the activity (worst-case). The estimate for capital cost includes the piping, thermal oxidizer and associated components. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the addon control technology would make it even less cost-effective. Other add-on control devices like catalytic oxidation, condensers, wet scrubbers are expected to have the same level of capital expenditure.

Therefore, based on economic considerations, MRL eliminated add-on vapor collection system and control device from consideration as the maximum air pollution control capability for the activity’s VOC emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that submerged fill loading represents the maximum air pollution control capability for the VOC emissions from the truck and rail loading of renewable diesel, kerosene and SAF. MRL will continue to control VOC emissions from loading renewable diesel, kerosene and SAF by utilizing submerged fill.

EXISTING LOADING OPERATION – RENEWABLE NAPHTHA

The maximum air pollution control capability determination made for the existing rail loading of renewable naphtha pursuant to ARM 17.8.752 is summarized in Table III-24 below, and the details are presented in the subsequent sections.

III-24

Proposed BACT Limits: Exiting Renewable Naphtha Rail Loading

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing Rail Loading of Renewable Naphtha | VOC | Existing Vapor Control Unit (VCU) at CMR |

Volatile Organic Compounds

The loading activity represents the existing CMR rail loading of renewable naphtha from the existing storage Tanks #124 and #304 into railcars which will have the potential to result in VOC emissions to the atmosphere because of the displacement of VOC-containing vapor present in the vessel.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for loading of renewable naphtha.

- Thermal Oxidation;

- Catalytic Oxidation;

- Absorption;

- Carbon Adsorption;

- Condensation; and

- Submerged Fill Loading.

Below, these technologies are generally described.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Absorption (Wet Scrubber)

Please see Definition Section XIX herein for a discussion of this technology.

Carbon Adsorption

Please see Definition Section XX herein for a discussion of this technology.

Condensation

Please see Definition Section XXI herein for a discussion of this technology.

Submerged Fill Loading

Please see Definition Section XXII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for loading of renewable naphtha is evaluated below.

Thermal Oxidation

This option is technically feasible.

Catalytic Oxidation

This option is technically feasible.

Absorption

This option is technically feasible.

Carbon Adsorption

This option is technically feasible.

Condensation

This option is technically feasible.

Submerged Fill Loading

This option is technically feasible.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The available add-on VOC emission control technologies for loading of renewable naphtha are all effectively the same with respect to VOC emission control capabilities. Alternatively, the submerged fill loading option would not be as effective as the add-on VOC emission control options.

Step 4: Evaluate Most Effective Control Options and Document Results

MRL currently utilizes the most effective control technology for loading of renewable naphtha through the existing vapor control unit (VCU) at CMR. Therefore, it is not necessary to analyze control technology options for this process.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that the original BACT analysis and determination, i.e., routing the exhaust gases to the existing VCU at CMR, still represents the maximum air pollution control capacity for the VOC emissions from loading of renewable naphtha. No physical modifications will be made to this loading process or its existing control technology.

NEW TRUCK LOADING – HEAVY FRACTIONS

The maximum air pollution control capability determination made for the new truck loading of the separated heavy fractions from the new Water Conservation Unit pursuant to ARM 17.8.752 is summarized in Table III-25 below, and the details are presented in the subsequent sections.

III-25

Proposed BACT Limits: Exiting Renewable Naphtha Rail Loading

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| New Truck Loading of Heavy Fractions from the New Water Conservation Unit | VOC | Submerged Fill |

Volatile Organic Compounds

The separated heavy fractions water from the feed centrifugal separation (new Water Conservation Unit) will be loaded out by truck for off-site disposal. The separated heavy fractions water may potentially contain a small amount of VOC, which may result in VOC emissions to the atmosphere because of the displacement of VOC-containing vapor present in the vessel. The new loading activity will not be subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for loading of heavy fractions from the new Water Conservation Unit.

- Thermal Oxidation;

- Catalytic Oxidation;

- Absorption;

- Carbon Adsorption;

- Condensation; and

- Submerged Fill Loading.

Below, these technologies are generally described.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Absorption (Wet Scrubber)

Please see Definition Section XIX herein for a discussion of this technology.

Carbon Adsorption

Please see Definition Section XX herein for a discussion of this technology.

Condensation

Please see Definition Section XXI herein for a discussion of this technology.

Submerged Fill Loading

Please see Definition Section XXII herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

The technical feasibility of the VOC emission control technologies determined to be available for loading of heavy fractions from the new Water Conservation Unit is evaluated below.

Thermal Oxidation

This option is technically feasible.

Catalytic Oxidation

This option is technically feasible.

Absorption

This option is technically feasible.

Carbon Adsorption

This option is technically feasible.

Condensation

This option is technically feasible.

Submerged Fill Loading

This option is technically feasible.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The available add-on VOC emission control technologies for loading of blended SAF are all effectively the same with respect to VOC emission control capabilities. Alternatively, the submerged fill loading option would not be as effective as the add-on VOC emission control options.

Step 4: Evaluate Most Effective Control Options and Document Results

As noted above, the available add-on VOC emission control technologies are all effectively the same with respect to VOC emission control capabilities (depending on the composition of the VOC stream, these add-on controls are capable of achieving 70-80% control of VOC emissions).

The different add-on control device technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste and combustion emissions).

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the VOC emissions from loading operation would have a capital cost of approximately $1,250,000 to $2,000,000, which is not expected to be cost effective in consideration of the negligible 0.21 tpy VOC emissions calculated for the activity. The estimate for capital cost includes the piping, thermal oxidizer and associated components. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the addon control technology would make it even less cost-effective. Other add-on control devices like catalytic oxidation, condensers, wet scrubbers are expected to have the same level of capital expenditure.

Therefore, based on economic considerations, MRL eliminated add-on vapor collection system and control device from consideration as the maximum air pollution control capability for the activity’s VOC emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that submerged fill loading represents the maximum air pollution control capability for the VOC emissions from the proposed new truck loading of separated heavy fractions water from the new Water Conservation Unit.

EXISTING PTU BLOWDOWN DRUM (D-4208)

The maximum air pollution control capability determination made for this emissions unit pursuant to ARM 17.8.752 is summarized in Table III-26 below, and the details are presented in the subsequent sections.

III-26

Proposed BACT Limits: Existing Blowdown Drum D-4208

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| Existing PTU Blowdown Drum D-4208 | VOC | Carbon Adsorption Device |

Volatile Organic Compounds

The PTU Blowdown Drum (D-4208) periodically receives renewable feed and renewable feed-water mixtures due to PTU equipment maintenance and PTU turnaround events. VOC emissions occur due to the volatilization of organic compounds from the material handled by the vessel. Under the revised MaxSAF project, the amount of VOC generated from this process vessel is expected to increase. As such, a BACT analysis is conducted for D-4208.

The process vessel is not and will not be subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the PTU Blowdown Drum (D-4208).

- Thermal Oxidation;

- Catalytic Oxidation;

- Absorption;

- Carbon Adsorption; and

- Condensation.

Below, the available technologies are generally described.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Absorption

Please see Definition Section XIX herein for a discussion of this technology.

Carbon Adsorption

Please see Definition Section XX herein for a discussion of this technology.

Condensation

Please see Definition Section XXI herein for a discussion of this technology.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for the PTU Blowdown Drum (D-4208).

Thermal Oxidation

This option is technically feasible.

Catalytic Oxidation

This option is technically feasible.

Absorption

This option is technically feasible.

Carbon Adsorption

This option is technically feasible.

Condensation

This option is technically feasible.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The available add-on VOC emission control technologies for the PTU Blowdown Drum (D- 4208) are all effectively the same with respect to VOC emission control capabilities. The different technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste or combustion emissions).

Step 4: Evaluate Most Effective Control Options and Document Results

As noted above, the available add-on VOC emission control technologies are all effectively the same with respect to VOC emission control capabilities. MRL currently utilizes a carbon adsorption control device to minimize the vessel’s VOC emissions and an economic analysis is not being performed.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that carbon adsorption represents the maximum air pollution control capability for VOC emissions from the PTU Blowdown Drum (D-4208). Therefore, MRL will continue to route the gaseous exhausts from the vessel to the carbon adsorption control device for reduction of VOC emissions.

NEW PTU WASTEWATER PRE-TREATMENT SYSTEM AND WCU WASTEWATER PRE-TREATMENT SYSTEM

The maximum air pollution control capability made for this system pursuant to ARM 17.8.752 is summarized in Table III-27 below, and the details are presented in the subsequent sections.

III-27

Proposed BACT Limits: New PTU Wastewater Pretreatment System and WCU Wastewater Pretreatment System

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| New PTU Wastewater Pre-treatment System and New WCU Wastewater Pre-treatment System, respectively | VOC | Proper design and operation |

Volatile Organic Compounds

Each proposed wastewater pre-treatment system will be potentially comprised of oil-water separation, dissolved air flotation (DAF), coagulation, neutralization, flocculation, clarification, and aerobic digestion processes.  The wastewater generated from the existing PTU and the new Water Conservation Unit will be sent to the respective wastewater pre-treatment systems prior to being discharged to the city sewer. VOC emissions will occur due to the volatilization of organic compounds from the wastewater handled by each pre-treatment system.

These wastewater pre-treatment systems will not be subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the proposed wastewater pre-treatment system.

- Thermal Oxidation;

- Catalytic Oxidation;

- Absorption;

- Carbon Adsorption;

- Condensation; and

- Proper System Design and Operating Practices.

Below, the available technologies are generally described.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Absorption

Please see Definition Section XIX herein for a discussion of this technology.

Carbon Adsorption

Please see Definition Section XX herein for a discussion of this technology.

Condensation

Please see Definition Section XXI herein for a discussion of this technology.

Proper System Design and Operating Practices

The system will be properly designed and operated to minimize volatilization of organic compounds. Therefore, the amount of VOC emissions from the system will be low.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for the PTU wastewater pre-treatment system.

Thermal Oxidation

This option is technically feasible.

Catalytic Oxidation

This option is technically feasible.

Absorption

This option is technically feasible.

Carbon Adsorption

This option is technically feasible.

Condensation

This option is technically feasible.

Proper System Design and Operating Practices

This option is technically feasible.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The available add-on VOC emission control technologies for each wastewater pre-treatment system are all effectively the same with respect to VOC emission control capabilities. The different technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste or combustion emissions).

Step 4: Evaluate Most Effective Control Options and Document Results

As noted above, the available add-on VOC emission control technologies are all effectively the same with respect to VOC emission control capabilities (depending on the composition of the VOC stream, these add-on controls are capable of achieving 70-80% control of VOC emissions).

The different add-on control device technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste and combustion emissions).

The modeled maximum VOC emissions from each proposed wastewater pre-treatment system using EPA’s ToxChem Modeling Software are less than 3.0 tpy based on MRL’s existing worst-case PTU wastewater characteristics. MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the VOC emissions from each wastewater pretreatment system would have a capital cost of approximately $1,250,000 to $2,000,000, which is not expected to be cost effective in consideration of less than 3.0 tpy VOC emissions calculated for each system, or less than 6.0 tpy for two pre-treatment systems combined. The estimate for capital cost includes the piping, thermal oxidizer and associated components. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the addon control technology would make it even less cost-effective. Other add-on control devices like catalytic oxidation, condensers, wet scrubbers are expected to have the same level of capital expenditure.

Therefore, based on economic considerations, MRL eliminated add-on vapor collection system and control device from consideration as the maximum air pollution control capability for the activity’s VOC emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that proper system design and operating practices represent the maximum air pollution control capability for VOC emissions from the proposed new PTU wastewater pre-treatment system and WCU pre-treatment system. Therefore, MRL will control VOC emissions from the pre-treatment system by properly designing and operating the system.

NEW RFU STRIPPED SOUR WATER RECYCLING

The maximum air pollution control capability determination made for this process pursuant to ARM 17.8.752 is summarized in Table III-28 below, and the details are presented in the subsequent sections.

III-28

Proposed BACT Limits: New PTU Wastewater Pretreatment System and WCU Wastewater Pretreatment System

| Emissions Unit | Pollutant | Control Technology/Practice |
| --- | --- | --- |
| New RFU Stripped Sour Water Recycling | VOC | Proper design and operation |

Volatile Organic Compounds

Currently, the stripped sour water from the RFU is sent to the existing wastewater pre-treatment system at CMR for disposal. MRL proposes to recycle a portion of the stripped sour water from the RFU back to the production process. Depending on the quality of the recycled sour water, it may be sent to the upstream of the new Water Conservation Unit or the existing PTU, or it may need to first pass through the existing deaerator to remove dissolved gases contained in the recycled water prior to being sent back to the production process. When the recycled sour water passes through the deaerator, VOC emissions may occur due to the volatilization of residual organic compounds contained in the stripped source water.

The recycling of stripped source water is not expected to be subject to an NSPS or NESHAP VOC emission standard.

Step 1: Identify Control Technologies

The following are available VOC emission control technologies for the proposed RFU stripped source water recycling.

- Thermal Oxidation;

- Catalytic Oxidation;

- Absorption;

- Carbon Adsorption;

- Condensation; and

- Proper System Design and Operating Practices.

Below, the available technologies are generally described.

Thermal Oxidation

Please see Definition Section II herein for a discussion of this technology.

Catalytic Oxidation

Please see Definition Section III herein for a discussion of this technology.

Absorption

Please see Definition Section XIX herein for a discussion of this technology.

Carbon Adsorption

Please see Definition Section XX herein for a discussion of this technology.

Condensation

Please see Definition Section XXI herein for a discussion of this technology.

Proper System Design and Operating Practices

The system will be properly designed and operated to minimize volatilization of residual organic compounds. Therefore, the amount of VOC emissions from the recycled stripped source water, when it passes through the deaerator, will be low.

Step 2: Eliminate Technically Infeasible Options

Below, we evaluate the technical feasibility of the VOC emission control technologies determined to be available for the proposed RFU stripped source water recycling.

Thermal Oxidation

This option is technically feasible.

Catalytic Oxidation

This option is technically feasible.

Absorption

This option is technically feasible.

Carbon Adsorption

This option is technically feasible.

Condensation

This option is technically feasible.

Proper System Design and Operating Practices

This option is technically feasible.

Step 3: Rank Remaining Control Technologies by Control Effectiveness

The available add-on VOC emission control technologies for the proposed RFU stripped source water recycling are all effectively the same with respect to VOC emission control capabilities. The different technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste or combustion emissions).

Step 4: Evaluate Most Effective Control Options and Document Results

As noted above, the available add-on VOC emission control technologies are all effectively the same with respect to VOC emission control capabilities (depending on the composition of the VOC stream, these add-on controls are capable of achieving 70-80% control of VOC emissions).

The different add-on control device technologies do however have varying energy requirements (e.g., electricity and fuel) and generate unique waste products (e.g., wastewater, solid waste and combustion emissions).

The recycling of stripped sour water will not be a continuous process running 8,760 hours per year and not all the recycled stripped sour water would need to be de-aerated. The maximum hours that the recycled stripped sour water to pass through the de-aerator is conservatively estimated to be less than 3,000 hrs/yr. Additionally, the actual source water sampling data (VOC concentration in sour water) is further multiplied by a factor of 3 (tripled), resulting in potential VOC emissions of less than 2.0 tpy as provided in the permit application.

MRL estimated that the installation of piping, associated equipment (e.g., valves and instrumentation) and a thermal oxidizer to collect and control the VOC emissions from the proposed stripped sour water recycling would have a capital cost of approximately $1,250,000 to $2,000,000, which is not expected to be cost effective in consideration of less than 2.0 tpy VOC emissions calculated for the system. The estimate for capital cost includes the piping, thermal oxidizer and associated components. Additionally, annual operating costs (e.g., fuel, electricity, maintenance labor and maintenance materials) required to operate and maintain the addon control technology would make it even less cost-effective. Other add-on control devices like catalytic oxidation, condensers, wet scrubbers are expected to have the same level of capital expenditure.

Therefore, based on economic considerations, MRL eliminated add-on vapor collection system and control device from consideration as the maximum air pollution control capability for the activity’s VOC emissions.

Step 5: Select Maximum Air Pollution Control Capability

MRL determined that proper system design and operating practices represent the maximum air pollution control capability for VOC emissions from the proposed stripped sour water recycling. Therefore, MRL will control VOC emissions from the recycling process by properly designing and operating the system.

BACT conclusions prescribed under MAQP #5263-04 provide comparable controls and control cost to other recently permitted similar sources and are capable of achieving the appropriate emission standards.

- Emission Inventory

The proposed emission changes occurring with this application are shown in the following table along with the potential to emit from the baseline emissions for the current Revised MaxSAF application (MAQP #5263-04)., as well as the resulting post-project totals following completion.  The increases with this project are shown in the row titled “Project Increase”.

| PTE | CO | NOx | PM (filt.) | PM10 | PM2.5 | SO2 | VOC | Total HAPs |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Existing Facility-Wide Total | 78.10 | 89.53 | 2.88 | 9.06 | 8.87 | 5.91 | 90.35 | 8.18 |
| Updated Facility-Wide Total | 132.00 | 158.00 | 5.90 | 20.00 | 20.00 | 11.90 | 179.70 | 13.2 |
| Project Increase | 54.00 | 70.00 | 3.00 | 11.00 | 11.00 | 6.00 | 92.50 | 5.00 |
| PSD Major Threshold | 100 | 100 | - | 100 | 100 | 100 | 100 | na |
| Project Trigger PSD? | No | No | - | No | No | No | No | No |

MRL will be above the PSD baseline threshold going forward and will be subject to PSD analysis if future project emission increases exceed the thresholds set for significant emission increases.

DEQ has also included the summary of potential emissions by emitting unit below.

| Emission Unit/Process | CO (tpy) | NOx (tpy) | PM (filt.) (tpy) | PM10 (tpy) | PM2.5 (tpy) | SO2 (tpy) | VOC (tpy) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Existing MRL Facility Wide PTE | 78.10 | 89.53 | 2.88 | 9.06 | 8.87 | 5.91 | 90.35 |
| Fuel Combustion Units |  |  |  |  |  |  |  |
| # RFU Combined Feed Heater (H-4101) | # 13.01 | # 8.30 | # 0.12 | # 0.12 | # 0.10 | # 0.34 | # 1.28 |
| # RFU Fractionator Feed Heater (H-4102) | # 9.15 | # 6.67 | # 0.08 | # 0.08 | # 0.07 | # 0.24 | # 0.90 |
| # Hydrogen Plant #3 Reformer Heaters (H-3815A/H-3815B) | # 17.61 | # 29.97 | # 0.30 | # 0.30 | # 0.25 | # 0.35 | # 3.16 |
| # Hydrogen Plant #4 Reformer Heater (H-4601) | # 27.99 | # 37.40 | # 1.74 | # 6.95 | # 6.95 | # 4.86 | # 5.03 |
| # Hot Oil Heater (H-4201) | # 6.66 | # 3.33 | # 0.31 | # 1.24 | # 1.24 | # 0.10 | # 0.90 |
| # Low Pressure Boiler, LPB-1 (removed) | # 1.25 | # 1.25 | # 0.13 | # 0.14 | # 0.10 | # 0.01 | # 0.01 |
| # Low Pressure Boiler, LPB-2 (removed) | # 1.25 | # 1.25 | # 0.13 | # 0.14 | # 0.10 | # 0.01 | # 0.01 |
| # Generator, G-1 (removed) | # 0.59 | # 0.68 | # 0.04 | # 0.04 | # 0.04 | # 0.001 | # 0.68 |
| # Generator, G-2 (removed) | # 0.59 | # 0.68 | # 0.04 | # 0.04 | # 0.04 | # 0.001 | # 0.68 |
| # Tanks |  |  |  |  |  |  |  |
| # Renewable Feed Tanks #50, #102, #112, #140, #301, #302, & #303 | # - | # - | # - | # - | # - | # - | # 8.25 |
| # RD Storage Tanks: #29, #116, #128 | # - | # - | # - | # - | # - | # - | # 4.61 |
| # Renewable Fuel Product Storage Tanks: #305, #306, Tank #307, Tank #308 | # - | # - | # - | # - | # - | # - | # 8.66 |
| # Renewable Naphtha Storage Tank #304 | # - | # - | # - | # - | # - | # - | # 3.93 |
| # Tank #0801 (Conventional Diesel) | # - | # - | # - | # - | # - | # - | # 0.03 |
| # Tank #0802 (Additive Stadis 450l) | # - | # - | # - | # - | # - | # - | # 0.07 |
| # Tank #0803 (Additive OLI-9103) | # - | # - | # - | # - | # - | # - | # 0.11 |
| # PTU Blowdown Drum (D-4208) | # - | # - | # - | # - | # - | # - | # 0.70 |
| # PTU Wastewater Tank #4201 | # - | # - | # - | # - | # - | # - | # 0.40 |
| # Hot Oil Expansion Tanks (D-4203 & D-4204) | # - | # - | # - | # - | # - | # - | # 0.01 |
| # Loading |  |  |  |  |  |  |  |
| # Railcar Unloading - Renewable Feed | # - | # - | # - | # - | # - | # - | # 1.57 |
| # Loading - Renewable Diesel, Renewable Kerosene, and Blended SAF | # - | # - | # - | # - | # - | # - | # 6.27 |
| # Loading - PTU Wastewater | # - | # - | # - | # - | # - | # - | # 0.40 |
| # Fugitives |  |  |  |  |  |  |  |
| # Fugitive Components | # - | # - | # - | # - | # - | # - | # 34.73 |
| # Existing Wastewater Components | # - | # - | # - | # - | # - | # - | # 6.22 |
| # Miscellaneous and Insignificant Activities |  |  |  |  |  |  |  |
| # Miscellaneous Maintenance Startup and Shutdown | # - | # - | # - | # - | # - | # - | # 0.71 |
| # Insignificant Tanks/Totes/ISO Tank Containers (generally ≤10,000-gallon capacity vessels used to store additives, treatment chemicals, etc.) | # - | # - | # - | # - | # - | # - | # 1.00 |
| # Insignificant Maintenance Activities (cleaning and filter handling) | # - | # - | # - | # - | # - | # - | # Negligible |
| MRL Existing Units Affected by Project (Fugitives, Tanks, Loading) - Updated PTE (Existing units not affected by the project are not listed below.) |  |  |  |  |  |  |  |
| Fuel Combustion Units |  |  |  |  |  |  |  |
| Hydrogen Plant #3 Reformer Heaters (H-3815A/H-3815B) | 17.61 | 29.97 | 0.30 | 0.30 | 0.25 | 0.35 | 2.35 |
| Hydrogen Plant #4 Reformer Heater (H-4601) | 27.99 | 37.40 | 1.74 | 6.95 | 6.95 | 4.86 | 3.73 |
| # Tanks |  |  |  |  |  |  |  |
| # Renewable Feed Tanks #50, #102, #112, #140, #301, #302, & #303 with Updated Throughputs | # - | # - | # - | # - | # - | # - | # 5.75 |
| # Storage Tanks: #29, #116, #128, Dual Services | # - | # - | # - | # - | # - | # - | # 10.46 |
| # Storage Tanks: #305, #306, #307, #308 Dual Services | # - | # - | # - | # - | # - | # - | # 15.47 |
| # Renewable Naphtha Storage Tank #304 with Updated Throughput | # - | # - | # - | # - | # - | # - | # 7.39 |
| # PTU Blowdown Drum (D-4208) with Updated VOC Conc. | # - | # - | # - | # - | # - | # - | # 1.05 |
| # PTU Wastewater Tank #4201 with Updated Throughput | # - | # - | # - | # - | # - | # - | # 0.61 |
| # Loading |  |  |  |  |  |  |  |
| # Railcar Unloading - Renewable Feed with Updated Throughput | # - | # - | # - | # - | # - | # - | # 1.76 |
| # Loading of Renewable Diesel, Renewal Kerosene, and Blended SAF with Updated Throughputs | # - | # - | # - | # - | # - | # - | # 8.69 |
| # Fugitives |  |  |  |  |  |  |  |
| # Updated Fugitive Components | # - | # - | # - | # - | # - | # - | # 38.11 |
| MRL Existing Units - Project Related PTE Change | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 18.03 |
| New Units to be Installed at MRL - PTE | 23.39 | 31.25 | 1.45 | 5.81 | 5.81 | 4.06 | 12.33 |
| # 15MM H2 Plant Heater H-5801 | # 23.39 | # 31.25 | # 1.45 | # 5.81 | # 5.81 | # 4.06 | # 3.12 |
| # Water Conservation System - One (1) New Wastewater Tank #4202 | # - | # - | # - | # - | # - | # - | # 0.61 |
| # Water Conservation System - New Loading of Heavy Fractions | # - | # - | # - | # - | # - | # - | # 0.21 |
| # Water Conservation System - Associated New Fugitive Components | # - | # - | # - | # - | # - | # - | # 0.78 |
| # WCU Wastewater Pre-treatment System | # - | # - | # - | # - | # - | # - | # 3.00 |
| # PTU Wastewater Pre-treatment System | # - | # - | # - | # - | # - | # - | # 3.00 |
| # RFU Stripped Sour Water Recycling | # - | # - | # - | # - | # - | # - | # 1.62 |
| CMR Units to MRL - PTE | 29.31 | 36.87 | 1.22 | 4.87 | 4.87 | 1.07 | 58.89 |
| Fuel Combustion Units |  |  |  |  |  |  |  |
| # FCC Preheater H-0302 | # 3.12 | # 3.90 | # 0.07 | # 0.29 | # 0.29 | # 0.06 | # 0.21 |
| # Naphtha Splitter Reboiler H-0405 | # 1.73 | # 1.52 | # 0.08 | # 0.32 | # 0.32 | # 0.07 | # 0.23 |
| # #2 H2 Plant Reformer Heater H-2815 | # 10.51 | # 12.29 | # 0.65 | # 2.61 | # 2.61 | # 0.57 | # 1.40 |
| # De-isobutane (DIB) Reboiler Heater H-1501 | # 10.10 | # 12.26 | # 0.23 | # 0.91 | # 0.91 | # 0.20 | # 0.66 |
| # HTU Heater H-1701 | # 3.84 | # 6.90 | # 0.18 | # 0.73 | # 0.73 | # 0.16 | # 0.53 |
| # Tanks |  |  |  |  |  |  |  |
| # FRT Tank #47 - Blended SAF | # - | # - | # - | # - | # - | # - | # 2.03 |
| # EFRT Tank #124 - Naphtha | # - | # - | # - | # - | # - | # - | # 3.65 |
| # FRT Tank #125 - SPK Intermediate to HTU | # - | # - | # - | # - | # - | # - | # 5.32 |
| # FRT Tank #150 - SPK Rundown | # - | # - | # - | # - | # - | # - | # 3.53 |
| # Loading |  |  |  |  |  |  |  |
| # Loading of Propane and Butane | # - | # - | # - | # - | # - | # - | # 0.06 |
| # Fugitives |  |  |  |  |  |  |  |
| # Sewer Connections | # - | # - | # - | # - | # - | # - | # 5.73 |
| # Fugitive Components | # - | # - | # - | # - | # - | # - | # 35.54 |
| Flares Emissions Increase due to RFU Startup and Shutdown [1] | 0.86 | 1.71 | 0.05 | 0.19 | 0.19 | 0.07 | 1.54 |
| Renewable Naphtha Loading through CMR Rail - Emission Increase [2] | - | - | - | - | - | - | 1.68 |

V.	Existing Air Quality

As of July 8, 2002, Cascade County is designated as an Unclassifiable/Attainment area for all criteria pollutants.

VI.	Ambient Air Impact Analysis

Relative to the permitted emissions in the previous preconstruction permit (MAQP #5263-03) for MRL’s Great Falls Renewable Fuels Plant, the criteria air pollutant (CAP) emissions associated with this action all result in emission reductions except for VOCs. However, as the original MaxSAF project permitted in MAQP #5263-03 was never constructed, the emissions associated with this permit action – for the purposes of modeling requirements – are still considered minor increases over the previously permitted and constructed facility-wide levels associated with MAQP #5253-02. Therefore, a new ambient impacts analysis was conducted for the Revised MaxSAF project using the same methodology as the previous MaxSAF permit action.

Ramboll Americas Engineering Solutions, Inc. (Ramboll) conducted air quality modeling for MRL’s Revised MaxSAF facility modification air quality permit application. This ambient air impact analysis was conducted, pursuant to the requirements of ARM 17.8.749, to demonstrate that the proposed modification would not cause or contribute to a violation of any state or federal ambient air quality standard. Though currently an NSR minor source, projected increases in MAQP #5263-04 are large enough to make the facility subject to a PSD modeling review if project emissions exceed PSD significant emission rates on future permitting actions.

The Revised MaxSAF modification increases the facility-wide PTE above modeling thresholds listed in Montana’s Draft Modeling Guideline for PM2.5, NO2, CO, and VOC and therefore warrants further analyses. As outlined in Sections 4.3 and 4.4.1 of the Modeling Guideline, a screening level significant impact analysis is often an adequate demonstration of compliance if the project-only emission increases do not exceed significant impact levels (SIL) for the applicable pollutant. Project-only emission increases were first modeled to determine if any model receptors exceeded the Class II SILs, presented in Table VI-1.

For pollutant average periods where the project emissions exceeded the SIL, a cumulative dispersion modeling analysis inclusive of background concentrations and emissions from nearby sources was conducted. Maximum ambient impacts were compared to the applicable NAAQS and MAAQS listed in Table VI-1, and MRL demonstrated compliance with all standards. Additionally, compliance was shown for the only applicable Class II Increment.

Table VI-1

Applicable standards

| Pollutant | Averaging Period | Class II SIL (µg/m3) | Primary NAAQS (µg/m3) | MAAQS (µg/m3) | Class II Increment (µg/m3) |
| --- | --- | --- | --- | --- | --- |
| PM2.5 | 24-hour | 1.2 | 35 | - | NA |
|  | Annual | 0.13 | 9 | - | NA |
| NO2 | 1-hour | 7.5 | 188 | 564 | - |
|  | Annual | 1 | 100 | 94 | 25 |
| CO | 1-hour | 2,000 | 40,000 | 26,000 | - |
|  | 8-hour | 500 | 10,000 | 10,000 | - |
| O3(1) | 8-hour | 1 (ppb) | 70 (ppb) | - | - |

(1)triggered due to increase in VOC PTE

The SIL, Increment, and MAAQS/NAAQS compliance demonstrations were conducted using the latest available version of EPA-approved American Meteorological Society/Environmental Protection Agency Regulatory Model (AERMOD) and associated preprocessors. Specifically:

- AERMOD version 24142: Air dispersion model.

- AERMET version 24142: processes NWS meteorological data for input to AERMOD.

- AERMINUTE version 15272: processes 1-minute NWS wind data to generate hourly average winds for input to AERMET.

- AERSURFACE version 24142: processes National Land Cover Data surface characteristics for input to AERMET.

- AERMAP version 24142: Processes National Elevation Data from the USGS to determine elevation of sources and receptors for input into AERMOD.

- BPIPPRM version 04274: characterizes building downwash for input to AERMOD.

Regulatory default options were used for all model runs. Rural dispersion coefficients were applied, as all of Montana currently meets this criterion. All buildings at the site were evaluated for building downwash on each modeled point source, using BPIPPRM. For the NO2 modeling analyses, Tier 2 (Ambient Ratio Method, ARM2) was employed in AERMOD, with the EPA default minimum and maximum ambient ratios of 0.5 and 0.9, respectively (ratio of NO2/NOx).

Five years of meteorological data (2020-2024) ready for use in AERMOD was constructed using representative surface and upper air data. Surface air data was obtained from the closest National Weather Service (NWS) station, which is located approximately 4 miles to the southwest of the project site at the Great Falls International Airport (KGTF – WBAN 24143). This NWS station also provided the automated surface observing system (ASOS) one-minute data used with AERMINUTE. Additionally, the upper air station in Great Falls (USM00072776) was used for upper air data. The ADJ_U* option was employed during meteorological processing in AERMET to account for stable, low wind speeds.

A series of nested receptor grids were used in the model to calculate the ambient air impacts around the project location. The MRL facility is located within a boundary shared with CMR, though MRL is considered a distinct stationary source with a different industrial grouping code. Discrete “fence line” receptors were placed at 50 m spacing along the CMR/MRL shared ambient air boundary, 100 m spacing from the site’s ambient air boundary to 1 km from the site, 250 m spacing from 1 km to 3 km from the site, 500 m spacing from 3 km to 10 km from the site, and 1 km spacing from 10 km to 20 km, totaling 3,274 receptor locations. For pollutants such as CO that exhibit maximum impacts far from the source, the 1 km grid was extended out to the model’s maximum range of 50 km, resulting in a total of 9,994 receptors. Additionally, in cases where impacts were slightly below the threshold (i.e., SIL, NAAQS, increment), a high resolution 25 m spacing “hot spot” receptor grid was also used to better resolve the modeled impacts within 100 m of the “coarse grid” maximum modeled receptor.

Receptor and source elevations were determined using the terrain preprocessor AERMAP and elevation data based on 1/3 arc-second (approximately 10 m resolution) National Elevation Dataset (NED) from the United States Geological Survey (USGS).

Background monitors were selected from Montana’s Air Quality Monitoring Network Plan (2025), based on the closest and most representative sites with available data. The following PM2.5 and NO2 monitoring sites were identified for use for background concentrations. For PM2.5, the most recent (at the time of initial modeling) complete dataset (2021-2023) from the Great Falls monitor (AQS ID: 30-013-0001) was used to calculate background design concentration. For NO2, design values were calculated from the Lewistown monitor (AQS ID: 30-027-0006), as it’s the nearest NO2 monitoring site and features a similar airshed to Great Falls. The background concentrations presented in Table VI-2 were added to the modeled concentrations in the full impact (i.e., cumulative) NAAQS/MAAQS analysis.

Table VI-2

Applicable Background concentrations

| Pollutant | Averaging Time | Background Conc. (µg/m3) | Basis | Site (AQS ID) |
| --- | --- | --- | --- | --- |
| PM2.5 | 24-hour | 13.4(1) | 24-hour 98th %-ile (3-yr avg) | Great Falls(2) (30-013-0001) |
|  | Annual | 6.3(1) | 3-year Annual avg |  |
| NO2 | 1-hour | 18.8 | 1-hour 98th %-ile (3-yr avg) | Lewistown(3) (30-027-0006) |
|  | Annual | 1.5 | Annual avg |  |

(1)Data excludes all wildfire atypical event data in the calculations.

(2)Data years 2021-2023

(3)Data years 2022-2024 for 1-hour; 2024 average for annual

Onsite source parameters were provided by MRL. All were modeled as “point” sources in AERMOD, and their descriptions are displayed in Table VI-3.

Table VI-3

Onsite Source Descriptions

| Source ID | Source Description | Source Category | Source Type |
| --- | --- | --- | --- |
| DIB_HTR | De-isobutanizer (DIB) Reboiler Heater | New Source | POINT |
| FCCU_HTR | FCC Preheater | New Source | POINT |
| FLARE1/FLARE1M(1) | Flare 1 | Modified | POINT |
| FLARE2/FLARE2M(1) | Flare 2 | Modified | POINT |
| H2_2_HTR | #2 H2 Plant Reformer Heater | New Source | POINT |
| H5801_1/H5801_2(2) | H2 Plant #5 Reformer Heater Location 1/2 | New Source | POINT |
| HTU_HTR | HTU Heater | New Source | POINT |
| NAPH_REB | Naphtha Splitter Reboiler | New Source | POINT |

(1)The model ID for the project emissions from the flares in the cumulative modeling was distinguished with an “M” to represent MaxSAF

(2)Two potential locations were modeled; the location that produced the greater ambient concentration was used in the cumulative modeling

Class II SIL Air Quality Analysis

Initial modeling was performed to identify the significance of the Revised MaxSAF project emission increases. The affected emitting units are expected to vary by load, so MRL evaluated the impacts of emission rates at 50%, 75%, and 100% load. For the SIL analysis and subsequent analyses, the 100% load emission rates are conservatively used. The new and modified sources were modeled at their hourly peak potential emissions for short term (1-hr, 8-hr, and 24-hr) averaging periods, and their annual emissions for the annual averaging periods, based on 8,760 operating hours. The emission rates resulting from the Revised MaxSAF project are listed in Table VI-4.

Table VI-4

SIL Modeled Emissions Increases

| Source ID | CO 1-hr & 8-hr (lb/hr) | NO2 1-hr (lb/hr) | NO2 Annual (tpy) | PM2.5 24-hr (lb/hr) | PM2.5 Annual (tpy) |
| --- | --- | --- | --- | --- | --- |
| DIB_HTR | 2.31 | 2.80 | 12.27 | 0.21 | 0.91 |
| FCCU_HTR | 0.71 | 0.89 | 3.89 | 0.07 | 0.29 |
| FLARE1/FLARE1M | 8.89 | 15.95 | 1.51 | 1.77 | 0.17 |
| FLARE1/FLARE2M | 2.71 | 2.71 | 11.89 | 2.71 | 11.89 |
| H2_2_HTR | 2.40 | 3.08 | 12.31 | 0.60 | 2.61 |
| H5801_1/H5801_2 | 5.34 | 7.83 | 31.25 | 1.33 | 5.81 |
| HTU_HTR | 0.88 | 1.57 | 6.88 | 0.17 | 0.73 |
| NAPH_REB | 0.40 | 0.35 | 1.52 | 0.07 | 0.32 |
| Annual Total: |  |  | 81.52 |  | 22.73 |

Modeled PM2.5, NO2, and CO Class II SIL results are presented in Table VI-5. The results represent the maximum modeled concentration over 5 years. Additionally, to address the secondary formation of PM2.5 and ozone from NOx/SO2 and NOx/VOC, respectively, EPA’s Modeled Emission Rates for Precursors (MERPs) tool was used. Consistent with EPA’s Guidance on the Development of MERPs as a Tier 1 Demonstration Tool for Ozone and PM2.5 under the PSD Permitting Program, the hypothetical stack in Cascade County with an emission rate of 500 tpy and a stack height of 90 meters was used for PM2.5 estimations. For ozone, the same hypothetical stack was chosen, although it was only modeled with a 10-meter stack for VOC emissions.

The estimated 8-hour ozone secondary impact in parts per billion (ppb) is 0.30. The estimated secondary impact for 24-hr and annual PM2.5 is 0.0095 µg/m3 and 0.0003 µg/m3, respectively. These secondary PM2.5 concentrations are included in the reported SIL analysis results in Table VI-5. Because no receptors exceed the applicable SILs for CO or O3, it has been demonstrated that the Revised MaxSAF project will not cause or contribute to a violation of a NAAQS or MAAQS.

Table VI-5

Class II Significant Impact Analysis Results

| Pollutant | Avg. Period | Model Conc. (µg/m3) | SIL (µg/m3) | Exceed SIL? | Percent of SIL |
| --- | --- | --- | --- | --- | --- |
| PM2.5(1) | 24-hour(2) | 4.6 | 1.2 | Yes | 383% |
|  | Annual(3) | 1.1 | 0.13 | Yes | 846% |
| NO2 | 1-hour(4) | 65 | 7.5 | Yes | 867% |
|  | Annual(5) | 8.3 | 1 | Yes | 830% |
| CO | 1-hour(6) | 58.5 | 2,000 | No | 3% |
|  | 8-hour(7) | 30.1 | 500 | No | 6% |
| O3 | 8-hour(8) | 0.30 (ppb) | 1 (ppb) | No | 30% |

(1)Includes secondary PM2.5 formation.

(2)The receptor with the maximum 5-year average 24-hour concentration.

(3)The receptor with the maximum 5-year average annual concentration.

(4)The receptor with the maximum 5-year average of the maximum daily 1-hour concentration.

(5)The receptor with the maximum annual average in the 5-year period.

(6)The receptor with the maximum 1-hour concentration in the 5-year period.

(7)The receptor with the maximum 8-hour concentration in the 5-year period.

(8)Model value for 8-hour averaging period determined with EPA’s MERPs methodology.

NAAQS/MAAQS Air Quality Analysis

For NAAQS (i.e., cumulative full impact) and Increment analyses, all new/modified sources were modeled at their peak emissions, which are displayed in Table VI-4. Nearby/offsite source emissions (which includes existing MRL emissions) were also included in these analyses. All facilities within a 50 km radius of the MRL facility were considered and included in the cumulative modeling demonstrations to conservatively estimate all potential impacts. Those facilities are identified in Table VI-6.

Table VI-6

Nearby/Offsite Source Facility List

| Facility | Distance from MRL (km) |
| --- | --- |
| CMR | 0.00 |
| Great Falls Wastewater Treatment Plant | 0.35 |
| MHP - Great Falls Office | 1.17 |
| Grain Craft | 1.50 |
| Croxford Funeral Home & Crematory | 1.57 |
| O'Connor Funeral Services | 2.50 |
| General Mills Operations Inc | 2.72 |
| ADF International - Montana | 2.81 |
| ADF Industrial Coatings | 3.09 |
| Great Falls Elevator | 3.36 |
| Malteurop | 3.39 |
| Hillcrest Lawn Memorial Associations | 3.82 |
| CHS Nutrition | 5.75 |
| Montana Specialty Mills - MVO | 6.44 |
| Montana Air National Guard | 7.15 |
| Malmstrom AFB | 8.61 |
| High Plains Sanitary Landfill and Recycling Center | 13.90 |
| Power Elevator | 36.83 |
| EGT LLC - Carter | 43.50 |

For the NAAQS/MAAQS analyses, the nearby sources were modeled at either their maximum permit (MAQP) limits or actual emission rates averaged over the most recent (at the time of initial modeling) two emission inventory years (2023-2024) in accordance with 40 CFR Part 51 Appendix W Table 8-2. For nearby sources with unknown release parameters, default conservative values were used to limit plume buoyancy and dispersion. In the modeling analysis for the original MaxSAF project documented in MAQP #5263-03, overly conservative unknown nearby source parameters led to modeled PM2.5 NAAQS violations. It was shown that MRL did not exceed SIL thresholds at the time and location of the exceedances and therefore did not cause or contribute to those violations. In advance of this updated modeling demonstration, DEQ reached out to the problematic nearby sources to obtain more accurate source parameters, and those revised parameters were incorporated into the modeling presented in this discussion. All offsite facilities and annual emissions are shown in Table VI-7 below. Source descriptions and AERMOD source types are shown in Table VI-8 (includes existing MRL emission sources).

Table VI-7

Nearby/Offsite Sources Modeled Emissions

| Facility | PM2.5 (tpy) | NO2 (tpy) |
| --- | --- | --- |
| ADF Industrial Coatings | 0.00 | 0.00 |
| ADF International - Montana | 0.00 | 0.00 |
| CHS Nutrition | 1.92 | 0.05 |
| CMR | 18.48 | 102.77 |
| Croxford Funeral Home & Crematory | 0.03 | 0.05 |
| EGT LLC - Carter | 0.63 | 0.00 |
| General Mills Operations Inc | 0.20 | 0.30 |
| Grain Craft | 4.64 | 0.11 |
| Great Falls Elevator | 0.00 | 0.00 |
| Great Falls Wastewater Treatment Plant | 0.29 | 3.24 |
| High Plains Sanitary Landfill and Recycling Center | 2.73 | 0.80 |
| Hillcrest Lawn Memorial Associations | 0.02 | 0.03 |
| Malmstrom AFB | 0.16 | 14.55 |
| Malteurop | 3.37 | 0.01 |
| MHP - Great Falls Office | 0.00 | 0.00 |
| Montana Air National Guard | 0.03 | 1.03 |
| Montana Specialty Mills - MVO | 0.02 | 2.38 |
| O'Connor Funeral Services | 0.03 | 0.04 |
| Power Elevator | 0.07 | 0.00 |

Table VI-8

Nearby/Offsite Source Descriptions

| Source ID | Facility | Source Description | Source Type |
| --- | --- | --- | --- |
| BLR_1_2 | CMR | Boiler #1/#2 | POINT |
| BLR_3 | CMR | Boiler #3 | POINT |
| CONV1 | CMR | PMA Handling | VOLUME |
| CONV2 | CMR | PMA Handling | VOLUME |
| CONV3 | CMR | PMA Handling | VOLUME |
| CONV4 | CMR | PMA Handling | VOLUME |
| CR2_AHTR | CMR | Crude #2 Atmospheric Heater | POINT |
| CR2_VHTR | CMR | Crude #2 Vacuum Heater | POINT |
| DROP | CMR | PMA Handling | VOLUME |
| ECOMP | CMR | Air Compressor | POINTCAP |
| EGEN | CMR | Generator | POINTHOR |
| FCCU | CMR | FCCU | POINT |
| FLARE1C | CMR | Flare 1 | POINT |
| FLARE1M | CMR | Flare 1 | POINT |
| FLARE2C | CMR | Flare 2 | POINT |
| FLARE2M | CMR | Flare 2 | POINT |
| FW_146 | CMR | Fire Water Pump (Tank 146) | POINTCAP |
| FW_24 | CMR | Fire Water Pump (Tank 24) | POINTHOR |
| FW_54 | CMR | Fire Water Pump (Tank 54) | POINTCAP |
| HTR_135 | CMR | Tank #135 Heater | POINTCAP |
| HTR_137 | CMR | Tank #137 Heater | POINTCAP |
| HTR_138 | CMR | Tank #138 Heater | POINTCAP |
| HTR_139 | CMR | Tank #139 Heater | POINTCAP |
| N_CWT | CMR | North Cooling Towers | POINT |
| NHDS_HTR | CMR | NHDS Heater | POINT |
| OIL_HTR1 | CMR | Hot Oil Heater | POINTCAP |
| RAIL_VCU | CMR | Railcar Loading VCU | POINT |
| REF_HTR | CMR | Reformer Heater | POINT |
| S_CWT | CMR | South Cooling Towers | POINT |
| SWPUMP | CMR | API Storm Water Pump | POINTCAP |
| TR_VCU | CMR | Truck Loading VCU | POINT |
| H2_3_HTR | MRL Existing | #3 H2 Plant Reformer Heaters | POINT |
| H2_4_HTR | MRL Existing | #4 H2 Plant Reformer Heater | POINT |
| OIL_HTR2 | MRL Existing | Hot Oil Heater | POINT |
| RFU_CF | MRL Existing | RFU Combined Feed Heater | POINT |
| RFU_FF | MRL Existing | RFU Fractionator Feed Heater | POINT |
| NEARBY01 | Malmstrom | Unit #1 Boiler #1 | POINT |
| NEARBY02 | Malmstrom | Unit #2 Boiler #2 | POINT |
| NEARBY03 | Malmstrom | Unit #3 Boiler #3 | POINT |
| NEARBY04 | CHS | Boiler | POINT |
| NEARBY05 | CHS | Grain Receiving | POINT |
| NEARBY06 | CHS | Grain Handling | POINT |
| NEARBY07 | CHS | Hammermill | POINT |
| NEARBY08 | CHS | Pellet Mill #1 | POINT |
| NEARBY09 | CHS | Bulk Loadout | POINT |
| NEARBY10 | CHS | Storage Bins | POINT |
| NEARBY11 | CHS | Pellet Mill #2 | POINT |
| NEARBY12 | CHS | Natural Gas Boiler #2 | POINT |
| NEARBY13 | CHS | Steam Rolling Process Line | POINT |
| NEARBY14 | General Mills | Large Boiler | POINT |
| NEARBY15 | General Mills | Small Boiler | POINT |
| NEARBY16 | General Mills | Grain Receiving/Rail Car | POINT |
| NEARBY17 | General Mills | Combined Fugitives | POINT |
| NEARBY18 | Great Falls Elevator | Combined Fugitives | POINT |
| NEARBY19 | Grain Craft | Boiler | POINT |
| NEARBY20 | MT Air National Guard | Boilers, Heaters, Furnaces | POINT |
| NEARBY21 | MT Air National Guard | Engine Test Cell | POINT |
| NEARBY22 | MT Air National Guard | Emergency Generator | POINT |
| NEARBY23 | MT Air National Guard | Aerospace Ground Equip | POINT |
| NEARBY24 | MT Air National Guard | Grit Blasting Room | POINT |
| NEARBY25 | High Plains Landfill | Flare | POINT |
| NEARBY26 | High Plains Landfill | Haul Roads | POINT |
| NEARBY27 | Croxford Funeral Home | Crematorium | POINT |
| NEARBY28 | Malteurop | Baghouses | POINT |
| NEARBY29 | Malteurop | Heaters | POINT |
| NEARBY30 | Malteurop | Fugitive Emissions | POINT |
| NEARBY31 | Malteurop | Baghouse 4 (BF04) | POINT |
| NEARBY32 | Hillcrest Law Memorial Association | Crematorium | POINT |
| NEARBY33 | Great Falls Wastewater Treatment Plant | Generating Set | POINT |
| NEARBY34 | Great Falls Wastewater Treatment Plant | Sludge Heating Boiler | POINT |
| NEARBY35 | Great Falls Wastewater Treatment Plant | Heating Boiler | POINT |
| NEARBY36 | Great Falls Wastewater Treatment Plant | Emergency Generator | POINT |
| NEARBY37 | Great Falls Wastewater Treatment Plant | Waste Gas Burner | POINT |
| NEARBY38 | EGT LLC - Carter | Grain Receiving | POINT |
| NEARBY39 | EGT LLC - Carter | Head House and Internal Grain Handling | POINT |
| NEARBY40 | EGT LLC - Carter | Grain Handling - Storage Bin Vents | POINT |
| NEARBY41 | EGT LLC - Carter | Grain Shipping - Rail Loadout | POINT |
| NEARBY42 | EGT LLC - Carter | Grain Shipping - Truck Loadout | POINT |
| NEARBY43 | EGT LLC - Carter | Road Traffic | POINT |
| NEARBY44 | Power Elevator | Grain Receiving | POINT |
| NEARBY45 | Power Elevator | Headhouse and Internal Grain Handling | POINT |
| NEARBY46 | Power Elevator | Grain Storage | POINT |
| NEARBY47 | Power Elevator | Grain Shipping | POINT |
| NEARBY48 | Power Elevator | Haul Roads | POINT |
| NEARBY49 | ADF International - Montana | Steel Fabrication Plant | POINT |
| NEARBY50 | ADF International - Montana | Natural Gas Cutting Torch | POINT |
| NEARBY51 | ADF Industrial Coatings | Wheelobrator | POINT |
| NEARBY52 | ADF Industrial Coatings | IBT Steel Shot Blast Booth | POINT |
| NEARBY53 | ADF Industrial Coatings | Paint Booth | POINT |
| NEARBY54 | ADF Industrial Coatings | FICO Plasma Cutting Torch | POINT |
| NEARBY55 | ADF Industrial Coatings | Gemini Plasma Cutting Torch | POINT |
| NEARBY56 | MHP - Great Falls Office | Firelake Model P16-SC4 | POINT |
| NEARBY57 | Montana Specialty Mills - MVO | Storage Bins | POINT |
| NEARBY58 | Montana Specialty Mills - MVO | Weight Hopper Grain Handling | POINT |
| NEARBY59 | Montana Specialty Mills - MVO | Cleaning | POINT |
| NEARBY60 | Montana Specialty Mills - MVO | Screening | POINT |
| NEARBY61 | Montana Specialty Mills - MVO | Low Pressure Boiler | POINT |
| NEARBY62 | Montana Specialty Mills - MVO | Hammerhouse Grain Handling | POINT |
| NEARBY63 | O'Connor Funeral Services | Crematorium | POINT |
| NRBYV01 | Grain Craft | Truck Unloading | VOLUME |
| NRBYV02 | Grain Craft | Rail Car Unloading | VOLUME |
| NRBYV03 | Grain Craft | Cleaning House | VOLUME |
| NRBYV04 | Grain Craft | Hammermill | VOLUME |
| NRBYV05 | Grain Craft | 32 Legs Feeding Grinders | VOLUME |
| NRBYV06 | Grain Craft | 42 Roll Stand Grinders | VOLUME |
| NRBYV07 | Grain Craft | Sifters/Bulk Flour Bins | VOLUME |
| NRBYV08 | Grain Craft | Hammermill in Flour Mill | VOLUME |
| NRBYV09 | Grain Craft | Railcar & Truck Blk Ldout | VOLUME |
| NRBYV10 | Grain Craft | Collection Bin - Millruns | VOLUME |
| NRBYV11 | Grain Craft | Ldout Mill Runs to Rlcar | VOLUME |

The results of the NAAQS analyses are shown in Table VI-9 below. The absolute maximum modeled impacts inclusive of all nearby sources within 50 km and background concentrations are shown to be in compliance with the NO2 1-hour and annual NAAQS as well as the PM2.5 24-hour and annual NAAQS.

Table VI-9

NAAQS Analysis Results

| Pollutant | Avg. Period | Model Design Value (µg/m3) | Monitor Design Value (µg/m3) | Total Conc. (µg/m3) | Primary NAAQS (µg/m3) | % of NAAQS |
| --- | --- | --- | --- | --- | --- | --- |
| PM2.5(1) | 24-hour(2) | 17.1(5) | 13.4 | 30.5 | 35 | 87% |
|  | Annual(3) | 2.4(5) | 6.3 | 8.7 | 9 | 97% |
| NO2 | 1-hour(4) | 106.8 | 18.8 | 125.6 | 188(6) | 67% |
|  | Annual(3) | 19.6 | 1.5 | 21.1 | 100(7) | 21% |

(1)Includes secondarily formed PM2.5 impacts.

(2)The receptor with the 8th-highest 24-hr concentration per year, averaged over 5 years.

(3)The receptor with the maximum annual concentration averaged over 5 years.

(4)The receptor with the 8th-highest daily 1-hr max concentration averaged over 5 years.

(5)Excludes receptor locations where the MRL facility had insignificant impacts.

(6)Results indicate compliance with the MAAQS (564 µg/m3)

(7)Results indicate compliance with the MAAQS (94 µg/m3)

Class II Increment Air Quality Analysis

The MRL facility is not considered a PSD-major facility under the current permit action. However, the minor-source baseline date for NOx was triggered for Cascade County on February 22, 1993 with the submittal of Calumet Montana Refining’s complete application for MAQP #2161-06. MRL is therefore an increment-consuming source, and it was requested that a Class II increment analysis be performed.

It was conservatively assumed that all nearby sources are competing sources (i.e., increment consuming), so the emission rates for nearby/offsite sources remained the same for both the cumulative NAAQS analysis and the Class II increment analysis. The result of the increment analysis, which is equivalent to the NO2 annual cumulative modeled impact, is presented in Table VI-10 below and demonstrates that MRL is in compliance with the Class II increment.

Table VI-10

Class II Increment Analysis Results

| Pollutant | Avg. Period | Model Conc. (µg/m3) | Class II PSD Increment (µg/m3) | % of Increment |
| --- | --- | --- | --- | --- |
| NO2 | Annual(2) | 19.6 | 25 | 78% |

(1)The receptor with the maximum second highest 24-hour concentration in the 5-year period.

(2)The receptor with the maximum annual concentration in the 5-year period.

Class I Air Quality Analysis

Though not explicitly required for minor NSR sources, a Class I air quality analysis was performed due to MRL’s proximity within 100 km to the nearest Class I area. The closest federally mandated Class I Area is the Gates of the Mountains Wilderness area, which is 75 km southwest. DEQ evaluated air quality impacts utilizing a Q/d analysis, which is generally requested by federal land managers when a Class I Area is greater than 50 km from the project site. The emissions (Q) is the sum of SO2 (11.9 tpy), NOx (158 tpy), PM10 (20.0 tpy), and H2SO4 (0 tpy), and the distance (d, in kilometers) is the distance from the project site to the Class I Area. The Q/d results are displayed in Table VI-11 for the three nearest Class I Areas. Q/d of 10 is generally the threshold below which federal land managers consider impacts at Class I Areas as negligible.

Table VI-11

Class I Q/d Analysis Results

| Class I Area | Distance (km) | Q/d |
| --- | --- | --- |
| Gates of the Mountains Wilderness | 75 | 2.53 |
| Scapegoat Wilderness | 97 | 1.96 |
| Bob Marshall Wilderness | 106 | 1.79 |

DEQ determined that the project related PM2.5, NO2, CO, and VOC emissions (with offsite facility emissions) will not cause or contribute to a violation of a federal or state ambient air quality standard. This decision was based on the air dispersion modeling with qualitative/quantitative analyses. The full modeling analysis submitted with the MAQP application is on file with DEQ.

VII.	Private Property Impacts

As required by 2-10-105, MCA, the Department conducted the following private property taking and damaging assessment.

| YES | NO |  |
| --- | --- | --- |
| X |  | 1. Does the action pertain to land or water management or environmental regulation affecting private real property or water rights? |
|  | X | 2. Does the action result in either a permanent or indefinite physical occupation of private property? |
|  | X | 3. Does the action deny a fundamental attribute of ownership? (ex.: right to exclude others, disposal of property) |
|  | X | 4. Does the action deprive the owner of all economically viable uses of the property? |
|  | X | 5. Does the action require a property owner to dedicate a portion of property or to grant an easement? [If no, go to (6)]. |
|  |  | 5a. Is there a reasonable, specific connection between the government requirement and legitimate state interests? |
|  |  | 5b. Is the government requirement roughly proportional to the impact of the proposed use of the property? |
|  | X | 6. Does the action have a severe impact on the value of the property? (consider economic impact, investment-backed expectations, character of government action) |
|  | X | 7. Does the action damage the property by causing some physical disturbance with respect to the property in excess of that sustained by the public generally? |
|  | X | 7a. Is the impact of government action direct, peculiar, and significant? |
|  | X | 7b. Has government action resulted in the property becoming practically inaccessible, waterlogged or flooded? |
|  | X | 7c. Has government action lowered property values by more than 30% and necessitated the physical taking of adjacent property or property across a public way from the property in question? |
|  | X | Takings or damaging implications? (Taking or damaging implications exist if YES is checked in response to question 1 and also to any one or more of the following questions: 2, 3, 4, 6, 7a, 7b, 7c; or if NO is checked in response to questions 5a or 5b; the shaded areas) |

The proposed project would take place on private land. DEQ has determined that the permit conditions are reasonably necessary to ensure compliance with applicable requirements under the Montana Clean Air Act. Therefore, DEQ’s approval of MAQP #5263-04 would not have private property-taking or damaging implications.

VIII. Environmental Assessment

An environmental assessment, required by the Montana Environmental Policy Act, was completed for this project.  A copy is attached.

Analysis Prepared By: Craig Henrikson

Date: August 12, 2026

USEPA Air Pollution Control Technology Fact Sheet (EPA-452/F-03-034)

Dry scrubbers also include dry sorbent injection (DSI)