August 17, 2026

Jason Merkel

NorthWestern Energy

Bear Paw Compressor Station

11 E. Park St.

Butte, Montana 59701-1711

Sent via email: Jason.merkel@northwestern.com

RE: Final and Effective Montana Air Quality Permit #5358-00 and Final Environmental Assessment; Energy Development Project

Dear Mr. Merkel,

Montana Air Quality Permit (MAQP) #5358-00, for the above-named permittee, and the associated environmental assessment (EA) prepared in accordance with the Montana Environmental Policy Act are deemed final as of August 15, 2026, by the Montana Department of Environmental Quality (DEQ).  All conditions of DEQ’s Decision on the MAQP remain the same.  A copy of the final MAQP is enclosed. A link to the final EA is available in the notice sent to the above-named permittee and on DEQ’s website at Air Permitting and Operator Assistance | Montana DEQ (click “Archived Air Quality Permits”)

Final and effective MAQP #5358-00 is no longer subject to appeal. The final EA may be appealed to the appropriate court of jurisdiction within 60 days after DEQ renders its final Decision on the EA. A request for a hearing must be filed by September 28, 2026. A challenge to DEQ’s final EA may only be brought by a person who submits formal comments on DEQ’s draft EA prior to the issuance of DEQ’s final Decision on the EA, and the challenge must be limited to those issues raised in those comments.

For DEQ,

| Barry Pemberton, Air Quality Scientist Air Quality Permitting Services Section Air Quality Bureau Air, Energy, and Mining Division (406) 444-0323 Barry.pemberton@mt.gov | Eric Merchant, Supervisor Air Quality Permitting Services Section Air Quality Bureau Air, Energy, and Mining Division (406) 444-3626 eric.merchant2@mt.gov |
| --- | --- |

Montana Department of Environmental Quality

Air, Energy & Mining Division

Air Quality Bureau

Montana Air Quality Permit #5358-00

NorthWestern Energy

Bear Paw Compressor Station

11 E. Park St.

Butte, Montana 59701-1711

Final and Effective Date:

August 15, 2026

# MONTANA AIR QUALITY PERMIT

Issued To: NorthWestern Energy

11 East Park Street

Butte, Montana 59701

MAQP: #5358-00

Application Complete: 06/23/2026

Preliminary Determination Issued: 07/13/2026

DEQ’s Decision Issued: 07/30/2026

Permit Final: 08/15/2026

A Montana Air Quality Permit (MAQP), with conditions, is hereby granted to NorthWestern Energy (NWE), pursuant to Sections 75-2-204 and 211 of the Montana Code Annotated (MCA), as amended, and Administrative Rules of Montana (ARM) 17.8.740, et seq., as amended, for the following:

# Permitted Facilities

## Permitted Equipment

NWE proposes to construct and operate two (2) – 1900-brake horsepower (bhp) or equivalent compressor engines, equipped with non-selective catalytic reduction (NSCR) technology and air-to-fuel ratio (AFR) controllers for emissions control. This facility will boost natural gas pressure as needed in the natural gas transmission system. The facility would construct and operate one (1) emergency generator for backup power generation up to 291 bhp during power outages. NWE also plans to install and operate building heaters up to 1 MMBtu/hr, which are considered insignificant emitting units for the purposes of air quality permitting.

A single source determination review was performed for the proposed new NWE facility (MAQP #5358-00) and the pre-existing Havre Pipeline Company, Blaine County #3 Compressor Station (MAQP #2719-10). DEQ has determined these facilities constitute a single source based on the following criteria: Common owner (NWE), same SIC Code (4922-98), and contiguous and adjacent (same site). However, their combined emissions are below the applicable major source Title V operating permit threshold(s) of 100 tons per year (TPY) of any criteria pollutant, less than 10 TPY for any hazardous air pollutant (HAP) and 25 tons per year of aggregate HAPs. As requested by NWE, DEQ determined that issuance of separate MAQPs is an acceptable practice as long as each facility recognizes combined emissions may trigger additional permitting requirements. If combined emissions reach the Title V permitting thresholds a Title V permit will be required.

## Plant Location

The NWE facility will be located at 800 Moore Lane, Lloyd, Montana. The legal description of the location is NE ¼ of the SE ¼ in Section 7, Township 27N Range 19E in Blaine County, Montana or lat/long 48.10877 N/-109.31952 W.

# Conditions and Limitations

## Emission Limitations

- NWE shall install non-selective catalysis reduction (NSCR) and air-to-fuel ratio (AFR) emission controls on each 1900 bhp compressor (ARM 17.8.752).

- Emissions from each 1900 bhp compressor engine shall not exceed the following: (ARM 17.8.752).

  - NOx				1.0  gram per bhp/hour (g/bhp-hr)

  - CO				1.0 g/bhp-hr

  - VOC				0.10 g/bhp-hr

- NWE shall combust pipeline natural gas which is inherently low in sulfur content (ARM 17.8.752).

- NWE shall utilize best combustion practices to minimize emissions (ARM 17.8.752).

- NWE shall not cause or authorize emissions to be discharged into the outdoor atmosphere from any sources installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes (ARM 17.8.304).

- NWE shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter (ARM 17.8.308).

- NWE shall treat all unpaved portions of the haul roads, access roads, parking lots, or general plant area with water and/or chemical dust suppressant as necessary to maintain compliance with the reasonable precautions limitation in Section II.A.6 (ARM 17.8.749).

- NWE shall comply with all applicable standards and limitations, and the reporting, recordkeeping and notification requirements contained in 40 CFR 60, Subpart JJJJ (ARM 17.8.340, ARM 17.8.749 and 40 CFR 60, Subpart JJJJ).

- NWE shall comply with all applicable standards and limitations, and the reporting, recordkeeping and notification requirements contained in 40 CFR 60, Subpart OOOOb (ARM 17.8.340, ARM 17.8.479 and 40 CFR 60, Subpart OOOOb).

- NWE shall utilize the emergency backup generator for backup or emergency operations only and shall limit the hours of operation to 500 hr during any 12-month rolling average time period. Preventative maintenance activities shall be included in the 500 hours of operation during any 12-month rolling average.

## Testing Requirements

- All compliance source tests shall conform to the requirements of the Montana Source Test Protocol and Procedures Manual (ARM 17.8.106).

- The Department of Environmental Quality (DEQ) may require further testing (ARM 17.8.105).

- NWE shall demonstrate compliance with NOx, CO and VOC limits in Section II.A.2 via source testing within 180 days after equipment commencement of operation. Source testing shall be conducted for NOx, CO, and VOCs simultaneously. Compliance tests are determined by the average of three 1-hour or longer runs. Results shall be submitted to DEQ to demonstrate compliance with the emission limitations in Section II.A.2 (ARM 17.8.105 and ARM 17.8.749).

- Following the calendar date of the initial compliance demonstration, compliance with the applicable emission limits shall be demonstrated via source testing for NOx, CO and VOCs simultaneously within 8,760 operating hours or 3 years, whichever comes first. Source testing shall follow the applicable methods defined in 40 CFR 60 Subpart JJJJ, or equivalent methods as approved in writing by DEQ

Future compliance demonstrations shall be required at the same frequency for each engine on site from the date of the last compliance demonstration. (ARM 17.8.105, ARM 17.8.749, ARM 17.8.340, 40 CFR 60 Subpart JJJJ and 40 CFR 60 Subpart OOOOb.

## C. 	Operational Reporting Requirements

- NWE shall supply DEQ with annual production information for all emission points, as required by DEQ in the annual emission inventory request.  The request will include, but is not limited to, all sources of emissions identified in the emission inventory contained in the permit analysis.

Production information shall be gathered on a calendar-year basis and submitted to DEQ by the date required in the emission inventory request.  Information shall be in the units required by DEQ.  This information may be used to calculate operating fees, based on actual emissions from the facility, and/or to verify compliance with permit limitations (ARM 17.8.505).

- NWE shall notify DEQ of any construction or improvement project 	conducted, pursuant to ARM 17.8.745, that would include the addition of a new emissions unit, change in control equipment, stack height, stack diameter, stack flow, stack gas temperature, source location, or fuel specifications, or would result in an increase in source capacity above its permitted operation.  The notice must be submitted to DEQ, in writing, 10 days prior to startup or use of the proposed de minimis change, or as soon as reasonably practicable in the event of an unanticipated circumstance causing the de minimis change and must include the information requested in ARM 17.8.745(l)(d) (ARM 17.8.745).

- All records compiled in accordance with this permit must be maintained by NWE as a permanent business record for at least 5 years following the date of the measurement, must be available at the plant site for inspection by DEQ, and must be submitted to DEQ upon request.  These records may be stored at a location other than the plant site upon approval by DEQ (ARM 17.8.749).

- NWE shall annually certify that its actual emissions are less than those that would require the source to obtain an air quality operating permit as required by ARM 17.8.1204(3)(b).

## D. 	Notification

- NWE shall notify in writing of the date of commencement of operation of each engine within 30-days following the date of commencement and confirm horsepower (bhp) rating for each individual engine and the total horsepower of all engines placed into service (ARM 17.8.749).

# General Conditions

## Inspection – NWE shall allow DEQ’s representatives access to the source at all reasonable times for the purpose of making inspections or surveys, collecting samples, obtaining data, auditing any monitoring equipment such as Continuous Emission Monitoring Systems (CEMS) or Continuous Emission Rate Monitoring Systems (CERMS), or observing any monitoring or testing, and otherwise conducting all necessary functions related to this permit.

## Waiver – The permit and the terms, conditions, and matters stated herein shall be deemed accepted if NWE fails to appeal as indicated below.

## Compliance with Statutes and Regulations – Nothing in this permit shall be construed as relieving NWE of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq. (ARM 17.8.756).

## Enforcement – Violations of limitations, conditions and requirements contained herein may constitute grounds for permit revocation, penalties, or other enforcement action as specified in Section 75-2-401, et seq., MCA.

## Appeals – Any person or persons jointly or severally adversely affected by DEQ’s decision may request, within 15 days after DEQ renders its decision, upon affidavit setting forth the grounds therefor, a hearing before the Board of Environmental Review (Board).  A hearing shall be held under the provisions of the Montana Administrative Procedures Act.  The filing of a request for a hearing does not stay DEQ’s decision, unless the Board issues a stay upon receipt of a petition and a finding that a stay is appropriate under Section 75-2-211(11)(b), MCA.  The issuance of a stay on a permit by the Board postpones the effective date of DEQ’s decision until the conclusion of the hearing and issuance of a final decision by the Board.  If a stay is not issued by the Board, DEQ’s decision on the application is final 16 days after DEQ’s decision is made.

## Permit Inspection – As required by ARM 17.8.755, Inspection of Permit, a copy of the air quality permit shall be made available for inspection by DEQ at the location of the source.

## Permit Fee – Pursuant to Section 75-2-220, MCA, failure to pay the annual operation fee by NWE may be grounds for revocation of this permit, as required by that section and rules adopted thereunder by the Board.

## Duration of Permit – Construction or installation must begin or contractual obligations entered into that would constitute substantial loss within 3 years of permit issuance and proceed with due diligence until the project is complete or the permit shall expire (ARM 17.8.762).

# Montana Air Quality Permit Analysis

# NorthWestern Energy

# MAQP #5358-00

# Introduction/Process Description

This facility is to be located at 800 Moore Ln in Lloyd, MT 59535, in the NE ¼ of the SE ¼ in Section 7 of 27 N Township 19E Range of Blaine County, Montana, 48.1083 °N /-109.3184 °W latitude/longitude

## Permitted Equipment

NWE proposes to construct and operate two (2) – 1900-brake horsepower (bhp) or equivalent compressor engines, equipped with non-selective catalytic reduction (NSCR) technology and air-to-fuel ratio (AFR) controllers for emissions control. This facility will boost natural gas pressure as needed in the natural gas transmission system. The facility will construct and operate one (1) emergency generator for backup power generation up to 291 bhp during power outages. NWE also plans to install and operate building heaters up to 1MMBtu/hr which are not considered emitting units for the purposes of air quality permitting.

A single source determination review was performed on the proposed new facility MAQP #5358-00 and the pre-existing Havre Pipeline Company Blaine County #3 Compressor Station MAQP-#2719-10. DEQ has determined these facilities are a single source based on the following criteria: Common owner (NWE), same SIC Code (4922-98) and contiguous and adjacent (same site). However, their combined emissions are below Title V thresholds of 100-250 TPY and may continue to operate under their respective MAQPs. If combined emissions reach the Title V thresholds a Title V permit will need to be acquired.

## Source Description

The two Waukesha L7044GSI S5 AFR3 1900bhp engines will be installed and operated to increase pressure in a gas pipeline for efficient natural gas transmission along with a 261 bhp natural gas-fueled backup generator to provide emergency power.

# Applicable Rules and Regulations

The following are partial explanations of some applicable rules and regulations that apply to the facility.  The complete rules are stated in the Administrative Rules of Montana (ARM) and are available, upon request, from the Department of Environmental Quality (DEQ).  Upon request, DEQ will provide references for location of complete copies of all applicable rules and regulations or copies where appropriate.

## ARM 17.8, Subchapter 1 – General Provisions, including but not limited to:

- ARM 17.8.101 Definitions.  This rule includes a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.105 Testing Requirements. Any person or persons responsible for the emission of any air contaminant into the outdoor atmosphere shall, upon written request of DEQ, provide the facilities and necessary equipment (including instruments and sensing devices) and shall conduct tests, emission or ambient, for such periods of time as may be necessary using methods approved by DEQ.

- ARM 17.8.106 Source Testing Protocol.  The requirements of this rule apply to any emission source testing conducted by DEQ, any source or other entity as required by any rule in this chapter, or any permit or order issued pursuant to this chapter, or the provisions of the Clean Air Act of Montana, 75-2-101, et seq., Montana Code Annotated (MCA).

NWE shall comply with the requirements contained in the Montana Source Test Protocol and Procedures Manual, including, but not limited to, using the proper test methods and supplying the required reports.  A copy of the Montana Source Test Protocol and Procedures Manual is available from DEQ upon request.

- ARM 17.8.110 Malfunctions.  (2) DEQ must be notified promptly by telephone whenever a malfunction occurs that can be expected to create emissions in excess of any applicable emission limitation or to continue for a period greater than 4 hours.

- ARM 17.8.111 Circumvention.  (1) No person shall cause or permit the installation or use of any device or any means that, without resulting in reduction of the total amount of air contaminant emitted, conceals or dilutes an emission of air contaminant that would otherwise violate an air pollution control regulation. (2) No equipment that may produce emissions shall be operated or maintained in such a manner as to create a public nuisance.

## ARM 17.8, Subchapter 2 – Ambient Air Quality, including, but not limited to the following:

1.	ARM 17.8.204 Ambient Air Monitoring

2.	ARM 17.8.210 Ambient Air Quality Standards for Sulfur Dioxide

3.	ARM 17.8.211 Ambient Air Quality Standards for Nitrogen Dioxide

4.	ARM 17.8.212 Ambient Air Quality Standards for Carbon Monoxide

5.	ARM 17.8.213 Ambient Air Quality Standard for Ozone

6.	ARM 17.8.214 Ambient Air Quality Standard for Hydrogen Sulfide

7.	ARM 17.8.220 Ambient Air Quality Standard for Settled Particulate Matter

8.	ARM 17.8.221 Ambient Air Quality Standard for Visibility

9.	ARM 17.8.222 Ambient Air Quality Standard for Lead

10.	ARM 17.8.223 Ambient Air Quality Standard for PM10

11.	ARM 17.8.230 Fluoride in Forage

NWE must maintain compliance with the applicable ambient air quality standards.

## ARM 17.8, Subchapter 3 – Emission Standards, including, but not limited to:

- ARM 17.8.304 Visible Air Contaminants.  This rule requires that no person may cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes.

- ARM 17.8.308 Particulate Matter, Airborne.  (1) This rule requires an opacity limitation of less than 20% for all fugitive emission sources and that reasonable precautions be taken to control emissions of airborne particulate matter.  (2) Under this rule, NWE shall not cause or authorize the use of any street, road, or parking lot without taking reasonable precautions to control emissions of airborne particulate matter.

- ARM 17.8.309 Particulate Matter, Fuel Burning Equipment.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter caused by the combustion of fuel in excess of the amount determined by this rule.

- ARM 17.8.310 Particulate Matter, Industrial Process.  This rule requires that no person shall cause, allow, or permit to be discharged into the atmosphere particulate matter in excess of the amount set forth in this rule.

- ARM 17.8.322 Sulfur Oxide Emissions--Sulfur in Fuel.  This rule requires that no person shall burn liquid, solid, or gaseous fuel in excess of the amount set forth in this rule.

- ARM 17.8.324 Hydrocarbon Emissions--Petroleum Products.  (3) No person shall load or permit the loading of gasoline into any stationary tank with a capacity of 250 gallons or more from any tank truck or trailer, except through a permanent submerged fill pipe, unless such tank is equipped with a vapor loss control device as described in (1) of this rule.

- ARM 17.8.340 Standard of Performance for New Stationary Sources and Emission Guidelines for Existing Sources.  This rule incorporates, by reference, 40 CFR Part 60, Standards of Performance for New Stationary Sources (NSPS).  This facility is considered an NSPS affected facility under 40 CFR Part 60 and is subject to the requirements of the following subparts.

a.	40 CFR 60, Subpart A – General Provisions apply to all equipment or facilities subject to an NSPS Subpart as listed below:

b. 	40 CFR 60, Subpart JJJJ – Standard of Performance for Stationary Spark Ignition Internal Combustion Engines.

c. 	40 CFR 60, Subpart OOOOb – Standard of Performance for Crude Oil and Natural Gas Facilities for which construction, modification or reconstruction commenced after December 6, 2022

- ARM 17.8.341 Emission Standards for Hazardous Air Pollutants.  This source shall comply with the standards and provisions of 40 CFR Part 61, as appropriate.

- ARM 17.8.342 Emission Standards for Hazardous Air Pollutants for Source Categories.  The source, as defined and applied in 40 CFR Part 63, shall comply with the requirements of 40 CFR Part 63, as listed below:

- 40 CFR 63, Subpart A – General Provisions apply to all equipment or facilities subject to a NESHAP Subpart as listed below:

- 40 CFR 63 Subpart ZZZZ – Stationary Reciprocating Internal Combustion Engines for emergency generator engines

## ARM 17.8, Subchapter 4 – Stack Height and Dispersion Techniques, including, but not limited to:

- ARM 17.8.401 Definitions. This rule includes a list of definitions used in this chapter, unless indicated otherwise in a specific subchapter.

## ARM 17.8, Subchapter 5 – Air Quality Permit Application, Operation, and Open Burning Fees, including, but not limited to:

- ARM 17.8.504 Air Quality Permit Application Fees.  This rule requires that an applicant submit an air quality permit application fee concurrent with the submittal of an air quality permit application. A permit application is incomplete until the proper application fee is paid to DEQ. NWE submitted the appropriate permit application fee for the current permit action.

- ARM 17.8.505 Air Quality Operation Fees.  An annual air quality operation fee must, as a condition of continued operation, be submitted to DEQ by each source of air contaminants holding an air quality permit (excluding an open burning permit) issued by DEQ.  The air quality operation fee is based on the actual or estimated actual amount of air pollutants emitted during the previous calendar year.

An air quality operation fee is separate and distinct from an air quality permit application fee. The annual assessment and collection of the air quality operation fee, described above, shall take place on a calendar-year basis. DEQ may insert into any final permit issued after the effective date of these rules, such conditions as may be necessary to require the payment of an air quality operation fee on a calendar-year basis, including provisions that prorate the required fee amount.

## ARM 17.8, Subchapter 7 – Permit, Construction, and Operation of Air Contaminant Sources, including, but not limited to:

- ARM 17.8.740 Definitions.  This rule is a list of applicable definitions used in this chapter, unless indicated otherwise in a specific subchapter.

- ARM 17.8.743 Montana Air Quality Permits--When Required. This rule requires a person to obtain an air quality permit or permit modification to construct, modify, or use any air contaminant sources that have the potential to emit (PTE) greater than 25 tons per year of any pollutant. NWE has a PTE greater than 25 tons per year of NOx, CO; and VOCs therefore, an air quality permit is required.

- ARM 17.8.744 Montana Air Quality Permits--General Exclusions.  This rule identifies the activities that are not subject to the Montana Air Quality Permit program.

- ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes.  This rule identifies the de minimis changes at permitted facilities that do not require a permit under the Montana Air Quality Permit Program.

- ARM 17.8.748 New or Modified Emitting Units--Permit Application Requirements.  (1) This rule requires that a permit application be submitted prior to installation, modification, or use of a source.  NWE submitted the required permit application for the current permit action on May 15, 2026. 7) This rule requires that the applicant notify the public by means of legal publication in a newspaper of general circulation in the area affected by the application for a permit.  NWE submitted an affidavit of publication of public notice for the May 20, 2026, issue of the Havre Daily News, a newspaper of general circulation in the Town of Havre in Blaine County, as proof of compliance with the public notice requirements.

- ARM 17.8.749 Conditions for Issuance or Denial of Permit.  This rule requires that the permits issued by DEQ must authorize the construction and operation of the facility or emitting unit subject to the conditions in the permit and the requirements of this subchapter.  This rule also requires that the permit must contain any conditions necessary to assure compliance with the Federal Clean Air Act (FCAA), the Clean Air Act of Montana, and rules adopted under those acts.

- ARM 17.8.752 Emission Control Requirements.  This rule requires a source to install the maximum air pollution control capability that is technically practicable and economically feasible, except that BACT shall be utilized.  The required BACT analysis is included in Section III of this permit analysis.

- ARM 17.8.755 Inspection of Permit.  This rule requires that air quality permits shall be made available for inspection by DEQ at the location of the source.

- ARM 17.8.756 Compliance with Other Requirements.  This rule states that nothing in the permit shall be construed as relieving NWE of the responsibility for complying with any applicable federal or Montana statute, rule, or standard, except as specifically provided in ARM 17.8.740, et seq.

- ARM 17.8.759 Review of Permit Applications.  This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those permit applications that do not require the preparation of an environmental impact statement.

- ARM 17.8.760 Additional Review of Permit Applications.  This rule describes DEQ’s responsibilities for processing permit applications and making permit decisions on those applications that require an environmental impact statement.

- ARM 17.8.762 Duration of Permit.  An air quality permit shall be valid until revoked or modified, as provided in this subchapter, except that a permit issued prior to construction of a new or modified source may contain a condition providing that the permit will expire unless construction is commenced within the time specified in the permit, which in no event may be less than 1 year after the permit is issued.

- ARM 17.8.763 Revocation of Permit.  An air quality permit may be revoked upon written request of the permittee, or for violations of any requirement of the Clean Air Act of Montana, rules adopted under the Clean Air Act of Montana, the FCAA, rules adopted under the FCAA, or any applicable requirement contained in the Montana State Implementation Plan (SIP).

- ARM 17.8.764 Administrative Amendment to Permit.  An air quality permit may be amended for changes in any applicable rules and standards adopted by the Board of Environmental Review (Board) or changed conditions of operation at a source or stack that do not result in an increase of emissions as a result of those changed conditions.  The owner or operator of a facility may not increase the facility’s emissions beyond permit limits unless the increase meets the criteria in ARM 17.8.745 for a de minimis change not requiring a permit, or unless the owner or operator applies for and receives another permit in accordance with ARM 17.8.748, ARM 17.8.749, ARM 17.8.752, ARM 17.8.755, and ARM 17.8.756, and with all applicable requirements in ARM Title 17, Chapter 8, Subchapters 8, 9, and 10.

- ARM 17.8.765 Transfer of Permit.  This rule states that an air quality permit may be transferred from one person to another if written notice of intent to transfer, including the names of the transferor and the transferee, is sent to DEQ.

## ARM 17.8, Subchapter 8 – Prevention of Significant Deterioration of Air Quality, including, but not limited to:

- ARM 17.8.801 Definitions.  This rule is a list of applicable definitions used in this subchapter.

- ARM 17.8.818 Review of Major Stationary Sources and Major Modifications--Source Applicability and Exemptions.  The requirements contained in ARM 17.8.819 through ARM 17.8.827 shall apply to any major stationary source and any major modification, with respect to each pollutant subject to regulation under the FCAA that it would emit, except as this subchapter would otherwise allow.

## ARM 17.8, Subchapter 12 – Operating Permit Program Applicability, including, but not limited to:

- ARM 17.8.1201 Definitions.  (23) Major Source under Section 7412 of the FCAA is defined as any source having:

- PTE > 100 tons/year of any pollutant;

- PTE > 10 tons/year of any one hazardous air pollutant (HAP), PTE > 25 tons/year of a combination of all HAPs, or lesser quantity as DEQ may establish by rule; or

- PTE > 70 tons/year of particulate matter with an aerodynamic diameter of 10 microns or less (PM10) in a serious PM10 nonattainment area.

- ARM 17.8.1204 Air Quality Operating Permit Program.  (1) Title V of the FCAA amendments of 1990 requires that all sources, as defined in ARM 17.8.1204(1), obtain a Title V Operating Permit.  In reviewing and issuing MAQP #XXXX-XX for XXX, the following conclusions were made:

- The facility’s PTE is less than 100 tons/year for any pollutant.

- The facility’s PTE is less than 10 tons/year for any one HAP and less than 25 tons/year for all HAPs.

- This source is not located in a serious PM10 nonattainment area.

- This facility is not subject to any current NSPS.

- This facility is not subject to any current NESHAP standards.

- This source is not a Title IV affected source, or a solid waste combustion unit.

- This source is not an EPA designated Title V source.

Based on these facts, DEQ determined that NWE will be a minor source of emissions as defined under Title V.

A single source determination review was performed for the proposed NWE facility (MAQP #5358-00) and the pre-existing Havre Pipeline Company, Blaine County #3 Compressor Station (MAQP #2719-10). DEQ determined these facilities constitute a single source based on the following criteria: Common owner (NWE), same SIC Code (4922-98), and contiguous and adjacent (same site). However, their combined emissions are below the applicable major source Title V operating permit threshold(s) of 100 TPY of any criteria pollutant, less than 10 TPY of any HAP and 25 tons per year of aggregate HAPs. As requested by NWE, DEQ determined that issuance of separate MAQPs is an acceptable practice if each facility recognizes combined emissions may trigger additional permitting requirements. If combined emissions reach the Title V permitting thresholds a Title V permit will be required. Further, if minor sources subject to NSPS are required to obtain a Title V Operating Permit, NWE will be required to obtain a Title V Operating Permit.

# BACT Determination

A BACT determination is required for each new or modified source.  NWE shall install on the new or modified source the maximum air pollution control capability, which is technically practicable and economically feasible, except that BACT shall be utilized.

A BACT analysis was submitted by NWE in permit application #5358-00, addressing some available methods of controlling emissions from 1900 bhp rich-burn compressor engines. DEQ reviewed these methods, as well as previous BACT determinations. The following control options have been reviewed by DEQ in order to make the following BACT determination.

CO BACT

Step 1: Identify All Control Technologies

The following options were reviewed for CO control:

- Rich-burn engines with catalytic oxidization

- Rich-burn engines with air-fuel ratio (AFR) controller

- Rich-burn engines with non-selective catalytic reduction (NSCR)

- Rich-burn engines with AFR and NSCR

- Lean-burn engines with AFR controller

- Lean-burn engines with NSCR

- Lean-burn engines with AFR and catalytic oxidation

- No additional control

Step 2: Eliminate Technically Infeasible Control Technologies

The proposed engines to be installed are rich-burn engines, as a result all lean-burn engines and proposed control technologies listed in step 1 that would apply are considered infeasible.

Catalytic oxidation control technologies applied to a rich-burn engine would be infeasible as the oxidation catalyst requires excess oxygen in the exhaust stream to convert CO to CO2. Rich-burn engines operate under fuel-rich (oxygen limited) combustion conditions. Employing this control technology would be infeasible.

Remaining feasible control technologies for rich-burn engines include:

Rich-burn engine with NSCR and AFR controls

Rich-burn engine with NSCR

Rich-burn engine with AFR controller

Rich-burn engine with no additional controls

Step 3: Rank The Remaining Control Technologies

| Control | CO Reduction Potential | Controlled Emissions (tpy) | Reduction (tpy) |
| --- | --- | --- | --- |
| Rich-burn with NSCR and AFR | 89% | 18.35 | 145 |
| Rich-burn with NSCR | 80-90% | 32.6 | 130 |
| Rich-burn with AFR | Varies | - | - |
| No Additional Controls | Baseline | 163 | 0 |

Step 4: Evaluate The Most Effective Controls

The most effective control technology will be rich-burn natural gas engines equipped with NSCR systems and AFR controllers. These are widely used throughout natural gas transmission industries to control CO emissions and other pollutants. Furthermore, NWE utilizes these technologies at similar rich-burn natural gas compressor stations and have demonstrated the effectiveness of achieving CO emission rates well below typical permit limits established for rich-burn engines.

| Site | Engine | Permit Limit | Test Result |
| --- | --- | --- | --- |
| Blaine County #3 | 1,547-hp rich-burn natural gas fired engine equipped with NSCR and AFR controls | 3.41 (lb/hr) 1.00 (g/bhp-hr) | 2.39 (lb/hr) 0.70 (g/bhp-hr) |
| Hill County #3 Compressor Station (EU01) | 1,478-hp Waukesha 7042GL rich-burn natural gas fired engine equipped with NSCR and AFR | 9.78 (lb/hr) 3.00 (g/bhp-hr) | 0.16 (lb/hr) 0.049 (g/bhp-hr) |
| Hill County #3 Compressor Station (EU02) | 1,478-hp Waukesha 7042GL rich-burn natural gas fired engine equipped with NSCR and AFR | 9.78 (lb/hr) 3.00 (g/bhp-hr) | 0.01 (lb/hr) 0.003 (g/bhp-hr) |

The NSCR and AFR control technologies achieve up to 90% control efficiency with reliable performance with reasonable costs of approximately $123 per ton of CO removed. This control technology is both environmentally and economically reasonable.

Step 5: Identify BACT

NWE proposes to install and operate NSCR and AFR control technologies on the rich burn engines to control CO emissions. DEQ concurs with NWE proposed BACT emission limit for CO as 1.0 g/bhp-hr.  Similar control technologies and costs associated with CO emission controls have been required for sources operating in Montana. Based on these conclusions, DEQ determines that the proper design and operation for these rich-burn natural gas fired engines utilizing NSCR with an AFR control constitutes BACT in this case.

NOx BACT

Step 1: Identify All Control Technologies

The following options were reviewed for NOx control:

- Rich-burn engines with selective catalytic reduction (SCR)

- Rich-burn engines with AFR controller

- Rich-burn engines with NSCR

- Rich-burn engines with AFR and NSCR

- Lean-burn engines with AFR controller

- Lean-burn engines with SCR

- Lean-burn engines with NSCR

- Lean-burn engines with AFR and SCR

- No additional control

Step 2: Eliminate Technically Infeasible Control Technologies

The proposed engines to be installed are rich-burn engines, as a result all lean-burn engines and proposed control technologies listed in step 1 that would apply are considered infeasible.

Rich-burn engines with SCR

SCR is a post-combustion control technology that injects ammonia or urea into flue gas and require specific exhaust temperatures (1,600-2,000 °F) for optimal NOx destruction, which are not feasible as the proposed engines exhaust operate near 1,200 °F. Additionally, SCR technologies are often applied to lean-burn engines because sufficient (excess) oxygen must be present in the exhaust stream for the reduction to occur efficiently. SCR technologies are determined to be technically infeasible.

Remaining feasible control technologies for rich-burn engines include:

Rich-burn engine with NSCR and AFR controls

Rich-burn engine with NSCR

Rich-burn engine with AFR controller

Rich-burn engine with no additional controls

Step 3: Rank The Remaining Control Technologies

| Control | NOx Reduction Potential | Controlled Emissions (tpy) | Reduction (tpy) |
| --- | --- | --- | --- |
| Rich-burn with NSCR and AFR | 91% | 18.35 | 191 |
| Rich-burn with NSCR | 80-90% | 42 | 167 |
| Rich-burn with AFR | Varies | - | - |
| No Additional Controls | Baseline | 209 | 0 |

Step 4: Evaluate The Most Effective Controls

The most effective control technology will be rich-burn natural gas engines equipped with NSCR systems and AFR controllers. These are widely used throughout natural gas transmission industries to control NOx emissions and other pollutants.

The NSCR and AFR control technologies achieve up to 90% control efficiency with reliable performance with reasonable costs of approximately $105 per ton of NOx removed. This control technology is both environmentally and economically reasonable.

Step 5: Select NOx BACT

NWE proposes to install and operate NSCR and AFR control technologies on the rich burn engines to control NOx emissions. DEQ concurs with NWE proposed BACT emission limit for NOx as 1.0 g/bhp-hr. Similar control technologies and costs associated with NOx emission controls have been required for sources operating in Montana. Based on these conclusions, DEQ determines that the proper design and operation for these rich-burn natural gas fired engines utilizing NSCR with an AFR control constitutes BACT in this case.

VOC BACT Analysis

Step 1: Identify All Control Technologies

- NSCR

- Oxidation Catalyst

- Combustion Optimization

Step 2: Eliminate Technically Infeasible Options

Oxidation Catalysts require excess oxygen in the exhaust stream. Rich-burn engines operate under oxygen-limited conditions, using an oxidation catalyst would not be possible with the proposed engines.

Step 3: Rank Remaining Technologies

| Control | Efficiency |
| --- | --- |
| NSCR + AFR | 90-98% |
| Combustion only | 30-50% |

Step 4: Evaluate The Most Effective Controls

The most effective control technology will be rich-burn natural gas engines equipped with NSCR systems and AFR controllers. These are widely used throughout natural gas transmission industries to control VOC emissions and other pollutants.

Step 5: Select VOC BACT

NWE proposes to install and operate NSCR and AFR control technologies on the rich burn engines to control CO emissions. Similar control technologies and costs associated with VOC emission controls have been required for sources operating in Montana. DEQ concurs with NWE proposed BACT emission limit for NOx as 0.1 g/bhp-hr. Based on these conclusions, DEQ determines that the proper design and operation for these rich-burn natural gas fired engines utilizing NSCR with an AFR control constitutes BACT in this case.

SOx and PM BACT Analysis

SO2 and PM Species

The following options were reviewed for SO2 and PM species

ARM 17.8.752 requires a BACT analysis for SO2 emissions. Because of the nature low sulfur content of pipeline gas, annual SO2 emissions from the proposed operations are estimated at only 0.08 tons per year, therefore any additional control technologies to reduce SO2 would be cost-prohibitive and deemed economically infeasible for the proposed project on a cost per ton of SO2 removed basis. Therefore a top-down BACT analysis is not presented. The proposed SO2 BACT is the combustion of low sulfur pipeline gas with no additional controls. The proposed SO2 BACT conforms to previous BACT determinations made by DEQ for similar engines.

ARM 17.8.752 requires a BACT analysis for PM, PM10 and PM2.5 emissions. Because of the nature and composition of pipeline gas, annual PM emissions are predicted to be very low (See Section IV, Emission Inventory); Any additional control technologies would be cost-prohibitive and deemed economically infeasible for the proposed project on a cost per ton of PM removed basis. Therefore a top-down BACT analysis for PM emissions is not presented. The proposed PM BACT is a combustion of low-sulfur pipeline gas with no add-on controls. The proposed PM BACT conforms to previous BACT determinations made by DEQ for similar engines.

Final BACT Summary

DEQ concurs with NWE and determines installing NSCR and an AFR controller resulting in emission limits of 1.0 g/bhp-hr for NOx and CO as well as 0.1 g/bhp-hr for VOCs for operation of rich-burn natural gas fired engines is BACT. Additionally, best practices is considered BACT when a number limit has not been established, such as SO2 and PMtot. The control options selected have controls and control costs comparable to other recently permitted similar sources and are capable of achieving the appropriate emission standards.

# Emission Inventory

Emission inventory for MAQP #5358-00

| Emitting Unit ID | Emitting Unit #5358-00 | PM(fil)tpy | PM10 tpy | PM2.5 tpy | SOX tpy | NOX tpy | VOC tpy | CO tpy | HAPs tpy |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EU01 | Waukesha L7044GSI S5 AFR3 1900 - 1,900 bhp Compressor Engine | 1.28 | 1.28 | 1.28 | 0.04 | 18.35 | 1.84 | 18.35 | 1.48 |
| EU02 | Waukesha L7044GSI S5 AFR3 1900 - 1,900 bhp Compressor Engine | 1.28 | 1.28 | 1.28 | 0.04 | 18.35 | 1.84 | 18.35 | 1.48 |
| EU05 | Emergency Generator - 186 bhp | 0.007 | 0.007 | 0.007 | 2.14E-04 | 0.81 | 2.00E-02 | 0.35 | 8.00E-03 |
| Total Emissions |  | 2.567 | 2.567 | 2.567 | 0.080214 | 37.51 | 3.7 | 37.05 | 2.968 |

  - Total PM10 emissions are 1.27 TPY, determined by the sum of PM10(fil) + PM(cond)

  - Total PM2.5 emissions are 1.27 TPY, determined by the sum of PM2.5(fil) + PM(cond)

  - Total Particulate Matter emissions are XX TPY, determined by the sum of PM(fil) + PM(cond)

Calculations:

Waukesha Engine(s)

Note: Emissions are based on the power output of the engine.

Operational Capacity	= 2 engines

Engine Power		= 1,900 bhp

Tons per pound		= 0.0005 ton/lb

Pounds per gram		= 1 lb/453.6 g

Hours of Operation 	= 8760 hr/yr

Fuel Heating Value 	= 1,044 Btu/scf = 1,044 MMBtu/MMscf

Fuel Use				= 15.10 MMBtu/hr

PM(cond) Emissions:

Emission Factor 	= 9.91E-03 lb/MMBtu (AP-42 Table 3.2-3)

Calculation 		= 9.91E-03 lb/MMBtu * 15.10 MMBtu/hr * 8760 hr/yr * 0.0005 ton/lb * 2 engines

= 1.31 ton/year

PM10(fil) / PM2.5(fil) Emissions

Emission Factor 	= 9.50E-03 lb/MMBtu (AP-42 Table 3.2-3)

Calculation 		= 9.50E-03 lb/MMBtu * 15.10 MMBtu/hr * 8760 hr/yr * 0.0005 ton/lb * 2 engines

= 1.25 ton/year

PMtot  Emissions:

PM(cond) + PM(fil)	= 1.31 ton/year + 1.25 ton/year

= 2.56 ton/year

NOx Emissions

Emission Factor 	= 1.0 g/bhp-hr (Subpart JJJJ NOx Limit, Post Catalyst Manufacturer)

Calculation		= 1.0 g/bhp-hr / 453.6 g/lb * 1900 bhp * 8760 * 0.0005 ton/lb * 2 engines

= 36.70 ton/yr

CO Emissions

Emission Factor 	= 1.0 g/bhp-hr (Post Catalyst Manufacturer)

Calculation		= 1.0 g/bhp-hr / 453.6 g/lb * 1900 bhp * 8760 * 0.0005 ton/lb * 2 engines

= 36.70 ton/yr

VOC Emissions

Emission Factor 	= 0.10 g/bhp-hr (Post Catalyst Manufacturer plus formaldehyde)

Calculation		= 0.10 g/bhp-hr / 453.6 g/lb * 1900 bhp * 8760 * 0.0005 ton/lb * 2 engines

= 3.67 ton/yr

SOx Emissions

Emission Factor 	= 5.88E-04 lb/MMBtu (AP-42 Table 3.2-3)

Calculation 		= 5.88E-04 lb/MMBtu * 15.10 MMBtu/hr * 8760 hr/yr * 0.0005 ton/lb * 2 engines

= 0.08 ton/year

| **CO = carbon monoxide | PM = particulate matter |
| --- | --- |
| (fil) = filterable | PM10 = particulate matter with an aerodynamic diameter of 10 microns or less |
| HAPs = hazardous air pollutants | PM2.5 = particulate matter with an aerodynamic diameter of 2.5 microns or less |
| hp = horsepower | SO2 = sulfur dioxide |
| lb = pound | TPH = tons per hour |
| N/A = not applicable | TPY = tons per year |
| ND = no data available | VOC = volatile organic compounds |
| NOX = oxides of nitrogen | yr = year |

Inventory reflects maximum allowable emissions for all pollutants based on maximum production and year-round operation (8,760 hours). The facility did not take limits on production or hours of operation.

Emission Inventory from MAQP #2719-10

For the purposes of identifying this facility as a single source with two separate MAQPs see permitted equipment I.A. The emission inventory from HPC Blaine County #3 Compressor Station MAQP #2719-10 is included in this permit.

MAQP#2719-10 Emission Inventory

| Emitting Unit ID | Emitting Unit | PM(fil) tpy | PM10 tpy | PM2.5 tpy | SOX tpy | NOX tpy | VOC tpy | CO tpy | HAPs tpy |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EU01 | Waukesha L7042GU Compressor Engine | 0.26 | 0.26 | 0.26 | 0.02 | 14.5 | 7.23 | 21.72 | -- |
| EU02 | 400 hp Waukesha F18GL Compressor Engine | 0.16 | 0.16 | 0.16 | 0.01 | 7.71 | 3.85 | 12.05 | -- |
| EU03 | TEG dehydration Unit | 0.007 | 0.007 | 0.007 | 2.14E-04 | 0.81 | 2.00E-02 | 0.35 | 8.00E-03 |
| EU08 | 1,547 hp 4-stroke, Rich Burn Compressor Engine | 0.51 | 0.51 | 0.51 | 0.03 | 14.94 | 14.94 | 14.94 | -- |
| Total Emissions |  | 0.937 | 0.937 | 0.937 | 0.060214 | 37.96 | 26.04 | 49.06 | 0.008 |

Combined Emission Inventory for MAQP #5358-00 and MAQP #2719-10

For the purpose of identifying the PTE is below the Title V thresholds, the combined emission inventory is included below.

| Source | PM(fil)tpy | PM10 tpy | PM2.5 tpy | SOX tpy | NOX tpy | VOC tpy | CO tpy | HAPs tpy |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MAQP #5357-00 | 2.567 | 2.567 | 2.567 | 0.080214 | 37.51 | 3.7 | 37.05 | 2.968 |
| MAQP #2719-00 | 0.937 | 0.937 | 0.937 | 0.060214 | 37.96 | 26.04 | 49.06 | 0.008 |
| Total Combined | 3.504 | 3.504 | 3.504 | 0.140428 | 75.47 | 29.74 | 86.11 | 2.976 |

# Existing Air Quality

Blaine County is currently classified as attainment/unclassifiable for all pollutants for which National Ambient Air Quality Standards (NAAQS) has been promulgated.

# Air Quality Impacts

This permit contains conditions and limitations that would protect air quality for the site and surrounding area.  Furthermore, this facility is a portable source that would operate on an intermittent and temporary basis, so any effects to air quality will be minor and of limited duration.

# Ambient Air Impact Analysis

Based on the information provided and the conditions established in MAQP #5358-00, DEQ determined that the impact from this permitting action will be minor.

# Taking or Damaging Implication Analysis

As required by § 2-10-105, MCA, DEQ conducted the following private property taking and damaging assessment.

| YES | NO |  |
| --- | --- | --- |
| X |  | 1. Does the action pertain to land or water management or environmental regulation affecting private real property or water rights? |
|  | X | 2. Does the action result in either a permanent or indefinite physical occupation of private property? |
|  | X | 3. Does the action deny a fundamental attribute of ownership? (ex.: right to exclude others, disposal of property) |
|  | X | 4. Does the action deprive the owner of all economically viable uses of the property? |
|  | X | 5. Does the action require a property owner to dedicate a portion of property or to grant an easement? [If no, go to (6)]. |
|  |  | 5a. Is there a reasonable, specific connection between the government requirement and legitimate state interests? |
|  |  | 5b. Is the government requirement roughly proportional to the impact of the proposed use of the property? |
|  | X | 6. Does the action have a severe impact on the value of the property? (consider economic impact, investment-backed expectations, character of government action) |
|  | X | 7. Does the action damage the property by causing some physical disturbance with respect to the property in excess of that sustained by the public generally? |
|  | X | 7a. Is the impact of government action direct, peculiar, and significant? |
|  | X | 7b. Has government action resulted in the property becoming practically inaccessible, waterlogged or flooded? |
|  | X | 7c. Has government action lowered property values by more than 30% and necessitated the physical taking of adjacent property or property across a public way from the property in question? |
|  | X | Takings or damaging implications? (Taking or damaging implications exist if YES is checked in response to question 1 and also to any one or more of the following questions: 2, 3, 4, 6, 7a, 7b, 7c; or if NO is checked in response to questions 5a or 5b; the shaded areas) |

The proposed project would take place on private land. DEQ has determined that the permit conditions are reasonably necessary to ensure compliance with applicable requirements under the Montana Clean Air Act. Therefore, DEQ’s approval of MAQP #5358-00 would not have private property-taking or damaging implications.

# Environmental Assessment

An environmental assessment (EA), prepared pursuant to the applicable requirements of the Montana Environmental Policy Act (Title 75, Chapter 1, Parts 1-3, MCA), was completed for the proposed project. A copy of the EA is available for review on DEQ’s website at https://deq.mt.gov/public/publiccomment (PD). Select AIR, then click the link to the EA located below the link to the permit.