Date of Posting:  August 12, 2026

Name of Permittee:  Basin Creek Equity Partners

Facility Name:  Basin Creek Equity Partners Facility

Physical Site Location (Address): 500 Nils Drive, Butte, MT 59701

Sent via email: jim.williams@basincreekpower.com

RE:  Draft Title V Operating Permit #OP3211-05

The Montana Department of Environmental Quality – Air Quality Bureau (DEQ) has prepared the attached Draft Operating Permit #OP3211-05, for Basin Creek Equity Partners, located in Butte, Montana.  The cover page and associated Technical Review Document provide additional information regarding the current permit action.

If you have any questions contact Troy Burrows, as listed below.

Sincerely,

| Troy Burrows , Air Quality Scientist Air Quality Permitting Services Section Air Quality Bureau Air, Energy, and Mining Division (406) 444-1452 troy.burrows@mt.gov | Eric Merchant, Supervisor Air Quality Permitting Services Section Air Quality Bureau Air, Energy, and Mining Division (406) 444-3626 Eric.merchant2@mt.gov |
| --- | --- |

AIR QUALITY OPERATING PERMIT #OP3211-05

| Action | Date |
| --- | --- |
| Renewal Application Received: | 05/21/2026 |
| Application Deemed Administratively Complete: | 05/21/2026 |
| Application Deemed Substantively Complete: | 05/21/2026 |
| Draft Issue Date: | 08/12/2026 |
| Proposed Issue Date: |  |
| End of EPA 45-day Review: |  |
| Date of Decision: |  |
| Effective Date: |  |
| Expiration Date: |  |
| Complete Renewal Application Due Date: |  |

Basin Creek Equity Partners

Natural Gas Fired Generation Facility

500 Nils Drive

Butte, Montana 59701

Introduction:

Basin Creek Equity Partners (BCEP) is authorized by the Montana Department of Environmental Quality (DEQ) to operate a stationary source of air contaminants consisting of the emission units described in this operating permit (Sections 75-2-217 and 218, Montana Code Annotated (MCA), and the Administrative Rules of Montana (ARM) Title 17, Chapter 8, Subchapter 12, ARM 17.8.1201, et seq.).

BCEP is allowed to discharge air pollutants in accordance with the conditions of this operating permit until it expires, is modified, or is revoked. All conditions in this operating permit are federally and state enforceable unless otherwise specified. Requirements that are state-only enforceable are identified as such within the operating permit (ARM 17.8.1201(17) and (24)). A copy of the operating permit must be kept at the permitted facility or another DEQ-approved location.

Operating Permit Issuance and Appeal Process:

Operating Permit Action: As required, the above-cited applicant has applied for a Title V operating permit (ARM 17.8.1204). The application was assigned Title V operating permit application #OP3211-05.

Operating Permit Conditions:  See attached Draft operating permit #OP3211-05.

Public Comment: DEQ is providing a public comment period on this Draft operating permit from August 12, 2026, through September 11, 2026 (ARM 17.8.1232). All comments must be submitted to DEQAir@mt.gov or to P.O. Box 200901, Helena, MT 59620. Comments may address the Draft operating permit, DEQ's analysis contained in the associated Technical Review Document (TRD), or information submitted by the applicant. All comments must be received by September 11, 2026. Requests for a public hearing must be made in writing during the public comment period and follow the Procedures for Appeal process described below. Copies of the application, the Draft operating permit, and TRD may be requested at https://deq.mt.gov (at the bottom of the home page, select Request Public Records).

EPA Action: After the public comment period expires and, as applicable, following any required hearing (see below), DEQ intends to issue a Proposed operating permit. The Proposed operating permit will be sent to the United States Environmental Protection Agency (EPA) for review and opportunity to object. The EPA is allowed 45 days to review the Proposed operating permit and may object to operating permit issuance, for cause. If EPA does not object to the Proposed operating permit, affected persons may petition EPA to object within 60 days after the expiration of EPA’s 45-day review period. Any petition filed with EPA shall be based only on issues that were raised during the public comment period on the Draft operating permit (ARM 17.8.1233).

DEQ Action: Unless EPA objects to the operating permit, following the EPA review period DEQ intends to issue a Decision on the operating permit. DEQ’s Decision will become final and effective 30 days after the date of the Decision, pending appeal (see below), as applicable (Section 75-2-218, MCA).

Procedures for Appeal: Any person that participated in the public comment process on the Draft operating permit may request a hearing before the Board of Environmental Review (Board). Any request for a hearing must be made in writing and during the public comment period on the Draft operating permit. The request for a hearing must contain an affidavit setting forth the grounds for the request. The hearing will be held pursuant the provisions of the Montana Administrative Procedures Act (Sections 75-2-218 and 2-4-601, et. seq, MCA). Submit requests for a hearing to: Chairman, Board of Environmental Review, P.O. Box 200901, Helena, MT 59620, or the Board Secretary: DEQBERSecretary@mt.gov.

For more information, contact DEQ at (406) 444-3490 or DEQAir@mt.gov.

Department of Environmental Quality

Table of Contents

SECTION I.	GENERAL INFORMATION	1

SECTION II.	 SUMMARY OF EMISSION UNITS	2

SECTION III.	PERMIT CONDITIONS	3

A.	Facility-Wide	3

B.	EU001:  Caterpillar Lean-Burn Natural Gas-Fired RICE (9 RICE @ 6.1 MW/RICE)	7

SECTION IV.	NON-APPLICABLE REQUIREMENTS	11

A.	Facility-Wide	11

B.	Emission Units	13

SECTION V.	GENERAL PERMIT CONDITIONS	14

A.	Compliance Requirements	14

B.	Certification Requirements	14

C.	Permit Shield	15

D.	Monitoring, Recordkeeping, and Reporting Requirements	16

E.	Prompt Deviation Reporting	17

F.	Emergency Provisions	18

G.	Inspection and Entry	18

H.	Fee Payment	19

I.	Minor Permit Modifications	19

J.	Changes Not Requiring Permit Revision	19

K.	Significant Permit Modifications	21

L.	Reopening for Cause	21

M.	Permit Expiration and Renewal	22

N.	Severability Clause	22

O.	Transfer or Assignment of Ownership	22

P.	Emissions Trading, Marketable Permits, Economic Incentives	23

Q.	No Property Rights Conveyed	23

R.	Testing Requirements	23

S.	Source Testing Protocol	23

T.	Malfunctions	23

U.	Circumvention	23

V.	Motor Vehicles	23

W.	Annual Emissions Inventory	23

X.	Open Burning	24

Y.	Montana Air Quality Permits	24

Z.	National Emission Standard for Asbestos	25

AA.	Asbestos	25

BB.	Stratospheric Ozone Protection – Servicing of Motor Vehicle Air Conditioners	25

CC.	Stratospheric Ozone Protection – Recycling and Emission Reductions	25

DD.	Emergency Episode Plan	26

EE.	Definitions	26

Appendix A	INSIGNIFICANT EMISSION UNITS	A-1

Appendix B	DEFINITIONS and ABBREVIATIONS	B-1

Appendix C	NOTIFICATION ADDRESSES	C-1

Appendix D	AIR QUALITY INSPECTOR INFORMATION	D-1

Appendix E	COMPLIANCE ASSURANCE MONITORING	E-1

Terms not otherwise defined in this permit or in the Definitions and Abbreviations Appendix of this permit have the meaning assigned to them in the referenced regulations.

# SECTION I.  GENERAL INFORMATION

The following general information is provided pursuant to ARM 17.8.1210(1).

Company Name:  Basin Creek Equity Partners, LLC

Mailing Address:  P.O Box 11

City:  Butte			State: Montana				Zip:  59701

Plant Location:  NW¼ of Section 18, Township 2 North, Range 7 West, Silver Bow County

Responsible Official:  Jim Williams			Phone:  406-533-6740

Facility Contact Person:  Jim Williams			Phone:  406-533-6740

Primary SIC Code:  4911

Nature of Business:  Power Generation

Description of Process:

Basin Creek Equity Partners, LLC (BCEP), operates a nominal 54.9-megawatt (MW) electrical power generation facility incorporating nine (6.1 MW/unit) four-stroke, lean-burn, natural gas fired reciprocating internal combustion engines (RICE).  The RICE produce electrical power by engine shaft rotation of an electric generator.  The RICE will combust pipeline quality natural gas and will incorporate an oxidation catalyst (OxiCat) for the control of carbon monoxide (CO), Volatile Organic Compound (VOC), and Hazardous Air Pollutant (HAP) emissions.  No add-on control will be incorporated for oxides of nitrogen (NOx) emissions, as the combustion of pipeline quality natural gas in lean-burn RICE inherently results in low NOx emissions and the limit of 34,200 combined operating hours per year will also reduce NOx emissions.  Further, the RICE will not incorporate add-on controls for sulfur dioxide (SO2) and particulate matter less than 10 microns (µm) aerodynamic diameter (PM10) emissions.  BCEP is required by permit to combust only pipeline quality natural gas, which, similar to the previously discussed inherent NOx control, will result in reduced SO2 and PM10 emissions.

# SECTION II.	  SUMMARY OF EMISSION UNITS

The emission units regulated by this permit are the following (ARM 17.8.1211):

| Emissions Unit ID | Description | Pollution Control Device/Practice |
| --- | --- | --- |
| EU001 | Caterpillar Lean-Burn Natural Gas-fired RICE (9 RICE @ 6.1 MW/RICE) | - CO, VOC, HAPs: Oxidation Catalyst - PM/PM10, NOx: Lean-Burn Technology Firing Pipeline Quality Natural Gas Only, Operational Limits |

# SECTION III.  PERMIT CONDITIONS

The following requirements and conditions are applicable to the facility or to specific emission units located at the facility (ARM 17.8.1211, 1212, and 1213).

## Facility-Wide

| Conditions | Rule Citation | Rule Description | Pollutant/Parameter | Limit |
| --- | --- | --- | --- | --- |
| A.1 | ARM 17.8.105 | Testing Requirements | Testing Requirements | ------- |
| A.2 | ARM 17.8.304(1) | Visible Air Contaminants | Opacity | 40% |
| A.3 | ARM 17.8.304(2) | Visible Air Contaminants | Opacity | 20% |
| A.4 | ARM 17.8.308(1) | Particulate Matter, Airborne | Fugitive Opacity | 20% |
| A.5 | ARM 17.8.308(2) | Particulate Matter, Airborne | Reasonable Precautions | ------- |
| A.6 | ARM 17.8.308 | Particulate Matter, Airborne | Reasonable Precaution, Construction | 20% |
| A.7 | ARM 17.8.309 | Particulate Matter, Fuel Burning Equipment | Particulate Matter | E= 0.882 * H-0.1664 Or E= 1.026 * H-0.233 |
| A.8 | ARM 17.8.310 | Particulate Matter, Industrial Processes | Particulate Matter | E= 4.10 * P0.67 or E= 55 * P0.11- 40 |
| A.9 | ARM 17.8.322(4) | Sulfur Oxide Emissions, Sulfur in Fuel | Sulfur in Fuel (liquid or solid fuels) | 1 lb/MMBtu fired |
| A.10 | ARM 17.8.322(5) | Sulfur Oxide Emissions, Sulfur in Fuel | Sulfur in Fuel (gaseous) | 50 gr/100 CF |
| A.11 | ARM 17.8.324(3) | Hydrocarbon Emissions, Petroleum Products | Gasoline Storage Tanks | ------- |
| A.12 | ARM 17.8.324 | Hydrocarbon Emissions, Petroleum Products | 65,000 Gallon Capacity | ------- |
| A.13 | ARM 17.8.324 | Hydrocarbon Emissions, Petroleum Products | Oil-effluent Water Separator | ------- |
| A.14 | ARM 17.8.342 | NESHAPs General Provisions | SSM Plans | Submittal |
| A.15 | ARM 17.8.1211(1)(c) and 40 CFR Part 98 | Greenhouse Gas Reporting | Reporting | ------- |
| A.16 | ARM 17.8.1212 | Reporting Requirements | Prompt Deviation Reporting | ------- |
| A.17 | ARM 17.8.1212 | Reporting Requirements | Compliance Monitoring | ------- |
| A.18 | ARM 17.8.1207 | Reporting Requirements | Annual Certification | ------- |

Conditions

- Pursuant to ARM 17.8.105, any person or persons responsible for the emission of any air contaminant into the outdoor atmosphere shall, upon written request of DEQ, provide the facilities and necessary equipment (including instruments and sensing devices) and shall conduct test, emission or ambient, for such periods of time as may be necessary using methods approved by DEQ.

Compliance demonstration frequencies that list “as required by DEQ” refer to ARM 17.8.105.  In addition, for such sources, compliance with limits and conditions listing “as required by DEQ” as the frequency, is verified annually using emission factors and engineering calculations by DEQ’s compliance inspectors during the annual emission inventory review; in the case of Method 9 tests, compliance is monitored during the regular inspection by the compliance inspector.

- Pursuant to ARM 17.8.304(1), BCEP shall not cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed on or before November 23, 1968, that exhibit an opacity of 40% or greater averaged over 6 consecutive minutes, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.304(2), BCEP shall not cause or authorize emissions to be discharged into the outdoor atmosphere from any source installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.308(1), BCEP shall not cause or authorize the production, handling, transportation, or storage of any material unless reasonable precautions to control emissions of particulate matter are taken.  Such emissions of airborne particulate matter from any stationary source shall not exhibit an opacity of 20% or greater averaged over 6 consecutive minutes, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.308(2), BCEP shall not cause or authorize the use of any street, road or parking lot without taking reasonable precautions to control emissions of airborne particulate matter, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.308, BCEP shall not operate a construction site or demolition project unless reasonable precautions are taken to control emissions of airborne particulate matter.  Such emissions of airborne particulate matter from any stationary source shall not exhibit an opacity of 20% or greater averaged over 6 consecutive minutes, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.309, unless otherwise specified by rule or in this permit, BCEP shall not cause or authorize particulate matter caused by the combustion of fuel to be discharged from any stack or chimney into the outdoor atmosphere in excess of the maximum allowable emissions of particulate matter for existing fuel burning equipment and new fuel burning equipment calculated using the following equations:

For existing fuel burning equipment (installed before November 23, 1968):

E =0.882 * H-0.1664

For new fuel burning equipment (installed on or after November 23, 1968):

E =1.026 * H-0.233

Where H is the heat input capacity in million BTU (MMBtu) per hour and E is the maximum allowable particulate emissions rate in pounds per MMBtu.

- Pursuant to ARM 17.8.310, unless otherwise specified by rule or in this permit, BCEP shall not cause or authorize particulate matter to be discharged from any operation, process, or activity into the outdoor atmosphere in excess of the maximum hourly allowable emissions of particulate matter calculated using the following equations:

For process weight rates up to 30 tons per hour:		E = 4.10 * P0.67

For process weight rates in excess of 30 tons per hour:	E = 55.0 * P0.11 – 40

Where E = rate of emissions in pounds per hour and P = process weight rate in tons per hour.

- Pursuant to ARM 17.8.322(4), BCEP shall not burn liquid or solid fuels containing sulfur in excess of 1 pound per million BTU fired, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.322(5), BCEP shall not burn any gaseous fuel containing sulfur compounds in excess of 50 grains per 100 cubic feet of gaseous fuel, calculated as hydrogen sulfide at standard conditions, unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.324(3), BCEP shall not load or permit the loading of gasoline into any stationary tank with a capacity of 250 gallons or more from any tank truck or trailer, except through a permanent submerged fill pipe, unless such tank is equipped with a vapor loss control device or is a pressure tank as described in ARM 17.8.324(1), unless otherwise specified by rule or in this permit.

- Pursuant to ARM 17.8.324, unless otherwise specified by rule or in this permit, BCEP shall not place, store or hold in any stationary tank, reservoir or other container of more than 65,000 gallon capacity any crude oil, gasoline or petroleum distillate having a vapor pressure of 2.5 pounds per square inch absolute or greater under actual storage conditions, unless such tank, reservoir or other container is a pressure tank maintaining working pressure sufficient at all times to prevent hydrocarbon vapor or gas loss to the atmosphere, or is designed and equipped with a vapor loss control device, properly installed, in good working order and in operation.

- Pursuant to ARM 17.8.324, unless otherwise specified by rule or in this permit, BCEP shall not use any compartment of any single or multiple-compartment oil-effluent water separator, which compartment receives effluent water containing 200 gallons a day or more of any petroleum product from any equipment processing, refining, treating, storing or handling kerosene or other petroleum product of equal or greater volatility than kerosene, unless such compartment is equipped with a vapor loss control device, constructed so as to prevent emission of hydrocarbon vapors to the atmosphere, properly installed, in good working order and in operation.

- Pursuant to ARM 17.8.302 and ARM 17.8.342, and 40 CFR 63.6, BCEP must maintain at the affected source a current startup, shutdown, and malfunction plan (if a plan is required by 40 CFR 63.6(e)(3) and the Table for General Provision Applicability of the appropriate subpart), meeting the requirements of 40 CFR 63.6, and must make the plan available upon request. In addition, if the startup, shutdown, and malfunction plan is subsequently revised, the owner or operator must maintain at the affected source each previous (i.e., superseded) version of the startup, shutdown, and malfunction plan, and must make each such previous version available for a period of 5 years after revision of the plan. BCEP shall confirm that actions taken during the relevant reporting period during periods of startup, shutdown, and malfunction were consistent with the affected source's startup, shutdown and malfunction plan in the semiannual (or more frequent) startup, shutdown, and malfunction report required in 40 CFR 63.10(d)(5).

- Pursuant to ARM 17.8.1211(1)(c) and 40 CFR Part 98, BCEP shall comply with requirements of 40 CFR Part 98 – Mandatory Greenhouse Gas Reporting, as applicable (ARM 17.8.1211(1)(c), NOT an applicable requirement under Title V).

- BCEP shall promptly report deviations from permit requirements including those attributable to upset conditions, as upset is defined in the permit.  To be considered prompt, deviations shall be reported to DEQ using the schedule and content as described in Section V.E (unless otherwise specified in an applicable requirement) (ARM 17.8.1212).

- On or before February 15 and August 15 of each year, BCEP shall submit to DEQ the compliance monitoring reports required by Section V.D.  These reports must contain all information required by Section V.D as well as the information required by each individual emissions unit.  For the reports due by February 15 of each year, BCEP may submit a single report, provided that it contains all the information required by Section V.B & V.D.  Per ARM 17.8.1207,

any application form, report, or compliance certification submitted pursuant to ARM Title 17, Chapter 8, Subchapter 12 (including semiannual monitoring reports), shall contain certification by a responsible official of truth, accuracy and completeness.  This certification and any other certification required under ARM Title 17, Chapter 8, Subchapter 12, shall state that, “based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate and complete.”

- By February 15 of each year, BCEP shall submit to DEQ the compliance certification required by Section V.B.  The annual certification required by Section V.B must include a statement of compliance based on the information available which identifies any observed, documented or otherwise known instance of noncompliance for each applicable requirement.  Per ARM 17.8.1207,

any application form, report, or compliance certification submitted pursuant to ARM Title 17, Chapter 8, Subchapter 12 (including annual certifications), shall contain certification by a responsible official of truth, accuracy and completeness.  This certification and any other certification required under ARM Title 17, Chapter 8, Subchapter 12, shall state that, “based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate and complete.”

## EU001:  Caterpillar Lean-Burn Natural Gas-Fired RICE (9 RICE @ 6.1 MW/RICE)

| Condition(s) | Pollutant/Parameter | Permit Limit | Compliance Demonstration |  | Reporting Requirements |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Method | Frequency |  |
| B.1, B.10, B.18, B.24, B.25 | Opacity | 20% | Burning Pipeline Quality Natural Gas Only | Ongoing | Semiannual |
| B.2, B.11, B.19, B.23, B.24, B.25 | NOx1 | 14.4 lb/hr/RICE | Method 7 | Initial and Every 2 Years | Semiannual |
| B.3, B.11, B.19 B.23, B.24, B.25 | CO | 5.10 lb/hr/RICE | Method 10 | Initial and Every 2 Years | Semiannual |
| B.4, B.12, B.19, B.23, B.24, B.25 | VOC | 2.60 lb/hr/RICE | Method 18 | Initial and As Required By DEQ and Section III.A.1 | Semiannual |
| B.5, B.13, B.18, B.24, B.25 | Combined RICE Operational Limit | 34,200 hr/rolling 12-month period | Recordkeeping | Ongoing | Semiannual |
| B.6, B.14, B.18, B.24 B.25 | Fuel Specification | Pipeline Quality Natural Gas Only | Recordkeeping | Ongoing | Semiannual |
| B.7, B.15, B.20, B.24, B.25 | Oxidation Catalyst | Each RICE: Install, Operate, and Maintain | Maintenance and Inspection | Semiannual | Semiannual |
| B.8, B.16, B.21, B.24, B.25 | Acid Rain Program | 40 CFR Part 72-78, As Applicable | Recordkeeping | As Applicable | Semiannual |
| B.9, B.17, B.22, B.24, B.25. | 40 CFR 63 Subpart ZZZZ | 40 CFR 63 Subpart ZZZZ | 40 CFR 63 Subpart ZZZZ | 40 CFR 63 Subpart ZZZZ | 40 CFR 63 Subpart ZZZZ |

NOx reported as NO2.

Conditions

- BCEP shall not cause or authorize emissions to be discharged into the outdoor atmosphere from any sources installed after November 23, 1968, that exhibit an opacity of 20% or greater averaged over 6 consecutive minutes (ARM 17.8.304).

- NOx (as NO2) emissions from each RICE shall not exceed 14.4 pounds per hour (lb/hr) based on a 1-hour averaging period (ARM 17.8.752).

- CO emissions from each RICE shall not exceed 5.10 lb/hr based on a 1-hour averaging period (ARM 17.8.752).

- VOC emissions from each RICE shall not exceed 2.60 lb/hr based on a 1-hour averaging period (ARM 17.8.752).

- Combined RICE operation (9 engines total) shall be limited to a maximum of 34,200 hours during any rolling 12-month period (ARM 17.8.749).

- BCEP shall combust only pipeline quality natural gas for RICE operations (ARM 17.8.752).

- BCEP shall install, operate, and maintain an oxidation catalyst on each RICE (ARM 17.8.752).

- BCEP shall comply with all applicable standards and limitations, and the reporting, recordkeeping, and notification requirements of the Acid Rain Program contained in 40 CFR Part(s) 72-78 (40 CFR 72 through 40 CFR 78).

- BCEP shall comply with all applicable standards, limitations and the reporting, recordkeeping, and notification requirements of 40 CFR 63, Subpart ZZZZ (National Emission Standards for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines) (ARM 17.8.342 and 40 CFR 63, Subpart ZZZZ).

Compliance Demonstration

- Monitoring compliance with the opacity limit shall be satisfied by burning only pipeline quality natural gas for RICE operations.  However, this does not preclude DEQ from initiating an enforcement action if a Reference Method test indicates that these limits are being violated, even if only pipeline quality natural gas is combusted (ARM 17.8.1213).

- BCEP shall monitor compliance with the NOx1 and CO emission limits for each RICE by conducting an initial source test for NOx1 and CO, concurrently, within 180 days of initial start-up of each RICE or according to another testing/monitoring schedule as may be approved by DEQ.  After the initial source test, testing shall proceed on an every 2-year basis or according to another testing/monitoring schedule as may be approved by DEQ (ARM 17.8.105 and 17.8.749).

- BCEP shall monitor compliance with the VOC emission limits for each RICE by conducting an initial source test within 180 days of initial start-up of each RICE or according to another testing/monitoring schedule as may be approved by DEQ.  After the initial source test, testing shall continue as required by DEQ (ARM 17.8.105).

- Monitoring compliance with the RICE operational limitation in Section III.B.5 shall be accomplished through recordkeeping.  BCEP shall document, by month, the combined hours of operation of the nine RICE.  By the 25th day of each month, BCEP shall total the combined hours of operation of the nine RICE to verify compliance with the limit in Section III.B.5 (ARM 17.8.749).

- Monitoring compliance with the fuel use limitation in Section III.B.6 shall be accomplished through recordkeeping.  BCEP shall maintain a daily fuel log documenting the type of fuel fired for all RICE operations, the date, and the initials of the documenting personnel (ARM 17.8.1213).

- BCEP shall perform at least semiannual inspections of the oxidation catalyst(s) controlling emissions from each RICE.  The inspections should be conducted in accordance with the manufacturer's recommendations (ARM 17.8.1213).

- Monitoring compliance with the Acid Rain Program in 40 CFR Part(s) 72-78 shall be accomplished through recordkeeping (40 CFR 72 through 40 CFR 78).

- BCEP shall monitor compliance as required by 40 CFR 63, Subpart ZZZZ (National Emission Standards for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines) (ARM 17.8. 342 and 40 CFR 63, Subpart ZZZZ).

Recordkeeping

- BCEP shall maintain a daily operations log indicating the operating status of each RICE, the combined RICE operating hours, the type of fuel fired, the date, the time, and the initials of the documenting personnel (ARM 17.8.1212).

- All compliance source test recordkeeping shall be performed in accordance with the test method used and the Montana Source Test Protocol and Procedures Manual and shall be maintained on site (ARM 17.8.106 and ARM 17.8.1212).

- BCEP shall record, in a log, the results of the semiannual oxidation catalyst inspections; each log entry must include the date, the time, the results of the inspection, any maintenance activity or preventive action conducted for the oxidation catalyst or the RICE, and the initials of the documenting personnel.  The log must be maintained on-site and must be submitted to DEQ upon request (ARM 17.8.1212).

- BCEP shall comply with all applicable recordkeeping requirements contained in 40 CFR Part(s) 72-78 (40 CFR 72-78).

- BCEP shall comply with all applicable standards, limitations and the reporting, recordkeeping, and notification requirements of 40 CFR 63, Subpart ZZZZ (National Emission Standards for Hazardous Air Pollutants for Stationary Reciprocating Internal Combustion Engines) (ARM 17.8. 342 and 40 CFR 63, Subpart ZZZZ).

Reporting

- Any compliance source test reports must be submitted in accordance with the Montana Source Test Protocol and Procedures Manual (ARM 17.8.106 and ARM 17.8.1212).

- The annual compliance certification required by Section V.B must contain a certification statement for the above applicable requirements (ARM 17.8.1212).

- The semiannual monitoring report shall provide (ARM 17.8.1212):

  - a summary of results of any source testing that was performed during that semiannual period;

  - a summary of the reporting period specific information contained in the daily operations log required by Section III.B.18;

  - certification of oxidation catalyst operation and maintenance, including a summary of the semiannual inspection required by Section III.B.20;

  - certification of compliance with the applicable requirements contained in the Acid Rain Program contained in 40 CFR 72-78.

  - a summary of any testing and reporting required in Section III.B.22, as may be applicable pursuant to 40 CFR 63, Subpart ZZZZ.

# SECTION IV.  NON-APPLICABLE REQUIREMENTS

Air Quality Administrative Rules of Montana (ARM) and Federal Regulations identified as not applicable to the facility or to a specific emissions unit at the time of the permit issuance are listed below (ARM 17.8.1214).  The following list does not preclude the need to comply with any new requirements that may become applicable during the permit term.

## Facility-Wide

The following table contains non-applicable requirements which are administrated by the Air Quality Bureau of the Department of Environmental Quality.

| Rule Citation |  | Reason |
| --- | --- | --- |
| State | Federal |  |
| ARM 17.8.321 ARM 17.8.323 ARM 17.8 331 ARM 17.8.332 ARM 17.8.333 ARM 17.8.334 ARM 17.8.335 ARM 17.8.506 ARM 17.8.610 ARM 17.8, Subchapters 16 and 17 |  | These rules are not applicable because the facility is not listed in the source category cited in the rules. |
| ARM 17.8.316 ARM 17.8.320 ARM 17.8.324 |  | These rules are not applicable because the facility does not have the specific emissions unit that is cited in the rules. |
| ARM 17.8.809 ARM 17.8.818 ARM 17.8.819 ARM 17.8.820 ARM 17.8.821 ARM 17.8.822 ARM 17.8.823 ARM 17.8.824 ARM 17.8.827 |  | These rules are not applicable because the facility is not classified as a major stationary source under ARM 17.8.801. |
| ARM 17.8.1106 ARM 17.8.1107 ARM 17.8.1110 ARM 17.8.1111 |  | These rules are not applicable because the facility has not made any changes that would trigger these procedural rule requirements. |
| ARM 17.8, Subchapters 13 and 14 |  | These rules apply only to DEQ, EPA, and/or regional authorities. |
|  | 40 CFR 55 | These rules are not applicable to the facility because it is not located on an outer continental shelf |
|  | 40 CFR 57 40 CFR 59 40 CFR 60, Subparts C, Cb, Cc, Cd, Ce 40 CFR 60, Subparts D, Da, Db, Dc 40 CFR 60, Subparts E-Ja 40 CFR 60, Subparts K, Ka, Kb 40 CFR 60, Subparts L-Z 40 CFR 60, Subparts AA-EE 40 CFR 60, Subpart GG-HH 40 CFR 60, Subparts KK-NN 40 CFR 60, Subparts PP-XX 40 CFR 60, Subparts AAA-BBB 40 CFR 60, Subparts DDD 40 CFR 60, Subparts FFF-JJJ 40 CFR 60, Subpart KKK-LLL 40 CFR 60, Subparts NNN-WWW 40 CFR 60, Subparts AAAA-FFFF 40 CFR 60, Subpart IIII-QQQQ 40 CFR 61, Subparts B-F 40 CFR 61, Subparts H-L 40 CFR 61, Subparts N-R 40 CFR 61, Subpart T 40 CFR 61, Subparts V-W 40 CFR 61, Subpart Y 40 CFR 61, Subpart BB 40 CFR 61, Subpart FF 40 CFR 63, Subparts F-J 40 CFR 63, Subparts L-O 40 CFR 63, Subpart Q-U 40 CFR 63, Subpart W-Y 40 CFR 63, Subpart AA-EE 40 CFR 63, Subpart GG-YY 40 CFR 63, Subparts CCC-EEE 40 CFR 63, Subparts GGG-JJJ 40 CFR 63, Subparts LLL-RRR 40 CFR 63, Subparts TTT-VVV 40 CFR 63, Subpart XXX 40 CFR 63, Subpart AAAA. 40 CFR 63, Subparts CCCC-KKKK 40 CFR 63, Subparts MMMM- YYYY 40 CFR 63, Subparts AAAAA-NNNNN 40 CFR 63, Subparts PPPPP-UUUUU 40 CFR 63, Subpart WWWWW 40 CFR 63, Subpart YYYYY-ZZZZZ 40 CFR 63, Subparts BBBBBB-HHHHHH 40 CFR 63, Subpart JJJJJJ 40 CFR 63, Subparts LLLLLL-TTTTTT 40 CFR 63, Subparts WWWWWW-ZZZZZZ 40 CFR 63, Subparts AAAAAAA-EEEEEEE 40 CFR 63 Subpart HHHHHHH 40 CFR 63, Appendices B-E 40 CFR 65 40 CFR 79-80 40 CFR 82, Subpart A 40 CFR 82, Subparts C-E, G-I 40 CFR 85-88 40 CFR 89-92 40 CFR 93 40 CFR 94 40 CFR 95-97 | These requirements are not applicable because the facility is not an affected source as defined in these regulations. These requirements are not applicable because the facility is not an affected source as defined in these regulations. |
|  | 40 CFR 68 40 CFR 69 | These requirements refer to a process, equipment, or activity that is not used at this facility |
|  | 40 CFR 72- 40 CFR 78 | These requirements are not applicable because the facility is not an affected source as defined by the acid rain regulations. |

## Emission Units

The permit application identified applicable requirements: non-applicable requirements for individual or specific emission units were not listed.  DEQ has listed all non-applicable requirements in Section IV.A, these requirements relate to each specific unit, as well as facility wide.

# SECTION V.  GENERAL PERMIT CONDITIONS

## Compliance Requirements

ARM 17.8, Subchapter 12, Operating Permit Program §1210(2)(a)-(c)&(e), §1206(6)(c)&(b)

- The permittee must comply with all conditions of the permit.  Any noncompliance with the terms or conditions of the permit constitutes a violation of the Montana Clean Air Act, and may result in enforcement action, permit modification, revocation and reissuance, or termination, or denial of a permit renewal application under ARM Title 17, Chapter 8, Subchapter 12.

- The filing of a request by the permittee for a permit modification, revocation and reissuance, or termination, or of a notification of planned changes or anticipated noncompliance does not stay any permit condition.

- It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity to maintain compliance with the conditions of the permit.  If appropriate, this factor may be considered as a mitigating factor in assessing a penalty for noncompliance with an applicable requirement if the source demonstrates that both the health, safety or environmental impacts of halting or reducing operations would be more serious than the impacts of continuing operations, and that such health, safety or environmental impacts were unforeseeable and could not have otherwise been avoided.

- The permittee shall furnish to DEQ, within a reasonable time set by DEQ (not to be less than 15 days), any information that DEQ may request in writing to determine whether cause exists for modifying, revoking and reissuing, or terminating the permit, or to determine compliance with the permit.  Upon request, the permittee shall also furnish to DEQ copies of those records that are required to be kept pursuant to the terms of the permit.  This subsection does not impair or otherwise limit the right of the permittee to assert the confidentiality of the information requested by DEQ, as provided in 75-2-105, MCA.

- Any schedule of compliance for applicable requirements with which the source is not in compliance with at the time of permit issuance shall be supplemental to, and shall not sanction noncompliance with, the applicable requirements on which it was based.

- For applicable requirements that will become effective during the permit term, the source shall meet such requirements on a timely basis unless a more detailed plan or schedule is required by the applicable requirement or DEQ.

## Certification Requirements

ARM 17.8, Subchapter 12, Operating Permit Program §1207 and §1213(7)(a)&(c)-(d)

- Any application form, report, or compliance certification submitted pursuant to ARM Title 17, Chapter 8, Subchapter 12, shall contain certification by a responsible official of truth, accuracy and completeness.  This certification and any other certification required under ARM Title 17, Chapter 8, Subchapter 12, shall state that, based on information and belief formed after reasonable inquiry, the statements and information in the document are true, accurate and complete.

- Compliance certifications shall be submitted by February 15 of each year, or more frequently if otherwise specified in an applicable requirement or elsewhere in the permit.  Each certification must include the required information for the previous calendar year (i.e., January 1 – December 31).

- Compliance certifications shall include the following:

- The identification of each term or condition of the permit that is the basis of the certification;

- The identification of the method(s) or other means used by the owner or operator for determining the status of compliance with each term and condition during the certification period, consistent with ARM 17.8.1212;

- The status of compliance with each term and condition for the period covered by the certification, including whether compliance during the period was continuous or intermittent (based on the method or means identified in ARM 17.8.1213(7)(c)(ii), as described above); and

- Such other facts as DEQ may require for determining the compliance status of the source.

- All compliance certifications must be submitted to the Environmental Protection Agency, as well as to DEQ, at the addresses listed in the Notification Addresses Appendix of this permit.

## Permit Shield

ARM 17.8, Subchapter 12, Operating Permit Program §1214(1)-(4)

- The applicable requirements and non-federally enforceable requirements are included and specifically identified in this permit and the permit includes a precise summary of the requirements not applicable to the source.  Compliance with the conditions of the permit shall be deemed compliance with any applicable requirements and any non-federally enforceable requirements as of the date of permit issuance.

- The permit shield described in 1 above shall remain in effect during the appeal of any permit action (renewal, revision, reopening, or revocation and reissuance) to the Board of Environmental Review (Board), until such time as the Board renders its final decision.

- Nothing in this permit alters or affects the following:

- The provisions of Sec. 7603 of the FCAA, including the authority of the administrator under that section;

- The liability of an owner or operator of a source for any violation of applicable requirements prior to or at the time of permit issuance;

- The applicable requirements of the Acid Rain Program, consistent with Sec. 7651g(a) of the FCAA;

- The ability of the administrator to obtain information from a source pursuant to Sec. 7414 of the FCAA;

- The ability of DEQ to obtain information from a source pursuant to the Montana Clean Air Act, Title 75, Chapter 2, MCA;

- The emergency powers of DEQ under the Montana Clean Air Act, Title 75, Chapter 2, MCA; and

- The ability of DEQ to establish or revise requirements for the use of Reasonably Available Control Technology (RACT) as defined in ARM Title 17, Chapter 8.  However, if the inclusion of a RACT into the permit pursuant to ARM Title 17, Chapter 8, Subchapter 12, is appealed to the Board, the permit shield, as it applies to the source’s existing permit, shall remain in effect until such time as the Board has rendered its final decision.

- Nothing in this permit alters or affects the ability of DEQ to take enforcement action for a violation of an applicable requirement or permit term demonstrated pursuant to ARM 17.8.106, Source Testing Protocol.

- Pursuant to ARM 17.8.132, for the purpose of submitting a compliance certification, nothing in these rules shall preclude the use, including the exclusive use, of any credible evidence or information relevant to whether a source would have been in compliance.  However, when compliance or noncompliance is demonstrated by a test or procedure provided by permit or other applicable requirements, the source shall then be presumed to be in compliance or noncompliance unless that presumption is overcome by other relevant credible evidence.

- The permit shield will not extend to minor permit modifications or changes not requiring a permit revision (see Sections I& J).

- The permit shield will extend to significant permit modifications and transfer or assignment of ownership (see Sections K & O).

## Monitoring, Recordkeeping, and Reporting Requirements

ARM 17.8, Subchapter 12, Operating Permit Program §1212(2)&(3)

- Unless otherwise provided in this permit, the permittee shall maintain compliance monitoring records that include the following information:

- The date, place as defined in the permit, and time of sampling or measurement;

- The date(s) analyses were performed;

- The company or entity that performed the analyses;

- The analytical techniques or methods used;

- The results of such analyses; and

- The operating conditions at the time of sampling or measurement.

- The permittee shall retain records of all required monitoring data and support information for a period of at least 5 years from the date of the monitoring sample, measurement, report, or application.  Support information includes all calibration and maintenance records and all original strip-chart recordings for continuous monitoring instrumentation, and copies of all reports required by the permit.  All monitoring data, support information, and required reports and summaries may be maintained in computerized form at the plant site if the information is made available to DEQ personnel upon request, which may be for either hard copies or computerized format.  Strip-charts must be maintained in their original form at the plant site and shall be made available to DEQ personnel upon request.

- The permittee shall submit to DEQ, at the addresses located in the Notification Addresses Appendix of this permit, reports of any required monitoring by February 15 and August 15 of each year, or more frequently if otherwise specified in an applicable requirement or elsewhere in the permit.  The monitoring report submitted on February 15 of each year must include the required monitoring information for the period of July 1 through December 31 of the previous year.  The monitoring report submitted on August 15 of each year must include the required monitoring information for the period of January 1 through June 30 of the current year.  All instances of deviations from the permit requirements must be clearly identified in such reports.  All required reports must be certified by a responsible official, consistent with ARM 17.8.1207.

## Prompt Deviation Reporting

ARM 17.8, Subchapter 12, Operating Permit Program §1212(3)(b)

The permittee shall promptly report deviations from permit requirements, including those attributable to upset conditions as defined in the permit, the probable cause of such deviations, and any corrective actions or preventive measures taken.  To be considered prompt, deviations shall be reported to DEQ within the following timeframes (unless otherwise specified in an applicable requirement):

- For deviations which may result in emissions potentially in violation of permit limitations:

  - An initial phone notification (or faxed or electronic notification) describing the incident within 24 hours (or the next business day) of discovery; and,

  - A follow-up written, faxed, or electronic report within 30 days of discovery of the deviation that describes the probable cause of the reported deviation and any corrective actions or preventative measures taken.

- For deviations attributable to malfunctions, deviations shall be reported to DEQ in accordance with the malfunction reporting requirements under ARM 17.8.110; and

- For all other deviations, deviations shall be reported to DEQ via a written, faxed, or electronic report within 90 days of discovery (as determined through routine internal review by the permittee).

Prompt deviation reports do not need to be resubmitted with regular semiannual (or other routine) reports but may be referenced by the date of submittal.

## Emergency Provisions

ARM 17.8, Subchapter 12, Operating Permit Program §1201(13), §1214(5)-(8), and §1224(6)

- An “emergency” means any situation arising from sudden and reasonably unforeseeable events beyond the control of the source, including acts of God, which situation requires immediate corrective action to restore normal operation and causes the source to exceed a technology-based emission limitation under this permit due to the unavoidable increases in emissions attributable to the emergency.  An emergency shall not include noncompliance to the extent caused by improperly designed equipment, lack of reasonable preventive maintenance, careless or improper operation, or operator error.

- An emergency constitutes an affirmative defense to an action brought for noncompliance with a technology-based emission limitation if the permittee demonstrates through properly signed, contemporaneous logs, or other relevant evidence, that:

- An emergency occurred and the permittee can identify the cause(s) of the emergency;

- The permitted facility was at the time being properly operated;

- During the period of the emergency the permittee took all reasonable steps to minimize levels of emissions that exceeded the emission standards or other requirements in the permit; and

- The permittee submitted notice of the emergency to DEQ within 2 working days of the time when emission limitations were exceeded due to the emergency.  This notice fulfills the requirements of ARM 17.8.1212(3)(b).  This notice must contain a description of the emergency, any steps taken to mitigate emissions, and corrective actions taken.

- These emergency provisions are in addition to any emergency, malfunction or upset provision contained in any applicable requirement.

## Inspection and Entry

ARM 17.8, Subchapter 12, Operating Permit Program §1213(3)&(4)

- Upon presentation of credentials and other requirements as may be required by law, the permittee shall allow DEQ, the administrator, or an authorized representative (including an authorized contractor acting as a representative of DEQ or the administrator) to perform the following:

- Enter the premises where a source required to obtain a permit is located or emissions-related activity is conducted, or where records must be kept under the conditions of the permit;

- Have access to and copy, at reasonable times, any records that must be kept under the conditions of the permit;

- Inspect at reasonable times any facilities, emission units, equipment (including monitoring and air pollution control equipment), practices, or operations regulated or required under the permit; and

- As authorized by the Montana Clean Air Act and rules promulgated thereunder, sample or monitor, at reasonable times, any substances or parameters at any location for the purpose of assuring compliance with the permit or applicable requirements.

- The permittee shall inform the inspector of all workplace safety rules or requirements at the time of inspection.  This section shall not limit in any manner DEQ’s statutory right of entry and inspection as provided for in 75-2-403, MCA.

## Fee Payment

ARM 17.8, Subchapter 12, Operating Permit Program §1210(2)(f) and ARM 17.8, Subchapter 5, Air Quality Permit Application, Operation, and Open Burning Fees §505(3)-(5) (STATE ONLY)

- The permittee must pay application and operating fees, pursuant to ARM Title 17, Chapter 8, Subchapter 5.

- Annually, DEQ shall provide the permittee with written notice of the amount of the fee and the basis for the fee assessment.  The air quality operation fee is due 30 days after receipt of the notice, unless the fee assessment is appealed pursuant to ARM 17.8.511.  If any portion of the fee is not appealed, that portion of the fee that is not appealed is due 30 days after receipt of the notice.  Any remaining fee, which may be due after the completion of an appeal, is due immediately upon issuance of the Board’s decision or upon completion of any judicial review of the Board’s decision.

- If the permittee fails to pay the required fee (or any required portion of an appealed fee) within 90 days of the due date of the fee, DEQ may impose an additional assessment of 15% of the fee (or any required portion of an appealed fee) or $100, whichever is greater, plus interest on the fee (or any required portion of an appealed fee), computed at the interest rate established under 15-31-510(3), MCA.

## Minor Permit Modifications

ARM 17.8, Subchapter 12, Operating Permit Program §1226(3)&(11)

- An application for a minor permit modification need only address in detail those portions of the permit application that require revision, updating, supplementation, or deletion, and may reference any required information that has been previously submitted.

- The permit shield under ARM 17.8.1214 will not extend to any minor modifications processed pursuant to ARM 17.8.1226.

## Changes Not Requiring Permit Revision

ARM 17.8, Subchapter 12, Operating Permit Program §1224(1)-(3), (5)&(6)

- The permittee is authorized to make changes within the facility as described below, provided the following conditions are met:

- The proposed changes do not require the permittee to obtain a Montana Air Quality Permit under ARM Title 17, Chapter 8, Subchapter 7;

- The proposed changes are not modifications under Title I of the FCAA, or as defined in ARM Title 17, Chapter 8, Subchapters 8, 9, or 10;

- The emissions resulting from the proposed changes do not exceed the emissions allowable under this permit, whether expressed as a rate of emissions or in total emissions;

- The proposed changes do not alter permit terms that are necessary to enforce applicable emission limitations on emission units covered by the permit; and

- The facility provides the administrator and DEQ with written notification at least 7 days prior to making the proposed changes.

- The permittee and DEQ shall attach each notice provided pursuant to 1.e above to their respective copies of this permit.

- Pursuant to the conditions above, the permittee is authorized to make Section 502(b)(10) changes, as defined in ARM 17.8.1201(30), without a permit revision.  For each such change, the written notification required under 1.e above shall include a description of the change within the source, the date on which the change will occur, any change in emissions, and any permit term or condition that is no longer applicable because of the change.

- The permittee may make a change not specifically addressed or prohibited by the permit terms and conditions without requiring a permit revision, provided the following conditions are met:

- Each proposed change does not weaken the enforceability of any existing permit conditions;

- DEQ has not objected to such change;

- Each proposed change meets all applicable requirements and does not violate any existing permit term or condition; and

- The permittee provides contemporaneous written notice to DEQ and the administrator of each change that is above the level for insignificant emission units as defined in ARM 17.8.1201(22) and 17.8.1206(3), and the written notice describes each such change, including the date of the change, any change in emissions, pollutants emitted, and any applicable requirement that would apply because of the change.

- The permit shield authorized by ARM 17.8.1214 shall not apply to changes made pursuant to ARM 17.8.1224(3) and (5) but is applicable to terms and conditions that allow for increases and decreases in emissions pursuant to ARM 17.8.1224(4).

## Significant Permit Modifications

ARM 17.8, Subchapter 12, Operating Permit Program §1227(1), (3)&(4)

- The modification procedures set forth in 2 below must be used for any application requesting a significant modification of this permit.  Significant modifications include the following:

- Any permit modification that does not qualify as either a minor modification or as an administrative permit amendment;

- Every significant change in existing permit monitoring terms or conditions;

- Every relaxation of permit reporting or recordkeeping terms or conditions that limit DEQ’s ability to determine compliance with any applicable rule, consistent with the requirements of the rule; or

- Any other change determined by DEQ to be significant.

- Significant modifications shall meet all requirements of ARM Title 17, Chapter 8, including those for applications, public participation, and review by affected states and the administrator, as they apply to permit issuance and renewal, except that an application for a significant permit modification need only address in detail those portions of the permit application that require revision, updating, supplementation or deletion.

- The permit shield provided for in ARM 17.8.1214 shall extend to significant modifications.

## Reopening for Cause

ARM 17.8, Subchapter 12, Operating Permit Program §1228(1)&(2)

This permit may be reopened and revised under the following circumstances:

- Additional applicable requirements under the FCAA become applicable to the facility when the permit has a remaining term of 3 or more years.  Reopening and revision of the permit shall be completed not later than 18 months after promulgation of the applicable requirement.  No reopening is required under ARM 17.8.1228(1)(a) if the effective date of the applicable requirement is later than the date on which the permit is due to expire, unless the original permit or any of its terms or conditions have been extended pursuant to ARM 17.8.1220(12) or 17.8.1221(2);

- Additional requirements (including excess emission requirements) become applicable to an affected source under the Acid Rain Program.  Upon approval by the administrator, excess emission offset plans shall be deemed incorporated into the permit;

- DEQ or the administrator determines that the permit contains a material mistake or that inaccurate statements were made in establishing the emission standards or other terms or conditions of the permit; or

- The administrator or DEQ determines that the permit must be revised or revoked and reissued to ensure compliance with the applicable requirements.

## Permit Expiration and Renewal

ARM 17.8, Subchapter 12, Operating Permit Program §1210(2)(g), §1220(11)&(12), and §1205(2)(d)

- This permit is issued for a fixed term of 5 years.

- Renewal of this permit is subject to the same procedural requirements that apply to permit issuance, including those for application, content, public participation, and affected state and administrator review.

- Expiration of this permit terminates the permittee’s right to operate unless a timely and administratively complete renewal application has been submitted consistent with ARM 17.8.1221 and 17.8.1205(2)(d).  If a timely and administratively complete application has been submitted, all terms and conditions of the permit, including the application shield, remain in effect after the permit expires until the permit renewal has been issued or denied.

- For renewal, the permittee shall submit a complete air quality operating permit application to DEQ not later than 6 months prior to the expiration of this permit, unless otherwise specified.   If necessary to ensure that the terms of the existing permit will not lapse before renewal, DEQ may specify, in writing to the permittee, a longer period for submission of the renewal application.  Such written notification must be provided at least 1 year before the renewal application due date established in the existing permit.

## Severability Clause

ARM 17.8, Subchapter 12, Operating Permit Program §1210(2)(i)&(l)

- The administrative appeal or subsequent judicial review of the issuance by DEQ of an initial permit under this subchapter shall not impair in any manner the underlying applicability of all applicable requirements, and such requirements continue to apply as if a final permit decision had not been reached by DEQ.

- If any provision of a permit is found to be invalid, all valid parts that are severable from the invalid part remain in effect.  If a provision of a permit is invalid in one or more of its applications, the provision remains in effect in all valid applications that are severable from the invalid applications.

## Transfer or Assignment of Ownership

ARM 17.8, Subchapter 12, Operating Permit Program §1225(2)&(4)

- If an administrative permit amendment involves a change in ownership or operational control, the applicant must include in its request to DEQ a written agreement containing a specific date for the transfer of permit responsibility, coverage and liability between the current and new permittee.

- The permit shield provided for in ARM17.8.1214 shall not extend to administrative permit amendments.

## Emissions Trading, Marketable Permits, Economic Incentives

ARM 17.8, Subchapter 12, Operating Permit Program §1226(2)

Notwithstanding ARM 17.8.1226(1) and (7), minor air quality operating permit modification procedures may be used for permit modifications involving the use of economic incentives, marketable permits, emissions trading, and other similar approaches, to the extent that such minor permit modification procedures are explicitly provided for in the Montana State Implementation Plan or in applicable requirements promulgated by the administrator.

## No Property Rights Conveyed

ARM 17.8, Subchapter 12, Operating Permit Program §1210(2)(d)

This permit does not convey any property rights of any sort, or any exclusive privilege.

## Testing Requirements

ARM 17.8, Subchapter 1, General Provisions §105

The permittee shall comply with ARM 17.8.105.

## Source Testing Protocol

ARM 17.8, Subchapter 1, General Provisions §106

The permittee shall comply with ARM 17.8.106.

## Malfunctions

ARM 17.8, Subchapter 1, General Provisions §110

The permittee shall comply with ARM 17.8.110.

## Circumvention

ARM 17.8, Subchapter 1, General Provisions §111

The permittee shall comply with ARM 17.8.111.

## Motor Vehicles

ARM 17.8, Subchapter 3, Emission Standards §325

The permittee shall comply with ARM 17.8.325.

## Annual Emissions Inventory

ARM 17.8, Subchapter 5, Air Quality Permit Application, Operation and Open Burning Fees §505 (STATE ONLY)

The permittee shall supply DEQ with annual production and other information for all emission units necessary to calculate actual or estimated actual amount of air pollutants emitted during each calendar year.  Information shall be gathered on a calendar-year basis and submitted to DEQ by the date required in the emission inventory request, unless otherwise specified in this permit.  Information shall be in the units required by DEQ.

## Open Burning

ARM 17.8, Subchapter 6, Open Burning §604, 605 and 606

The permittee shall comply with ARM 17.8.604, 605 and 606.

## Montana Air Quality Permits

ARM 17.8, Subchapter 7, Permit, Construction and Operation of Air Contaminant Sources §745 and 764

- Except as specified, no person shall construct, install, modify or use any air contaminant source or stack associated with any source without first obtaining a permit from DEQ or Board.  A permit is not required for those sources or stacks as specified by ARM 17.8.744(1)(a)-(k).

- The permittee shall comply with ARM 17.8.743, 744, 745, 748, and 764.

- ARM 17.8.745(1) specifies de minimis changes as construction or changed conditions of operation at a facility holding a Montana Air Quality Permit (MAQP) issued under Chapter 8 that does not increase the facility’s potential to emit by more than 5 tons per year of any pollutant, except:

- Any construction or changed condition that would violate any condition in the facility’s existing MAQP or any applicable rule contained in Chapter 8 is prohibited, except as provided in ARM 17.8.745(2);

- Any construction or changed conditions of operation that would qualify as a major modification under Subchapters 8, 9 or 10 of Chapter 8;

- Any construction or changed condition of operation that would affect the plume rise or dispersion characteristic of emissions that would cause or contribute to a violation of an ambient air quality standard or ambient air increment as defined in ARM 17.8.804;

- Any construction or improvement project with a potential to emit more than 5 tons per year may not be artificially split into smaller projects to avoid Montana Air Quality Permitting; or

- Emission reductions obtained through offsetting within a facility are not included when determining the potential emission increase from construction or changed conditions of operation, unless such reductions are made federally enforceable.

- Any facility making a de minimis change pursuant to ARM 17.8.745(1) shall notify DEQ if the change would include a change in control equipment, stack height, stack diameter, stack gas temperature, source location or fuel specifications, or would result in an increase in source capacity above its permitted operation or the addition of a new emission unit.  The notice must be submitted, in writing, 10 days prior to start up or use of the proposed de minimis change, or as soon as reasonably practicable in the event of an unanticipated circumstance causing the de minimis change and must include the information requested in ARM 17.8.745(1).

## National Emission Standard for Asbestos

40 CFR, Part 61, Subpart M

The permittee shall not conduct any asbestos abatement activities except in accordance with 40 CFR 61, Subpart M (National Emission Standard for Hazardous Air Pollutants for Asbestos).

## Asbestos

ARM 17.74, Subchapter 3, General Provisions and Subchapter 4, Fees

The permittee shall comply with ARM 17.74.301, et seq., and ARM 17.74.401, et seq. (State only)

## Stratospheric Ozone Protection – Servicing of Motor Vehicle Air Conditioners

40 CFR, Part 82, Subpart B

If the permittee performs a service on motor vehicles and this service involves ozone-depleting substance/refrigerant in the motor vehicle air conditioner (MVAC), the permittee is subject to all the applicable requirements as specified in 40 CFR 82, Subpart B.

## Stratospheric Ozone Protection – Recycling and Emission Reductions

40 CFR, Part 82, Subpart F

The permittee shall comply with the standards for recycling and emission reductions in 40 CFR 82, Subpart F, except as provided for MVACs in Subpart B:

- Persons opening appliances for maintenance, service, repair, or disposal must comply with the required practices pursuant to §82.156;

- Equipment used during the maintenance, service, repair or disposal of appliances must comply with the standards for recycling and recovery equipment pursuant to §82.158;

- Persons performing maintenance, service, repair or disposal of appliances must be certified by an approved technical certification program pursuant to §82.161;

- Persons disposing of small appliances, MVACs and MVAC-like (as defined at §82.152) appliances must comply with recordkeeping requirements pursuant to §82.166;

- Persons owning commercial or industrial process refrigeration equipment must comply with the leak repair requirements pursuant to §82.156; and

- Owners/operators of appliances normally containing 50 or more pounds of refrigerant must keep records of refrigerant purchased and added to such appliances pursuant to §82.166.

## Emergency Episode Plan

The permittee shall comply with the requirements contained in Chapter 9.7 of the State of Montana Air Quality Control Implementation Plan.

Each major source emitting 100 tons per year located in a Priority I Air Quality Control Region, shall submit to DEQ a legally enforceable Emergency Episode Action Plan (EEAP) that details how the source will curtail emissions during an air pollutant emergency episode.  The industrial EEAP shall be in accordance with DEQ’s EEAP and shall be submitted according to a timetable developed by DEQ, following Priority I reclassification.

## Definitions

Terms not otherwise defined in this permit or in the Definitions and Abbreviations Appendix of this permit, shall have the meaning assigned to them in the referenced regulations.

APPENDICES

# INSIGNIFICANT EMISSION UNITS

Disclaimer:  The information in this appendix is not State or Federally enforceable, but is presented to assist BCEP, the permitting authority, inspectors, and the public.

Pursuant to ARM 17.8.1201(22)(a), an insignificant emission unit means any activity or emissions unit located within a source that: (i) has a potential to emit less than 5 tons per year of any regulated pollutant; (ii) has a potential to emit less than 500 pounds per year of lead; (iii) has a potential to emit less than 500 pounds per year of hazardous air pollutants listed pursuant to Section 7412 (b) of the FCAA; and (iv) is not regulated by an applicable requirement, other than a generally applicable requirement that applies to all emission units subject to Subchapter 12.

List of Insignificant Activities:

The following table of insignificant sources and/or activities were provided by BCEP.

| Emissions Unit ID | Description |
| --- | --- |
| IEU01 | 9 – Natural Gas-Fired Furnace Heaters @ 2.0 MMBtu/hr/heater |
| IEU02 | 9 – Natural Gas-Fired Combustion Air Pre-Heaters @ 2.5 MMBtu/hr/Unit |
| IEU03 | Fugitive Emissions: Haul Roads/Vehicle Traffic |

# DEFINITIONS and ABBREVIATIONS

"Act" means the Clean Air Act, as amended, 42 U.S. 7401, et seq.

"Administrative permit amendment" means an air quality operating permit revision that:

- corrects typographical errors;

- identifies a change in the name, address or phone number of any person identified in the air quality operating permit, or identifies a similar minor administrative change at the source;

- requires more frequent monitoring or reporting by BCEP;

- requires changes in monitoring or reporting requirements that DEQ deems to be no less stringent than current monitoring or reporting requirements;

- allows for a change in ownership or operational control of a source if DEQ has determined that no other change in the air quality operating permit is necessary, consistent with ARM 17.8.1225; or

- incorporates any other type of change which DEQ has determined to be similar to those revisions set forth in (a)-(e), above.

"Applicable requirement" means all the following as they apply to emission units in a source requiring an air quality operating permit (including requirements that have been promulgated or approved by DEQ or the administrator through rule making at the time of issuance of the air quality operating permit, but have future-effective compliance dates, provided that such requirements apply to sources covered under the operating permit):

- any standard, rule, or other requirement, including any requirement contained in a consent decree or judicial or administrative order entered into or issued by DEQ, that is contained in the Montana state implementation plan approved or promulgated by the administrator through rule making under Title I of the FCAA;

- any federally enforceable term, condition or other requirement of any Montana Air Quality Permit issued by DEQ under Subchapters 7, 8, 9 and 10 of this chapter, or pursuant to regulations approved or promulgated through rule making under Title I of the FCAA, including parts C and D;

- any standard or other requirement under Section 7411 of the FCAA, including Section 7411(d);

- any standard or other requirement under Section 7412 of the FCAA, including any requirement concerning accident prevention under Section 7412(r)(7), but excluding the contents of any risk management plan required under Section 7412(r);

- any standard or other requirement of the acid rain program under Title IV of the FCAA or regulations promulgated thereunder;

- any requirements established pursuant to Section 7661c(b) or Section 7414(a)(3) of the FCAA;

- any standard or other requirement governing solid waste incineration, under Section 7429 of the FCAA;

- any standard or other requirement for consumer and commercial products, under Section 7511b(e) of the FCAA;

- any standard or other requirement for tank vessels, under Section 7511b(f) of the FCAA;

- any standard or other requirement of the regulations promulgated to protect stratospheric ozone under Title VI of the FCAA, unless the administrator determines that such requirements need not be contained in an air quality operating permit;

- any national ambient air quality standard or increment or visibility requirement under part C of Title I of the FCAA, but only as it would apply to temporary sources permitted pursuant to Section 7661c(e) of the FCAA; or

- any federally enforceable term or condition of any air quality open burning permit issued by DEQ under Subchapter 6.

"DEQ" means the Montana Department of Environmental Quality.

"Emissions unit" means any part or activity of a stationary source that emits or has the potential to emit any regulated air pollutant, or any pollutant listed under Section 7412(b) of the FCAA.  This term is not meant to alter or affect the definition of the term "unit" for purposes of Title IV of the FCAA.

"FCAA" means the Federal Clean Air Act, as amended.

"Federally enforceable" means all limitations and conditions which are enforceable by the administrator, including those requirements developed pursuant to 40 CFR Parts 60 and 61, requirements within the Montana state implementation plan, and any permit requirement established pursuant to 40 CFR 52.21 or under regulations approved pursuant to 40 CFR 51, Subpart I, including operating permits issued under an EPA approved program that is incorporated into the Montana state implementation plan and expressly requires adherence to any permit issued under such program.

"Fugitive emissions" means those emissions which could not reasonably pass through a stack, chimney, vent, or other functionally equivalent opening.

"General air quality operating permit" or "general permit" means an air quality operating permit that meets the requirements of ARM 17.8.1222, covers multiple sources in a source category, and is issued in lieu of individual permits being issued to each source.

"Hazardous air pollutant" means any air pollutant listed as a hazardous air pollutant pursuant to Section 112(b) of the FCAA.

"Non-federally enforceable requirement" means the following as they apply to emission units in a source requiring an air quality operating permit:

- any standard, rule, or other requirement, including any requirement contained in a consent decree, or judicial or administrative order entered into or issued by DEQ, that is not contained in the Montana state implementation plan approved or promulgated by the administrator through rule making under Title I of the FCAA;

- any term, condition or other requirement contained in any Montana Air Quality Permit issued by DEQ under Subchapters 7, 8, 9 and 10 of this chapter that is not federally enforceable;

- does not include any Montana ambient air quality standard contained in Subchapter 2 of this chapter.

"Permittee" means the owner or operator of any source subject to the permitting requirements of this subchapter, as provided in ARM 17.8.1204, that holds a valid air quality operating permit or has submitted a timely and complete permit application for issuance, renewal, amendment, or modification pursuant to this subchapter.

"Regulated air pollutant" means the following:

- nitrogen oxides or any volatile organic compounds;

- any pollutant for which a national ambient air quality standard has been promulgated;

- any pollutant that is subject to any standard promulgated under Section 7411 of the FCAA;

- any Class I or II substance subject to a standard promulgated under or established by Title VI of the FCAA; or

- any pollutant subject to a standard or other requirement established or promulgated under Section 7412 of the FCAA, including but not limited to the following:

- any pollutant subject to requirements under Section 7412(j) of the FCAA.  If the administrator fails to promulgate a standard by the date established in Section 7412(e) of the FCAA, any pollutant for which a subject source would be major shall be considered regulated on the date 18 months after the applicable date established in Section 7412(e) of the FCAA;

- any pollutant for which the requirements of Section 7412(g)(2) of the FCAA have been met but only with respect to the individual source subject to Section 7412(g)(2) requirement.

"Responsible official" means one of the following:

- For a corporation: a president, secretary, treasurer, or vice-president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision-making functions for the corporation, or a duly authorized representative of such person if the representative is responsible for the overall operation of one or more manufacturing, production, or operating facilities applying for or subject to a permit and either:

- the facilities employ more than 250 persons or have gross annual sales or expenditures exceeding $25 million (in second quarter 1980 dollars); or

- the delegation of authority to such representative is approved in advance by DEQ.

- For a partnership or sole proprietorship: a general partner or the proprietor, respectively.

- For a municipality, state, federal, or another public agency: either a principal executive officer or ranking elected official.  For the purposes of this part, a principal executive officer of a federal agency includes the chief executive officer having responsibility for the overall operations of a principal geographic unit of the agency (e.g., a regional administrator of the environmental protection agency).

- For affected sources: the designated representative in so far as actions, standards, requirements, or prohibitions under Title IV of the FCAA or the regulations promulgated thereunder are concerned, and the designated representative for any other purposes under this subchapter.

Abbreviations:

ARM	Administrative Rules of Montana

ASTM	American Society of Testing Materials

BACT	Best Available Control Technology

BDT	bone dry tons

BTU	British Thermal Unit

CFR	Code of Federal Regulations

CO	carbon monoxide

DEQ	Department of Environmental Quality

dscf	dry standard cubic foot

dscfm	dry standard cubic foot per minute

EEAP	Emergency Episode Action Plan

EPA	U.S. Environmental Protection Agency

EPA Method	Test methods contained in 40 CFR 60, Appendix A

EU	emissions unit

FCAA	Federal Clean Air Act

gr	grains

HAP	hazardous air pollutant

IEU	insignificant emissions unit

Mbdft	thousand board feet

Method 5	40 CFR 60, Appendix A, Method 5

Method 9	40 CFR 60, Appendix A, Method 9

MMbdft	million board feet

MMBTU	million British Thermal Units

NOx	oxides of nitrogen

NO2	nitrogen dioxide

O2	oxygen

Pb	lead

PM	particulate matter

PM10	particulate matter less than 10 microns in size

psi	pounds per square inch

scf	standard cubic feet

SIC	Source Industrial Classification

SO2	sulfur dioxide

SOx	oxides of sulfur

tpy	tons per year

U.S.C.	United States Code

VE	visible emissions

VOC	volatile organic compound

# NOTIFICATION ADDRESSES

Compliance Notifications:

Montana Department of Environmental Quality

Air, Energy and Mining Division

Air Quality Bureau

P.O. Box 200901

Helena, MT 59620-0901

Enforcement and Compliance Assurance Division

Air Enforcement Branch

US EPA Region VIII, Montana Office

10 West 15th Street, Suite 3200

Helena, MT 59626

Permit Modifications:

Montana Department of Environmental Quality

Air, Energy and Mining Division

Air Quality Bureau

P.O. Box 200901

Helena, MT 59620-0901

Air and Radiation Division

Permit and Monitoring Branch

US EPA Region VIII, 8ARD-PM

1595 Wynkoop Street

Denver, CO 80202-1129

# AIR QUALITY INSPECTOR INFORMATION

Disclaimer:	The information in this appendix is not State or Federally enforceable, but is presented to assist BCEP, the permitting authority, inspectors, and the public.

- Direction to Plant:  Exit Interstate 90 at the Harrison Ave. Proceed south on Harrison Avenue approximately 2 miles past the Bert Mooney Airport turn West and travel approximately ¾ of a mile to the Butte, MT Industrial Park.

- Safety Equipment Required:  BCEP’s policy requires the following safety equipment; safety glasses, hearing protection, and hard hat.

- Facility Plot Plan:  A facility plot plan was included with BCEP’s Title V Operating Permit application and is available for review, upon request.

# COMPLIANCE ASSURANCE MONITORING

Oxidation Catalyst for CO Control (EU001)

Compliance Assurance Monitoring Plan

Background:  The following Compliance Assurance Monitoring (CAM) plan was proposed by BCEP.

Emissions Unit

Description:	Caterpillar Lean-Burn Natural Gas-Fired Reciprocating Internal Combustion Engines (9 RICE at 6.1 MW/RICE)

Identification:			EU001

Applicable Regulations, Emission Limit, and Monitoring Requirements

Carbon Monoxide (CO)

Requirement:	Montana Air Quality Operating Permit Number OP3211-03

Emission Limit:   		5.1 lbs CO/hr

Monitoring Requirements:	Administrative Rules of Montana Chapter 17.8 Air Quality, Subchapter 15 Compliance Assurance Monitoring

Control Technology: 		Oxidation Catalyst

Monitoring Approach:

The key elements of the monitoring approach are presented in the following table.  Engine exhaust temperature prior to the catalyst shall be measured and recorded for each of the 9 RICEs once per day during unit operation.  Additionally, semi-annual catalyst inspections will be performed in accordance with the manufacturer’s specifications.   Please note that this CAM plan is not in effect when an engine is not in operation.

|  | Indicator No. 1: Temperature Monitoring | Indicator No. 2: Catalyst Inspection |
| --- | --- | --- |
| I. Indicator | Temperature of exhaust gas into the catalyst. | Inspection/Preventative Maintenance (IPM) of catalyst in accordance with plan. |
| Measurement Approach | Temperature of exhaust gas into the catalyst is monitored at the turbocharger turbine inlet points A and B using thermocouples. | Semi-annual IPM in accordance with the manufacturers’ specifications. Maintenance performed as needed. |
| II. Indicator Range | Temperature of the exhaust gas prior to the catalyst shall be maintained between 450°F (232°C) and 1350°F (732°C) during unit operation. | N/A |
| III. Performance Criteria A. Data Representativeness | Temperature of exhaust gas into the catalyst is monitored at the turbocharger turbine inlet points A and B using thermocouples. | IPM is performed on the catalyst according to the manufacturer’s recommendations and specifications. |
| B. QA/QC Practices and Criteria | Thermocouples calibrated semi-annually per manufacturer’s specifications. | Qualified personnel perform IPM. |
| C. Monitoring Frequency | Temperature is monitored and recorded once per day during unit operation. | Semi-annually. |
| Data Collection Procedures | Temperature data will be recorded once per day during unit operation using either log sheets or a data acquisition system. No observation required for days when engine does not operate. | Records are maintained to document semi-annual IPM, and any maintenance performed. |
| Averaging period | None. | N/A |

Response to Excursion:

Excursions of the catalyst inlet temperature range will trigger an inspection, possible corrective action, and reporting.  Maintenance personnel will inspect the catalysts within 24 hours of receiving notification and make needed repairs as soon as practicable.  Operation will return to normal upon completed corrective action.

Monitoring Approach Justification:

Background

The Basin Creek facility is an electrical generation plant consisting of nine natural gas-fired RICE, each rated at 8180 horsepower (hp).  Each of the RICE has an electrical generation capacity of 6.1 MW, with a total facility electrical generation capacity of 54.9 MW.

This CAM Plan is a pollutant-specific plan for control of CO from EU001 (nine Caterpillar lean-burn natural gas-fired RICE). This plan describes the compliance assurance monitoring strategy for CO emissions using an oxidation catalyst.  Because EU001 consists of nine separate units, each with its own control device, the CAM plan applies to each engine as it is operating, not to EU001 as a whole.

The monitoring approach outlined here applies to the oxidation catalyst system used on the nine natural gas-fired engines (EU001).  The reduction reaction does not take place properly if the temperature of the engine exhaust gas into the catalyst system is too low or too high.

Rationale for Selection the of Performance Indicators

The turbocharger turbine inlet temperature is currently monitored and serves as an accurate indicator of the engine exhaust temperature.  Monitoring this temperature will assure that the oxidation catalyst inlet temperature is in a range that will allow the catalyst to operate effectively.  It has been proven that the oxidation catalysts operate properly in multiple stack tests where both turbocharger turbine inlet temperature and CO emissions were monitored for each engine.  The results of the CO emissions tests indicate the oxidation catalyst was performing sufficiently to enable Basin Creek to meet its CO emission limits.  The proposed temperature monitoring plan will ensure that the oxidation catalyst will be operating in an ideal temperature range for optimal CO destruction.

Semi-annual catalyst inspections will ensure that the catalyst is in good, working order.  By verifying that the catalysts of each of the nine engines are in good condition, it ensures that exhaust gas will flow through the catalyst as it is designed, and that the catalyst performance will not be affected by any foreign matter or substance.

Rationale for Selection of Temperature Indicator Range and Semi-Annual Inspections

Temperatures that are too low will result in a reduction of the chemical reactions that destruct CO.  Temperatures that are too high will result in sintering of the catalyst.  The temperature range proposed is also in line with the temperature range specified in the proposed 40 CFR 63 Subpart ZZZZ regulations.  The semi-annual inspection criteria were developed by the catalyst manufacturer to maintain the catalyst in good working order.  The manufacturer developed plan was determined to be the best possible plan for ensuring catalyst performance.