MONTANA DEPARTMENT OF ENVIRONMENTAL QUALITY OPERATING PERMIT TECHNICAL REVIEW DOCUMENT

Air, Energy & Mining Division 1520 E. Sixth Avenue

P.O. Box 200901

Helena, Montana 59620-0901

Phillips 66 Company – Great Falls Product Terminal

NE ¼ of Section 3, Township 20 North, Range 4 East, in Cascade County 1401 52nd Street North

Great Falls, MT 59405

The following table summarizes the air quality programs testing, monitoring, and reporting requirements applicable to this facility.

| Facility Compliance Requirements | Yes | No | Comments |
| --- | --- | --- | --- |
| Source Tests Required | X |  | Method 9 |
| Ambient Monitoring Required |  | X |  |
| COMS Required |  | X |  |
| CEMS Required |  | X |  |
| Schedule of Compliance Required |  | X |  |
| Annual Compliance Certification and Semiannual Reporting Required | X |  | As Applicable |
| Monthly Reporting Required | X |  | As Applicable |
| Quarterly Reporting Required |  | X |  |
| Applicable Air Quality Programs |  |  |  |
| ARM Subchapter 7 – Montana Air Quality Permit (MAQP) | X |  | 2946 |
| New Source Performance Standards (NSPS) | X |  | 40 CFR 60 Subpart Kb |
| National Emission Standards for Hazardous Air Pollutants (NESHAPS) |  | X |  |
| Maximum Achievable Control Technology (MACT) | X |  | 40 CFR 63 Subpart BBBBBB |
| Major New Source Review (NSR) – includes Prevention of Significant Deterioration (PSD) and/or Non-attainment Area (NAA) NSR |  | X |  |
| Risk Management Plan Required (RMP) |  | X |  |
| Acid Rain Title IV |  | X |  |
| Compliance Assurance Monitoring (CAM) |  | X |  |
| State Implementation Plan (SIP) | X |  | General SIP |

TABLE OF CONTENTS

SECTION I. GENERAL INFORMATION	3

- Purpose	3

- Facility Location	3

- Facility Background Information	3

- Current Permit Action	6

- Taking and Damaging Analysis	6

- Compliance Designation	7

SECTION II. SUMMARY OF EMISSION UNITS	8

- Facility Process Description	8

- Emission Units and Pollution Control Device Identification	8

- Categorically Insignificant Sources/Activities	8

SECTION III. PERMIT CONDITIONS	9

- Emission Limits and Standards	9

- Monitoring Requirements	9

- Test Methods and Procedures	10

- Recordkeeping Requirements	10

- Reporting Requirements	10

- Public Notice	10

SECTION IV. NON-APPLICABLE REQUIREMENT ANALYSIS	11

SECTION V. FUTURE PERMIT CONSIDERATIONS	12

- MACT Standards and NESHAP Standards	12

- NSPS Standards	12

- Risk Management Plan	12

- CAM Applicability	13

- PSD and Title V Greenhouse Gas Tailoring Rule	13

# SECTION I.  GENERAL INFORMATION

## Purpose

This document establishes the basis for the decisions made regarding the applicable requirements, monitoring plan, and compliance status of emission units affected by the operating permit proposed for this facility. The EPA and the public intend the document for reference during review of the proposed permit. It is also intended to provide background information not included in the operating permit and to document issues that may become important during modifications or renewals of the permit.

Conclusions in this document are based on information submitted in the Title V Operating Permit administrative amendment request received on December 14, 2022, the renewal application by Phillips 66 Company (Phillips) to the Department of Environmental Quality (DEQ) received on April 28, 2020, the administrative amendment request received on October 24, 2018 and on September 4, 2015, the renewal operating permit application submitted on May 14, 2014, the administrative amendment received by DEQ on April 2, 2012, the administrative amendment received by Department on December 22, 2004, the administrative amendment received by DEQ on March 4, 2004, the renewal operating permit application submitted by ConocoPhillips Company (ConocoPhillips), formerly Conoco, Inc. (Conoco), and received by DEQ on April 11, 2003, an administrative amendment received February 21, 2003, an error identified by Phillips that DEQ concurred with in a July 13, 2017 Field Services Section Inspection Report, an administrative amendment received September 25, 2017, as well as the original operating permit application received on June 10, 1996.

## Facility Location

Phillips owns and operates the Great Falls Product Terminal located in the NW¼ of Section 3, Township 20 North, Range 4 East in Cascade County, Montana. Cascade County is designated as an Unclassifiable/Attainment area for National Ambient Air Quality Standards (NAAQS) for all criteria pollutants. The Great Falls Product Terminal is located just east of the Great Falls city limits at the intersection of Highway 87 and 52nd Street. The facility is surrounded by a meat packing plant on the north, a construction company and a few residences to the west, a distribution company on the south and a field and fertilizer plant northeast and northwest, respectively. There are no schools, medical facilities, or recreational areas in the immediate vicinity of the terminal.

- Facility Background Information Montana Air Quality Permit (MAQP)

On October 9, 1997, MAQP #2946-00 was issued to Conoco to exempt them from 40 CFR 63, Subpart R (Gasoline Distribution MACT (Maximum Achievable Control Technology)) applicability. The Great Falls Product Terminal tanks were constructed in 1960.

A letter from ConocoPhillips dated January 3, 2003, and received by DEQ on January 10, 2003, notified DEQ that Conoco had changed its name to ConocoPhillips and requested the name change on both their Montana Air Quality Permit and Title V Operating Permit. The current permit action changed the name on the permit from Conoco to

ConocoPhillips. Permit #2946-01 has been updated to reflect current permit language and rule references used by DEQ. MAQP #2946-01 replaced MAQP#2946-00.

A letter from ConocoPhillips dated December 6, 2004, and received by DEQ December 15, 2004, notified DEQ that ConocoPhillips planned to install a 20,000- barrel internal floating roof tank used to store a combination of distillates and gasoline. Since the uncontrolled Potential to Emit (PTE) of the 20,000-barrel internal floating roof tank was less than 15 tons per year of any regulated pollutant the tank was added to the permit under the provisions of ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes. ConocoPhillips was considered a New Source Performance Standard (NSPS) affected facility under 40 Code of Federal Regulations (CFR) 60, Subpart Kb, Standards of Performance for Volatile Organic Liquid Storage Vessels. The emissions were conservatively calculated using more total throughput than allowed by the current permit. MAQP #2946-03 replaced MAQP #2946-02.

ConocoPhillips, in review of the information for the Title V Renewal Application, it was identified that the de minimis addition previously permitted as the Transmix Tank (permit action for MAQP #2946-03) had not to date been installed. The application also identified applicability of 40 CFR 63 Subpart BBBBBB to this facility. This permit action was an administrative action pursuant to ARM 17.8.764 to remove the Transmix Tank from the listed permitted equipment and emissions inventory sections of the Permit Analysis, added 40 CFR 63 Subpart BBBBBB to the Permit Analysis, and updated the emissions inventory. MAQP #2946- 04 replaced MAQP #2946-03.

DEQ received a letter from ConocoPhillips on April 2, 2012, to change the name of the company from ConocoPhillips Company to Phillips 66 Company for both MAQP #2946-04 and Operating Permit #OP2946-06. On May 12, 2012, MAQP #2946-05 replaced MAQP #2946-04.

Title V Operating Permit

Conoco’s Great Falls Product Terminal was not required to obtain an air quality permit because the facility was constructed prior to November 23, 1968; however, Conoco requested a throughput limit on the facility to keep them below the 40 CFR 63, Subpart R applicability threshold. Operating Permit #OP2946-00 was issued final and effective on October 9, 1997.

The permit action contained in #OP2946-01 changed the name on the permit from Conoco to ConocoPhillips. Operating Permit #OP2946-01 replaced Operating Permit #OP2946-00.

The permit action was a renewal of ConocoPhillips’ Title V Operating Permit #OP2946-01 for the Great Falls Product Terminal. ConocoPhillips’ Operating Permit #OP2946-01 was applicable for 5 years and expired on January 12, 2004. ConocoPhillips applied for a renewal of their Title V Operating Permit on April 11, 2003. Operating Permit #OP2946-02 replaced Operating Permit #OP2946-01.

On March 4, 2004, DEQ received a letter from ConocoPhillips to change the responsible official from Tom Wanzeck to Karen L. Kennedy. Operating Permit #OP2946- 03 replaced Operating Permit #OP2946-02.

A letter from ConocoPhillips dated December 21, 2004, and received by DEQ December 22, 2004, notified DEQ that ConocoPhillips planned to install a 20,000- barrel internal floating roof tank used to store a combination of distillates and gasoline. Since the uncontrolled PTE of the 20,000-barrel internal floating roof tank was less than 15 tons per year of any regulated pollutant the tank was added to the permit under the provisions of ARM 17.8.745 Montana Air Quality Permits--Exclusion for De Minimis Changes. ConocoPhillips is considered a New Source Performance Standard (NSPS) affected facility under 40 Code of Federal Regulations (CFR) 60, Subpart Kb, Standards of Performance for Volatile Organic Liquid Storage Vessels. The emissions were conservatively calculated using more total throughput than allowed by the current permit. Operating Permit #OP2946-04 replaced Operating Permit #OP2946-03.

On March 30, 2006, DEQ received a letter from ConocoPhillips to change the responsible official from Karen L. Kennedy to John T. Barrett. Operating Permit #OP2946- 05 replaced Operating Permit #OP2946-04.

On July 18, 2008, DEQ received a renewal application letter from ConocoPhillips dated July 11, 2008, to renew their current Title V Operating Permit. The fee associated with renewal was received by DEQ on July 31, 2008, completing the application. The only change requested was the inclusion of 40 CFR 63, Subpart BBBBBB. DEQ also added or modified rule references and language including prompt deviation language and the general requirement for NESHAP SSM plans. Other changes include incorporation of de- minimis additions and removal of the previously permitted Transmix tank which to date had not been installed. Operating Permit #OP2946-06 replaced Operating Permit #OP2946-05.

DEQ received a letter from ConocoPhillips on April 2, 2012, to change the name of the company from ConocoPhillips Company to Phillips 66 Company for both the MAQP#2946-04 and #OP2946-06. All new facility references added to the permit and TRD document used “Phillips 66 Company” or “Phillips”, leaving the old name only in the description of historical permit actions. Operating Permit #OP2946-07 replaced Operating Permit #OP2946-06.

On May 14, 2014, DEQ received a renewal application for Operating Permit #OP2946-07 from Phillips 66 Company. The renewal application addressed any operational changes that would need to be incorporated into the renewal permit. Phillips added one 6000 barrel internal floating roof tank as a de minimis action and sent a notification of construction to DEQ on August 13, 2013. Tank 96 stores denatured ethanol has a maximum throughput rate of 8,820,000 gallons per year and has a PTE of 332 lbs/yr VOC as calculated using TANKS 4.0.9. The tank is subject to 40 CFR 60 Subpart Kb as it was constructed in 2013, has a capacity of greater than 472 barrels and stores a volatile organic compound with a true vapor pressure greater than 3.5 kPa. This tank is the only new regulated source at the Great Falls Terminal since the last renewal and has been added to the permit. Operating Permit #OP2946-08 replaced Operating Permit #OP2946-07.

On September 4, 2015, DEQ received notification of a change in responsible official, with Eli Kliewer replacing Amy Gross. As such, Operating Permit #OP2946-09 replaced Operating Permit #OP2946-08.

On March 27, 2017, Phillips notified DEQ of an issue with a permit condition in #OP2946-09 for the loading rack with respect to applicable 40 CFR 63, Subpart BBBBBB requirements. The condition stated that Phillips shall comply with certain vapor-tightness requirements for trucks and rail cars based on 40 CFR 63, Subpart BBBBBB; however, Phillips indicated that the Great Falls Terminal was not subject to this portion of the regulation based on throughput levels. DEQ provided a concurrence with this permit condition issue in a July 13, 2017 Field Services Section Report, which served as a notification of intent to correct the condition via administrative amendment.

On September 25, 2017, DEQ received notification of a change in responsible official, with Morgan Remus replacing Eli Kliewer.

This permit action was an administrative amendment to update the operating permit to address these items. Operating Permit #OP2946-10 replaced #OP2946-09.

On October 24, 2018, DEQ received a letter from Phillips to change the responsible official from Morgan Remus to Eli Kliewer. Operating Permit #OP2946-11 replaced Operating Permit #OP2946-10.

On April 28, 2020, DEQ received from Phillips a Title V renewal application. The permitting action renewed the Title V permit. Updates included specifying applicability of 40 CFR 63 Subpart BBBBBB to the tanks; updating startup, shutdown, and malfunction requirements of 40 CFR 63.6; and adding an insignificant emitting unit (a diesel additive tank). Operating Permit #OP2946-12 replaced #OP2946-11.

On December 14, 2022, DEQ received an administrative amendment to change the responsible official from Eli Kleiwer to Jesse McKee. On January 9, 2023, DEQ received a request to change the responsible official from Jesse McKee to Clint Loobey, Yellowstone Pipeline Operations Superintendent – Northwest Region. Operating Permit #OP2946-13 replaces #OP2946-12.

## Current Permit Action

On February 12, 2026, DEQ received an application from Phillips for renewal of Title V Operating Permit #OP2946-13.  The application stated that there were no changes in applicable requirements during this renewal. Operating Permit #OP2946-14 replaces #OP2946-13.

## Taking and Damaging Analysis

HB 311, the Montana Private Property Assessment Act, requires analysis of every proposed state agency administrative rule, policy, permit condition or permit denial, pertaining to an environmental matter, to determine whether the state action constitutes a taking or damaging of private real property that requires compensation under the Montana or U.S. Constitution. As part of issuing an operating permit, DEQ is required to complete a Taking and Damaging Checklist. As required by 2-10-101 through 2-10-105, MCA, DEQ conducted the following private property taking and damaging assessment.

| YES | NO |  |
| --- | --- | --- |
| X |  | 1. Does the action pertain to land or water management or environmental regulation affecting private real property or water rights? |
|  | X | 2. Does the action result in either a permanent or indefinite physical occupation of private property? |
|  | X | 3. Does the action deny a fundamental attribute of ownership? (ex.: right to exclude others, disposal of property) |
|  | X | 4. Does the action deprive the owner of all economically viable uses of the property? |
|  |  | 5a. Is there a reasonable, specific connection between the government requirement and legitimate state interests? |
|  |  | 5b. Is the government requirement roughly proportional to the impact of the proposed use of the property? |
|  | X | 6. Does the action have a severe impact on the value of the property? (consider economic impact, investment-backed expectations, character of government action) |
|  | X | 7. Does the action damage the property by causing some physical disturbance with respect to the property in excess of that sustained by the public generally? |
|  | X | 7a. Is the impact of government action direct, peculiar, and significant? |
|  | X | 7b. Has government action resulted in the property becoming practically inaccessible, waterlogged or flooded? |
|  | X | 7c. Has government action lowered property values by more than 30% and necessitated the physical taking of adjacent property or property across a public way from the property in question? |
|  | X | Takings or damaging implications? (Taking or damaging implications exist if YES is checked in response to question 1 and also to any one or more of the following questions: 2, 3, 4, 6, 7a, 7b, 7c; or if NO is checked in response to questions 5a or 5b; the shaded areas) |

Based on this analysis, DEQ determined there are no taking or damaging implications associated with this permit action.

## Compliance Designation

DEQ conducted a Full Compliance Evaluation for a review period of October 20, 2022, through August 14, 2024. Based upon the information gathered at the time of the facility inspection conducted on 08/14/2024, the observations made during the inspection, the review of reports and compliance certifications submitted by Phillips during the review period, DEQ believes that this facility is in compliance with the applicable requirements for the period covered by this Compliance Monitoring Report.

SUMMARY OF EMISSION UNITS

## Facility Process Description

Phillips operates a bulk gasoline terminal at the Great Falls Product Terminal. The terminal stores and transfers petroleum products (gasoline and distillate) received from the pipeline and distributes them to regional markets via cargo tanks (tank trucks). The Standard Industrial Classification (SIC) for this facility is Petroleum Bulk Stations and Terminals which has an SIC Code of 5171. The corresponding North American Industry Classification System (NAICS) code for the facility is 424710.

## Emission Units and Pollution Control Device Identification

Currently, the Great Falls Product Terminal owns and operates three gasoline tanks, two distillate tanks, one off spec product tank and one denatured ethanol tank. Fugitive and miscellaneous emissions include emissions from valves, flanges, pump seals, additive tanks, provers, tank cleaning, wastewater sumps, rack drains, tank roof landings, connections, meters, and open-ended lines.

## Categorically Insignificant Sources/Activities

The Administrative Rules of Montana (ARM) 17.8.1201(22)(a) defines an insignificant emission unit as one that emits less than 5 tons per year of any regulated pollutant, has the potential to emit less than 500 pounds per year of lead or any hazardous air pollutant, and is not regulated by an applicable requirement other than a generally applicable requirement.

The miscellaneous emissions from the Phillips Product Terminal include emissions from tank cleaning, rack drains, additive tanks, etc. These units are insignificant because they emit less than 5 tons per year of any regulated pollutant.

PERMIT CONDITIONS

## Emission Limits and Standards

The Phillips Great Falls Product Terminal is limited to a maximum of 88,200,000 gallons of gasoline and 88,200,000 gallons of distillate product throughput for the truck loadout operation during any 12-month rolling period. Phillips is also required to conduct monthly leak checks for fugitive emissions. Detection methods incorporating sight, sound, or smell are acceptable for the purposes of these inspections. The emission units at this facility have synthetic minored out of the 40 CFR 63, Subpart R Gasoline Distribution MACT requirements. Due to the federally enforceable limitations on throughput of the loading rack operations, this facility is also not subject to PSD regulations.

40 CFR 63, Subpart BBBBBB is applicable to this facility. The emissions limits, management practices, and standards of this rule vary depending on the compliance methods chosen.

Therefore, the permit addresses these requirements by reference.

## Monitoring Requirements

ARM 17.8.1212(1) requires that all monitoring and analysis procedures or test methods required under applicable requirements are contained in operating permits. In addition, when the applicable requirement does not require periodic testing or monitoring, periodic monitoring must be prescribed that is sufficient to yield reliable data from the relevant time period that is representative of the source's compliance with the permit.

The requirements for testing, monitoring, recordkeeping, reporting, and compliance certification sufficient to assure compliance do not require the permit to impose the same level of rigor for all emissions units. Furthermore, they do not require extensive testing or monitoring to assure compliance with the applicable requirements for emission units that do not have significant potential to violate emission limitations or other requirements under normal operating conditions. When compliance with the underlying applicable requirement for an insignificant emissions unit is not threatened by lack of regular monitoring and when periodic testing or monitoring is not otherwise required by the applicable requirement, the status quo (i.e., no monitoring) will meet the requirements of ARM 17.8.1212(1). Therefore, the permit does not include monitoring for insignificant emission units.

The permit includes periodic monitoring or recordkeeping for each applicable requirement. The information obtained from monitoring and recordkeeping will be used by the permittee to periodically certify compliance with the emission limits and standards. However, DEQ may request additional testing to determine compliance with the emission limits and standards.

The 40 CFR 63, Subpart BBBBBB rules include monitoring requirements and are therefore included by reference. The monitoring requirements applicable to this facility will depend upon the compliance methods chosen by Phillips.

## Test Methods and Procedures

The operating permit may not require testing for all sources if routine monitoring is used to determine compliance, but DEQ has the authority to require testing if deemed necessary to determine compliance with an emission limit or standard. In addition, the permittee may elect to voluntarily conduct compliance testing to confirm its compliance status.

## Recordkeeping Requirements

The permittee is required to keep all records listed in the operating permit as a permanent business record for at least 5 years following the date of the generation of the record.

The 40CFR63, Subpart BBBBBB rules include recordkeeping requirements. Therefore, the permit incorporates these recordkeeping requirements by reference. The recordkeeping requirements applicable to this facility will depend upon the compliance methods chosen by Phillips.

## Reporting Requirements

Reporting requirements are included in the permit for each emissions unit, and Section V of the operating permit "General Conditions" explains the reporting requirements. However, the permittee is required to submit semi-annual and annual monitoring reports to DEQ and to annually certify compliance with the applicable requirements contained in the permit.

The reports must include a list of all emission limit and monitoring deviations, the reason for any deviation, and the corrective action taken as a result of any deviation.

The 40 CFR 63, Subpart BBBBBB rules include reporting requirements. Therefore, the permit incorporates these requirements by reference. The reporting requirements applicable to this facility will depend upon the compliance methods chosen by Phillips.

## Public Notice

In accordance with ARM 17.8.1232, a public notice was published in the Great Falls Tribune newspaper on or before May 7, 2026.  DEQ provided a 30-day public comment period on the draft operating permit from May 7, 2026 through June 8, 2026.  ARM 17.8.1232 requires DEQ to keep a record of both comments and issues raised during the public participation process.  The comments and issues received by June 8, 2026 will be summarized, along with DEQ's responses, in the following table.  All comments received during the public comment period will be promptly forwarded to Phillips so they may have an opportunity to respond to these comments as well.

### Summary of Public Comments

| Person/Group Commenting | Comment | DEQ Response |
| --- | --- | --- |

- Draft Permit Comments

### Summary of Permittee Comments

| Permit Reference | Permittee Comment | DEQ Response |
| --- | --- | --- |

### Summary of EPA Comments

| Permit Reference | EPA Comment | DEQ Response |
| --- | --- | --- |

SECTION II.  NON-APPLICABLE REQUIREMENT ANALYSIS

Section IV of the operating permit "Non-applicable Requirements" contains the requirements that DEQ determined were non-applicable. The following table summarizes the requirements that Phillips identified as non-applicable and contains the reasons that DEQ did not include these requirements as non-applicable in the permit.

| Applicable Requirement | Reason |
| --- | --- |
| ARM 17.8.601 ARM 17.8.602 ARM 17.8.1201(10)(a) ARM 17.8.1201(10)(f) ARM 17.8.1201(10)(i) ARM 17.8.1201(10)(k) | This is a statement of purpose, an applicability statement, regulatory definitions, or a statement of incorporation by reference. These types of rules do not have specific requirements associated with them. |
| ARM 17.8.604 ARM 17.8.605 ARM 17.8.606 ARM 17.8.611 ARM 17.8.612 ARM 17.8.613 ARM 17.8.614 ARM 17.8.615 | These rules are Open Burning rules. DEQ is not aware of any activities at this facility for which these rules apply. These rules are not applicable to the normal operation of this facility. These rules have specific requirements for open burning. |

SECTION III.  FUTURE PERMIT CONSIDERATIONS

## MACT Standards and NESHAP Standards

The requirements of 40 CFR 63, Subpart BBBBBB are applicable to this facility. The compliance date for most of the requirements is January 10, 2011, except for storage tanks which are equipped with floating roofs and not already meeting these requirements, for which compliance must be achieved by the first degassing and cleaning activity after January 10, 2011, or by January 10, 2018, whichever is first. These rules apply to gasoline related equipment only.

It is expected that installation of control options may allow the facility to become a synthetic minor under the Title V rules. An application for Modification of the Montana Air Quality Permit will be required prior to installation of the control device. Although the facility may become a synthetic minor with respect to Title V following the MAQP permit modification described above, the requirements of 40 CFR 63, Subpart BBBBBB would still apply. Phillips is also subject to the notification requirements of this rule. The notification requirements of 40 CFR 63, Subpart BBBBBB reference the notification rules outlined in 40 CFR 63.9.

One of the control options available in meeting the requirements of 40 CFR 63, Subpart BBBBBB is utilization of a flare. Should Phillips choose to install a flare, the additional requirements of ARM 17.8.770 would apply. This rule requires a human health risk assessment to be completed as described in the rule.

As of the issuance date of Operating Permit #OP2946-12, DEQ is unaware of any proposed or pending MACT or NESHAP standards that may be promulgated that will affect this facility.

## NSPS Standards

40 CFR 60, Subpart Kb would have applied to the Transmix Tank that was included in Operating Permit #OP2946-04. However, Phillips notified DEQ in the application cover letter that this tank has not yet been installed. The tank was removed from the MAQP as the 3-year time period since the addition was permitted had lapsed.

On August 13, 2013, Phillips notified DEQ of the construction of a new 252,000- gallon tank to store denatured ethanol. Tank 96 was constructed in 2013, has a capacity of greater than472 barrels and stores a volatile organic compound with a true vapor pressure greater than 3.5 kPa, so the tank is subject to 40 CFR 60 Subpart Kb.

As of the issuance date of Operating Permit #OP2946-12, DEQ is unaware of any proposed or pending NSPS standards that may be promulgated that will affect this facility.

## Risk Management Plan

As of the issuance date of Operating Permit #OP2946-12, DEQ is unaware of any regulated substance listed in 40 CFR 68.115 which exceeds the minimum threshold quantities for any facility process. Consequently, this facility is not required to submit a Risk Management Plan.

If a facility has more than a threshold quantity of a regulated substance in a process, the facility must comply with 40 CFR 68 requirements no later than June 21, 1999; 3 years after the date on which a regulated substance is first listed under 40 CFR 68.130; or the date on which a regulated substance is first present in more than a threshold quantity in a process, whichever is later.

## CAM Applicability

An emitting unit located at a Title V facility that meets the following criteria listed in ARM 17.8.1503 is subject to Subchapter 15 and must develop a CAM Plan for that unit:

  - The emitting unit is subject to an emission limitation or standard for the applicable regulated air pollutant (unless the limitation or standard that is exempt under ARM 17.8.1503(2));

  - The emitting unit uses a control device to achieve compliance with such limit; and

  - The emitting unit has potential pre-control device emission of the applicable regulated air pollutant that is greater than major source thresholds.

Compliance Assurance Monitoring under 40 CFR 64.2 is exempted for facilities that have emission limitations or standards proposed after November 15, 1990, pursuant to Section 111 or 112 of the Clean Air Act. Therefore, the applicability of 40 CFR 63, Subpart BBBBBB would exempt those affected units from these CAM rules. However, within the rules of 40 CFR 63, Subpart BBBBBB are requirements for monitoring of the operations of the control technology selected.

## PSD and Title V Greenhouse Gas Tailoring Rule

On May 7, 2010, EPA published the “light duty vehicle rule” (Docket # EPA-HQ-OAR- 2009-0472, 75 FR 25324) controlling greenhouse gas (GHG) emissions from mobile sources, whereby GHG became a pollutant subject to regulation under the Federal and Montana Clean Air Act(s).  On June 3, 2010, EPA promulgated the GHG “Tailoring Rule” (Docket # EPA-HQ-OAR-2009-0517, 75 FR 31514) which modified 40 CFR Parts 51, 52, 70, and 71 to specify which facilities are subject to GHG permitting requirements and when such facilities become subject to regulation for GHG under the PSD and Title V programs.

Under the Tailoring Rule, any PSD action (either a new major stationary source or a major modification at a major stationary source) taken for a pollutant or pollutants other than GHG that would become final on or after January 2, 2011 would be subject to PSD permitting requirements for GHG if the GHG increases associated with that action were at or above 75,000 TPY of carbon dioxide equivalent (CO2e) and greater than 0 TPY on a mass basis.  Similarly, if such action were taken, any resulting requirements would be subject to inclusion in the Title V Operating Permit.  Facilities which hold Title V permits due to criteria pollutant emissions over 100 TPY would need to incorporate any GHG applicable requirements into their operating permits for any Title V action that would have a final decision occurring on or after January 2, 2011.

Starting on July 1, 2011, PSD permitting requirements would be triggered for modifications that were determined to be major under PSD based on GHG emissions alone, even if no other pollutant triggered a major modification.

In addition, sources that are not considered PSD major sources based on criteria pollutant emissions would become subject to PSD review if their facility-wide potential emissions equaled or exceeded 100,000 TPY of CO2e and 100 or 250 TPY of GHG on a mass basis depending on their listed status in ARM 17.8.801(22) and they undertook a permitting action with increases of 75,000 TPY or more of CO2e and greater than 0 TPY of GHG on a mass basis. With respect to Title V, sources not currently holding a Title V permit that have potential facility-wide emissions equal to or exceeding 100,000 TPY of CO2e and 100 TPY of GHG on a mass basis would be required to obtain a Title V Operating Permit.

The Supreme Court of the United States (SCOTUS), in its Utility Air Regulatory Group v. EPA decision on June 23, 2014, ruled that the Clean Air Act neither compels nor permits EPA to require a source to obtain a PSD or Title V permit on the sole basis of its potential emissions of GHG.  SCOTUS also ruled that EPA lacked the authority to tailor the Clean Air Act’s unambiguous numerical thresholds of 100 or 250 TPY to accommodate a CO2e threshold of 100,000 TPY.  SCOTUS upheld that EPA reasonably interpreted the Clean Air Act to require sources that would need PSD permits based on their emission of conventional pollutants to comply with BACT for GHG.  As such, the Tailoring Rule has been rendered invalid and sources cannot become subject to PSD or Title V regulations based on GHG emissions alone.  Sources that must undergo PSD permitting due to pollutant emissions other than GHG may still be required to comply with BACT for GHG emissions.