## Table E1
Table E1. Electric Power Generating Capacity by Company and Plant as of October 20241 (Megawatts-MW)
INITIAL
|  |  | ENERGY | OPERATION | GENERATOR
COMPANY (Operator) | PLANT | COUNTY | SOURCE | (First Unit) | Capacity
Avista | Noxon Rapids 1-5 | Sanders | Water | 1959 | 562.4
Basin Electric Power Cooperative | Culbertson Generation Station | Richland | Natural Gas | 2010 | 91
Berkshire Hathaway Energy (was Naturener) | Glacier 1 & 212 | Toole | Wind | 2008 | 210
Berkshire Hathaway Energy (was Naturener) | Rimrock12 | Toole | Wind | 2012 | 189
Beowulf Electricity and Data/Heorot | Hardin/Big Horn Data Hub | Big Horn | Subbituminous Coal | 2006 | 115.7
F.H. Stoltze | Land and Lumber Co-Gen plant | Flathead | Biomass | 2013 | 2.5
Flathead Electric Cooperative | Landfill Gas To Energy2 | Flathead | Landfill Methane | 2009 | 3.2
Montana-Dakota Utilities (MDU) | Diamond Willow | Fallon | Wind | 2007 | 30
Montana-Dakota Utilities (MDU) | Glendive #1 | Dawson | Natural Gas/#2 Fuel Oil | 1979 | 40.7
Montana-Dakota Utilities (MDU) | Glendive #2 | Dawson | Natural Gas/#2 Fuel Oil | 2003 | 43
Montana-Dakota Utilities (MDU) | Lewis & Clark | Richland | Natural Gas | 2015 | 18.6
Montana-Dakota Utilities (MDU) | Miles City | Custer | Natural Gas/#2 Fuel Oil | 1972 | 23.3
NextEra11 | Clearwater Wind Project Phase 1 | Custer, Garfield, Rosebud | Wind | 2022 | 350
NextEra11 | Clearwater Wind Project Phase 2 | Custer, Garfield, Rosebud | Wind | 2022 | 300
NextEra11 | Clearwater Wind Project Phase 3 | Custer, Garfield, Rosebud | Wind | 2023 | 100
Northern Lights Cooperative | Lake Creek A&B | Lincoln | Water | 1917 | 4.5
NorthWestern Energy (NWE) | Dave Gates Generating Station | Deer Lodge | Natural Gas | 2011 | 150
NorthWestern Energy (NWE) | Spion Kop | Judith Basin | Wind | 2012 | 40
NorthWestern Energy (NWE) | Black Eagle 1-3 | Cascade | Water | 1927 | 20.9
NorthWestern Energy (NWE) | Cochrane 1-2 | Cascade | Water | 1958 | 62
NorthWestern Energy (NWE) | Hauser 1-6 | Lewis-Clark | Water | 1911 | 18.3
NorthWestern Energy (NWE) | Holter 1-4 | Lewis-Clark | Water | 1918 | 53
NorthWestern Energy (NWE) | Madison 1-4 | Madison | Water | 1906 | 8
NorthWestern Energy (NWE) | Morony 1-2 | Cascade | Water | 1930 | 49
NorthWestern Energy (NWE) | Mystic 1-2 | Stillwater | Water | 1925 | 12
NorthWestern Energy (NWE) | Rainbow | Cascade | Water | 1910 | 64
NorthWestern Energy (NWE) | Ryan 1-6 | Cascade | Water | 1915 | 68
NorthWestern Energy (NWE) | Thompson Falls 1-7 | Sanders | Water | 1915 | 94
NorthWestern Energy (NWE) | Two Dot Wind Farm | Wheatland | Wind | 2014 | 11.3
NorthWestern Energy (NWE) | Yellowstone Generating Station | Yellowstone | Natural Gas | 2024 | 175
NWE Portfolio - Basin Creek Power | Basin Creek 1-9 | Silver Bow | Natural Gas | 2006 | 52
NWE Portfolio - Invenergy Wind | Judith Gap | Wheatland | Wind | 2005 | 135
NWE Portfolio - Turnbull Hydro LLC | Turnbull Hydro3 | Teton | Water | 2011 | 13
NWE QF - Colstrip Energy Partnership | Montana One | Rosebud | Waste Coal | 1990 | 35
NWE QF - Granite County | Flint Creek Dam4 | Granite | Water | 2013 | 2
NWE QF - Hydrodynamics | South Dry Creek3 | Carbon | Water | 1985 | 1.2
NWE QF - Montana DNRC | Broadwater | Broadwater | Water | 1989 | 10
NWE QF - Portentia Renewables | Mussellshell 1 & 2 | Wheatland | Wind | 2013 | 20
NWE QF - other hydro | Various5 | Various | Water | Various | 3.2
NWE QF - Oversight Resources | Gordon Butte | Meagher | Wind | 2012 | 9.6
NWE QF - Oversight Resources LLC | Oversight | Meagher | Wind | 2018 | 2.7
NWE QF - DA Wind Investors LLP | DA Wind | Meagher | Wind | 2018 | 2.7
NWE QF - Two Dot Wind Broadview East LLC | Broadview East | Yellowstone | Wind | 2018 | 1.6
NWE QF - 71 Ranch LP | 71 Ranch LP | Meagher | Wind | 2018 | 2.7
NWE QF - Yellowstone Partnership | BGI | Yellowstone | Petroleum Coke | 1995 | 52
NWE QF - Greenbacker Renewable Energy | Fairfield Wind | Teton | Wind | 2014 | 10
NWE QF - Greenbacker Renewable Energy | Greenfields | Teton | Wind | 2016 | 25
NWE QF - Con Edison | Big Timber | Sweetgrass | Wind | 2017 | 25
NWE QF- Pattern Energy LLC | Stillwater | Stillwater | Wind | 2018 | 80
NWE QF - Cycle Power Partners LLC | Horseshoe Bend8 | Cascade | Wind | 2006 | 9
NWE QF - Allete Clean Energy | South Peak | Judith Basin | Wind | 2020 | 80
NWE QF - Apex Solar LLC | Apex Solar | Beaverhead | Solar | 2023 | 80
NWE QF - Greenbacker Renewable Energy | MTSun | Yellowstone | Solar | 2022 | 80
NWE QF-EnerParc Inc. | Green Meadow Solar | Lewis-Clark | Solar | 2017 | 3
NWE QF-EnerParc Inc. | River Bend Solar | Sweetgrass | Solar | 2017 | 2
NWE QF-EnerParc Inc. | South Mills Solar | Big Horn | Solar | 2017 | 3
NWE QF-EnerParc Inc. | Great Divide Solar | Lewis-Clark | Solar | 2017 | 3
NWE QF-EnerParc Inc. | Magpie Solar | Golden Valley | Solar | 2017 | 3
NWE QF-EnerParc Inc. | Black Eagle Solar | Cascade | Solar | 2017 | 3
Ormat (Basin Electric Cooperative portfolio) | Culbertson Waste Heat | Richland | Recovered Heat | 2010 | 5.5
PacifiCorp | Bigfork 1-3 | Flathead | Water | 1910 | 4.1
PacifiCorp | Pryor Mountain | Carbon | Wind | 2022 | 240
Colstrip10:
Talen/Riverstone Holdings6 (30%) | Colstrip 3 | Rosebud | Subbituminous Coal | 1984 | 740
Avista (15%), PacifiCorp (10%)
Puget Sound Energy (25%)
Portland General Electric (20%)
Talen/Riverstone Holdings (operator); Avista (15%) | Colstrip 4 | Rosebud | Subbituminous Coal | 1986 | 740
NorthWestern Energy (30%),
Portland General Electric (20%)
Puget Sound Energy (25%), PacifiCorp (10%)
Salish - Kootenai Tribe/Energy Keepers7 | Séliš, Ksanka QÍispé Dam 1-3 | Lake | Water | 1938 | 208
Tiber Montana, LLC | Tiber Dam | Liberty | Water | 2004 | 7.5
US BurRec - Great Plains Region | Canyon Ferry 1-3 | Lewis-Clark | Water | 1953 | 49.8
US BurRec - Great Plains Region | Yellowtail 1-4 | Big Horn | Water | 1966 | 250
US BurRec - Pacific Northwest Region | Hungry Horse 1-4 | Flathead | Water | 1952 | 428
US Corps of Engineers - Missouri River Division | Fort Peck 1-5 9 | McCone | Water | 1943 | 185.3
US Corps of Engineers - North Pacific Division | Libby 1-5 | Lincoln | Water | 1975 | 525
TOTAL MONTANA CAPACITY (MW) |  |  |  |  | 7041.3
1 Generally includes generating units larger than 1.0 MW with a couple of exceptions. Does not include units, mostly small, that are net-metered or that are located behind the meter of an industrial facility.
2 Numbers for capacity actually are highest monthly output to date.
3 Only operates during summer.
4 Flint Creek Dam was originally constructed in 1901. It did not operate from 1989-2012, and then reopened again in 2013
5 'Other hydro' includes approximately 10 small facilities on private land. The Two Dot Martindale wind farms went off-line in 2019, so the 'other wind' category no longer exists.
6 In 2015, PPL Montana spun off a new company Talen Energy Corp and placed its Montana coal generation assets under that company. In June of 2016, Riverstone Holdings LLC purchased Talen.
7 In 2015, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it Séliš, Ksanka QÍispé Dam. Before that, it was owned by NorthWestern Energy and PPL Montana.
8 Horseshoe Bend sells its output to Idaho Power for 9 months of the year, and to NorthWestern Energy for the 3 summer months.
9 Units 1-3 are normally synchronized to WECC on the Western grid (105.3 MW nameplate) and units 4 and 5 are normally synchronized to the Midwest Reliability Organization on the Eastern grid (80 MW nameplate). Unit 3 (43.5 MW nameplate) can readily be operated on either grid. (Dale Pugh, USACE)
10 In 2020, units 1 and 2 of Colstrip shut down permanently.
11Puget Sound Energy is the current purchaser of the energy from the first 350 MW of this plant. Portland General Electric is the current purchaser of the next 300 MW of this plant. The next 100 MW will go to Avista.
12Power from both Glacier Wind Farm (1 and 2) and the Rimrock Wind Farm goes directly to Morgan Stanley Capital Group LLC in a Power Purchase Agreement through 2026. Berkshire Hathaway Energy purchased the wind farms from Naturener in 2022
Sources: The initial operation date, name and location for facilities is from DEQ Energy Office institutional knowledge and inquiries with utilities over time. NorthWestern Energy has been particularly helpful with data. Current generation capacity is annually obtained from the U.S. DOE, Energy Information Administration, EIA-923 and EIA-860 Reports, except where noted: Flathead Landfill Gas to Energy-John Gorosky, Flathead coop; MDU facilities-Darcy Neigum, MDU; YELP-Kelli Schermerhorn at NWE and Dan Carter at Exxon; Noxon Dam-Steve Esch, Avista; NorthWestern Energy facilities-Benjamin Fitch-Fleischmann, NWE--large hydro updated by Carrie Harris, NWE; NWE QFs including YELP, CELP, Two Dot Wind Farm, Broadwater Dam, South Dry Creek, Gordon Butte, Fairview, QF other hydro-Kelli Schermerhorn and Thomas Michelotti, NWE; Culbertson Waste Heat/Ormat Technologies-Basin Electric; Lake Creek-Clint Brewington, Northern Lights Cooperative; additional Fort Peck Dam information from Dale Pugh, USACE.

## Charts E1a, E1b
Chart E1a. Montana Electric Power Generating Capacity by Fuel Type, 1970-2024 (Total MW Capacity) | [20 empty] | Chart E1b. Montana Electric Power Generating Capacity by Fuel Type, 1970-2024 (by Total Percentage of Electricity Capacity in Montana)
Sources: Current generation capacity is initially taken from U.S. DOE Energy Information Administration, EIA-923 and EIA-860 Reports, except where noted: Flathead Landfill Gas to Energy-John Gorosky, Flathead coop; MDU facilities-Darcy Neigum, MDU; YELP-Kelli Schermerhorn NWE and Dan Carter at Exxon; Noxon Dam-Steve Esch, Avista; NorthWestern Energy facilities-Benjamin Fitch-Fleischmann, NWE--large hydro updated by Carrie Harris, NWE; Boulder Creek, Steve Clairmont; NWE QFs including YELP, CELP, Two Dot Wind Farm, Broadwater Dam, South Dry Creek, Gordon Butte, Fairview, QF other hydro and QF other wind-Kelli Schermerhorn, NWE; Culbertson Waste Heat/Ormat Technologies--Basin Electric; Lake Creek-Clint Brewington, Northern Lights Cooperative; additional Fort Peck Dam information from Dale Pugh, USACE. Generation capacity over time from Montana Energy Office institional knowledge.
|  | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
PERCENTAGES Total Electricity Capacity by Fuel
| Hydro Capacity | 88.31% | 88.31% | 87.53% | 87.53% | 87.53% | 78.48% | 78.48% | 71.13% | 71.13% | 70.25% | 70.25% | 70.25% | 70.25% | 70.25% | 57.44% | 58.4% | 49.34% | 49.34% | 49.35% | 49.47% | 50.57% | 50.7% | 50.7% | 50.7% | 51.22% | 50.56% | 50.56% | 50.56% | 50.56% | 50.56% | 50.56% | 50.6% | 50.6% | 50.17% | 50.25% | 48.93% | 47.32% | 47.13% | 47.13% | 47.54% | 44.94% | 43.92% | 42.27% | 42.84% | 42.71% | 42.58% | 43.54% | 43.48% | 42.69% | 42.69% | 46.72% | 47.3% | 42.34% | 39.95% | 38.39%
| Coal Capacity | 8.453% | 8.453% | 8.379% | 8.379% | 8.379% | 17.85% | 17.85% | 25.55% | 25.55% | 25.24% | 25.24% | 25.24% | 25.24% | 25.24% | 38.88% | 39.51% | 49.04% | 49.04% | 49.03% | 48.92% | 47.88% | 48% | 48% | 48% | 47.48% | 46.87% | 46.87% | 46.87% | 46.87% | 46.87% | 46.87% | 46.83% | 46.83% | 46.43% | 46.36% | 45.14% | 45.81% | 45.62% | 45.62% | 45.24% | 42.76% | 41.59% | 39.94% | 39.3% | 39.18% | 39.07% | 37.15% | 37.1% | 36.42% | 36.42% | 29.1% | 28.54% | 25.54% | 24.1% | 23.16%
| Natural Gas Capacity | 2.767% | 2.767% | 3.618% | 3.618% | 3.618% | 3.244% | 3.244% | 2.94% | 2.94% | 4.131% | 4.131% | 4.131% | 4.131% | 4.131% | 3.377% | 1.779% | 1.355% | 1.355% | 1.354% | 1.351% | 1.303% | 1.306% | 1.306% | 1.306% | 1.292% | 1.275% | 1.275% | 1.275% | 1.275% | 1.275% | 1.275% | 1.274% | 1.274% | 2.112% | 2.109% | 2.054% | 2.952% | 2.94% | 2.94% | 2.915% | 4.332% | 6.741% | 6.475% | 6.371% | 6.351% | 6.627% | 6.777% | 6.767% | 6.644% | 6.644% | 7.249% | 7.325% | 6.557% | 6.187% | 8.431%
| Pet Coke Capacity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.295% | 1.295% | 1.295% | 1.295% | 1.295% | 1.295% | 1.294% | 1.294% | 1.283% | 1.281% | 1.248% | 1.207% | 1.202% | 1.202% | 1.192% | 1.126% | 1.095% | 1.052% | 1.035% | 1.032% | 1.029% | 1.052% | 1.051% | 1.032% | 1.032% | 1.126% | 0.91% | 0.8145% | 0.7685% | 0.7385%
| Wind Capacity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2.628% | 2.708% | 3.104% | 3.104% | 3.078% | 6.722% | 6.537% | 10.14% | 10.3% | 10.58% | 10.55% | 11.19% | 11.17% | 12.79% | 12.79% | 15.34% | 15.46% | 23.08% | 26.21% | 26.61%
| Solar Capacity | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.1295% | 0.2748% | 0.2698% | 0.2698% | 0.2944% | 0.2975% | 1.519% | 2.616% | 2.514%
| Other Capacity | 0.4738% | 0.4738% | 0.4697% | 0.4697% | 0.4697% | 0.4211% | 0.4211% | 0.3816% | 0.3816% | 0.3769% | 0.3769% | 0.3769% | 0.3769% | 0.3769% | 0.3082% | 0.3132% | 0.2646% | 0.2646% | 0.2645% | 0.2639% | 0.2544% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.02933% | 0.123% | 0.1197% | 0.1149% | 0.1529% | 0.1524% | 0.152% | 0.1554% | 0.1552% | 0.1524% | 0.1524% | 0.1662% | 0.168% | 0.1504% | 0.1655% | 0.1591%
| Hydro | 1970: Coal; 1971: Pet Coke; 1972: Gas; 1973: Wind; 1974: Solar; 1975: Other
| 10748 | 1970: 8490; 1971: 457; 1972: 291; 1973: 3059; 1974: 33; 1975: 276

## Table E2
Table E2. Net Electric Generation and Average Generation By Plant and Ownership, 2006-20231 (MWh)
COMPANY | [20 empty] | Average2 (aMW) |  |  | Nameplate Capacity | Average Capacity Output 2016-2020
| PLANT | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2021-2023 | 2016-2020 | 2011-2015 | 2006-2010
Allete Clean Energy
| South Peak (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 256137 | 293533 | 308860 | 248245 | 32.3683 | 29.2394 | -- | -- | 80 | -
Apex Solar LLC
| Apex Solar (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 54349 | 6.2042 | -- | -- | --
Avista
| Noxon Rapids | 1823945 | 1590451 | 1696459 | 1673251 | 1503127 | 2109683 | 1822999 | 1581223 | 1968070 | 1635111 | 1695642 | 1866144 | 1840622 | 1573513 | 1596460 | 1568975 | 1741340 | 1304302 | 175.5943 | 195.7165 | 208.1526 | 189.2062 | 562 | 34.82%
Basin Creek Power Services LLC
| Basin Creek Plant (NWE portfolio) | 40587 | 80267 | 49108 | 66127 | 18760 | 10305 | 23438 | 33915 | 41077 | 62770 | 92242 | 108306 | 129765 | 156356 | 57048 | 119812 | 140930 | 133279 | 14.9932 | 12.4136 | 3.9156 | 5.8185 | 52 | 23.87%
Basin Electric Cooperative
| Culbertson Generation Station3 | -- | -- | -- | -- | 5938 | 62944 | 64496 | 127701 | 64063 | 104141 | 95987 | 45079 | 110554 | 116337 | 48207 | 117554 | 179031 | 316611 | 23.3332 | 9.5015 | 9.6654 | 0.67785 | 91 | 10.44%
Berkshire Hathaway Energy (was Naturener)
| Glacier Wind Energy 1 LLC7 | -- | -- | 27689 | 257187 | 231374 | 308543 | 290267.01 | 284761.62 | 272897.46 | 260622 | 284565.6 | 287367 | 260131 | 254813 | 298845 | 266107 | 274905 | 210692 | 28.6037 | 31.6375 | 32.3537 | 19.6442 | 105 | 30.13%
| Glacier Wind Energy 2 LLC7 | -- | -- | -- | 56332 | 227020 | 321846 | 286947.54 | 276187.23 | 259191.9 | 258022 | 290304.63 | 286219 | 248208 | 264259 | 323081 | 283544 | 297676 | 245653 | 31.464 | 32.2391 | 32.0136 | 16.1731 | 105 | 30.7%
| Rim Rock | -- | -- | -- | -- | -- | -- | 56893.32 | 335839.68 | 562316.04 | 603536 | 652904.01 | 657608 | 628130 | 597163 | 705585 | 644950 | 675505 | 563641 | 71.6932 | 74.0043 | 44.4802 |  | 189 | 39.16%
Beowulf Electricity and Data/Marathon Digital Holdings
| Hardin Generating Station | 489442 | 728486 | 610938 | 790037 | 793895 | 645637 | 467195.85 | 612292.57 | 679775 | 489990 | 349109 | 118345 | 147378 | 137176 | 51706 | 481674 | 493908 | N/A | 55.6839 | 18.3496 | 66.0934 | 77.9178 | 115.7 | 15.86%
Bonneville Power Administration (Federally Owned)
| Hungry Horse4 | 1055468 | 931620 | 1119403 | 742284 | 834213 | 1378437 | 1062677 | 1023385 | 1004871 | 1000298 | 835162 | 1034475 | 998990 | 658941 | 925709 | 953331 | 1008019 | 695817 | 101.1099 | 101.673 | 124.8783 | 106.9175 | 428 | 23.76%
| Libby | 2190677 | 2344156 | 1950437 | 1574357 | 1701918 | 2450665 | 2793645 | 2306062 | 2513693 | 1757669 | 2185485 | 2281280 | 2096393 | 1511427 | 2310881 | 1845254 | 2117883 | 1693318 | 215.238 | 237.1111 | 269.9026 | 222.8663 | 525 | 45.16%
Colstrip Energy Partnership
| Montana One (NWE QF) | 305830.452 | 303649.523 | 293304.758 | 286605.729 | 330795.856 | 260758 | 301086.46 | 326416 | 308755 | 313714 | 301332.409 | 189924 | 327552 | 301048 | 272160 | 322000 | N/A | 306152 | 35.8534 | 31.7812 | 34.4915 | 34.7075 | 35 | 90.8%
Consolidated Edison
| Big Timber Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 65813 | 78830 | 95098 | 78868 | 89477 | 73180 | 9.1904 | 9.1226 | -- |  | 25 | 36.49%
DA Wind Investors LLP
| DA Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 96 | 12606 | 10902 | N/A | 9405 | 1.2445 | 0.725 | -- |  | 3 | -
Enparc Inc.
| River Bend Solar, LLC (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 3916 | 2934 | 3175 | 3814 | 3515 | 3631 | 0.41705 | 0.38147 | -- | -- | 2 | 19.07%
| South Mills Solar, LLC (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 5800 | 4338 | 5558 | 6388 | 5859 | 5924 | 0.69144 | 0.59726 | -- | -- | 3 | 19.91%
| Green Meadow Solar, LLC (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 6157 | 5204 | 5222 | 5839 | 5539 | 5479 | 0.64144 | 0.63101 | -- | -- | 3 | 21.03%
| Great Divide Solar, LLC (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 6149 | 5934 | 6476 | 6202 | 5987 | 5837 | 0.69572 | 0.7062 | -- | -- | 3 | 23.54%
| Black Eagle Solar, LLC (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 6105 | 5750 | 6034 | 5665 | 5306 | 4996 | 0.6262 | 0.68071 | -- | -- | 3 | 22.69%
| Magpie Solar, LLC (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 5885 | 5233 | 6236 | 5528 | 5405 | 5745 | 0.62403 | 0.66035 | -- | -- | 3 | 22.01%
F.H. Stoltze
| Stotlze Co-Gen Plant | -- | -- | -- | -- | -- | -- | -- | 5117 | 13009 | 21281 | 20150 | 21182 | 21331 | 20140 | 21309 | 20725 | 19041 | 19688 | 2.2623 | 2.377 | 1.4995 | -- | 2.5 | 95.08%
Flathead Electric Cooperative
| Landfill Gas To Energy | -- | -- | -- | 3071.917 | 7285.046 | 8572 | 9303 | 9420 | 9997 | 11639 | 8855 | 11226 | 11533 | 10800 | 11994 | 11557 | 8911 | 7447 | 1.0622 | 1.2422 | 1.1171 | 0.59115 | 1.6 | 77.64%
Goldwind Global
| Musselshell I and II (NWE QF) | -- | -- | -- | -- | -- | -- | 443 | 56526 | 57587.034 | 52310.95 | 53888 | 55063 | 40609 | 28870 | 56923 | 52725 | 62460 | 43101 | 6.0231 | 5.3734 | 4.7622 | -- | 20 | 26.87%
Granite County
| Flint Creek Dam (NWE QF) | -- | -- | -- | -- | -- | -- | -- | 7966 | 11983.829 | 8975 | 10394.506 | 13710 | 15210 | 13786 | 14657 | 10975 | N/A | 10960 | 1.2529 | 1.547 | 0.66038 | -- | 2 | 77.35%
Greenbacker Renewable Energy
| Fairfield Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | 31605 | 33312 | 31550 | 27581 | 28490 | 33882 | 27531 | 29513 | 25751 | 3.1505 | 3.5346 | 3.6079 | -- | 10 | 35.35%
| Greenfields (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 35357.551 | 82203 | 79995 | 82561 | 89848 | 85334 | 92243 | 83725 | 9.943 | 8.4467 | -- | -- | 25 | 33.79%
| MT Sun (NWE QF) | 2023: 154224; 2021-2023: 17.6055
Hydrodynamics
| South Dry Creek (NWE QF) | 6262.299 | 6605.488 | 7598.456 | 7342.767 | 8614.411 | 6026 | 8183 | 7444 | 7753.476 | 6859 | 6242 | 8107 | 5321 | 4271 | 4261 | 2781 | N/A | 2908 | 0.31747 | 0.64388 | 0.82798 | 0.83158 | 1.2 | 53.66%
Invenergy Services LLC
| Judith Gap (NWE portfolio)5 | 439727 | 486847 | 500828 | 456985 | 414002 | 511361 | 461372 | 507969 | 489637 | 455350 | 481097 | 450729 | 429673 | 441562 | 517396 | 460098 | 503318 | 409029 | 52.2239 | 52.9785 | 55.381 | 52.4746 | 135 | 39.24%
Montana-Dakota Utilities
| Diamond Willow | -- | 16 | 64997 | 67691 | 67902 | 98867 | 90956 | 93175 | 96534 | 89144 | 100119 | 93502 | 85815 | 94948 | 98541 | 92522 | 90872 | 82375 | 10.113 | 10.7974 | 10.7004 | 5.7251 | 30 | 35.99%
| Glendive | 6512 | 12686.999 | 3218 | 1949 | 6978 | 15402 | 10592 | 1602 | 815 | 1212 | 6277 | 1953 | 1814 | 1478 | 853 | 14863 | 1080 | 2727 | 0.71043 | 0.28253 | 0.67632 | 0.71562 | 83.7 | 0.3376%
| Lewis-Clark6 (coal unit closed in 2021; natural gas peaker) | 336937 | 314675 | 331504 | 316534 | 315371 | 300792 | 253208 | 298318.98 | 290193 | 222191 | 272977 | 230290 | 242808 | 263459 | 232285 | 66931 | 0 | 20889 | 5.0126 | 28.352 | 31.1576 | 36.8726 | 68.6 | 41.33%
| Miles City | 1648 | 2623.002 | 369 | -28 | 1021 | 218 | 1573 | -1 | 124 | 444 | 712 | 353 | 150 | 236 | 238 | 2880 | 464 | 312 | 0.13912 | 0.038562 | 0.053836 | 0.12861 | 23.3 | 0.1655%
MT Dept of Nat. Res. and Con.
| Broadwater Power Project (NWE QF) | 48249.048 | 44982.094 | 46134.267 | 52729.671 | 52843.103 | 53536 | 53500 | 45253 | 52101 | 47289 | 48339 | 52898 | 29691 | 54910 | 52394 | 21280 | 39480 | 39316 | 3.8081 | 5.4391 | 5.7461 | 5.5922 | 10 | 54.39%
NexTera
| Clearwater Wind I | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 212170 | 1315806 | 87.2132
| Clearwater Wind II | 2023: 30267; 2021-2023: 3.4551
Northern Lights Cooperative
| Lake Creek | 27072.5 | 27406.4 | 23102.2 | 21887.5 | 22635.6 | 30822 | 30591 | 28028 | 29098 | 22095 | 30288 | 27940 | 27940 | 15888 | 19845 | 22091 | 23335 | 12181 | 2.192 | 2.7831 | 3.2108 | 2.7878 | 4.5 | 61.85%
NorthWestern Energy (portfolio)
| Colstrip Unit 4 share16 | 1565317.2292 | 1679321.5444 | 1705472.0627 | 1394653.8281 | 1718735.9799 | 1380897.1433 | 1297587.369 | 1349290.9799 | 1454079.1146 | 1573748.3524 | 1416247.1977 | 1414056.6705 | 1341825.8854 | 1421444.7966 | 1190275.5 | 1501549.8 | 1629068.1 | 1623066.6 | 180.886 | 154.8824 | 156.83 | 124.5491
| Dave Gates Generating Station | -- | -- | -- | -- | -- | 329266 | 361722.49 | 445151.38 | 412387 | 427708 | 262921 | 251273 | 220857 | 226742 | 179322 | 263571 | 406019 | 547467 | 46.3111 | 26.0529 | 45.1195 | -- | 150 | 17.37%
| Spion Kop | -- | -- | -- | -- | -- | -- | 42647 | 144110 | 136350 | 127626 | 130661 | 131182 | 124402 | 120862 | 145990 | 118040 | 120949 | 112505 | 13.375 | 14.9109 | 12.8634 | -- | 40 | 37.28%
| Black Eagle | 136211.001 | 124084.001 | 126199 | 142590 | 141584 | 147040 | 120683 | 109985 | 135355 | 127279 | 118288 | 126346 | 138717 | 142208 | 118136 | 99810 | 98099 | 121484 | 12.1535 | 14.6962 | 14.6197 | 15.3121 | 21 | 69.98%
| Cochrane | 276795 | 233765 | 270680 | 298387 | 296861 | 284974 | 227886 | 229223 | 275627 | 260568 | 234165 | 288168 | 326280 | 326084 | 302298 | 221468 | 220609 | 244675 | 26.1321 | 33.7213 | 29.1844 | 31.4267 | 64 | 52.69%
| Hauser | 127815.001 | 118972.001 | 129812 | 135336 | 132325 | 133275 | 129008 | 115817 | 128796 | 122257 | 120437 | 130317 | 118094 | 126084 | 114080 | 116008 | 128167 | 142752 | 14.7232 | 13.9044 | 14.3642 | 14.7091 | 17 | 81.79%
| Holter | 279655 | 223233.999 | 267506 | 319805 | 303864 | 348297 | 283213 | 226345 | 285541 | 258627 | 254064 | 299866 | 341811 | 344893 | 295185 | 200665 | 225770 | 281552 | 26.9401 | 35.0644 | 32.0097 | 31.8279 | 48 | 73.05%
| Madison15 | 67595 | 60099.001 | 57078 | 62452 | 61727 | 65131 | 66415 | 56473 | 61478 | 59401 | 57101 | 62279 | 62610 | 51327 | 0 | 1136 | 65416 | 57639 | 4.7257 | 6.6586 | 7.0525 | 7.0537 | 8 | 83.23%
| Morony | 273198 | 241470 | 256017 | 307166 | 299245 | 199410 | 284608 | 225296 | 254947 | 247097 | 258995 | 289766 | 323972 | 318712 | 307622 | 231237 | 228312 | 294983 | 28.7113 | 34.2253 | 27.6566 | 31.4405 | 48 | 71.3%
| Mystic Lake | 43252.001 | 48576.999 | 53487 | 54439 | 46138 | 50609 | 49084 | 54124 | 64084 | 57481 | 51416 | 61891 | 61328 | 57802 | 56432 | 52949 | 38248 | 62323 | 5.8417 | 6.5952 | 6.2873 | 5.614 | 12 | 54.96%
| Rainbow | 238163.999 | 228869.001 | 239938 | 268072 | 252528 | 230631 | 241199 | 289203 | 412761 | 347742 | 343233 | 376048 | 398801 | 453370 | 402133 | 308369 | 294013 | 394824 | 37.9454 | 45.059 | 34.7383 | 28.0267 | 64 | 70.4%
| Ryan | 411025 | 384540 | 390576 | 441426 | 423204 | 440545 | 390454 | 395440 | 468937 | 447914 | 413979 | 423168 | 470678 | 484121 | 459044 | 384498 | 397394 | 486194 | 48.2529 | 51.3925 | 48.9336 | 46.8213 | 72 | 71.38%
| Thompson Falls | 493070 | 509373 | 474349 | 482044 | 465209 | 534298 | 522124 | 482932 | 529694 | 522509 | 510256 | 498356 | 460628 | 449078 | 480176 | 469371 | 496704 | 396250 | 51.8389 | 54.7601 | 59.168 | 55.3435 | 65 | 84.25%
| Two Dot Wind8 | -- | -- | -- | -- | -- | -- | -- | -- | 17106 | 29845 | 35548 | 30775 | 32031 | 33911 | 40336 | 33607 | 39347 | 33234 | 4.0406 | 3.9407 | 2.6799 | -- | 11.3 | 34.87%
| Two Dot Wind Farm9 | 2914 | 3880 | 4686 | 3917 | 4626 | 5173 | 4437 | 4590 | 4061 | 3247 | 3336 | 2954 | 2090 | 2377 | 846 | 0 | 0 | 0 | 0 | 0.26491 | 0.49105 | -- | 3.9 | 6.793%
Northwestern Qualifying Facilities (smaller)
| Other hydro (3.2 MW total)10 | 8419.24 | 7071.756 | 7093.8646 | 9423.201 | 9353.319 | 7788 | 8223 | 8267 | 8698 | 9257.523 | 9209 | 10345 | 10375 | 10939 | 9604 | 6540 | N/A | N/A | 0.74658 | 1.1523 | 0.96424 | 0.94432 | 3.2 | 36.01%
Ormat
| Culbertson Waste Heat (Basin portfolio)3 | -- | -- | -- | -- | 27557 | 57155 | 36382 | 36937 | 21584 | 29819 | 39191 | 32172 | 7123 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7919 | 4.1524 | 3.1458 | 5.5 | 32.58%
Oversight Resources/Gordon Butte Wind LLC
| Gordon Butte (NWE QF) | -- | -- | -- | -- | -- | 1241 | 42260 | 41878 | 39432.514 | 36650.24 | 39552 | 37147 | 38720 | 66410 | 77241 | 68976 | 74906 | 37237 | 6.8919 | 5.9148 | 3.6863 | 0 | 9.6 | 61.61%
| Oversight (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 10 | 8984 | 10281 | N/A | 9804 | 1.1736 | 0.51336 | --
PacifiCorp
| Bigfork | 31390.999 | 24435 | 27562 | 28977 | 32262 | 34671 | 33426 | 30165 | 31240 | 26515 | 29483 | 21447 | 26132 | 27204 | 27032 | 28399 | 26340 |  | 3.1244 | 2.9977 | 3.562 | 3.302 | 4.1 | 73.11%
| Pryor Mountain Wind | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 675062 | 814117 | 723768 | 84.2065 |  | --
Pattern Energy
| Stillwater Wind (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 70093 | 257527 | 307316 | 260107 | 302563 | 256730 | 31.1796 | 24.1604 | -- |  | 80 | 30.2%
Salish-Kootenai
| Selis Ksanka Qlispe (formerly Kerr)11 | 1076089 | 1088593 | 1069901 | 993385 | 1033265 | 1262600 | 1128646 | 1067271 | 1159340 | 1073292 | 1068156 | 754899 | 975718 | 836964 | 962819 | 987458 | 997605 | N/A | 113.3027 | 104.9899 | 129.9349 | 120.1195 | 208 | 50.48%
71 Ranch LP
| 71 Ranch LP (NWE QF) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 143 | 11622 | 10974 | N/A | 10008 | 1.2527 | 0.67152 | -- |  | 2.7 | 24.87%
Talen (formerlly PPL Montana)
| Colstrip12 | 14764749 | 15840087 | 16086749.997 | 13154978 | 16211861 | 13025219 | 12239405.183 | 12727096 | 13715503 | 14844275 | 13358656 | 13337994 | 12656682 | 13407682 | 7935170 | 10010332 | 10860454 | 10820444 | 1205.9068 | 1385.7576 | 1519.4406 | 1736.4937 | 1480 | 70.19%
| J E Corette13 | 1204206 | 1186136 | 1024555 | 1075253 | 961177 | 831047 | 717844 | 907870 | 579688 | 152834 | -- | -- | -- | -- | -- | -- | -- |  | 0 | 0 | 72.8147 | 124.4595 | retired | -
Tiber LLC
| Tiber (NWE portfolio) | 42985.998 | 38901 | 43402 | 50830 | 41868 | 58260 | 52467 | 51995 | 2025 | 54847 | 52297 | 51090 | 53530 | 55765 | 54546 | 50327 | 45691 | 43916 | 5.3247 | 6.1011 | 5.0136 | 4.9769 | 7.5 | 81.35%
Turnbull Hydro, LLC
| Turnbull Hydro (NWE Portfolio) | -- | -- | -- | -- | -- | 22319 | 33019 | 29080 | 28354 | 25123 | 24804 | 29302 | 31807 | 25824 | 31073 | 24416 | 29721 | 22908 | 2.9317 | 3.2605 | 3.1483 | -- | 13 | 25.08%
Two Dot Wind Broadview East LLC
| Broadview East (NWE portfolio) | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 1062 | 5166 | 4912 | 5055 | 4197 | 0.53896 | 0.35548 | -- |  | 1.6 | 22.22%
United Materials of Great Falls Inc
| Horseshoe Bend (NWE QF)14 | 23528 | 24481.002 | 27311 | 23094.72 | 21055.32 | 24550 | 22847 | 24620 | 24521 | 20016 | 22270 | 11478 | 22191 | 23150 | 23877 | 26730 | 27924 | 29018 | 3.1839 | 2.3508 | 2.6611 | 2.7276 | 9 | 26.12%
Western Area Power Administration (Federally owned)
| Canyon Ferry | 329710 | 285725 | 332402 | 388180 | 368871 | 418733 | 323718 | 264915 | 363024 | 303339 | 310096 | 347272 | 369392 | 368878 | 342849 | 247061 | 235902 | 276278 | 28.8904 | 39.6915 | 38.213 | 38.9244 | 49.8 | 79.7%
| Fort Peck | 704920 | 609731 | 573386 | 584252 | 584252 | 1224036 | 1128780 | 570460 | 732827 | 753359 | 764592 | 805283 | 1239865 | 1205315 | 1105657 | 920418 | 756133 | 701189 | 90.4772 | 116.9112 | 100.6726 | 69.784 | 185.3 | 63.09%
| Yellowtail | 475182 | 380434 | 769281 | 898516 | 830746 | 1123986 | 527731 | 471034 | 1095850 | 744118 | 690297 | 1124349 | 1059019 | 913986 | 780391 | 512187 | 685935 | 843964 | 77.7049 | 104.2932 | 90.473 | 76.579 | 250 | 41.72%
Yellowstone Energy Partnership
| Billings Generation Inc. (NWE QF) | 424898.241 | 428640.128 | 405714.552 | 449481.852 | 403000.45 | 444292 | 454126.613 | 448669 | 404693 | 500087 | 452015.062 | 459443 | 442910 | 459719 | 459339 | 454274 | 459078 | 490760 | 53.4289 | 51.9047 | 51.4125 | 48.2131 | 65 | 79.85%
TOTALS |  | 28215057.452 | 28969903.25 | 29367862.2526 | 26550700.22 | 29501312.66 | 29883251 | 27564825.466 | 27427547.46 | 30127445.253 | 29069100.713 | 27545759.768 | 27950063 | 27992875 | 27538900 | 22928799 | 24417883 | 26213643 | 25290471 | 3005.4389 | 3230.7146 | 3463.4952 | 3278.1518 | 7041.3 | 45.88%
Note: In Table E1, NorthWestern Energy QFs were listed together grouped under one category. In this table, NorthWestern Energy QFs are split out by the company that owns the generation
Note: aMW = average megawatt, or 8,760 megawatt hours in a year.
Note: A Dash (--) indicates that the facility was not running in that year
Note: N/A means that the data is not available
Note: The following dams were purchased by NorthWestern Energy in 2014 from PPL Montana-Black Eagle, Cochrane, Holter, Hauser, Madison, Morony, Mystic, Ryan, Thompson Falls, Kerr. Kerr was subsequently purchased in 2015 by the Salish-Kootenai Tribe and renamed Séliš, Ksanka QÍispé.
Note: Total Electric Generation Capacity for Montana in Table E2 may differ in facilities named from Table E1 due to newer facilities included in E1 not yet reflected in 2022 generation data in E2.
Note: In final TOTALS, NorthWestern Energy's share of Colstrip is not counted because it is already counted in Talen's Colstrip number. Electricity generated is shown a second time under NorthWestern Energy to better show what NorthWestern Energy actually generated, but the NorthWestern Unit 4 number is not counted in the TOTALS in order to avoid double counting
1 | Net generation equals gross generation minus plant use.
2 | Reported average is for a period shorter than the number of years indicated by the column heading if the plant came on line during that period. Reported average is for all years that facility has run.
3 | Data was provided in some previous years by Basin Electric Cooperative, as EIA data were incorrect and refered to waste heat recovery in North Dakota and South Dakota. Recent data from U.S. EIA appears to be correct. The Ormat Generation runs on heat coming from a pumping station on the Northern Border Pipeline near Culbertson, MT. That pumping station has not run since 2018 due to gas coming into the Northern Border pipeline from the Bakken (and less gas coming from Canada so that the pump from which heat is generated is not needed). Therefore, Ormat has not been able to produce electricity in the past few years-(Mike Moses, TC Energy, 832-584-0576)
4 | Data for 2007 and 2008 from the US Corps of Engineers, as EIA data appear to be incorrect.
5 | Data for 2006-2009 provided by NorthWestern Energy, as EIA data appear to be incorrect.
6 | MDU's Lewis and Clark plant totals include a natural gas plant built in 2015 which supplied less than 1 aMW in 2017. The main Lewis and Clark coal plant which provided most of the energy closed in 2021.
7 | Naturener was purchased by Berkshire Hathaway in 2022. First years of data provided by Naturener, as EIA data appear to be incorrect; averages exclude months in the first year of commercial operation.
8 | The Two Dot Wind Farm was owned by NJR Clean Energy Ventures as a NorthWestern Energy QF. In 2018, NorthWestern energy bought it and brought it into their portfolio.
9 | The NWE QF Two Dot Wind Farm LLC includes several small wind farms including Martinsdale, Martinsdale S., Mission, Moe Wind, Montana Marginal, and Sheep Valley. All of these QFs terminated in 2019 or 2020.
10 | Other hydro includes Wisconsin Creek, Boulder Creek Limited Partnership, Lower South Fork, Ross Creek, Pony, Pine Creek, Hanover, Cascade Creek and Barney Creek. As of 2017, it also includes Strawberry Creek.
11 | In 2014, the Kerr Dam changed ownership and became property of NorthWestern Energy. In 2015, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it Séliš, Ksanka QÍispé Dam.
12 | Operated by Talen/Riverstone; actual ownership shared with five other utilities (see Table E3). The energy generation value under 'Talen' includes Colstrip energy produced by Talen, Puget Sound, Pacificorp, Portland General Electric, NorthWestern Energy and Avista.
13 | In 2015, the Corette power plant was shut down and retired.
14 | NWE QF for summer months; in the other nine months the output goes to Idaho Power.
15 | The Madison Plant was offline all of 2020 due to a full plant upgrade
16 | In final TOTALS, NorthWestern Energy's share of Colstrip is not counted because it is already counted in Talen's Colstrip number. It is shown under NorthWestern Energy to better show what NorthWestern Energy actually generated. This is subtracted to avoid double counting
Source: U.S. Department of Energy, Energy Information Administration, and more recently,'EIA-923 Monthly Generation and Fuel Consumption Time Series File', 2006-2023, 906 and 920 databases except as follows: Flathead Landfill Gas to Energy-John Gorosky, Flathead coop; BPA facilities Hungry Horse and Libby Dam, Kate Wilson; MDU facilities-Darcy Neigum, MDU; NWE QFs including YELP, CELP, Two Dot Wind Farm, Broadwater Dam, South Dry Creek, Gordon Butte, Martinsdale Wind, Martinsdale S., Fairview, QF other hydro and QF other wind, other generators-Tom Michelotti, NWE; Culbertson Waste Heat/Ormat Technologies, Basin Electric; WAPA facilities, Gayle Nansel; Noxon Dam, Avista, Pat Maher, 509-495-4283, patrick.maher@avistacorp.com; Pacificorp, Summer Payne, summer.payne@pacificorp.com; Lake Creek-Clint Brewington, Northern Lights Cooperative; Additional sources listed in footnotes 3-5 and 7.
Note on F130: Cartwright, Paul: Asked Hoffman if this was correct 12-16-11. He says In 09 we had an extended forced outage Unit 4.

## Table E3
Table E3. Average Montana Generation by Company; 2006-2010, and 2011-2015, 2016-2020 and 2021-20221
Note: Included companies must generate at least 1.0 aMW over several years. Includes all electricity generation in Montana regardless of where that power is consumed.
Company (Distributor) | 2006-2010 | 2011-2015 | 2016-2020 | 2021-20239 | Montana Generation by Largest In-State Plant Owners (in annual average MW or aMW)
| All figures in annual average MW or aMW |  |  |  |  | 2021-2023 |  | 2016-2020 |  | 2011-2015 |  | 2006-2010 |  | 2001-2005
[6 empty] | aMW1 | Percent | aMW1 | Percent | aMW1 | Percent | aMW1 | Percent | aMW1 | Percent |  | 1995-1999 | 2001-2005 | 2006-2010 | 2011-2015 | 2016-2020
71 Ranch | -- | -- | -- | 1.2527 | NWE (assets formerly owned by PPL) | 507.2307 | 17.12% | 501.2239 | 16.57% | 218.948 | 6.768% | 184.3637 | 5.624% | 185.6159 | 6.235% | NorthWestern Energy | 169 | 185.6159 | 184.3637 | 218.948 | 501.2239
Allete Energy | -- | -- | -- | 32.3683 | Avista | 356.4803 | 12.03% | 403.5801 | 13.34% | 436.0687 | 13.48% | 373.3044 | 11.39% | 356.9072 | 11.99% | Avista | 403.1 | 356.9072 | 373.3044 | 436.0687 | 403.5801
Avista2 | 373.3044 | 436.0687 | 403.5801 | 356.4803 | Puget Sound | 301.4767 | 10.17% | 346.4394 | 11.45% | 379.8601 | 11.74% | 561.4165 | 17.13% | 561.7724 | 18.87% | Puget Sound | 509 | 561.7724 | 561.4165 | 379.8601 | 346.4394
Basin Creek Power Services | 5.8185 | 3.9156 | 12.4136 | 14.9932 | Bonneville Power Administration (federally owned) | 316.3479 | 10.68% | 338.7841 | 11.2% | 394.7809 | 12.2% | 329.7839 | 10.06% | 309.7791 | 10.41% | BPA (federally owned) | 381.7 | 309.7791 | 329.7839 | 394.7809 | 338.7841
Basin Electric Cooperative | 0.67785 | 9.6654 | 9.5015 | 23.3332 | Portland General Electric | 241.1814 | 8.139% | 277.1515 | 9.163% | 303.8881 | 9.394% | 246 | 7.505% | 245.6198 | 8.25% | Portland Gas & Elec | 222.5 | 245.6198 | 246 | 303.8881 | 277.1515
Berkshire Hathaway Energy | 35.8173 | 108.8474 | 137.8809 | 131.7608 | WAPA | 197.0726 | 6.651% | 260.8959 | 8.626% | 229.3587 | 7.09% | 185.2874 | 5.652% | 157.6642 | 5.296% | WAPA | 322.7 | 157.6642 | 185.2874 | 229.3587 | 260.8959
Beowulf Electricity and Data/Marathon Digital Holdings | 77.9178 | 66.0934 | 18.3496 | 55.6839 | Talen Energy/Riverstone (formerly PPL) | 180.886 | 6.104% | 207.8636 | 6.873% | 574.7449 | 17.77% | 950.8389 | 29.01% | 906.8391 | 30.46% | Talen/(PPL until 2015) | 939.5 | 906.8391 | 950.8389 | 574.7449 | 207.8636
Bonneville Power Administration (dams owned by U.S. Government)3 | 329.7839 | 394.7809 | 338.7841 | 316.3479 | Pacificorp | 123.715 | 4.175% | 141.5734 | 4.681% | 155.5061 | 4.807% | 126.0341 | 3.845% | 125.6581 | 4.221% | Pacificorp | 113.5 | 125.6581 | 126.0341 | 155.5061 | 141.5734
Colstrip Energy Partnership | 34.7075 | 34.4915 | 31.7812 | 35.8534 | Berkshire Hathaway Energy (formerly Naturener) | 131.7608 | 4.447% | 137.8809 | 4.559% | 108.8474 | 3.365% | 35.8173 | 1.093% | -- | -- | Bershire Hathaway (Naturaner) | 0 | 0 | 35.8173 | 108.8474 | 137.8809
Consolodated Edison | -- | -- | 9.1226 | 9.1904 | Energy Keepers (Salish-Kootenai)5 | 113.3027 | 3.824% | 104.9899 | 3.471% | 131 | 4.05% | -- | -- | -- | -- | Energy Keepers | 0 | 0 | 0 | 131 | 104.9899
D.A. Wind | -- | -- | -- | 1.2445 | NextERA | 90.6684 | 3.06% | -- | -- | -- | -- | -- | -- | -- | -- | Invenergy | 0 | 0 | 53 | 55.381 | 52.9785
Enparc inc. | -- | -- | 3.657 | 3.6959 | Invenergy | 52.2239 | 1.762% | 52.9785 | 1.752% | 55.381 | 1.712% | 53 | 1.617% | -- | -- | YELP | 46.9 | 45.6216 | 48.2131 | 51.4125 | 51.9047
Flathead Electric Cooperative | 0.59115 | 1.1171 | 1.2422 | 1.0622 | YELP | 53.4289 | 1.803% | 51.9047 | 1.716% | 51.4125 | 1.589% | 48.2131 | 1.471% | 45.6216 | 1.532% | MDU | 27.9 | 36.7804 | 43.4419 | 42.5881 | 39.4705
Goldwind Global | -- | 4.7622 | 5.3734 | 6.0231 | MDU | 15.9751 | 0.5391% | 39.4705 | 1.305% | 42.5881 | 1.317% | 43.4419 | 1.325% | 36.7804 | 1.235% | Big Horn Data | 0 | 0 | 77.9178 | 66.0934 | 18.3496
Greenbacker Renewable Energy | -- | 3.6079 | 11.9813 | 30.699 | Beowulf Electricity and Data/Marathon Digital Holdings | 55.6839 | 1.879% | 18.3496 | 0.6067% | 66.0934 | 2.043% | 77.9178 | 2.377% | -- | -- | Other | 41.5 | 44.9154 | 63 | 87.5059 | 141.4423
Hydrodynamics | 0.99642 | 0.82798 | 0.64388 | 0.31747 | Other generators | 225.8036 | 7.62% | 141.4423 | 4.677% | 87.5059 | 2.705% | 63 | 1.922% | 44.9154 | 1.509%
Invenergy | 52.4746 | 55.381 | 52.9785 | 52.2239 | TOTAL | 2963.2378 | 100% | 3024.5284 | 100% | 3234.9188 | 100% | 3278 | 100% | 2977.1732 | 100%
Montana-Dakota Utilities | 43.4419 | 42.5881 | 39.4705 | 15.9751
MT Dept of Natural Resources and Conservation | 5.5922 | 5.7461 | 5.4391 | 3.8081
NextEra2 | -- | -- | -- | 90.6684
Northern Lights Cooperative | 2.7878 | 3.2108 | 2.7831 | 2.192
NorthWestern Energy2,4,8 (includes former PPL Montana dams) | 184.3637 | 218.948 | 501.2239 | 507.2307
Ormat | 3.1458 | 4.1524 | 1.7919 | 0
Oversight Resources (Gordon Butte) | -- | 3.6863 | 5.9148 | 6.8919
PacificCorp2 | 126.0341 | 155.5061 | 141.5734 | 123.715 | Colstrip Ownership Percentages, 2022 (based on capability)
Pattern Energy | -- | -- | 24.1604 | 31.1796 |  |  | MW | Percent
Portland General Electric2 | 245.4643 | 303.8881 | 277.1515 | 241.1814 | Avista |  | 222 | 15% |  | Note: Avista plans on handing over its share of Colstrip to NorthWestern Energy in 2025
Puget Sound Energy2 | 561.4165 | 379.8601 | 346.4394 | 301.4767 | NorthWestern |  | 222 | 15%
Salish-Kootenai5 | -- | 129.9349 | 104.9899 | 113.3027 | PacifiCorp |  | 148 | 10%
Talen Energy LLC (includes former PPL Montana assets)2,8 | 950.8389 | 574.7449 | 207.8636 | 180.886 | Talen Energy LLC/RiverStone Holdings |  | 222 | 15%
Tiber LLC | 4.9769 | 5.0136 | 6.1011 | 5.3247 | Portland General Electric |  | 296 | 20%
Turnbull Hydro LLC | 2.5 | 3.1483 | 3.2605 | 2.9317 | Puget Sound |  | 370 | 25%
Two Dot Wind Broadview East | -- | -- | -- | 0.53896 | [5 empty] | MW in Colstrip Units:
United Building Materials | 2.7276 | 2.6611 | 2.3508 | 3.1839
Western Area Power Administration (dams owned by U.S. gov)6 | 185.2874 | 229.3587 | 260.8959 | 197.0726 | TOTAL |  | 1480 | 100% |  |  | III & IV
Yellowstone Energy Partnership | 48.2131 | 51.4125 | 51.9047 | 53.4289 | [6 empty] | 1480
Other7 | -- | 1.4995 | 3.924 | 9.7194
TOTAL | 3278.9 | 3234.9188 | 3024.5284 | 2963.2378
Note: Reported average is for a period shorter than the number of years indicated by the column heading if the plant came on line during that period.
Note: In Table E1, NorthWestern Energy QFs were grouped under that category. In this table, NorthWestern Energy QFs are split out by the company that owns the generation
1 aMW = average megawatt, or 8,760 megawatt hours in a year. Average Megawatts may include fewer years than the column range given if the generator started up recently
2 Output for Colstrip 1-4 is reported for the entire facility, not individual units. In this table, output was allocated/estimated among the partners on the basis of their ownership percentages as individual company outputs were not available. Puget Sound purchases NextEra's wind.
3 Distributes power generated at one US Corps of Engineers (Libby) and one US Bureau of Reclamation (Hungry Horse) dam.
4 NorthWestern Energy's number does not include most of their QFs with the exception of three smaller NorthWestern Energy QFs.
5 In 2014, the Salish-Kootenai Tribe took over the Kerr Dam from NorthWestern Energy and renamed it. Before that, is was owned by PPL Montana.
6 Distributes power generated at one US Corps of Engineers and two US Bureau of Reclamation dams.
7 Other includes Stoltz co-gen plant and Granite County
8 In 2014, NorthWestern Energy took over PPL's hydro dams. For simplicity, the hydros are included under 'Talen (includes former PPL assets) up to 2015, and are included under 'NorthWestern Energy' for the 2016-20 timeframe
9Colstrip units 1 and 2 shut down in 2020 which accounts for some of the decrease in Montana's total average electricity produced in 2021-2022
Source: Same as in Table E2 plus Montana DEQ institutional knowledge and inquiries with utilities over time

## Chart E3a
Chart E3a. Electricty Ownership Capacity in Montana by Company, 1970-2024 (Total MW)
Source: See Table E1

## Chart E3b
Chart E3b. Average Annual Electric Generation By Largest Plants in Montana, 2016-2020 (aMW)
|  | Plant | aMW
|  | Rim Rock Wind Farm | 74.0043
|  | Judith Gap Wind | 52.9785
|  | Noxon Rapids Dam | 195.7165
|  | Hungry Horse Dam | 101.673
|  | Libby Dam | 237.1111
|  | Ryan Dam | 51.3925
|  | Thompson Falls Dam | 54.7601
|  | Selis Ksanka Qlispe Dam | 104.9899
|  | Fort Peck Dam | 116.9112
|  | Yellowtail Dam | 104.2932
|  | Colstrip Coal Fired Plant | 1385.7576
|  | Corrette Coal Fired Plant | 51.9047
|  | All Other Generators | 700
Electric Generation by Largest Plants in Montana, 2023 (MWh) | (I should make a more specific title indicating 10 top generators of electricity in 2023) | Plant | MWh
|  | Colstrip | 10820444
|  | Libby Dam | 1581208
|  | Noxon Rapids Dam | 1304311
|  | Yellowtail Dam | 845979
|  | Selis Ksanka Qlispe Dam | 804794
|  | Fort Peck Dam | 701188
|  | Hungry Horse Dam | 650165
|  | Clearwater Wind I | 1315806
|  | Pryor Mountain Wind | 723768
|  | NaturEner Rim Rock Energy (Wind) | 563641
Net Summer Capacity By Largest Plants in Montana, 2023 (MW) |  | Plant | MW
|  | Colstrip | 1480
|  | Noxon Rapids Dam | 580.7
|  | Libby Dam | 525
|  | Hungry Horse Dam | 428
|  | Yellowtail Dam | 287.5
|  | Selis Ksanka Qlispe Dam | 227.8
|  | Fort Peck Dam | 218
|  | Clearwater Wind I | 365.5
|  | Pryor Mountain Wind | 239.8
|  | NaturEner Rim Rock Energy (Wind) | 184.6

## Table E4
Table E4. Annual Consumption of Fuels for Electric Generation, 1960-20231
| COAL2 | PETROLEUM3 | NATURAL GAS5
YEAR | (thousand short tons) | (thousand barrels) | (million cubic feet)
|  | barrels) | cubic feet)
1960 | 186.9 | * | 341.3
1961 | 262.5 | * | 356.2
1962 | 291.6 | 1.3 | 3712.5
1963 | 285.5 | 0.7 | 3303.3
1964 | 293.8 | 3.6 | 2449.5
1965 | 295.8 | 0.7 | 1992.3
1966 | 323.5 | 82.2 | 2977.2
1967 | 325.4 | 6.1 | 502.5
1968 | 399.2 | 22.9 | 631.3
1969 | 576.6 | 104.9 | 1520.5
1970 | 722.7 | 26 | 2529.4
1971 | 672 | 0.2 | 1079.8
1972 | 768.7 | 17.5 | 1217.4
1973 | 892.6 | 152.2 | 2167.4
1974 | 854.6 | 14 | 1038
1975 | 1061.3 | 62.6 | 1073.3
1976 | 2373.7 | 81.1 | 708.5
1977 | 3196.7 | 195.3 | 953.3
1978 | 3184.2 | 98.1 | 909.4
1979 | 3461.4 | 146.5 | 2320.4
1980 | 3351.6 | 58.6 | 4182.1
1981 | 3337.9 | 38.5 | 2069.4
1982 | 2595.8 | 30.6 | 337
1983 | 2356 | 31 | 335
1984 | 5113 | 78 | 360
1985 | 5480 | 38 | 468
1986 | 7438 | 25 | 407
1987 | 7530 | 44 | 478
1988 | 10410 | 63 | 286
1989 | 10208 | 60 | 336
1990 | 9572.552 | 66.616 | 587.869
1991 | 10460.288 | 46.092 | 427.335
1992 | 11027.734 | 37.706 | 369.911
1993 | 9121.194 | 50.516 | 419.584
1994 | 10780.515 | 45.784 | 765.295
1995 | 9640.755 | 474.349 | 626.284
1996 | 8074.851 | 662.752 | 707.352
1997 | 9464.685 | 664.073 | 673.04
1998 | 10896.465 | 1072.4 | 734.478
1999 | 10902.921 | 1143.567 | 520.46
2000 | 10385.396 | 1167.279 | 409.234
2001 | 10838.145 | 1080.865 | 297.25
2002 | 9746.411 | 1057.987 | 244.602
2003 | 11031.665 | 981.132 | 333.892
2004 | 11321.883 | 752.1122 | 260.6772
2005 | 11587.5 | 708.0426 | 275.9672
2006 | 11302.084 | 727.0107 | 622.6889
2007 | 11928.925 | 824.077 | 1044.933
2008 | 12011.567 | 809.172 | 573.075
2009 | 10151.222 | 927.619 | 771.585
2010 | 12005.206 | 777.876 | 726.801
20114 | 9772 | 878 | 4681
2012 | 9064 | 890 | 5370
2013 | 9570 | 892 | 7273
2014 | 10187 | 821 | 5936
2015 | 10283 | 944 | 6558
2016 | 9331 | 839 | 5382
2017 | 8946 | 840 | 4706
2018 | 8738 | 807 | 5153
2019 | 9280 | 847 | 5510
20205 | 5630 | 847 | 3445
2021 | 6913 | 856 | 5744
2022 | 7399 | 858 | 7746
2023 | 7371 | 910 | 10315
* less than 50 barrels
1 Data includes fuel use at independent power producers, which first came on line in 1990. The data do not include all self-generation at industrial facilities. Data exclude small amounts of waste gases used for generation.
2 Coal includes anthracite, bituminous coal, subbituminous coal, lignite, waste coal, and synthetic coal. As of 2011, coal also inlcudes synthesis gas derived from coal.
3 Petroleum includes distillate fuel oil (all diesel and No. 1, No. 2, and No. 4 fuel oils), residual fuel oil (No. 5 and No. 6 fuel oils and bunker C fuel oil), jet fuel, kerosene, petroleum coke, waste oil, and beginning in 2011, propane. Most oil burned today in Montana for electricity is in the form of petroleum coke at YELP which opened in 1995 and accounts for the uptick in that column.
4 The Frank Bird Natural Gas plant in Billings stopped operating in the early 1980's, which likely accounts for the sudden drop in natural gas used for electric generation in 1982. The Basin Creek Power plant opened in 2006 accounting for some uptick in natural gas usage. The Dave Gates Generating Station which began production in 2011 accounts for the significant uptick in natural gas usage for 2011. It is unclear why natural gas use for generation is up in 2022 and 2023. This increase in natural gas usage, increasing wind generation, and above average run-off years in 2011 and 2012 are some of the reasons for lower coal usage starting in 2011. Lower coal amounts in 2020 are due to Colstrip units 1 and 2 shutting down.
5 In early 2020, Colstrip Units 1 and 2 closed down and the Hardin Plant was not running. The Hardin plant ran for much of 2021.
Sources: Federal Energy Regulatory Commission, Form 4 News Releases (1960-76); U.S. Department of Energy, Energy Information Administration, Electric Power Statistics, EIA-0034 (1977-78); U.S. Department of Energy, Energy Information Administration, Power Production, Fuel Consumption and Installed Capacity, EIA-0049 (1979); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1980-89); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, Form EIA-923 detailed data with previous form data and Monthly Energy Review (EIA-906/920), found in file 'Annual_consumption_state' (1990-2023) found at https://www.eia.gov/electricity/data/state/.

## Table E5
Table E5. Net Electric Generation by Type of Fuel Unit, 1960-20221,2,4
| HYDROELECTRIC |  | COAL |  | PETROLEUM3 |  | NATURAL GAS |  | Wind5 |  | Solar5 |  | Other6
YEAR | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | (million kWh) % |  | TOTAL6
1960 | 5801 | 96.81% | NA | 0% | 0 | 0% | NA | 0% | 0 | 0% | 0 | 0% | NA | NA | 5992
1961 | 6499 | 95.86% | 263 | 3.879% | 0 | 0% | 19 | 0.2802% | 0 | 0% | 0 | 0% | NA | NA | 6780
1962 | 6410 | 90.91% | 291 | 4.127% | 1 | 0.01418% | 349 | 4.95% | 0 | 0% | 0 | 0% | NA | NA | 7051
1963 | 6011 | 91.16% | 284 | 4.307% | 0 | 0% | 299 | 4.534% | 0 | 0% | 0 | 0% | NA | NA | 6594
1964 | 6821 | 93.07% | 286 | 3.902% | 2 | 0.02729% | 220 | 3.002% | 0 | 0% | 0 | 0% | NA | NA | 7329
1965 | 8389 | 94.84% | 285 | 3.222% | 0 | 0% | 171 | 1.933% | 0 | 0% | 0 | 0% | NA | NA | 8845
1966 | 7940 | 92.62% | 317 | 3.698% | 43 | 0.5016% | 273 | 3.184% | 0 | 0% | 0 | 0% | NA | NA | 8573
1967 | 8703 | 96.05% | 314 | 3.465% | 3 | 0.03311% | 41 | 0.4525% | 0 | 0% | 0 | 0% | NA | NA | 9061
1968 | 8925 | 94.74% | 434 | 4.607% | 10 | 0.1061% | 52 | 0.552% | 0 | 0% | 0 | 0% | NA | NA | 9421
1969 | 9447 | 91% | 735 | 7.08% | 52 | 0.5009% | 147 | 1.416% | 0 | 0% | 0 | 0% | NA | NA | 10381
1970 | 8745 | 87.86% | 966 | 9.706% | 14 | 0.1407% | 228 | 2.291% | 0 | 0% | 0 | 0% | NA | NA | 9953
1971 | 9595 | 90.58% | 901 | 8.506% | 1 | 0.00944% | 96 | 0.9063% | 0 | 0% | 0 | 0% | NA | NA | 10593
1972 | 9444 | 88.77% | 1079 | 10.14% | 7 | 0.0658% | 108 | 1.015% | 0 | 0% | 0 | 0% | NA | NA | 10639
1973 | 7517 | 82.75% | 1303 | 14.34% | 69 | 0.7596% | 195 | 2.147% | 0 | 0% | 0 | 0% | NA | NA | 9084
1974 | 9726 | 88.1% | 1210 | 10.96% | 6 | 0.05435% | 98 | 0.8877% | 0 | 0% | 0 | 0% | NA | NA | 11040
1975 | 9560 | 85.23% | 1544 | 13.76% | 17 | 0.1516% | 96 | 0.8558% | 0 | 0% | 0 | 0% | NA | NA | 11217
1976 | 12402 | 77.25% | 3558 | 22.16% | 27 | 0.1682% | 67 | 0.4173% | 0 | 0% | 0 | 0% | NA | NA | 16054
1977 | 8460 | 63.01% | 4788 | 35.66% | 92 | 0.6852% | 87 | 0.6479% | 0 | 0% | 0 | 0% | NA | NA | 13427
1978 | 11708 | 70.12% | 4871 | 29.17% | 35 | 0.2096% | 84 | 0.5031% | 0 | 0% | 0 | 0% | NA | NA | 16698
1979 | 10344 | 65.87% | 5114 | 32.56% | 58 | 0.3693% | 188 | 1.197% | 0 | 0% | 0 | 0% | NA | NA | 15704
1980 | 9966 | 64.38% | 5140 | 33.21% | 22 | 0.1421% | 351 | 2.268% | 0 | 0% | 0 | 0% | NA | NA | 15479
1981 | 11323 | 68.38% | 5047 | 30.48% | 13 | 0.07851% | 176 | 1.063% | 0 | 0% | 0 | 0% | NA | NA | 16559
1982 | 10920 | 73.7% | 3853 | 26.01% | 10 | 0.06749% | 33 | 0.2227% | 0 | 0% | 0 | 0% | NA | NA | 14816
1983 | 11561.2298 | 76.78% | 3452 | 22.93% | 10 | 0.06641% | 34 | 0.2258% | 0 | 0% | 0 | 0% | NA | NA | 15057.2298
1984 | 11112.5288 | 58.99% | 7650 | 40.61% | 36 | 0.1911% | 40 | 0.2123% | 0 | 0% | 0 | 0% | NA | NA | 18838.5288
1985 | 10177.7917 | 54.38% | 8465 | 45.23% | 16 | 0.08548% | 58 | 0.3099% | 0 | 0% | 0 | 0% | NA | NA | 18716.7917
1986 | 10863.1036 | 48.51% | 11469 | 51.22% | 9 | 0.04019% | 52 | 0.2322% | 0 | 0% | 0 | 0% | NA | NA | 22393.1036
1987 | 8930.8544 | 42.85% | 11836 | 56.79% | 17 | 0.08157% | 58 | 0.2783% | 0 | 0% | 0 | 0% | NA | NA | 20841.8544
1988 | 8246.1294 | 33.28% | 16462 | 66.45% | 30 | 0.1211% | 37 | 0.1493% | 0 | 0% | 0 | 0% | NA | NA | 24775.1294
1989 | 9580.4046 | 37.16% | 16129 | 62.56% | 30 | 0.1164% | 43 | 0.1668% | 0 | 0% | 0 | 0% | NA | NA | 25782.4046
1990 | 10717 | 41.17% | 15120 | 58.09% | 28 | 0.1076% | 55 | 0.2113% | 0 | 0% | 0 | 0% | 109 | 0.4187% | 26030 | 1990
1991 | 11970 | 41.92% | 16433 | 57.55% | 20 | 0.07005% | 32 | 0.1121% | 0 | 0% | 0 | 0% | 99 | 0.3467% | 28553 | 1991
1992 | 8271 | 31.93% | 17454 | 67.39% | 17 | 0.06564% | 35 | 0.1351% | 0 | 0% | 0 | 0% | 123 | 0.4749% | 25900 | 1992
1993 | 9614 | 40.27% | 14083 | 58.99% | 22 | 0.09215% | 35 | 0.1466% | 0 | 0% | 0 | 0% | 119 | 0.4985% | 23873 | 1993
1994 | 8150 | 32.4% | 16809 | 66.83% | 20 | 0.07951% | 73 | 0.2902% | 0 | 0% | 0 | 0% | 100 | 0.3976% | 25153 | 1994
1995 | 10746 | 41.39% | 14934 | 57.52% | 168 | 0.6471% | 49 | 0.1887% | 0 | 0% | 0 | 0% | 65 | 0.2504% | 25961 | 1995
1996 | 13795 | 51.4% | 12463 | 46.44% | 445 | 1.658% | 55 | 0.2049% | 0 | 0% | 0 | 0% | 80 | 0.2981% | 26837 | 1996
1997 | 13406 | 46.9% | 14616 | 51.13% | 437 | 1.529% | 49 | 0.1714% | 0 | 0% | 0 | 0% | 79 | 0.2763% | 28587 | 1997
1998 | 11118 | 39.06% | 16785 | 58.98% | 427 | 1.5% | 56 | 0.1968% | 0 | 0% | 0 | 0% | 75 | 0.2635% | 28461 | 1998
1999 | 13822 | 43.99% | 16993 | 54.09% | 487 | 1.55% | 37 | 0.1178% | 0 | 0% | 0 | 0% | 81 | 0.2578% | 31419 | 1999
2000 | 9623 | 36.38% | 16201 | 61.25% | 519.891 | 1.965% | 26.607 | 0.1006% | 0 | 0% | 0 | 0% | 81 | 0.3062% | 26452 | 2000
2001 | 6613 | 27.29% | 17036 | 70.3% | 497.614 | 2.054% | 20.089 | 0.0829% | 0 | 0% | 0 | 0% | 65 | 0.2682% | 24232 | 2001
2002 | 9567 | 37.56% | 15338 | 60.21% | 469.659 | 1.844% | 16.678 | 0.06547% | 0 | 0% | 0 | 0% | 83 | 0.3258% | 25474 | 2002
2003 | 8702 | 33.13% | 17049 | 64.9% | 402.164 | 1.531% | 25.468 | 0.09695% | 0 | 0% | 0 | 0% | 91 | 0.3464% | 26269 | 2003
2004 | 8856 | 33.06% | 17380 | 64.88% | 439.137 | 1.639% | 27.953 | 0.1043% | 0 | 0% | 0 | 0% | 85 | 0.3173% | 26789 | 2004
2005 | 9587 | 34.31% | 17823 | 63.79% | 414.876 | 1.485% | 26.938 | 0.09642% | 0 | 0% | 0 | 0% | 86 | 0.3078% | 27939 | 2005
2006 | 10130 | 35.87% | 17085 | 60.49% | 419.124 | 1.484% | 67.58 | 0.2393% | 435.97 | 1.544% | 0 | 0% | 106 | 0.3753% | 28244 | 2006
2007 | 9364.336 | 32.37% | 18356.775 | 63.45% | 478.677 | 1.655% | 105.974 | 0.3663% | 495.776 | 1.714% | 0 | 0% | 130 | 0.4493% | 28931 | 2007
2008 | 9999.557 | 33.74% | 18331.532 | 61.85% | 419.15 | 1.414% | 65.659 | 0.2215% | 593.138 | 2.001% | 0 | 0% | 228 | 0.7693% | 29637 | 2008
2009 | 9505.94 | 35.59% | 15611.279 | 58.44% | 490.433 | 1.836% | 77.762 | 0.2911% | 820.924 | 3.073% | 0 | 0% | 206 | 0.7712% | 26713 | 2009
2010 | 9414.662 | 31.6% | 18600.634 | 62.44% | 408.501 | 1.371% | 57.112 | 0.1917% | 930.233 | 3.123% | 0 | 0% | 380 | 1.276% | 29791 | 2010
2011 | 12596 | 41.81% | 15056 | 49.97% | 461 | 1.53% | 418 | 1.387% | 1166 | 3.87% | 0 | 0% | 333 | 1.105% | 30129 | 2011
2012 | 11283 | 40.58% | 13987 | 50.3% | 467 | 1.68% | 464 | 1.669% | 1262 | 4.539% | 0 | 0% | 341 | 1.226% | 27805 | 2012
2013 | 9638 | 34.81% | 14880 | 53.74% | 462 | 1.669% | 614 | 2.218% | 1755 | 6.339% | 0 | 0% | 338 | 1.221% | 27687 | 2013
2014 | 11483 | 37.95% | 15579 | 51.49% | 428 | 1.415% | 515 | 1.702% | 1974 | 6.524% | 0 | 0% | 278 | 0.9188% | 30258 | 2014
2015 | 9888 | 33.75% | 16013 | 54.65% | 496 | 1.693% | 599 | 2.044% | 1965 | 6.706% | 0 | 0% | 341 | 1.164% | 29302 | 2015
2016 | 10083 | 36.29% | 14269 | 51.36% | 460 | 1.656% | 476 | 1.713% | 2140 | 7.702% | 8 | 0.02879% | 356 | 1.281% | 27784 | 2016
2017 | 10946 | 38.79% | 13864 | 49.13% | 459 | 1.626% | 417 | 1.478% | 2155 | 7.636% | 14 | 0.04961% | 367 | 1.3% | 28221
2018 | 11405 | 40.45% | 13360 | 47.38% | 446 | 1.582% | 476 | 1.688% | 2153 | 7.636% | 34 | 0.1206% | 326 | 1.156% | 28195
2019 | 10005 | 35.99% | 14101 | 50.73% | 465 | 1.673% | 507 | 1.824% | 2373 | 8.537% | 29 | 0.1043% | 287 | 1.032% | 27797
2020 | 10748 | 46.02% | 8490 | 36.36% | 457 | 1.957% | 291 | 1.246% | 3059 | 13.1% | 33 | 0.1413% | 276 | 1.182% | 23353
2021 | 9258 | 37.11% | 10876 | 43.59% | 451 | 1.808% | 528 | 2.116% | 3473 | 13.92% | 33 | 0.1323% | 328 | 1.315% | 24948
2022 | 9886 | 36.49% | 11651 | 43.01% | 465 | 1.717% | 729 | 2.691% | 4022 | 14.85% | 32 | 0.1181% | 286 | 1.056% | 27089
2023 | 8792 | 32.69% | 11553 | 42.95% | 491 | 1.826% | 1002 | 3.725% | 4557 | 16.94% | 240 | 0.8923% | 355 | 1.32% | 26896
NA = Not available
Note: The' Total' column may include other fuels not listed in the first five columns and therefore column percentages may not add up to 100%
1 Gross generation less the electric energy consumed at the generating station for facilities with greater than 1 MW nameplate and owned by or selling to electric utilities and cooperatives. Starting in 1983, annual output of non-utility plants selling into the grid is included. Data are collected from a monthly sample of approximately 1,900 plants, which includes a census of nuclear and pumped‐storage hydroelectric plants. In addition approximately 4,050 plants, representing all other generators 1 MW or greater, are collected annually.
2 Output from certain hydro and wind facilities, most notably Lake Creek (1996-2010) and Tiber (2004-2005), aren't included in the EIA database; the sum of these exclusions is around 65-75 million kWh (~8 aMW) at its highest and much less otherwise. Further, there are several known errors and probably additional errors not known to DEQ. Because the net error in the EIA data is not known, DEQ has not made any corrections in these data except as noted in Footnote 4.
3 Primarily petroleum coke and some fuel oil.
4 U.S. DOE figures appear to have double-counted output from some of the dams the Montana Power Company sold to PPL in December of 1999. Therefore, DEQ adjusted the hydroelectric generation and total generation, based on data presented in Table E3.
5 Solar data includes all utility scale generation, which is 1MW or larger. In Montana, this includes energy from large solar farms that are 2 MW to 80 MW in size. It does not include very small wind or solar units such as those owned by residential customers (net-metered systems) or some community solar projects.
6 From 1990 forward, the TOTAL column includes minor amounts of generation from sources not listed in the table. Sources listed in the table from 1990 on under the 'Other' column include electricity generated from biomass, biogas, wood burning, blast furnace gas, propane gas, and other manufactured and waste gases derived from fossil fuels, and possibly purchased steam from an existing pipeline. Biomass (electricity from burning wood) is missing from the data for a few years. Starting in 2008, an additional "other" category was included in the U.S. EIA data increasing the numbers in this columns, most likely capturing landfill gas from the Flathead Co-op landfill-to-gas facility north of Kalispell. Specific Montana plants in the "Other" category include the Stoltz biomass plant, Flathead landfill biogas and Ormat waste heat among others. This table is useful for long-term trends; Table E2 is more detailed for recent production figures.
Sources: Federal Power Commission (1960-76); U.S. Department of Energy, Energy Information Administration, Power Production, Fuel Consumption and Installed Capacity Data, EIA-0049 (1977-80); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1981-89); U.S. Department of Energy, Energy Information Administration, 1990-2022, Form EIA-923 detailed data with previous form data (EIA-906/920), 'Net Generation by State by Type of Producer by Energy Source, fille named 'Annual_generation_state', https://www.eia.gov/electricity/data/state/. Up to 2019, Solar data came from NWE generating capacity additions as reported by Montana Renewable Energy Association based on data from NWE. As of 2020, solar data is from the same source as the other fuels.
2015 Output
| 2015 | Coal | Hydro | Natural Gas | Wind | Petrol/Coke
|  | 16013 | 9888 | 599 | 1965 | 496

## Table E6
Table E6. Annual Sales of Electricity by Sector, 1960-2023 (million kilowatt-hours)
| MONTANA |  |  |  |  | USA
Year | Residential | Commercial | Industrial | Other1 | Total | TOTAL
1960 | 935 | 479 | 2951 | 209 | 4575 | 686493
1961 | 982 | 518 | 2975 | 222 | 4697 | 720120
1962 | 1041 | 551 | 3099 | 254 | 4946 | 775381
1963 | 1077 | 574 | 3191 | 259 | 5101 | 830079
1964 | 1139 | 610 | 3544 | 249 | 5541 | 896059
1965 | 1216 | 654 | 3939 | 270 | 6080 | 959493
1966 | 1261 | 698 | 4657 | 286 | 6902 | 1035145
1967 | 1291 | 746 | 4282 | 293 | 6612 | 1099137
1968 | 1373 | 805 | 4982 | 273 | 7433 | 1202871
1969 | 1462 | 863 | 6208 | 247 | 8781 | 1312406
1970 | 1534 | 924 | 6029 | 264 | 8750 | 1392300
1971 | 1633 | 990 | 5999 | 268 | 8890 | 1469306
1972 | 1768 | 1070 | 5660 | 265 | 8763 | 1595161
1973 | 1812 | 1125 | 5034 | 246 | 8217 | 1713380
1974 | 1873 | 1156 | 5929 | 213 | 9171 | 1707852
1975 | 2058 | 1250 | 5069 | 197 | 8575 | 1736267
1976 | 2261 | 1525 | 5922 | 203 | 9911 | 1855246
1977 | 2440 | 1625 | 5759 | 189 | 10013 | 1948361
1978 | 2754 | 1768 | 6106 | 158 | 10786 | 2017922
1979 | 2957 | 1907 | 6111 | 154 | 11129 | 2071099
1980 | 2916 | 1957 | 5815 | 137 | 10825 | 2094449
1981 | 2906 | 2045 | 5848 | 157 | 10956 | 2147103
1982 | 3178 | 2180 | 4759 | 159 | 10276 | 2086441
1983 | 3097 | 2334 | 4217 | 166 | 9813 | 2150955
1984 | 3386 | 2687 | 5229 | 164 | 11466 | 2278372
1985 | 3505 | 2521 | 5623 | 173 | 11822 | 2309543
1986 | 3181 | 2302 | 5948 | 161 | 11593 | 2350835
1987 | 3139 | 2495 | 6304 | 484 | 12423 | 2457272
1988 | 3301 | 2620 | 6438 | 582 | 12942 | 2578062
1989 | 3456 | 2670 | 6535 | 400 | 13061 | 2646809
1990 | 3358.385 | 2737.526 | 6529.326 | 499.346 | 13124.583 | 2712554.665
1991 | 3458.893 | 2818.85 | 6622.098 | 506.759 | 13406.6 | 2762003.04
1992 | 3286.365 | 2859.488 | 6414.379 | 536.15 | 13096.382 | 2763365.449
1993 | 3597.987 | 3026.077 | 5836.579 | 468.584 | 12929.227 | 2861462.34
1994 | 3566.917 | 3096.032 | 5960.54 | 560.645 | 13184.134 | 2934562.864
1995 | 3639.879 | 3133.252 | 6367.702 | 277.69 | 13418.523 | 3013286.589
1996 | 3910.516 | 3298.6 | 6305.683 | 304.757 | 13819.556 | 3101127.023
19972 | 3803.973 | 3292.924 | 6353 | 283.918 | 13733.815 | 3145610.428
1998 | 3722.471 | 3313.181 | 6773.787 | 335.393 | 14144.832 | 3264230.752
1999 | 3664.414 | 3025.111 | 6257.748 | 334.326 | 13281.599 | 3312087.081
2000 | 3907.754 | 3791.861 | 6567.934 | 312.433 | 14579.982 | 3421414.266
2001 | 3886.224 | 3865.679 | 3370.259 | 324.496 | 11446.658 | 3394458.104
2002 | 4030.664 | 4003.108 | 4462.794 | 334.822 | 12831.388 | 3465466.011
2003 | 4120.15 | 4437.53 | 4266.98 | NA | 12824.66 | 3493734.486
2004 | 4052.761 | 4330.178 | 4573.843 | NA | 12956.782 | 3547479.483
2005 | 4221.448 | 4473.394 | 4783.996 | NA | 13478.838 | 3660968.513
2006 | 4393.973 | 4685.992 | 4735.015 | NA | 13814.98 | 3669918.84
2007 | 4541.544 | 4827.724 | 6162.717 | NA | 15531.985 | 3764560.712
2008 | 4669.467 | 4825.52 | 5831.413 | NA | 15326.4 | 3732962.18
2009 | 4774.281 | 4779.366 | 4772.512 | NA | 14326.159 | 3596864.866
2010 | 4742.794 | 4789.182 | 3891.162 | NA | 13423.138 | 3754493.053
2011 | 4913 | 4892 | 3983 | NA | 13788 | 3282882
2012 | 4778 | 4918 | 4168 | NA | 13863 | 3694650
2013 | 4926 | 4890 | 4229 | NA | 14045 | 3725064
2014 | 4969 | 4903 | 4230 | NA | 14102 | 3764700
2015 | 4825 | 4894 | 4488 | NA | 14207 | 3758992
2016 | 4853 | 4832 | 4416 | NA | 14101 | 3762462
2017 | 5225 | 4970 | 4515 | NA | 14710 | 3723356
2018 | 5198 | 4921 | 4720 | NA | 14839 | 3859185
2019 | 5308 | 4956 | 5057 | NA | 15321 | 3811150
2020 | 5380 | 4702 | 4502 | NA | 14584 | 3717674
2021 | 5559 | 4906 | 4496 | NA | 14962 | 3805874
2022 | 5865 | 5044 | 4658 | NA | 15567 | 3909053
2023 | 5755.522 | 5063.035 | 4686.142 | NA | 15504.699 | 3874253
NA: Not available. This category is now rolled into Commercial or Industrial; there are no Transportation sales reported in Montana as of 2015.
1 Beginning in 2003 the 'Other Sector' category has been eliminated. The Residential sector consists of living quarters for private households. Common uses of energy associated with this sector include space heating, water heating, air conditioning, lighting, refrigeration, cooking, and running a variety of other appliances. The Commercial sector consists of service-providing facilities and equipment of: businesses; Federal, State, and local governments; and other private and public organizations, such as religious, social, or fraternal groups. The commercial sector includes institutional living quarters and sewage treatment facilities. The industrial sector encompasses the following types of activity: manufacturing, agriculture, forestry, mining, including oil and gas extraction, and construction. Overall energy use in this sector is largely for process heat and cooling and powering machinery, with lesser amounts used for facility heating, air conditioning, and lighting. Source: EIA Electric Power Monthly.
2 EIA data on industrial sales corrected by adding BPA sales of 1,816 million kWh, which EIA didn't include in this year.
Sources: Federal Power Commission (1960-76); U.S. Department of Energy, Energy Information Administration, Electric Power Statistics, EIA-0034 (1977-78); U.S. Department of Energy, Energy Information Administration, Financial Statistics of Electric Utilities and Interstate Natural Gas Pipeline Companies, EIA-0147 (1979-80); U.S. Department of Energy, Energy Information Administration, Electric Power Annual, EIA-0348 (1981-99); U.S. Department of Energy, Energy Information Administration, Form 861 Database (2000-2022), Annual-by sector by state; https://www.eia.gov/electricity/data/state/.

## Table E7
Table E7. Average Annual Retail Prices for Electricity Sold, 1960-2023 (cents per kilowatt-hour)1
| MONTANA |  |  |  | U.S. | inflation adjustments
Year2 | Residential | Commercial | Industrial | All Montana Sales | All Sales | cpi (inflationdata.com) | Residential | Commercial | Industrial | All Montana Sales
1960 | 2.33 | 2.25 | 0.43 | 1.05 | 1.69
1961 | 2.32 | 2.18 | 0.45 | 1.06 | 1.69
1962 | 2.29 | 2.13 | 0.46 | 1.07 | 1.67
1963 | 2.25 | 2.06 | 0.45 | 1.07 | 1.64
1964 | 2.2 | 2.02 | 0.45 | 1.03 | 1.63
1965 | 2.12 | 1.93 | 0.44 | 0.98 | 1.59
1966 | 2.09 | 1.92 | 0.43 | 0.92 | 1.56
1967 | 2.04 | 1.89 | 0.42 | 0.95 | 1.55
1968 | 1.99 | 1.83 | 0.4 | 0.9 | 1.54
1969 | 2.1 | 1.93 | 0.41 | 0.88 | 1.54
1970 | 2.13 | 1.94 | 0.42 | 0.94 | 1.59
1971 | 2.12 | 1.94 | 0.43 | 0.95 | 1.68
1972 | 2.16 | 1.98 | 0.44 | 1 | 1.77
1973 | 2.21 | 2.04 | 0.53 | 1.16 | 1.86
1974 | 2.23 | 2.05 | 0.5 | 1.1 | 2.3
1975 | 2.19 | 2.08 | 0.62 | 1.25 | 2.7
1976 | 2.23 | 2.06 | 0.6 | 1.24 | 2.89
1977 | 2.38 | 1.9 | 0.67 | 1.38 | 3.21
1978 | 2.62 | 2.5 | 0.72 | 1.53 | 3.46
1979 | 2.67 | 2.52 | 0.8 | 1.62 | 3.82
1980 | 2.95 | 2.78 | 0.98 | 1.87 | 4.49
1981 | 3.38 | 3.19 | 1.3 | 2.24 | 5.16
1982 | 3.58 | 3.3 | 2.09 | 2.81 | 5.79
1983 | 4.19 | 3.88 | 2.37 | 3.31 | 6
1984 | 4.3 | 3.88 | 2.57 | 3.38 | 6.27
1985 | 4.7 | 4.2 | 2.55 | 3.56 | 6.47
1986 | 5.02 | 4.54 | 2.6 | 3.71 | 6.47
1987 | 5.23 | 4.68 | 2.72 | 3.83 | 6.39
1988 | 5.41 | 4.79 | 3.16 | 4.14 | 6.36
1989 | 5.38 | 4.68 | 3.09 | 4.09 | 6.47
1990 | 5.45 | 4.68 | 2.87 | 3.96 | 6.571 | 130.7 | 12.7056 | 10.9105 | 6.6909 | 9.232
1991 | 5.76 | 5 | 2.92 | 4.14 | 6.7472 | 136.2 | 12.8861 | 11.1858 | 6.5325 | 9.2619
1992 | 5.84 | 5.17 | 2.89 | 4.19 | 6.8207 | 140.3 | 12.6832 | 11.2281 | 6.2765 | 9.0998
1993 | 5.77 | 5.1 | 3.1 | 4.36 | 6.9272 | 144.5 | 12.167 | 10.7542 | 6.5369 | 9.1938
1994 | 5.96 | 5.17 | 3.3 | 4.51 | 6.9075 | 148.2 | 12.2539 | 10.6296 | 6.7849 | 9.2726
1995 | 6.09 | 5.31 | 3.44 | 4.65 | 6.8934 | 152.4 | 12.1761 | 10.6166 | 6.8778 | 9.297
1996 | 6.22 | 5.51 | 3.3 | 4.72 | 6.8558 | 156.9 | 12.0793 | 10.7005 | 6.4086 | 9.1663
1997 | 6.4 | 5.8 | 3.66 | 5.2 | 6.8455 | 160.5 | 12.1501 | 11.011 | 6.9483 | 9.872
1998 | 6.5 | 5.87 | 3.19 | 4.8 | 6.7351 | 163 | 12.1507 | 10.973 | 5.9632 | 8.9728
1999 | 6.78 | 6.35 | 2.74 | 4.77 | 6.6392 | 166.6 | 12.4002 | 11.6138 | 5.0113 | 8.7241
2000 | 6.49 | 5.6 | 3.97 | 5 | 6.81 | 172.2 | 11.4838 | 9.909 | 7.0248 | 8.8473
2001 | 6.88 | 5.91 | 6.59 | 6.48 | 7.29 | 177.1 | 11.8371 | 10.1682 | 11.3381 | 11.1489
2002 | 7.23 | 6.28 | 3.71 | 5.7 | 7.2 | 179.88 | 12.247 | 10.6378 | 6.2844 | 9.6553
2003 | 7.56 | 6.85 | 4.03 | 6.14 | 7.44 | 183.96 | 12.522 | 11.346 | 6.6751 | 10.17
2004 | 7.86 | 7.42 | 4.15 | 6.4 | 7.61 | 188.9 | 12.6784 | 11.9687 | 6.6941 | 10.3234
2005 | 8.1 | 7.43 | 4.83 | 6.72 | 8.14 | 195.3 | 12.6374 | 11.5921 | 7.5356 | 10.4844
2006 | 8.28 | 7.44 | 5.12 | 6.91 | 8.9 | 201.6 | 12.5145 | 11.245 | 7.7385 | 10.4439
2007 | 8.77 | 8.1 | 5.16 | 7.13 | 9.13 | 207.342 | 12.8881 | 11.9035 | 7.5829 | 10.478
2008 | 9.13 | 8.54 | 5.9 | 7.72 | 9.74 | 215.303 | 12.921 | 12.086 | 8.3498 | 10.9255
2009 | 8.93 | 8.32 | 5.45 | 7.57 | 9.82 | 214.537 | 12.6831 | 11.8167 | 7.7405 | 10.7515
2010 | 9.16 | 8.55 | 5.49 | 7.88 | 9.83 | 218.056 | 12.7998 | 11.9474 | 7.6715 | 11.0112
2011 | 9.75 | 9.12 | 5.27 | 8.23 | 9.9 | 224.939 | 13.2073 | 12.3539 | 7.1387 | 11.1483
2012 | 10.08 | 9.13 | 5.1 | 8.25 | 9.84 | 229.594 | 13.3775 | 12.1167 | 6.7684 | 10.9489
2013 | 10.33 | 9.54 | 5.43 | 8.58 | 10.12 | 232.957 | 13.5114 | 12.4781 | 7.1023 | 11.2224
2014 | 10.18 | 9.64 | 5.49 | 8.59 | 10.44 | 236.736 | 13.1026 | 12.4076 | 7.0662 | 11.0562
2015 | 10.88 | 10.23 | 5.32 | 8.9 | 10.41 | 237.017 | 13.987 | 13.1514 | 6.8392 | 11.4416
2016 | 10.94 | 10.19 | 5.06 | 8.84 | 10.27 | 240.008 | 13.8889 | 12.9367 | 6.4239 | 11.2228
2017 | 10.95 | 10.12 | 5.25 | 8.92 | 10.48 | 245.12 | 13.6116 | 12.5799 | 6.5261 | 11.0882
2018 | 10.96 | 10.11 | 5.19 | 8.84 | 10.53 | 251.107 | 13.2992 | 12.2678 | 6.2977 | 10.7268
2019 | 11.13 | 10.41 | 5.45 | 9.02 | 10.54 | 255.657 | 13.2652 | 12.407 | 6.4955 | 10.7504
2020 | 11.24 | 10.51 | 5.18 | 9.13 | 10.59 | 258.811 | 13.233 | 12.3736 | 6.0985 | 10.7489
2021 | 11.22 | 10.54 | 6.24 | 9.5 | 11.1 | 270.97 | 12.6167 | 11.8521 | 7.0168 | 10.6826
2022 | 11.37 | 10.7 | 7.43 | 9.97 | 12.49 | 292.655 | 11.838 | 11.1405 | 7.7359 | 10.3804
2023 | 12.54 | 12.11 | 7.8 | 10.97 | 12.68 | 304.702 | 12.54 | 12.11 | 7.8 | 10.97
1 Average annual prices from 2000-2011, including 'All Montana Sales', were calculated by dividing total revenue by total sales as reported by Edison Electric Institute (1960-1999) and by U.S. Department of Energy, Energy Information Administration (2000-2011). These figures are now given in the data and no longer need to be calculated.
2 In 1998 and 1999, calculation of prices are based on data that include distribution utility receipts for delivering power for power marketers, but may not include revenue and sales for some power marketers. This problem is believed to be most pronounced in 1999, the first full year of deregulation and are believed to be minimal in recent years. Errors in price, where they exist, are most likely to occur in industrial prices.
Source: Edison Electric Institute, Statistical Yearbook of the Electric Utility Industry, 1961-2000; U.S. Department of Energy, Energy Information Administration, 2001-2021 (Data from forms EIA-861- schedules 4A-D, EIA-861S and EIA-861U), 2022-U.S. EIA Electricity Data Browser.
Deregulation in Montana

## Table E8
Table E8. Utility Retail Sales and Consumers by Utility Type, 2021
| RESIDENTIAL |  |  | COMMERCIAL |  |  | INDUSTRIAL |  |  | TOTAL |  |  |  | Residential | Commercial | Industrial | Total
| Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales
UTILITY NAME | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers
Cooperative4 (estimates in italics) | -- | -- | -- | -- | -- | -- | -- | -- | -- | 4514194 | 515.3189 | 219269
Federal | 245187 | 27.9894 | 15327 | 234047 | 26.7177 | 5558 | 57517 | 6.5659 | 1088 | 536751 | 61.2729 | 21973
Investor-Owned | 2913125 | 332.5485 | 331550 | 3321759 | 379.1962 | 80536 | 829863 | 94.7332 | 2095 | 7064747 | 806.478 | 414181
Montana-Dakota Utilities Co | 185827 | 21.2131 | 19760 | 267266 | 30.5098 | 5673 | 296907 | 33.8935 | 121 | 750000 | 85.6164 | 25554
NorthWestern Corporation2 | 2726995 | 311.3008 | 311769 | 3053622 | 348.587 | 74815 | 387337 | 44.2166 | 1970 | 6167954 | 704.1043 | 388554
Power Marketers | 0 | 0 | 0 | 85307 | 9.7382 | 2 | 1166016 | 133.1068 | 7 | 1251323 | 142.8451 | 9
15
STATE TOTALS5 | -- | -- | -- | -- | -- | -- | -- | -- | -- | 13367015 | 1525.915 | 655432
w = withheld
Table E8. Utility Retail Sales and Consumers by Utility Type, 2022
| RESIDENTIAL |  |  | COMMERCIAL |  |  | INDUSTRIAL |  |  | TOTAL
| Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales
UTILITY NAME | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers
Cooperative4 (estimates in italics) | -- | -- | -- | -- | -- | -- | -- | -- | -- | 4716826 | 538.4505 | 223671
Federal | 266491 | 30.4213 | 15830 | 137505 | 15.6969 | 5607 | 18446 | 2.1057 | 1093 | 579522 | 66.1555 | 22546
Investor-Owned | 3059289 | 349.2339 | 336479 | 3379461 | 385.7832 | 82014 | 854541 | 97.5503 | 2183 | 7293514 | 832.5929 | 420676
Montana-Dakota Utilities Co | 193296 | 22.0658 | 19658 | 269507 | 30.7656 | 5699 | 297373 | 33.9467 | 120 | 760176 | 86.7781 | 25477
NorthWestern Corporation2 | 2865830 | 327.1495 | 316799 | 3109006 | 354.9094 | 76268 | 403742 | 46.0893 | 2059 | 6378578 | 728.1482 | 395126
Power Marketers | 0 | 0 | 0 | 13104 | 1.4959 | 1 | 746032 | 85.1635 | 6 | 759136 | 86.6594 | 7
15
STATE TOTALS5 | -- | -- | -- | -- | -- | -- | -- | -- | -- | 13348998 | 1523.8582 | 666900
w = withheld
Table E8. Utility Retail Sales and Consumers by Utility Type, 2023
| RESIDENTIAL |  |  | COMMERCIAL |  |  | INDUSTRIAL |  |  | TOTAL
| Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales |  | Total Sales | Sales
UTILITY NAME | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers | (MWh) | (aMW)1 | Consumers
Cooperative4 (estimates in italics) | -- | -- | -- | -- | -- | -- | -- | -- | -- | 4711241 | 537.8129 | 226766
Federal | 266491 | 30.4213 | 15830 | 137505 | 15.6969 | 5607 | 18446 | 2.1057 | 1093 | 579522 | 66.1555 | 22546
Investor-Owned | 2977527 | 339.8594 | 341902 | 3374534 | 385.2208 | 83365 | 810973 | 92.5768 | 2237 | 7163034 | 817.6979 | 427504
Montana-Dakota Utilities Co | 184041 | 21.0092 | 19629 | 262888 | 30.01 | 5720 | 274060 | 31.2854 | 120 | 720989 | 82.3047 | 25469
Black Hills Power, Inc. | 156 | 0.017808 | 12 | 197 | 0.022489 | 24 | 149609 | 17.0787 | 4 | 149962 | 17.1189 | 40
Avista Corp | 203 | 0.023174 | 9 | 850 | 0.097032 | 23 | 0 | 0 | 0 | 1053 | 0.12021 | 32
NorthWestern Corporation2 | 2793127 | 318.8501 | 322252 | 3110599 | 355.0912 | 77598 | 387304 | 44.2128 | 2113 | 6291030 | 718.1541 | 401963
Power Marketers | 0 | 0 | 0 | 0 | 0 | 0 | 753836 | 86.0543 | 5 | 753836 | 86.0543 | 5
Morgan Stanley Capital Grp Inc | 0 | 0 | 0 | 0 | 0 | 0 | 333172 | 38.0333 | 1 | 333172 | 38.0333 | 1
Talen Energy Marketing, LLC | 0 | 0 | 0 | 0 | 0 | 0 | 420664 | 48.021 | 4 | 420664 | 48.021 | 4
STATE TOTALS5 | -- | -- | -- | -- | -- | -- | -- | -- | -- | 13207633 | 1507.7207 | 676821
w = withheld
Note: The Residential, Commercial and Industrial totals do not always add up to the Totals in the right hand column because some utilities only reported one cumulative number and did not break out categories by end-use sector.
1 One average megawatt = 8,760 megawatt hours. One average megawatt is enough to power about 800 Northwest homes for a year according to https://www.nwcouncil.org/reports/columbia-river-history/megawatt.
2 These figures include direct sales and not the delivery-only electricity on NWE's system which is largely covered under the Power marketers numbers
3 Used to be PPL EnergyPlus LLC
4In 2020, most co-ops in Montana only filled out the short form, which only required reporting total amounts for the year, and did not require those co-ops to report totals by end use sector. Thus, the Residential, Commercial and Industrial Cooperative numbers are not shown. The final co-op numbers are actual numbers reported on the short form.
5 Because consumer class sales totals are not given for each class in the 'Cooperative category', no totals are given in those columns. To see final consumer class sales totals, go to tab E6. The Grand total in this table is taken from adding up the final column on the right. Sums from table E6 do not exactly add up to totals in this table due to differnet data sources.
Source: U.S. Department of Energy, Energy Information Administration, https://www.eia.gov/electricity/data/eia861/, Form EIA-861 and EIA-861S, U.S. EIA website. The short form was used for 2021 to capture all co-ops. The data in these files has been sorted.
[12 empty] | Cooperatives | 4711241
[12 empty] | Federal marketers | 579522
[12 empty] | Investor Owned | 7163034
[12 empty] | Power marketers | 753836
Note on H53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Didn't include the other row for nw in this table, we might be missing almost 3 m MWh of sales from nw in industrial category
Note on K59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We might be missing some sales from NW

## Table E8a
Table E8a. Utility Retail Sales and Consumers by Utility Type by Utility, 2023
| Data Year | Utility Name | Ownership | Megawatthours | Percent of Total Montana Sales | Count
Investor Owned Utilities
| 2023 | Montana-Dakota Utilities Co | Investor Owned | 720989 | 5.463% | 25469
| 2023 | NorthWestern Energy LLC - (MT) | Investor Owned | 6291030 | 47.67% | 401963
| 2023 | Black Hills Power, Inc. | Investor Owned | 149962 | 1.136% | 40
| 2023 | Avista Corp | Investor Owned | 1053 | 0.007979% | 32
|  |  |  | 7163034 | 54.28% | 427504
Federal Entities Selling to Montana1
| 2023 | USBIA-Mission Valley Power | Federal | 416303 | 3.154% | 22806
| 2023 | WAPA-- Western Area Power Administration | Federal | 153134 | 1.16% | 16
|  |  |  | 569437 | 4.315% | 22822
Power Marketers
| 2023 | Morgan Stanley Capital Grp Inc | Retail Power Marketer | 333172 | 2.524% | 1
| 2023 | Talen Energy Marketing, LLC | Retail Power Marketer | 420664 | 3.187% | 4
|  |  |  | 753836 | 5.712% | 5
Cooperatives
| 2023 | Fall River Rural Elec Coop Inc | Cooperative | 50838 | 0.3852% | 2078
| 2023 | Flathead Electric Coop Inc | Cooperative | 1576405 | 11.94% | 74239
| 2023 | Lower Yellowstone R E A, Inc | Cooperative | 262676 | 1.99% | 5171
| 2023 | McKenzie Electric Coop Inc | Cooperative | 652 | 0.00494% | 116
| 2023 | Missoula Electric Coop, Inc | Cooperative | 261802 | 1.984% | 16258
| 2023 | Northern Lights, Inc | Cooperative | 64362 | 0.4877% | 4266
| 2023 | Powder River Energy Corp | Cooperative | 73699 | 0.5584% | 175
| 2023 | Yellowstone Valley Elec Co-op | Cooperative | 313535 | 2.376% | 22826
| 2023 | Fergus Electric Coop, Inc | Cooperative | 271764 | 2.059% | 6911
| 2023 | Beartooth Electric Coop, Inc | Cooperative | 68694 | 0.5205% | 6309
| 2023 | Big Flat Electric Coop Inc | Cooperative | 29099 | 0.2205% | 2085
| 2023 | Big Horn Rural Electric Co | Cooperative | 22788 | 0.1727% | 71
| 2023 | Big Horn County Elec Coop, Inc | Cooperative | 53123 | 0.4025% | 3685
| 2023 | Glacier Electric Coop, Inc | Cooperative | 166337 | 1.26% | 7936
| 2023 | Goldenwest Electric Coop, Inc | Cooperative | 9973 | 0.07557% | 852
| 2023 | Grand Electric Coop, Inc | Cooperative | 143 | 0.001084% | 15
| 2023 | Hill County Electric Coop, Inc | Cooperative | 186866 | 1.416% | 3953
| 2023 | Lincoln Electric Coop, Inc | Cooperative | 132171 | 1.001% | 6727
| 2023 | Marias River Electric Coop Inc | Cooperative | 75335 | 0.5708% | 3836
| 2023 | McCone Electric Coop Inc | Cooperative | 68945 | 0.5224% | 5444
| 2023 | Mid-Yellowstone Elec Coop, Inc | Cooperative | 27428 | 0.2078% | 2035
| 2023 | NorVal Electric Cooperative, Inc | Cooperative | 51164 | 0.3877% | 3564
| 2023 | Park Electric Coop Inc | Cooperative | 192003 | 1.455% | 6783
| 2023 | Sheridan Electric Coop, Inc | Cooperative | 100785 | 0.7637% | 3771
| 2023 | Southeast Electric Coop, Inc | Cooperative | 60713 | 0.46% | 2181
| 2023 | Sun River Electric Coop, Inc | Cooperative | 99585 | 0.7546% | 6202
| 2023 | Tongue River Electric Coop Inc | Cooperative | 95800 | 0.7259% | 5154
| 2023 | City of Troy - (MT) | Municipal | 17400 | 0.1318% | 1050
| 2023 | Vigilante Electric Coop, Inc | Cooperative | 185965 | 1.409% | 11166
| 2023 | Ravalli County Elec Coop, Inc | Cooperative | 191191 | 1.449% | 11907
|  |  |  | 4711241 | 35.7% | 226766
|  |  | STATE TOTAL | 13197548 |  | 677097
1 Bonneville Power Administration sells in Montana to cooperatives, but not directly to end customers, so it is not included. The same applies to Basin Electric.
Source: Same as Table E8.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Should we not include the other cell for nw on form 861? It is only delivery service type as opposed to bundling. Additional 3060987 MWh and 410 customers (industrial?).

## Table E9
Table E9. Montana Electricity Exports and Estimated Export Percentage, 1960-2023
| Year | Net Montana Sales (GWh) | Net Montana Generation (GWh) | Estimated Percent Exported out of state
TOTAL6
|  | from Table E6 | from Table E5
| 1960 | 4575 | 5992 | 23.65%
| 1961 | 4697 | 6780 | 30.72%
| 1962 | 4946 | 7051 | 29.85%
| 1963 | 5101 | 6594 | 22.64%
| 1964 | 5541 | 7329 | 24.4%
| 1965 | 6080 | 8845 | 31.26%
| 1966 | 6902 | 8573 | 19.49%
| 1967 | 6612 | 9061 | 27.03%
| 1968 | 7433 | 9421 | 21.1%
| 1969 | 8781 | 10381 | 15.41%
| 1970 | 8750 | 9953 | 12.09%
| 1971 | 8890 | 10593 | 16.08%
| 1972 | 8763 | 10639 | 17.63%
| 1973 | 8217 | 9084 | 9.544%
| 1974 | 9171 | 11040 | 16.93%
| 1975 | 8575 | 11217 | 23.55%
| 1976 | 9911 | 16054 | 38.26%
| 1977 | 10013 | 13427 | 25.43%
| 1978 | 10786 | 16698 | 35.41%
| 1979 | 11129 | 15704 | 29.13%
| 1980 | 10825 | 15479 | 30.07%
| 1981 | 10956 | 16559 | 33.84%
| 1982 | 10276 | 14816 | 30.64%
| 1983 | 9813 | 15057.2298 | 34.83%
| 1984 | 11466 | 18838.5288 | 39.14%
| 1985 | 11822 | 18716.7917 | 36.84%
| 1986 | 11593 | 22393.1036 | 48.23%
| 1987 | 12423 | 20841.8544 | 40.39%
| 1988 | 12942 | 24775.1294 | 47.76%
| 1989 | 13061 | 25782.4046 | 49.34%
| 1990 | 13124.583 | 26030 | 49.58%
| 1991 | 13406.6 | 28553 | 53.05%
| 1992 | 13096.382 | 25900 | 49.43%
| 1993 | 12929.227 | 23873 | 45.84%
| 1994 | 13184.134 | 25153 | 47.58%
| 1995 | 13418.523 | 25961 | 48.31%
| 1996 | 13819.556 | 26837 | 48.51%
| 1997 | 13733.815 | 28587 | 51.96%
| 1998 | 14144.832 | 28461 | 50.3%
| 1999 | 13281.599 | 31419 | 57.73%
| 2000 | 14579.982 | 26452 | 44.88%
| 2001 | 11446.658 | 24232 | 52.76%
| 2002 | 12831.388 | 25474 | 49.63%
| 2003 | 12824.66 | 26269 | 51.18%
| 2004 | 12956.782 | 26789 | 51.63%
| 2005 | 13478.838 | 27939 | 51.76%
| 2006 | 13814.98 | 28244 | 51.09%
| 2007 | 15531.985 | 28931 | 46.31%
| 2008 | 15326.4 | 29637 | 48.29%
| 2009 | 14326.159 | 26713 | 46.37%
| 2010 | 13423.138 | 29791 | 54.94%
| 2011 | 13788 | 30129 | 54.24%
| 2012 | 13863 | 27805 | 50.14%
| 2013 | 14045 | 27687 | 49.27%
| 2014 | 14102 | 30258 | 53.39%
| 2015 | 14207 | 29302 | 51.52%
| 2016 | 14101 | 27784 | 49.25%
| 2017 | 14710 | 28221 | 47.88%
| 2018 | 14839 | 28195 | 47.37%
| 2019 | 15321 | 27797 | 44.88%
| 2020 | 14584 | 23353 | 37.55%
| 2021 | 14962 | 24948 | 40.03%
| 2022 | 15567 | 27089 | 42.53%
| 2023 | 15504.699 | 26896 | 42.35%
Note: | 1 GWh = 3,412,141,632.81 btu
96205333000000
Source: Tables E5 and E6

## Chart E10
Chart E10. Wind Electricity Production in Montana, 2005-2022
Source: Table E5
|  |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
|  | Total Capacity Wind | 135.8 | 144.8 | 166.8 | 166.8 | 166.8 | 386.8 | 386.8 | 625.4 | 645.4 | 665.1 | 665.1 | 690.1 | 690.1 | 806 | 807.6 | 887.6 | 882 | 1473 | 1773.6 | 1873.6
|  | Total Capacity All | 5210.068 | 5386.768 | 5408.768 | 5408.768 | 5454.368 | 5770.868 | 5933.868 | 6177.923 | 6278.423 | 6298.123 | 6316.723 | 6176.723 | 6185.723 | 6300.423 | 6300.423 | 5774.723 | 5714.423 | 6384.423 | 6766.023 | 7041.023
|  | Percentage Total Nameplate Capacity | 2.606% | 2.688% | 3.084% | 3.084% | 3.058% | 6.703% | 6.519% | 10.12% | 10.28% | 10.56% | 10.53% | 11.17% | 11.16% | 12.79% | 12.82% | 15.37% | 15.43% | 23.07% | 26.21% | 26.61%
Source: Table E1
Source: U.S. EIA and MREA