Measurement and verification plan

All content called for in this outline is required (if applicable) except items noted as optional.

- Executive Summary/M&V Overview and Proposed Savings Calculations

  - Proposed Annual Savings Overview

Table 1. Proposed Annual Savings Overview

[Include all fuels/commodities for project, e.g., electric energy, electric demand, natural gas, fuel oil, coal, water, etc.]

| CSM | Total energy savings (MBtu/ year) | Electric energy savings (kWh/ year) | Electric demand savings (kW/ year)* | Natural gas savings (MBtu/ year)** | Water savings (gallons/year) | Other energy savings (MBtu/ year)** | Total energy & water cost savings Year 1 ($/year) | Energy-related O&M cost savings Year 1 ($/year) | Total cost savings Year 1 ($/year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Savings |  |  |  |  |  |  |  |  |  |
| First Year Guaranteed Cost Savings: $ |  |  |  |  |  |  |  |  |  |

Notes:

MBtu=106 Btu.

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).

    - Site Use and Savings Overview (Optional)

Table 1A. Site Use and Savings Overview

|  | Total energy (MBtu/ year) | Electric energy (kWh/ year) | Electric demand (kW/ year)* | Natural gas (MBtu/ year)** | Water (gallons/ year) | Other energy (MBtu/ year)** |
| --- | --- | --- | --- | --- | --- | --- |
| Total proposed project savings |  |  |  |  |  |  |
| Usage for project site*** |  |  |  |  |  |  |
| % Total site savings |  |  |  |  |  |  |
| Project area (SF) |  |  |  |  |  |  |
| Total site area (SF) |  |  |  |  |  |  |
| % Total site area affected |  |  |  |  |  |  |

Notes:

MBtu=106 Btu

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).

  - M&V Plan Summary

Table 2. M&V Plan Summary

| CSM | CSM Description | M&V Option Used* | Summary of M&V Plan |
| --- | --- | --- | --- |

*M&V options are IPMVP Options A, B, C, and D. No other options are acceptable.

- Whole Project Data/Global Assumptions

2.1	Risk and Responsibility

- Summarize approach to options

- Baseline development

- Post-installation verification activities

- Performance Period

- Summarize allocation of responsibility for key items related to M&V

  - Reference location of Risk & Responsibility Matrix (if required).

2.2	Energy, Water and Operations & Maintenance (O&M) Rate Data

- Detail baseline energy and water rates.

- Provide performance period rate adjustment factors for energy, water and O&M cost savings, if used.

2.3	Schedule and Reporting for Verification Activities

- Define requirements for witnessing of measurements during:

  - Baseline development

  - Post-installation verification activities

  - Performance period

- Define schedule of verification reporting activities

Table 3. Schedule of Verification Reporting Activities

| Item | a Recommended time of submission | a Entity’s review and acceptance period |
| --- | --- | --- |
| Post-Installation Report | 30 to 60 days after acceptance | 30 days |
| Annual Report | 30 to 60 days after annual performance period | 30 days |

a Times are recommended based on industry practice; modify as needed.

- Define content and format of reports:

- Post-installation report (use Post-Installation Report Outline)

- Annual M&V reports (use Annual M&V Report Outline)

- Interval M&V reports (develop report outline if needed

2.4	Operations, Preventative Maintenance, Repair and Replacement Reporting Requirements

Define Entity and ESP reporting requirements

- Summarize key verification activities and reporting activities of Entity and ESP on operations, preventive maintenance, repair and replacement items from details in CSM specific M&V plans.

- Define content of reports and reporting schedule.

2.5	Construction Period Savings

Provide overview of how construction period savings will be calculated, if applicable.

2.6	Status of Rebates

(Include if applicable)

- Provide a summary of the source of any third-party rebates or incentives provided on this project.

- Provide status of any third-party rebates or incentives.

2.7	Dispute Resolution

Describe plan for resolving disputes regarding issues such as baseline, baseline adjustment, energy savings calculation, and use of periodic measurements.

- CSM [Name/#] M&V Plan and Savings Calculation Methods

Develop section for each CSM.

  - Overview of CSM, M&V Plan, and Savings Calculation for CSM

- Summarize the scope of work, location, and how cost savings are generated. Describe source of all savings including energy, water, O&M, and other (if applicable).

- Specify the M&V guideline and option used.

  - Provide an overview of M&V Activities for CSM. Explain intent of M&V plan, including what is being verified.

  - Provide an overview of savings calculations methods for CSM. Provide a general description of analysis methods used for savings calculations.

3.2	Energy and Water Baseline Development

- Describe in general terms how the baseline for this CSM is defined.

- Describe variables affecting baseline energy or water use.

- Include variables such as weather, operating hours, set point changes, etc.

- Describe how each variable will be quantified, i.e. measurements, monitoring, assumptions, manufacturer data, maintenance logs, engineering resources, etc.

- Define key system performance factors characterizing the baseline conditions. Include factors such as comfort conditions, lighting intensities, temperature set points, etc.

- Define requirements for Entity witnessing of measurements if different than whole project data requirements included in Section 2.3 of this plan.

- Provide details of baseline data collected, including the following.

- Parameters monitored/measured

- Details of equipment monitored, i.e. location, type, model, quantity, etc.

- Sampling plan, including details of usage groups and sample sizes

- Duration, frequency, interval, and seasonal or other requirements of measurements

- Requirements to bring current equipment up to code standards.

- Personnel, dates, and times of measurements

- Proof of Entity witnessing of measurements (if required)

- Monitoring equipment used

- Installation requirements for monitoring equipment (test plug for temperature sensors, straight pipe for flow measurement, etc.)

- Certification of calibration/calibration procedures followed

- Expected accuracy of measurements/monitoring equipment

- Quality control procedures used

- Form of data (.xls, .csv, etc.)

- Results of measurements (attach appendix and electronic format as necessary)

- Completed data collection forms, if used

- Provide details of baseline data analysis performed, including the following.

- Analysis using results of measurements

- Weather normalized regressions

- Weather data used and source of data

3.3	Proposed Energy and Water Savings Calculations and Methods

- Provide detailed description of analysis method used.

- Describe any data manipulation or analysis that was conducted prior to applying savings calculations.

- Provide software name and version number for simulation software if used.

- Detail all assumptions and sources of data, including all stipulated values used in calculations.

  - Provide justification for all estimated or stipulated values.

  - Explain the overall significance of these values to the total expected savings.

  - Stipulated values are only permissible in Option A.

- Include equations and technical details of all calculations made. (Use appendix and electronic format as necessary.)

  - Include description of data format (headings, units, etc.).

  - Provide input files, output files and weather files used for simulation (Option D).

- Details of any savings or baseline adjustments that may be required.

- Detail energy and water rates used to calculate cost savings. Provide performance period energy and water rate adjustment factors if different from Section 2.2 of this plan.

- Detail proposed annual savings for this energy conservation measure for performance period. Summarize information in Table 4.

3.4 Operations and Maintenance and Other Cost Savings

- Provide justification for O&M cost savings, if applicable.

- Describe how savings are generated

- Detail cost savings calculations.

- Provide performance period O&M cost savings adjustment factors if different from Section 2.2 of this plan.

- Provide justification for other cost savings, if applicable.

- Describe how savings are generated.

- Detail cost savings calculations.

- Provide performance period adjustment factors if different from Section 2.2 of this plan.

3.5	Proposed Annual Savings for CSM

Table 4. Proposed Annual Savings for Each Cost-Saving Measure

[Include all fuels/commodities for project, such as: electric energy, electric demand, natural gas, fuel oil, coal, water, etc.]

|  | Total energy use (MBtu/ year) | Electric energy use (kWh/ year) | Electric energy cost, Year 1 ($/year) | Electric demand* (kW/ year) | Electric demand cost, Year 1 ($/year) | Natural gas use (MBtu/ year)** | Natural gas cost, Year 1 ($/year) | Water use (gallons /year) | Water cost, Year 1 ($/year) | Other energy use (MBtu/ year)** | Other energy cost, Year 1 ($/year) | Energy-related O&M costs, Year 1 ($/year) | Total costs, Year 1 ($/year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Baseline use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post-installation use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Savings |  |  |  |  |  |  |  |  |  |  |  |  |  |

#### Notes:

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

MBtu = 106 Btu.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).

3.6	Post-Installation M&V Activities

- Describe the intent of post-installation verification activities, including what will be verified.

- Describe variables affecting post-installation energy or water use.

- Include variables such as weather, operating hours, set point changes, etc.

- Describe how each variable will be quantified, i.e. measurements, monitoring, assumptions, manufacturer data, maintenance logs, engineering resources, etc.

- Define key system performance factors characterizing the post-installation conditions such as lighting intensities, temperature set points, etc.

- Define requirements for Entity witnessing of measurements if different than whole project data requirements included in Section 2.3 of this plan.

- Provide details of post-installation data to be collected, including the following.

- Parameters to be monitored

- Details of equipment to be monitored (location, type, model, quantity, etc.)

- Sampling plan, including details of usage groups and sample sizes

- Duration, frequency, interval, and seasonal or other requirements of measurements

- Monitoring equipment to be used

- Installation requirements for monitoring equipment

- Calibration requirements/procedures

- Expected accuracy of measurements/monitoring equipment

- Quality control procedures to be used

- Form of data to be collected (.xls, .csv, etc.)

- Sample data collection forms (optional)

- Detail data analysis to be performed.

3.7	Performance Period Verification Activities

- Describe variables affecting performance period energy or water use.

- Include variables such as weather, operating hours, set point changes, etc.

- Describe how each variable will be quantified, i.e. measurements, monitoring, assumptions, manufacturer data, maintenance logs, engineering resources, etc.

- Define key system performance factors characterizing the performance period conditions. Include factors such as comfort conditions, lighting intensities, temperature set points, etc.

- Describe the intent of performance period verification activities, including what will be verified.

- Provide detailed schedule of performance period verification activities and inspections.

- Define requirements for Entity witnessing of measurements if different than whole project data requirements included in Section 2.3 of this plan.

- Provide details of performance period data to be collected, including the following.

- Parameters to be monitored

- Details of equipment to be monitored (location, type, model, quantity, etc.)

- Sampling plan, including details of usage groups and sample sizes

- Duration, frequency, interval, and seasonal or other requirements of measurements

- Monitoring equipment to be used

- Installation requirements for monitoring equipment

- Calibration requirements/procedures

- Expected accuracy of measurements/monitoring equipment

- Quality control procedures to be used

- Form of data to be collected (.xls, .csv, etc.)

- Sample data collection forms (optional)

- Detail data analysis to be performed.

- Define operations, preventive maintenance, repair, and replacement reporting requirements.

- Detail verification activities and reporting activities of Entity and ESP on operations, preventive maintenance, repair, and replacement items.

- Define contents of report and reporting schedule.