### Post-Installation Report Outline

All content called for in this outline is required (if applicable) except items noted as optional.

Contract # / Delivery Order # / Task #: (include as appropriate)

Performance Period Dates Covered: ___________ to_____________

###### Executive Summary

Project Background

Provide an overview of project background, including:

#### Date of contract execution and primary parties to the contract

- Dates of relevant modifications

- Performance period dates covered

- Project acceptance date (actual or expected)

Brief Project and CSM Descriptions

- Provide an overview what was done and how savings are generated.

- Note any changes in project scope between the Final Proposal (including any relevant modifications) and as-built conditions.

Proposed and Expected Energy and Cost Savings for Year 1 of the Performance Period

- Compare expected savings for first performance year to first year Guaranteed Cost Savings.

- State whether guarantee is expected to be fulfilled for first year. If not, provide detailed explanation.

- Summarize information in Table 1 and Table 2.

Note: Expected savings are prediction for first year based on post-installation M&V activities. Verified savings for first year of performance period will be documented in the annual report. The proposed savings for each CSM are included in Schedule A of the Contract.

Table 1. Proposed Annual Savings Overview

[Include all fuels/commodities for project, e.g., electric energy, electric demand, natural gas, fuel oil, propane, water, etc.]

| Cost-saving Measure (CSM) | Total energy savings (MBtu/ year) | Electric energy savings (kWh/ year) | Electric demand savings (kW/ year)* | Natural gas savings (MBtu/ year)** | Water savings (gallons/ year) | Other energy savings (MBtu/ year)** | Total energy and water cost savings, Year 1 ($/year) | Energy-related O&M cost savings, Year 1 ($/year) | Total cost savings, Year 1 ($/year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Savings |  |  |  |  |  |  |  |  |  |
| First Year Guaranteed Cost Savings: $ |  |  |  |  |  |  |  |  |  |

Notes:

MBtu=106 Btu.

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).

Table 2. Expected Savings for First Performance Year

[Include all fuels/commodities for project, e.g., electric energy, electric demand, natural gas, fuel oil, propane, water, etc.]

| Cost-saving Measure (CSM) | Total energy savings (MBtu/ year) | Electric energy savings (kWh/ year) | Electric demand savings (kW/ year)* | Natural gas savings (MBtu/ year)** | Water savings (gallons/ year) | Other energy savings (MBtu/ year)** | Total energy and water cost savings, Year [#] ($/year) | Energy-related O&M cost savings, Year [#] ($/year) | Total cost savings, Year [#] ($/year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Savings |  |  |  |  |  |  |  |  |  |
| First Year Guaranteed Cost Savings: $ |  |  |  |  |  |  |  |  |  |

Notes:

MBtu=106 Btu.

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).

Energy, Water and O&M Rate Data

- Detail energy and water rates used to calculate cost savings for this period.

- Provide performance period rate adjustment factors for energy, water and O&M cost savings, if used.

- Report actual energy and water rates at site for same period (optional).

Savings Adjustments

- Provide summary of any energy and/or cost savings adjustments required between final proposal (including any relevant Contract modifications) and as-built conditions.

- Describe the changes between the final proposal (including any relevant Contract modifications) and as-built conditions based on post-installation M&V results.

Construction Period Savings

- Provide a summary of construction period savings, if applicable.

- Provide overview of how construction period savings are calculated.

Status of Rebates

- Include if applicable.

- Provide a summary of the source of any third-party rebates or incentives provided on this project.

- Provide status of any third-party rebates or incentives.

###### CSM [name / #] M&V Activities and Expected First Year Savings

Develop section for each CSM.

Overview of CSM, M&V Plan, and Savings Calculation for CSM

- Summarize the scope of work, location, and how cost savings are generated.

- Describe source of all savings including energy, water, O&M, and other (if applicable).

- State M&V guideline and option used (A, B, C or D).

- Provide an overview of M&V activities for CSM.

- Explain the intent of M&V plan, including what is being verified.

- Provide an overview of savings calculation methods for CSM.

  - Provide a general description of analysis methods used for savings calculations.

Installation Verification

- Detail any changes between final proposal (including any relevant Contract modifications) and as-built conditions).

- Provide details of energy and cost savings differences resulting from changes between final proposal (including any relevant Contract modifications) and as-built conditions based on post-installation M&V results. Summarize information in Table 3.

- Describe construction period savings (if applicable). Include date CSM was in effect and reference acceptance documentation.

- Detail savings calculations for construction period savings.

Table 3. Differences in energy and cost savings from changes between final proposal and as-built conditions for CSM

CSM: _____________________________________

|  | Total energy savings (MBtu/ year) | Electric energy savings (kWh/ year) | Electric energy cost savings, Year 1 ($/year) | Electric demand savings (kW/ year)* | Electric demand cost savings, Year 1 ($/year) | Natural gas savings (MBtu/ year)** | Natural gas cost savings, Year 1 ($/year) | Water savings (gallons/year) | Water cost savings, Year 1 ($/year) | Other energy savings (MBtu/ year) | Other energy cost savings, Year 1 ($/year) | Energy-related O&M costs savings, Year 1 ($/year) | Total cost savings, Year 1 ($/year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Proposed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expected |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Variance |  |  |  |  |  |  |  |  |  |  |  |  |  |

Notes:

MBtu = 106 Btu.

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).

Note: Expected savings are prediction for first year based on post-installation M&V activities. Verified savings for first year of performance period will be documented in annual M&V report.

Post-Installation M&V Activities Conducted

- Detail measurements, monitoring, and inspections conducted in accordance with M&V plan:

- Measurement equipment used

- Equipment calibration documentation

- Dates/times of data collection or inspections, names of personnel, and documentation of Entity witnessing

- Details to confirm adherence to sampling plan

- Include all post-installation measured values. Include periods of monitoring and durations and frequency of measurements. (Use appendix and electronic format as necessary.) Include description of data format (headings, units, etc.).

- Describe how performance criteria have been met.

- Detail any performance deficiencies that need to be addressed by ESP or Entity.

- Note effect of performance deficiencies or enhancements on generation of savings.

Expected Savings Calculations and Methods

- Provide detailed description of analysis methods used.

- Describe any data manipulation or analysis that was conducted prior to applying savings calculations.

- Detail all assumptions and sources of data, including all stipulated values used in calculation.

- Include equations and technical details of all calculations made. (use appendix and electronic format as necessary.) Include description of data format (headings, units, etc.

- Details of any baseline or savings adjustments made.

- Detail of energy and water rates used to calculate cost savings.

- Provide performance period energy and water rate adjustment factors, if used.

- Report actual energy and water rates at site for same period (optional).

- Detail expected savings for this cost-saving measure for first year.

- Summarize information in Table 4.

Details of O&M and Other Savings (if applicable)

- Describe source of savings, if applicable.

- Describe verification activities.

- Provide performance period O&M cost savings adjustment factors, if applicable.

- Describe source of other savings, if applicable.

- Describe verification activities.

- Provide performance period adjustment factors, if applicable.

Note: Expected savings are prediction for first year based on post-installation M&V activities. Verified savings for first year of performance period will be documented in the annual report. The proposed savings for each CSM are included in Schedule A of the Contract.

Table 4. Expected Year 1 Savings for CSM

CSM: _____________________________________

[Include all fuels/commodities for project, e.g., electric energy, electric demand, natural gas, fuel oil, propane, water, etc.]

|  | Total energy use (MBtu/ year) | Electric energy use (kWh/ year) | Electric energy cost ($/year) | Electric demand (kW/ year)* | Electric demand cost ($/year) | Natural gas (MBtu/ year)** | Natural gas cost ($/year) | Water use (gallons/year) | Water cost ($/year) | Other energy use (MBtu/ year) | Other energy cost ($/year) | Energy-related O&M costs ($/year) | Total costs ($/year) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Baseline |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post-installation use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Savings |  |  |  |  |  |  |  |  |  |  |  |  |  |

Notes:

MBtu = 106 Btu.

*Annual electric demand savings (kW/year) is the sum of the monthly demand savings.

**If energy is reported in units other than MBtu, provide a conversion factor to MBtu (e.g., 0.003413 MBtu/kWh).