MONTANA ENERGY PERFORMANCE CONTRACTING PROGRAM

EPC COMPLETION CHECKLIST

| Project Title: |  |  |  |  |  |  | No. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Entity: |  |  |  |  |  |  | Facility: |  |  |  |  |
| √ | ACTION: |  |  |  |  |  |  |  |  |  |  |
|  | 1. | Sub-contractor: Written notice of completion to ESP. |  |  |  |  |  |  |  |  |  |
|  | 2. | ESP Inspection -- Establishes punch list. |  |  |  |  |  |  |  |  |  |
|  | 3. | Sub-contractor completes punch list, and requests final inspection. |  |  |  |  |  |  |  |  |  |
|  | 4. | ESP confirms completion of punch list. |  |  |  |  |  |  |  |  |  |
|  | 5. | ESP issues Notice of Commencement of Energy Cost Savings for Entity approval. |  |  |  |  |  |  |  |  |  |
|  | 6. | Final inspection: ESP, Utility, & Entity - (Items found after final inspection will be placed on warranty list unless item significantly impairs operation of facility.) |  |  |  |  |  |  |  |  |  |
|  | 7. | ESP provides punch list completion schedule and completes work identified on punch list. |  |  |  |  |  |  |  |  |  |
|  | 8. | Entity confirms receipt of certificates, permits, manuals, and training for: |  |  |  |  |  |  |  |  |  |
|  |  | a. | Electrical Inspection |  |  | e. |  | Operator Training |  |  |  |
|  |  | b. | Boiler Inspection |  |  | f. |  | Post-Installation M&V Report |  |  |  |
|  |  | c. | Air Quality Inspection |  |  | g. |  | ________________________ |  |  |  |
|  |  | d. | O&M Manuals |  |  | h. |  | ________________________ |  |  |  |
|  | 9. | Substantial Completion (If partial completion, attach letter describing phase or segment included in substantial completion). Warranty period begins on the date of substantial completion for the phase or segment included |  |  |  |  |  |  |  |  |  |
|  |  | Substantial Completion Date: _______________________ |  |  |  |  |  |  |  |  |  |
|  | 10. | Entity confirms receipt from ESP: |  |  |  |  |  |  |  |  |  |
|  |  | a. | As-built Drawings |  | f. |  |  |  | Spare material and parts |  |  |
|  |  | b. | Shop Drawings |  | g. |  |  |  | Commissioning/Balancing Reports |  |  |
|  |  | c. | Test Reports |  | h. |  |  |  | Warranty responsibility contacts |  |  |
|  |  | d. | Disposal Manifests |  | i. |  |  |  | ________________________ |  |  |
|  |  | e. | Certificate of Warranty |  | j. |  |  |  | ________________________ |  |  |
|  | 11. | All change orders approved and processed. |  |  |  |  |  |  |  |  |  |
|  | 12. | ESP provides accounting of final costs, along with final invoices if not previously submitted. |  |  |  |  |  |  |  |  |  |
|  | 13. | Utility written acceptance, as required. |  |  |  |  |  |  |  |  |  |
|  | 14. | Facility representative written acceptance (if required). |  |  |  |  |  |  |  |  |  |
|  | 15. | Entity fills out Certificate of Acceptance Form and obtains appropriate signatures. This establishes final acceptance date. |  |  |  |  |  |  |  |  |  |
|  | 18. | Entity approves ESP retainage invoice. |  |  |  |  |  |  |  |  |  |
|  | 19. | Entity: |  |  |  |  |  |  |  |  |  |
| • Receives approved invoice and Affidavit of Wages Paid. • Verifies that there are no current claims against the contractor. • Releases correct amount of retainage from escrow after retainage period. |  |  |  |  |  |  |  |  |  |  |  |
|  | 20. | Entity amends ESP agreement to contract for M&V of project performance. |  |  |  |  |  |  |  |  |  |
|  | 21. | ESP satisfies warranty items as required and performs M&V of project performance. |  |  |  |  |  |  |  |  |  |
|  | 22. | Close construction file and continue to review M&V of project performance. |  |  |  |  |  |  |  |  |  |

| NOTE: | If ESP has not completed the punch list and items 8 and 10 above on schedule, the following steps (in the order shown) should be considered. |  |
| --- | --- | --- |
|  | 1. | Withhold progress payment for work not completed. |  |
|  | 2. | Negotiate revised punch list completion schedule with the ESP and evaluate performance. |  |
|  | 3. | Entity may send letter to bonding company requesting they complete the project. |  |