## Instructions
HOW TO USE THIS WORKBOOK
This workbook is intended to assist the Entity gather and record information necessary to prepare sections of the RFP and IGA contract. Althugh not all information may be available, it is important to provide as much as possible so that the ESP better understands the potential project. It is divided into separate sections/worksheets that may be duplicated based on the Entity and potential project scope.
General
The General tab/worksheet includes basic information about the facility/Entity.
The Name of Campus/Site may also be the Entity Name, such as school district, city, county, etc. A county, for example, may choose to provide information on its facilities based on location (city/town).
In the Physical and Operating Data section, list the buildings that may be included in an audit/EPC. Gathering data for all buildings is useful, but buildings that are seldom used , unconditioned, or less than 1000 square feet may not be effective since these are not likely to be included in an EPC.
The Year Built is the original construction, but may include additions. Renovations are primarily for changes to the buildings that would affect energy use, such as added insulation, new windows, new lighting, boilers, etc. Additions may also be listed here.
Building type is the primary function of the building, such as elementary school, shop, office, etc. If there is a significant secondary use, then list that also. Gross Sq.Ft. is the total area of the building, typically measured from the outside walls. Atriums and similar multistory spaces include only the area of the floor (deduct upper levels of such spaces).
Hours/Days of Operation are for the periods of normal/regular occupancy. After hours use may include evenings and weekends. It would be helpful to identify hours of use for special areas, such as gyms, auditoriums, food service, etc. and seasonal use as well.
Number of occupants is the average number for normal/regular occupancy. Provide additional occupancy information for after hours and special events (gym, auditorium, concerts, etc.)
Utilities are set up assuming a manageable number of meters for the buildings under consideration. It may be necessary to duplicate this table.
Building
The Building tab should be duplicated for each building identified on the General tab.
Construction refers to the architectural information about the building. Construction documents include original drawing of the building and any additions, remodels, and renovations. They also include specifications, operation and maintenance manuals, reports, and other documents that would be helpful in determining installed equipment and the operation of the equipment.
Primary interior lighting is the dominant lighting type for the building. Secondary interior lighting is the lighting type that is likely to be in multiple areas. Other interior lighting refers to special area lighting that may be limited to specific areas such as the gym or stage lighting.
Exterior building lighting would be lights either mounted on the building or along walkways that provide security or entrance lighting. Parking lighting is typically the pole mounted lights for parking lots or parking garage lighting. Other lighting refers to such items as signs, flags, athletic fields and other purposes.
HVAC refers to equipment for heating, ventilating, and air conditioning.
Much of the data provided here is nameplate data or data from construction documents and reports.
Control Systems is an important factor in energy auditing and EPC. Often buildings have a dominant control system type, such as pneumatic or digital, with a secondary type, such as electric thermostats for unit/cabinet heaters. It is beneficial to provide as much information as possible regarding the control system, such as schedules, setpoints, sequence of operation, temperature lockouts, etc., both for your understanding of the buildings and for the ESP to be more confident about potential savings opportunities.
Other Equipment - include other energy using equipment listing nameplate data (input, output, watts, horsepower, etc.) Provide information on quantities, schedule/frequency of use, temperatures, and other operational conditions as applicable .
Utility Data
The Utility Data tab should be copied for each building/account as necessary. Each block can be copied if more than one meter serves the building. Each block allows for 36 months of data.

## General
GENERAL FACILITY DATA
Name of Campus/Site: |  |  | Contact Person:
Address: |  |  | Contact Phone:
City, State, Zip |  |  | Contact Email:
PHYSICAL & OPERATING DATA
Building Name | Year Built | Renovations | Building Type | Gross Sq.Ft. | Hours/Days of Operation | After Hours Use | No. of Occupants
Notes:
Renovations may be year and general description, such as 2012-Lighting or 2010 - Replaced boiler
Hours/Days of Operation should be normal for operation, such as 8-5 M-F or 24/7
UTILITIES
Commodity | Metering | Provider | Account Number(s)
Electricity
Fuel:
Natural Gas
Fuel Oil
Propane
Wood/Biomass
Other (Specify)
Water
Sewer
Metering: C = Campus; I = Individual Building; M = Multiple Buildings; S = Submetering; N = None

## Building
BUILDING NAME:
CONSTRUCTION
Walls:
Roofs:
Windows:
Doors:
Skylights:
Basement:
Construction documents available:
Note: Include in description general materials and insulation
LIGHTING
| Type |  | Controls
Interior
Primary
Secondary
Other
Exterior
Building
Parking
Other
Types = Fluorescent, Incandescent, HID, HPS, LED, CFL, etc.
Controls = Switch, Sensor, Daylight, Photocell, Timeclock, Digital, etc.
HVAC
Boiler
ID | Type | Input | Output | Installed | Fuel Type
Type = Steam, Hot Water, Condensing
Input, Output = Nameplate with units (hp, MBH, kW, etc.)
Fuel Type = Gas, Electric, Coal, Fuel oil, etc.
Chiller
ID | Type | Tons | Heat Reject | Installed | Refrigerant
Type = Centrifugal, Reciprocating, Absorption, Heat Recovery
Heat Reject = Air-Cooled Condenser, Water Cooled Condenser, Cooling Tower, etc.
Refrigerant = e.g. R-22, R410
Pumps
ID | Type | Serves | GPM | Head | HP | VFD
Type = Heating, Chilled Water, Condensate, Recirculating, etc.
Serves = Zone Loop, Coil, DHW, etc.
VFD = Variable Speed (Yes/No)
Fan Systems
ID | Type | Heat | Heat Source | Cool | Cool Source | HP | CFM | VFD
ID may include number of units of the same type
Type = Perimeter heat (eg. Baseboard, Convectors, Radiators),Unit Heater, Unit Ventilator, Fan Coil, Furnace, Single Zone, Multizone, VAV, Heat Pump, Rooftop, etc.; could be combined (e.g. Rooftop MZS, Perimeter heat with window AC)
Heat, Cool = Capacity and units (kW, Btu, Tons, etc.); If Source = Fuel, list output/input
Heat Source = HW, Steam, Electric, Heat Pump, Fuel (specify type)
Cool Source = Water, DX, Heat Pump, Evaporative, etc.
HP = fan horsepower
CFM = Rated air flow of supply fan
VFD = Variable Speed (Yes/No)
Exhaust Fans
ID | Type | Serves | HP | CFM | VFD
Type = Exhaust, Return
Serves = General, Toilets, Kitchen, Hoods, etc.
VFD = Variable Speed (Yes/No)
Control Systems:
Describe: Options include Pneumatic, Electric, Electronic, Digital
DOMESTIC/SERVICE HOT WATER
ID | Type | Serves | In/Out | Gallons | Storage | Temp
Type = Gas, electric,steam, etc. and may include instantaneous/tankless
Serves = General, kitchen, etc.
In/Out = Input and output rating, as applicable, with units (kW, Btu, etc.)
Storage = If there is a separate storage tank, number of gallons
OTHER EQUIPMENT |  | Provide general information
Kitchen
Laundry
Computer
Vending
Pool
Snow melt
Other

## Utility Data
Building Name:
Instructions:
Natural Gas |  |  |  |  | Account #: |  |  |  | Input utility provider and account number
Year: | [6 empty] | Average |  | Input year (fiscal or calendar) up to 3 years
Month | Units | Cost | Units | Cost | Units | Cost | Units |  | Input Units: Therm, DKT, CCF, MCF, etc.
[7 empty] | 0 |  | Insert Month, Units, and Cost
0
[7 empty] | 0 |  | Shaded cells are calculated
0
0
0
0
0
0
0
0
0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity |  |  |  |  | Account #:
Year: | [12 empty] | Average
Month | KWH | Cost | KW | KW Cost | KWH | Cost | KW | KW Cost | KWH | Cost | KW | KW Cost | KWH | KW
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
[13 empty] | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Cost is total electric cost as billed including demand (kW) cost. KW Cost reporting is helpful, but optional.
Water/Sewer |  |  |  |  | Account #:
Year: | [12 empty] | Average
Month | Water Units | Water Cost | Sewer Units | Sewer Cost | Water Units | Water Cost | Sewer Units | Sewer Cost | Water Units | Water Cost | Sewer Units | Sewer Cost | Water Units
0
0
0
0
0
0
0
0
0
0
0
0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: | Edit Units to appropriate units (Gallons, kGallon, CCF, MCF, etc.)