## Comments
Document: | Corrective Action Plan 35133
Contract: | Gasamat #563, Release 3330
Review Comments from: |  | Rachel Mindt
Review Comments from:
Review Comments from:
Review Comments from:
Reviewer/ Comment # | Page | Section/ | Comments | A, D, E, FD or X1 | Response | A or D2
Paragraph/
Line No.
1 | 4 | Site History | Please include current release information (i.e notification date, cause and source, previous/current property use) in the Site History section. | E | Tightness tests were completed on the UST system in 1997. These tests passed standards at the time. A Phase II ESA was completed as part of a property transfer in January 1998 by Atlatl of Butte, MT. This Phase II investigation identified hydrocarbon contamination and was submitted to the DEQ. The report was dated January 13th, 1998. This soil boring event and further investigation in 1998 delineated that this release came from the pump islands and USTs at the facility, but a specific tank, pipe leak, or pump island was not identified at the exact location of the release during the investigation. Historic ownership and title records for the site have not been obtained. The current property owner is based on cadastral information is: X2 INVESTMENTS LLC 1752 N MONTANA AVE HELENA, MT 59601-0803
END of COMMENTS
|  | Footnote 1 | A= agree D=disagree E = explanation FD=needs further discussion X=take exception to
|  | Footnote 2 | A= agree D=disagree