## Apdx A - MNA
Well/Sample Information |  |  | Analytical Data | [14 empty] | Well/Sample Information | [5 empty] | Field Parameters | [5 empty] | Intrinsic Biodegradation Indicators
Well ID | Date | Sample ID | MTBE | Benzene | Toluene | Ethylbenzene | Xylenes | Naphthalene | 1,2 - DCA | EDB | C5 - C8 Aliphatics | C9 - C12 Aliphatics | C9 - C10 Aromatics | EPH | C9 - C18 Aliphatics | C19 - C36 Aliphatics | C11 - C22 Aromatics | Well ID | Date | Sample ID | Casing Elevation | DTW | GW Elevation | Dissolved Oxygen | Temperature | pH | Specific Conductance | Turbidity | ORP | Nitrates/Nitrites | Ferrous Iron | Sulfates | Manganese | Methane
|  |  | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L |  |  |  | ft | ft | ft | mg/L | °C | SU | μS/cm |  | mV | mg/L | mg/L | mg/L | mg/L | mg/L
RBSL/Standard |  |  | 30 | 5 | 1000 | 700 | 10000 | 100 | 4 | 0.004 | 650 | 1400 | 1100 |  | 1400 | 1000 | 1100 | [5 empty] | 0
0

## Apdx B - Excavation
Excavation ID | Excavation Completion Date | Area Name on Figure/Map | In Place Amount Removed | Loose Amount Removed | Average Depth | Footprint Area | Soil Disposal Method | Excavation ID | Sample ID | Date Taken | Name on Figure/Map | Type | MTBE | Benzene | Toluene | Ethylbenzene | Xylenes | Naphthalene | C5 - C8 Aliphatics | C9 - C12 Aliphatics | C9 - C10 Aromatics | EPH Screen | C9 - C18 Aliphatics | C19 - C36 Aliphatics | C11 - C22 Aromatics
|  |  | yd3 | yd3 | ft | ft2 | [6 empty] | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
Totals |  |  | 0 | 0

## Apdx C - SVE
Date | SVE Unit Performance |  |  |  |  | Lab Analysis | [6 empty] | Period Mass Removal | [5 empty] | * - Measurements only needed if SVE used in conjuction with oxygen application (ORC, Ozone, O2, Peroxides, etc.)
| Operation Time During Period | Vacuum at SVE Unit | Effluent Temperature | System Air Flow Rate | This Period VOC by PID | O2* | CO2* | Benzene | Toluene | Ethylbenzene | Xylenes | Total VOC | VOC Emissions by PID | VOC Emissions by Lab | Benzene | Toluene | Ethylbenzene | Xylenes
| Hours | in Hg | °F | scfm | ppm | ppm | ppm | μg/m3 | μg/m3 | μg/m3 | μg/m3 | μg/m3 | lb | lb | lb | lb | lb | lb
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | 0 | 0 | 0 | 0 | 0 | 0
Totals | 0 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0

## Apdx D - AS
Date | Operation Time During Period | Positive Pressure at Unit | Total Injection Flow Rate
| Hours | psig | scfm
Total | 0

## Apdx E - Biosparge
Injection Point | Injection Point Type | Injection Depth | Point Operation Parameters |  |  |  | Air Injection |  | Nutrient Injection
|  |  | Date | Days in Period | Operation Time During Period | Operational Percentage | Injection Pressure | Injection Air Flow Rate | Nutrient Type | Injection Rate
| Horz./Vert. | ft |  |  | Hours | % | psig | scfm |  | lb/min
#DIV/0!
#DIV/0!
Totals |  |  |  | 0 | 0 | #DIV/0!

## Apdx F - DP Extraction
Date | System Performance | [5 empty] | Groundwater Sample Analysis |  | Vapor Analysis | [5 empty] | Mass Removal
[9 empty] | Field | Lab |  |  |  |  | VOC Removed From LNAPL | Field |  |  | Lab
| Operation Time During Period | Induced Vacuum | Effluent Temperature | System Air Flow Rate | Total Fluid Recovered per Period | Total LNAPL Recovered per Period | Influent Groundwater Concentration | Effluent Groundwater Concentration | This Period VOC by PID | Benzene | Toluene | Ethylbenzene | Xylenes | Total VOC |  | VOC Removed From Vapor | VOC Removed From Groundwater | Total VOC For Period | VOC Removed From Vapor | Total VOC For Period
| Hours | in Hg | °F | scfm | gal | gal | μg/L | μg/L | ppm | ppm | ppm | ppm | ppm | ppm | lbs | lbs | lbs | lbs | lbs | lbs
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 |  |  |  | 0 | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0

## Apdx G - Chem Ox
Date | Monitoring Parameters | [18 empty] | Application Parameters
| Field Parameters | [5 empty] | Lab Parameters | [12 empty] | Gas |  |  |  | Liquid/Slurry
| Dissolved Oxygen | Temperature | pH | Specific Conductance | Turbidity | Oxidation-Reduction Potential | MTBE | Benzene | Toluene | Ethylbenzene | Xylenes | Naphthalene | O2 | CO2 | Nitrate/Nitrite | Sulfate | Manganese | Ferrous Iron | Methane | Number of Injection Points | Duration | O3 Volume | Injection Pressure | Number of Injection Points | Type | Mass of Oxidizer Injected | Mass of Catalyst Injected | Injection Top Depth | Injection Bottom Depth
| mg/L | °C | SU | μS/cm | NTU | mV | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  | Hr | ft3 | psi |  |  | lb | lb | ft | ft
Total | [19 empty] | 0 | 0 | 0 |  | 0 |  | 0 | 0

## Apdx H - FP Recovery
Well ID | Date | Operational Time | Removal Method | Pre-Treatment LNAPL Thickness | Post-Treatment LNAPL Thickness | Groundwater Extracted | LNAPL Extracted | LNAPL Extracted
|  | Hr |  | ft | ft | gal | gal | lbs
0
0
Totals | [5 empty] | 0 | 0 | 0

## Apdx I - P&T
Date | System Performance |  |  |  | Influent Samples | [6 empty] | Effluent Samples | [6 empty] | Mass Removal
| Operation Time During Period | Pumping Rate | Pumping Rate | Pumping Mode | MTBE | Benzene | Toluene | Ethylbenzene | Xylenes | Naphthalene | Total VOC | MTBE | Benzene | Toluene | Ethylbenzene | Xylenes | Naphthalene | Total VOC | MTBE | Benzene | Toluene | Ethylbenzene | Xylenes | Naphthalene | Total VOC
| Hours | Gal/Hr | L/Hr |  | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | μg/L | lbs | lbs | lbs | lbs | lbs | lbs | lbs
|  |  | 0 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0