## TOC_Removal
Disinfection Byproducts Rule
"Disinfection Byproduct Precursor Reporting Form"
(for systems using conventional filtration)
System Name:
PWSID:
| TOC Removal | [9 empty] | Source Water SUVA |  |  |  | Finished Water SUVA
Quarter | Year | Month | Sample Date | Finished Water TOCFIN (mg/L) | Source Water TOCRAW (mg/L) | Calculated % Removal | Source Water Alkalinity (mg/L) | Required TOC Removal % | TOC Ratio Monthly | Quarterly Average Ratio | UV254 absorption (m-1) | DOC concentration (mg/L) | SUVA = (UV254 (m-1))/(DOC in mg/L) | Quarterly Average Ratio | UV254 absorption (m-1) | DOC concentration (mg/L) | SUVA = (UV254 (m-1))/(DOC in mg/L) | Quarterly Average Ratio
1st Quarter |  | January |  |  |  | 0 |  | 35% | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
|  | February |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
|  | March |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
2nd Quarter |  | April |  |  |  | 0 |  | 35% | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
|  | May |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
|  | June |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
3rd Quarter |  | July |  |  |  | 0 |  | 35% | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
|  | August |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
|  | September |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
4th Quarter |  | October |  |  |  | 0 |  | 35% | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
|  | November |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
|  | December |  |  |  | 0 |  | 35% | 0 |  |  |  | 0 |  |  |  | 0
| Finished TOC Average: |  |  | 0 |  |  |  | Average of Quarterly Average Ratios: |  | 0 |  |  | Average of Quarterly Average Ratios: | 0 |  | Average of Quarterly Average Ratios: |  | 0
| Were Removal Requirements Met? |  |  |  |  | Yes | No |  |  | Must be>1.00 |  |  |  | Must be≤2.00 |  |  |  | Must be≤2.00
(Circle or Highlight One)
| DBP Precursor Sampling Frequency: |  |  |  |  | Monthly | Quarterly
(Circle Highlight One)
Alternative Compliance Criteria (CFR 141.135)
| Percent TOC Removal Required (Column D) | [9 empty] | i | The system's source water TOC level is less than 2.0 mg/L, calculated quarterly as a running annual average.
| Source Water TOC |  | Source Water Alkalinity | [7 empty] | ii | The system's treated water TOC level is less than 2.0 mg/L, calculated quarterly as a running annual average.
|  |  | 0-60 | 60-120 | >120 | [5 empty] | iii | TOC level is less than 4.0 mg/L, calculated quarterly as a running annual average; the source water alkalinity is greater than 60 mg/L (as CaCO3), calculated quarterly as a running annual average; and either the TTHM and HAA5 running annual averages are no greater than 0.040 mg/L and 0.030 mg/L, respectively
|  |  | mg/L | mg/L | mg/L
| >2 - 4.0 mg/L |  | 35% | 25% | 15% | [5 empty] | iv | The TTHM and HAA5 running annual averages are no greater than 0.040 mg/L and 0.030 mg/L, respectively, and the system uses only chlorine for primary disinfection and maintenance of a residual in the distribution system.
| >4.0 - 8.0 mg/L |  | 45% | 35% | 25%
| >8 mg/L |  | 50% | 40% | 30% | [5 empty] | v | The system's source water SUVA, prior to any treatment and measured monthly according to § 141.131(d)(4), is less than or equal to 2.0 L/mg-m, calculated quarterly as a running annual average.
| System Operator: | [5 empty] | Date: |  |  |  | vi | The system's finished water SUVA, measured monthly according to § 141.131(d)(4), is less than or equal to 2.0 L/mg-m, calculated quarterly as a running annual average.