# Lead Reduction in School Drinking Water Program

# Step by Step Guide

Step 1: School Setup

School Information

Plumbing Inventory

Inventory Site Plan / Layout

Flushing Plan

Communication Plan

- Submit forms to DEQ via email DEQLeadinSchools@mt.gov

- Step 2: Sample Preparation and Collection

Select a laboratory

Order sample bottles from the lab

Prepare your sample form

Sample collection

Sample shipping

- Step 3: Understanding Results

How to read the lab report? (Reference form “Step 3 Understanding Results” on DEQ webpage)

What do my results mean?

- No action required for any fixture result less than 0.005 mg/L

- Action required for any fixture result greater than or equal to 0.005 mg/L

- Step 4: How to Remediate

Select the correct remedy

Conduct follow-up sampling

- Step 5: Routine Sampling

Typically, every 3 years