# Change of Sample Site for Disinfection Byproducts

Public Water System Name: Click or tap here to enter text.

PWSID: Click or tap here to enter text.

## Typical Characteristics of Selected Sites

High TTHM sites are at the maximum residence time and are often located:

- Hydraulically downstream of storage facilities and booster disinfection

- Hydraulic dead ends, where flow of water is low or stagnant, or

- Near the end of the distribution system, at or before the last group of customers.

High HAA5 sites are often located:

- In average residence time locations,

- After booster disinfection with chlorine, or

- Low but detectable chlorine residual.

Sample sites should not be located:

- At a dead-end where there are no customers,

- Before booster disinfection with chlorine,

- After the last hydrant or blow-off point, or

- In areas with significant biofilms or high heterotrophic bacteria plate count.

Targeting criteria for original site (can check both) ☐ High TTHM / ☐ High HAA5

Sample Point ID (choose one):☐DBP1 ☐DBP2 ☐DBP3 ☐DBP4    Other: Click or tap here to enter text.

Original sample site address: Click or tap here to enter text.

New sample site address:Click or tap here to enter text.

Approximate distance between the two sites: Click or tap here to enter text.

Reason for changing the site: Click or tap here to enter text.

Name:Click or tap here to enter text. Title: Click or tap here to enter text. Date:Click or tap to enter a date.