## Instructions
INSTRUCTIONS TO USE THIS WORKBOOK
1 | Input System Information In Sheet 1
2 | Read Through Sheet 2 To Determine Sites To Use For Sampling (NOTE: The tiering criteria has been revised under LCRI. Hence, systems must review this sheet to determine their highest risk sites) Sampling Points From Kitchen Or Bathroom Only. Other Taps Needs DEQ Approval. Sites Must NOT Have POE/POU Installed (Unless all sites are in the system have POU/POE installed)
3 | Fill In Site Information In Sheet 3. Only Fill In Information For Blue Highlighted Cells Must Have Enough Sites To Meet Lead/Copper Monitoring Schedule
4 | Complete Site Confirmation In Sheet 4. Only Fill In Information For Blue Highlighted Cells Follow Steps To Complete Confirmation Of Sites
Record of Particpation | Complete Required Information In Record Of Participation. ALL Sites Contacted For Sampling Must Be Included On This Sheet. If Information About These Sites Is Unknown, Please Indicate Such In The Notes Only Fill In Information For Blue and Yellow Highlighted Cells Follow Steps To Record Unavailable Sites

## SHEET 1
Tier Designation for Lead and Copper Site Selection (LCRI) | Additional System Information
|  |  | Count | Number of sites to be collected for standard monitoring (Base and Annual)
This workbook is intended for automatically assigning tier numbers to sites select by systems for lead and copper sampling |  | Tier 1 | 0
|  | Tier 2 | 0
|  | Tier 3 | 0
|  | Tier 4 | 0 | Number of sites to be collected for reduced monitoring (Triennial)
|  | Tier 5 | 0
Water System Name
* Please refer to monitoring schedule for required number of sites
Water System PWSID
System Population
Contact Information (Name)
Contact Information (Phone #)
Contact Information (E-mail)
Date submitted to DEQ
Version 3.0 dated 03.17.2026
https://deq.mt.gov/water/programs/dw-leadandcopper
To obtain additional information, please contact Montana DEQ
Lead & Copper Rule Managers: Matt Schmidt (406) 444-6652; Jayde Duysen (406) 444-0917 Email: leadandcopper@mt.gov

## SHEET 2
TIER 1-Single Family Home | TIER 2 – Multi Family Residences before Other Buildings | TIER 3-Single Family Home |  | TIER 4-Single Family Home |  | TIER 5-Single Family before Multi Family then other buildings
(1.1) with lead service lines | (2.1) with lead service lines |  | (3.1) with lead connector/gooseneck | (4) With copper internal plumbing with lead solder installed before June 1st, 1985 |  | (5) Water systems installed post June 1st, 1985 (OR) Water systems that has all sample locations with POU or POE installed.
(1.2) with internal lead plumbing | (2.2) with internal lead plumbing | (3.2) with galvanized service line or galvanized internal plumbing ever been downstream of lead service line |  |  | Move to Tier 5
Move to Tier 2 | Move to Tier 3 |  | Move to Tier 4
NO
NO
NO
NO
NO
NO
NO

## SHEET 3
DEQ will assign Site ID (Leave blank unless known) | Site Address | Tier # | System Side Service Line | Customer Side Service Line | Internal Plumbing (1) | Internal Plumbing (2) - Optional | Home Type | Lead Connector/Gooseneck Present | Galvanized Material Downstream of LSL | Galvanized Material Review | Year Built | Specific Year Built (if applicable) | POU/POE on Tap to be Sampled | POE/POU Acceptance Review | Cold Water Sample Tap Location | Notes |  | Single Family homes with Lead service line | Single Family Homes with Internal lead plumbing | Multifamily homes or other building with Lead service line | Multifamily homes or other building with internal lead plumbing | Single family homes with lead connector/ gooseneck | Single family homes with GRR SL or gal internal plumbing ever downstream of LSL | Single family homes with copper plumbing with lead solder installed before June 1st 1985 | Sites with service lines installed after 1985 | Sites with POU/POE installed
Kitchen
Bathroom
Other (more details in notes)

## SHEET 4
1. PLEASE ANSWER ALL QUESTIONS. 2. ALL CONFIRMATIONS MUST BE "YES". 3. IF CONFIRMATION IS "NO", FOLLOW STEPS TO CONFIRM IT.
*please note there may be unique situations where this confirmation sheet will indicate errors. If you are experiencing this, please email this excel file to us at: leadandcopper@mt.gov
| Statement | # of sites associated with this question | Confirmed? | Process requireded to confirm, if any
Question # | Tier 1
1 | Single family homes with lead service line | 0 | YES | NONE
2 | Single family homes with internal lead plumbing (not included above) | 0 | YES | NONE
Tier 2
3 | Multi family homes with lead service line | 0 | YES | NONE
4 | Multi family homes with internal lead plumbing (not included above) | 0 | YES | NONE
Tier 3
5 | Single family homes with lead connector/gooseneck | 0 | YES | NONE
6 | Single family homes with galvanized service line or internal plumbing ever downstream of lead service line (not included above) | 0 | YES | NONE
Tier 4
7 | Single family homes with copper plumbing and lead solder installed before June 1st 1985 | 0 | YES | NONE
Tier 5
8 | Any sites with service lines installed post June 1st 1985 | 0 | YES | NONE
9 | Sites in a water system with point of use or point of entry installed | 0 | YES | 0 Sites with POU/POE installed

## Record of Participation
Site Information | [15 empty] | Record of participation details
Sample Site ID (if known) | Site Address | City | Tier # | System Side Service Line | Customer Side Service Line | Internal Plumbing (1) | Internal Plumbing (2) - Optional | Home Type | Lead Connector/Gooseneck Present | Galvanized Material Downstream of LSL | Galvanized Material Review | Year Built | Specific Year Built (if applicable) | POU/POE on Tap to be Sampled | Site information notes | Contact Made With Owner (Yes/No) | Number of contact attempts made | If Contact Made is "Yes", select option from drop down | Date of Contact Attempt (1) | Method of Contact (1) | Date of Contact Attempt (2) | Method of Contact (2) | Acceptance Review (1 refusal or 2 non-repsonses) | Contact Notes (voicemail, no one home, note on door etc.) | Name of System Staff Attempting Contact | Signature of Operator (electronic)
Kitchen
Bathroom
[27 empty] | Owner refused inspection | Atleast one | Other (more details in notes)
[27 empty] | Owner refused to participate | Atleast two