REVIEW CHECKLIST

Source Water Protection Plan

December 2024

The following items represent the minimum requirements for review and approval of a Source Water Protection Plan submitted to DEQ.  This checklist should be used in conjunction with the information and general format provided in the template for preparing the protection plan.

PWS Name:

PWS ID:

Operator Name:

SWPP Contact:	Name _____________________________________________________

Address____________________________________________________

____________________________________________________

Phone __________________

Person Preparing	Name ______________________________________________________

Plan Contact:		Address ____________________________________________________

____________________________________________________

Phone __________________

###### Date Submitted:			Date Reviewed:		 SWPP Reviewer:

###### Date Re-submitted: 			Date Reviewed:		 SWPP Reviewer:

###### Date Re-submitted: 			Date Reviewed:		SWPP Reviewer:

NOTE: For TNCWS, non-bolded items are recommended but not required.

| introduction | ## Present? Y/N | Comments |
| --- | --- | --- |
| System information? |  |  |
| Name of report preparer & system operator? |  |  |
| CHAPTER 1 - BACKGROUND |  |  |
| 1.1 PWS name, address, class, contact name/phone, report date? |  |  |
| 1.2 Is PWS-6 Report part of subdivision proposal? If yes, include reference. |  |  |
| 1.3 Location and nature of PWS? Include vicinity map |  |  |
| 1.4 Description of source water & water quality? |  |  |
| 1.5 If existing PWS, why new source needed? |  |  |
| 1.6 Description of all water system features? Well(s), water tanks, treatment, distribution. |  |  |
| 1.7 Population served, service connections, water usage (gpd)? Include plat map showing all site features. |  |  |
| ## Chapter 2 - DELINEATION |  |  |
| 2.1 Hydrogeologic Conditions** |  |  |
| 2.1.1 List or bibliography of references for hydrogeologic information |  |  |
| 2.1.2 Summary of wells in area from GWIC database? |  |  |
| 2.1.3 Geologic map(s) incl.?; (if not, valid justification for omission) |  |  |
| 2.1.4 Summary of source water quality, where available? |  |  |
| 2.1.5 Geologic setting of aquifer |  |  |
| 2.1.6 Aquifer properties (lithology, boundaries, etc.)? |  |  |
| 2.1.7 Aquifer type (confined, unconfined)? |  |  |
| 2.1.8 Connection with surface water analysis (GWUDISW PWS-5)? |  |  |
| 2.1.9 Classify sensitivity of hydrogeologic setting of source water (high, moderate, or low) |  |  |
| 2.2 Conceptual Model and Assumptions, describe: |  |  |
| 2.2.1 Aquifer boundaries? |  |  |
| 2.2.2 Aquifer recharge areas? |  |  |
| 2.2.3 Ground water flow direction? |  |  |
| 2.2.4 Connection with surface water? |  |  |
| 2.3 Well (or Source) Information: |  |  |
| 2.3.1 Well depth, construction details, well log(s) attached? |  |  |
| 2.3.2 Well location described and shown on map? |  |  |
| 2.4 Delineation Methods and Criteria |  |  |
| 2.4.1 Overview of approach used for delineation? |  |  |
| 2.4.2 Identify delineation regions on the maps. |  |  |
| **Section 2.1 and 2.2 not needed when arbitrary fixed radius is used |  |  |
| Chapter 3. Inventory | ## Present? Y/N | Comments |
| 3.1 Inventory methods identified, and description of how the inventory was carried out? |  |  |
| 3.2 Were appropriate databases searched and significant potential sources identified? |  |  |
| 3.3 Control zone |  |  |
| ###### 3.3.1 Does the PWS own and control the Control Zone? |  |  |
| ###### 3.3.2 Description of land uses within control zone? |  |  |
| ## 3.3.3 Description of potential contaminant sources? |  |  |
| 3.3.4 Potential contaminant sources shown on map? |  |  |
| 3.4 Inventory Region |  |  |
| ###### 3.4.1 Description of land uses? |  |  |
| 3.4.2 Description of potential contaminant sources? |  |  |
| 3.4.3 Significant potential contaminant sources identified? |  |  |
| 3.4.4 Potential contaminant sources shown on map? |  |  |
| 3.5 Surface Water Buffer (if applicable)? |  |  |
| ###### 3.5.1 Description of land uses? |  |  |
| 3.5.2 Description of potential contaminant sources for pathogens (acute health hazards)? |  |  |
| 3.5.3 Potential contaminant sources shown on map? |  |  |
| 3.6 Recharge Region |  |  |
| 3.6.1 Description of land uses? |  |  |
| 3.6.2 Description of large potential contaminant sources? |  |  |
| 3.6.3 Significant potential sources and land use shown on a map? |  |  |
| 3.7 Table listing potential contaminant sources, specific regulated contaminant(s), hazard ranking? |  |  |
| Chapter 4. SUSCEPTIBILITY |  |  |
| 4.1 Susceptibility Assessment Table w/information on contaminant source(s), contaminant(s), hazard, hazard rating, barrier(s), & susceptibility ranking included? |  |  |
| 4.2 Narrative description of each line of the table(s)? |  |  |
| chapter 5. MANAGEMENT |  |  |
| 5.1 Include general description of management approach and influencing factors within the community. |  |  |
| 5.2 Identify each parcel and contaminant source in the area overlain by the control zone and how it will be managed |  |  |
| 5.3 Include description of land uses in the inventory region and specific management activities to be implemented. |  |  |
| 5.4 Include description of land uses in the recharge region and specific management activities to be implemented. |  |  |
| 5.5 Indicate how each management item will be triggered and who is responsible for each activity. |  |  |
| 5.6 If local ordinance is referenced, has it been included? |  |  |
| chapter 6. EMERGENCY PLANNING | ## Present? Y/N | ## Comments |
| 6.1 Include thorough description of reasonable possible disruption threats. |  |  |
| 6.2 Has emergency coordinator been identified? |  |  |
| 6.3 Identify equipment and material resources needed, where they are located, and how they will be obtained. |  |  |
| 6.4 Has intake or well shut down procedure been described? |  |  |
| 6.5 Include statewide emergency contacts with phone #s. |  |  |
| 6.6 Procedure for emergency communication with water users? |  |  |
| 6.7 Has emergency water source been identified? Has water storage capacity been assessed? |  |  |
| 6.8 Has the procedure to resume service been identified? |  |  |
| 6.9 Description of emergency funding available to the PWS? |  |  |
| 6.10 Discussion of long-term capacity of existing water source(s)? |  |  |
| chapter 7. PLAN CERTIFICATION |  |  |
| 7.1 Report preparer name included? |  |  |
| 7.2 Identify PWS contact person, managing entity, and include concurrence (if plan completed by someone other than the PWS). |  |  |
| 7.3 Indicate when the final plan was completed and how the plan will be made available to the public. |  |  |
| Limitations |  |  |
| Are limitations of report or methods identified & described? |  |  |
| References |  |  |
| Include references used to support the delineation and assessment. |  |  |

| Appendices | Comments |
| --- | --- |
| A. Well logs |  |

OTHER NOTES: